## Preliminaries
£
PRELIMINARIES AND GENERAL CONDITIONS
The Contractor is to provide a breakdown of his Preliminaries costs for the items detailed within Section 1. The items listed below form the general format of the breakdown expected, but are not exhaustive; the Contractor is at liberty to insert additional items to suit his preferred requirements
EMPLOYER'S REQUIREMENTS
Site accommodation
1 | Site accommodation | 1 | Item
2 | Furniture and equipment | 1 | Item
3 | Telecommunications and IT systems | 1 | Item
Site records
4 | Site records | 1 | Item
Completion and post completion requirements
5 | Handover documents | 1 | Item
6 | Operation and maintenance services | 1 | Item
MAIN CONTRACTOR'S COST ITEMS
Management and staff
Project specific management and staff
7 | contracts manager | 1 | Item
8 | site agent | 1 | Item
9 | site engineer | 1 | Item
10 | quantity surveyor | 1 | Item
11 | labourer | 1 | Item
12 | planner | 1 | Item
13 | other items (Contractor to insert) | 1 | Item
Visiting management and staff
14 | health & safety inspector | 1 | Item
15 | other items (Contractor to insert) | 1 | Item
Extraordinary support costs
16 | non-productive overtime | 1 | Item
17 | other items (Contractor to insert) | 1 | Item
18 | other items (Contractor to insert) | 1 | Item
Staff travel
19 | transport of workpeople | 1 | Item
20 | board and lodging | 1 | Item
21 | other items (Contractor to insert) | 1 | Item
22 | other items (Contractor to insert) | 1 | Item
Site establishment
Site accommodation
23 | delivery and removal of site accommodation | 1 | Item
24 | site office / meeting rooms / welfare facilities | 1 | Item
25 | stores / containers | 1 | Item
26 | other items (Contractor to insert) | 1 | Item
Temporary works in connection with site establishment
27 | temporary site access | 1 | Item
28 | car parking | 1 | Item
29 | other items (Contractor to insert) | 1 | Item
Furniture and equipment
30 | office furniture | 1 | Item
31 | welfare facilities | 1 | Item
32 | other items (Contractor to insert) | 1 | Item
IT systems
33 | computers | 1 | Item
34 | printers / plotters | 1 | Item
35 | other items (Contractor to insert) | 1 | Item
Consumables and services
36 | welfare consumables | 1 | Item
37 | other items (Contractor to insert) | 1 | Item
38 | Brought-in services | 1 | Item
Sundries
39 | signboard | 1 | Item
40 | site signage / notices | 1 | Item
41 | other items (Contractor to insert) | 1 | Item
Temporary services
Temporary water supply
42 | site connection | 1 | Item
43 | site distribution | 1 | Item
44 | consumption | 1 | Item
45 | other items (Contractor to insert) | 1 | Item
Temporary gas supply
46 | site connection | 1 | Item
47 | site distribution | 1 | Item
48 | consumption | 1 | Item
49 | other items (Contractor to insert) | 1 | Item
Temporary electricity supply
50 | site connection | 1 | Item
51 | site distribution / transformers / leads | 1 | Item
52 | consumption | 1 | Item
53 | other items (Contractor to insert) | 1 | Item
Temporary telecommunication systems
54 | site connection | 1 | Item
55 | rental | 1 | Item
56 | call charges | 1 | Item
57 | mobile phones | 1 | Item
58 | consumables | 1 | Item
59 | other items (Contractor to insert) | 1 | Item
60 | Temporary drainage | 1 | Item
Security
Security equipment
61 | security alarms | 1 | Item
62 | other items (Contractor to insert) | 1 | Item
Hoardings, fences and gates
63 | temporary fencing / hoardings / gates | 1 | Item
64 | other items (Contractor to insert) | 1 | Item
Safety and environmental protection
Safety programme
65 | Construction Phase Health & Safety Plan | 1 | Item
66 | method statements / risk assessments | 1 | Item
67 | site audits / visits | 1 | Item
68 | provision of PPE | 1 | Item
69 | site inductions / tool box talks | 1 | Item
70 | Barriers and safety scaffolding | 1 | Item
71 | Environmental protection measures | 1 | Item
Control and protection
72 | Survey, inspection and monitoring | 1 | Item
73 | Setting out | 1 | Item
74 | Protection of works including the requirements of the railway authorities | 1 | Item
Samples
75 | materials samples - see items within Measured Works | 1 | Item
76 | materials testing | 1 | Item
77 | other items (Contractor to insert) | 1 | Item
78 | Environmental control of building | 1 | Item
Mechanical plant
79 | Generally | 1 | Item
80 | Hoists | 1 | Item
81 | Access plant | 1 | Item
82 | Concrete plant | 1 | Item
83 | Other plant | 1 | Item
Temporary works
Access scaffolding
84 | external scaffolding | 1 | Item
85 | internal scaffolding / towers | 1 | Item
86 | other items (Contractor to insert) | 1 | Item
Temporary works
87 | handrails / protection | 1 | Item
88 | temporary roofs | 1 | Item
89 | alterations and adaptations | 1 | Item
90 | other items (Contractor to insert) | 1 | Item
Site records
Site records
91 | site photographs | 1 | Item
92 | site survey / schedule of conditions | 1 | Item
93 | O&M manuals / health & safety file / record drawings | 1 | Item
94 | other items (Contractor to insert) | 1 | Item
Completion and post completion requirements
Testing and commissioning plan
95 | testing and commissioning | 1 | Item
96 | training Employer | 1 | Item
97 | other items (Contractor to insert) | 1 | Item
Handover
98 | snagging / making good defects | 1 | Item
99 | other items (Contractor to insert) | 1 | Item
100 | Post completion services | 1 | Item
Cleaning
101 | Site tidy | 1 | Item
Maintenance of roads, platform, paths and pavings
102 | cleaning | 1 | Item
103 | other items (Contractor to insert) | 1 | Item
Building clean
104 | final builder's clean | 1 | Item
Fees and charges
Fees
105 | building control - not required | 1 | Item
106 | Considerate Constructors' Scheme | 1 | Item
107 | Charges | 1 | Item
Site services
Temporary works
108 | rubbish removal | 1 | Item
109 | other items (Contractor to insert) | 1 | Item
110 | Multi-service gang | 1 | Item
Insurance, bonds, guarantees and warranties
111 | Works insurance | 1 | Item
112 | Public liability insurance | 1 | Item
113 | Employer's (main contractor's) liability insurance | 1 | Item
Other insurances
114 | professional indemnity insurance | 1 | Item
115 | other items (Contractor to insert) | 1 | Item
116 | Bonds | 1 | Item
117 | Guarantees | 1 | Item
118 | Warranties | 1 | Item
119 | other items (Contractor to insert) | 1 | Item
| PRELIMINARIES AND GENERAL CONDITIONS |  |  | 0

## Pricing Notes
£
PRICING NOTES
Pricing
1 | This section is to be read in conjunction with the following Tender Documents accompanying the tender: | 1 | Item
Preliminaries and General Conditions
Consultants' Specifications
Drawings
Pre-Construction Information
Heritage reports
2 | The items listed within the Measured Works section are measured in accordance with the general principles of the New Rules of Measurement albeit that, due to the nature of the scheme, much of the work has been measured as ‘composite items’ and some of the descriptions require labours and items of a small nature to be included within the rates by the Contractor. The items are not exhaustive or intended to represent a detailed measurement of the works as required by the NRM but, by reference to the appropriate drawings, they are sufficient to identify the scope of the works involved and provide the necessary detail for the items to be priced. | 1 | Item
3 | Examples of classifications which have not been specifically measured as required by the NRM include the following and the Contractor’s rates are deemed to make due allowance as appropriate: | 1 | Item
Breaking up obstructions encountered in the ground
Excavating next to adjoining platforms, roads, buildings, in unstable ground, next to live services or below water level
Works to existing assets, e.g. Windows, Doors, Floors, Walls and Ceilings
Joinery fittings
Mechanical & Electrical Services
Backgrounds for fixings and finishes have, in most instances, been combined rather than being separately identified.
Drainage below ground water level or next to existing buildings, roads or services
4 | All sizes quoted are approximate deemed to be finished sizes. | 1 | Item
5 | The detailed composition of the items in the Measured Works is the responsibility of the Contractor. The rates and prices inserted are deemed to include for the following: | 1 | Item
The supply, delivery and installation of all items, unless specifically noted otherwise.
Everything necessary, including all items which, are reasonably apparent as being necessary, to execute the works to the satisfaction of the Employer
Executing the works in accordance with the programme, including any out-of-sequence working, piece-meal working, breaks in continuity and all non-productive overtime working deemed necessary.
Overheads and profit
6 | A fully detailed breakdown of the Preliminaries costs is to be provided using the breakdown included within this Specification and Schedule of Works. | 1 | Item
7 | The Contractor’s tender is to be a fully fixed-price tender (excluding VAT). No allowance for fluctuations will be allowed over the duration of the works. | 1 | Item
8 | The Contractor is to fully price and extend all items in the Measured Works section and the totals carried forward to the Summary and General Summary to provide a fixed price tender sum. | 1 | Item
9 | This Specification and Bills of Quantites contains formulae which require percentages and costs to be inserted into the 'rate' column for the totals to be calculated and transferred to the Summary and General Summary. Rates are to be inserted as numbers to 2 decimal places and not calculated from formulae or lump sums. The spreadsheets have not been protected and care should be taken not to overtype any of the formulae. Despite the inclusion of formulae within the pricing schedule, the Contractor must arithmetically check his tender prior to submission. | 1 | Item
10 | Unless specifically noted in the Contractor’s tender, the tender will be deemed to be fully compliant with the terms and conditions of the contract and to have been submitted without qualifications. | 1 | Item
11 | If the Contractor makes any amendments to the descriptions within the Measured Works section, these are to be readily identified. Failure to identify any such amendments will result in the original tender descriptions being deemed to be applicable. | 1 | Item
12 | The prices in the Measured Works section will be used for preparing valuations and for assessing the value of any variations to the scope of the works, which might be instructed. | 1 | Item
| PRICING NOTES |  |  | 0

## Prov Sums
£
PROVISIONAL SUMS AND DAYWORK
WORKS BY STATUTORY AUTHORITIES
Provide the following provisional sums which are exclusive of Main Contractor's discount
1 | Sewer Main Connection, including disconnection of existing where required | 1 | Item | 5000 | 5000
| Profit, attendance and finance charges on advance payments |  | % | 5000 | 0
2 | Water Main Connection, including disconnection of existing where required | 1 | Item | 5000 | 5000
| Profit, attendance and finance charges on advance payments |  | % | 5000 | 0
3 | Gas (SGN) Main Connection, including disconnection of existing where required | 1 | Item | 7500 | 7500
| Profit, attendance and finance charges on advance payments |  | % | 7500 | 0
4 | Electricity Main Connection, including disconnection of existing where required | 1 | Item | 7500 | 7500
| Profit, attendance and finance charges on advance payments |  | % | 7500 | 0
5 | Telecoms Main Connection, including disconnection of existing where required | 1 | Item | 7500 | 7500
| Profit, attendance and finance charges on advance payments |  | % | 2500 | 0
PROVISIONAL SUMS
Where works which are the subject of provisional sums are similar to items measured within the Measured Works sections, the Measured Works rates shall be used in valuing the works. Where suppliers' or sub-contractors' quotations are applicable, the works shall be valued using the nett cost of the quotation, after deduction of all discounts, together with the addition for overheads and profit which the Contractor is to insert where indicated below.
Provide for the following provisional sums
6 | Additional demolitions | 1 | Item | 1000 | 1000
7 | Additional roof works | 1 | Item | 1000 | 1000
8 | Additional structural works to existing courtyard | 1 | Item | 1000 | 1000
9 | Signs and lettering | 1 | Item | 2000 | 2000
10 | Repairs to existing rainwater installations | 1 | Item | 1000 | 1000
11 | Additional repairs to existing windows | 1 | Item | 1000 | 1000
12 | Redecoration works to underside of existing canopies | 1 | Item | 2000 | 2000
13 | New fireplace surrounds | 1 | Item | 2000 | 2000
14 | New gas stoves and flues | 1 | Item | 5000 | 5000
15 | New hearths | 1 | Item | 2000 | 2000
16 | Repairs to external lobby | 1 | Item | 1000 | 1000
17 | Making good existing openings | 1 | Item | 1000 | 1000
18 | Additional damp-proofing works | 1 | Item | 1000 | 1000
19 | Additional brickwork repairs | 1 | Item | 1000 | 1000
13 | Additional Builder's Work in Connection with Services | 1 | Item | 1000 | 1000
20 | Additional External Pavings | 1 | Item | 1000 | 1000
21 | Additional Drainage Works | 1 | Item | 1000 | 1000
22 | Employer's Site Name Board | 1 | Item | 1000 | 1000
23 | Contingencies | 1 | Item | 25000 | 25000
Overheads and profit on the nett value of suppliers' and sub-contractor's quotations set against provisional sums
| Assumed value |  | % | 5000 | 0
DAYWORK
Generally
The Contractor may be required to execute certain works on a 'daywork' basis; before commencing any such work, the prior approval of the Architect/Contract Administrator must be obtained.
The Contractor is to keep an accurate record of time spent and materials and plant used for each separate instruction given. These record sheets are to be numbered and are to describe fully the instructions to which they refer and they are to be summarised, fully priced and submitted to the Architect/Contract Administrator each week with a copy to the Quantity Surveyor. The submission of such sheets does not necessarily mean that the work will be valued on a 'daywork' basis and they will only be recognised in the case of works which, by the Quantity Surveyor's decision, are incapable of valuation by any other method, even though such sheets may have been signed by the Architect/Contract Administrator.
Charges for labour shall be based upon the 'all-in' labour rates which the Contractor is to insert where indicated below. These rates are to be fully inclusive of all costs associated with the employment of labour including salary, bonuses, pensions, benefits, subscriptions, sickness and holiday payments, national insurance, overheads and profit etc.
Charges for materials and plant shall be based upon the invoiced cost to the Contractor, less all discounts.
The Contractor is required to enter hereafter the percentage additions required for overheads and profit on materials and plant as defined above.
Percentage additions for overheads and profit:
Materials percentage
Plant percentage
Labour
The Contractor is to insert his 'all-in' rates against the provisional time allowances for the following trades of labour carried out on a 'daywork' basis:
24 | Roofers | 10 | hours
25 | Bricklayers | 10 | hours
26 | Dry liners / partition erectors | 10 | hours
27 | Carpenters; 1st fix | 10 | hours
28 | Joiners; 2nd fix | 10 | hours
29 | Plasterers | 10 | hours
30 | Painters | 10 | hours
31 | Gangers | 10 | hours
32 | Labourers | 10 | hours
Materials
33 | Provide the provisional sum for the supply of materials in daywork | 1 | Item | 1000 | 1000
| Percentage addition for overheads and profit | 0% | % | 1000 | 0
Plant
34 | Provide the provisional sum for the supply of plant in daywork | 1 | Item | 500 | 500
| Percentage addition for overheads and profit | 0% | % | 500 | 0
| PROVISIONAL SUMS AND DAYWORK |  |  | To General Summary | 85000

## Facilitating
£
FACILITATING WORKS
ALTERATIONS, REPAIRS AND CONSERVATION
Measurement notes
The Contractor should refer to drawings for location references
Works of alterations - internally
Refer T&K drawings 1084
Carefully remove internal and external boarding from existing windows and doors; make good where damaged as necessary
1 | Windows | 1 | Item
2 | External doors | 1 | Item
Refer P&M drawing 24262-SK24 & SK26
3 | Brick-up existing single door opening between existing 'Offices' | 1 | Item
4 | Removal of step from existing external door from 'Office' to garden and make good jamb, slab etc. to ensure integrity of waterproofing | 1 | Item
5 | Removal of defective render as specified (M20/556) (PROVISIONAL QUANTITY) | 50 | m2
6 | Removal of defective plaster as specified (M20/566) (PROVISIONAL QUANTITY) | 100 | m2
Refer T&K drawing 1084/3_110
7 | Reinstate existing fireplace including new slate hearth in G01 to receive new appliance (appliance measured supply); overall approximately 2.50m wide, 1400mm high | 1 | No
8 | Reinstate existing fireplace including hearth (hearth measured separately) in G03 to receive new appliance (appliance measured supply); overall approximately 2.50m wide, 1400mm high | 1 | No
9 | Make good area of damaged plaster, 1600 x 1300mm high, beneath W14 | 1 | No
10 | Remove boarding, make good, open-up and reinstate existing opening W8 approximately 600x1500mm high to receive new [secondary] glazing; quoining up jambs as required; | 1 | No
11 | Demolish as necessary, remove boarding and supports to external face, make good, open-up and reinstate existing double door opening ED3, approximately 1500 x 2500mm high including arch, to receive reconditioned doors | 1 | No
12 | Demolish as necessary, remove boarding and supports to external face, make good, open-up and reinstate existing double door opening ED4, approximately 1500 x 3000mm high including arched and hinged overpanel, to receive reconditioned doors | 1 | No
Removing from site
Refer to T&K drawings 1084/3_351.1
Internal fixtures and fittings
13 | safe set in concrete, overall approximately 600 x 600 x 600mm in existing waiting room | 1 | Item
14 | existing waiting room - sink unit in waiting room | 1 | Item
15 | existing lighting systems throughout and associated conduit; including making good | 1 | Item
16 | existing speaker/PA systems throughout and associated conduit; including making good | 1 | Item
17 | existing conduit around ED1, approximately 3m in length; including making good ready for redecoration | 1 | Item
Refer to T&K drawings 1084/3_353.1 - Existing Waiting Room; proposed cafe
18 | Removal of boarding from existing fireplace in waiting room | 1 | Item
19 | Removal of window including cill and surround between existing waiting room and new kitchen; make good masonry surround to receive new door opening | 1 | Item
20 | Carefully demolish wall approximately 1200mm wide 1000mm high below cill to enlarge opening D4 to form new door opening between proposed cafe and kitchen; make good quoins; remove material from site | 1 | Item
21 | Hack off areas of plaster at low level; replaster level with surrounding wall finish to receive paint finish (PROVISIONAL QUANTITY) | 6 | m2
22 | Replace missing profiled skirting approximately 1m in length, 300mm high, to match existing profile; fill joints and prepare to receive paint finish | 1 | Item
23 | Replace missing profiled skirting approximately 500mm in length, 300mm high, to match existing profile; fill joints and prepare to receive paint finish | 1 | Item
24 | Remove loose paint from existing walls and profiled coving at high level; prepare to receive new paint finish; approximately 50m2 | 1 | Item
Refer to T&K drawings 1084/3_354.1 -proposed kitchen
25 | Make good two damaged areas of plaster at low level; replaster level with surrounding wall finish to receive paint finish (PROVISIONAL QUANTITY) | 5 | m2
26 | Replace four short lengths of missing profiled skirting 100 to 500mm in length, 300mm high, to match existing profile; fill joints and prepare to receive paint finish | 1 | Item
27 | Removal of plaster and opening up chimney breast, approximately 1.50m wide, 2.50m high; clear as necessary and prepare to receive new plaster (lintols measured separately) (PROVISIONAL) | 1 | Item
28 | Enlarge as necessary and brick line existing fireplace in 'Office' to size to receive new hob approximately 1.6m wide including installation and bedding of 3 no. 100 x 100mm precast concrete lintols to suit depth and width of opening; existing masonry wall over to be well-rammed with dry pack and shims | 1 | No
Refer to T&K drawings 1084/3_355.1 -proposed toilets
29 | Replace three short lengths of missing profiled skirting 100 to 500mm in length, 300mm high, to match existing profile; fill joints and prepare to receive paint finish | 1 | Item
Replace missing profiled skirting 300mm high, to match existing profile; fill joints and prepare to receive paint finish
30 | 700mm long | 1 | No
31 | 1.40m long | 1 | No
32 | 2.65m long | 1 | No
33 | Form new single door opening (D5), 1200mm x 3000mm high, between G03 and G08; quoining up jambs; making good to receive new door D5 | 1 | Item
Refer to T&K drawings 1084/3_356.1 - proposed female toilets
34 | Dismantle and remove from site existing WCs, cisterns and associated pipework; make good walls and floors; | 2 | No
35 | Replace three short lengths of missing profiled skirting 100 to 500mm in length, 300mm high, to match existing profile; fill joints and prepare to receive paint finish | 1 | Item
Replace missing profiled skirting 300mm high, to match existing profile; fill joints and prepare to receive paint finish
36 | 1.10m long | 3 | No
37 | 1.40m long | 1 | No
38 | 1.90m long | 3 | No
39 | Repair damaged area to existing timber window surround, approximately 300mm long, cutting-out and replacing as necessary; making good and preparing to receive paint finish | 1 | No
Removing windows; enlarging openings; preparing to receive new doors; temporary protection
removing 1700 x 1100mm high window and cill; enlarging to form 1760 x 2100mm high door opening; external masonry wall; replacing existing lintel; quoining up jambs; Kitchen
External fixtures and fittings
40 | Removal of redundant electrical wires and trunking from existing external walls and making good as specified | 1 | Item
Brick plinth - see Site Work section
Credit for materials
Salvaged materials
41 | credit for sale of materials salvaged from site | 1 | Item | 0
| FACILITATING WORKS |  |  | 0

## Substructure
£
SUBSTRUCTURE
EXCAVATION AND IN-SITU CONCRETE WORKS
Site preparation; removing from site
Breaking up pavings
1 | existing concrete slab and hardcore in courtyard and remove materials arising from site | 22 | m2
2 | exiting concrete slab within toilet and provide sleeve to enable drawing of incoming services; reinstate on completion in accordance with the architect's and engineer's requirements including reinstating damp proofing; remove from site excess materials arising | 1 | Item
Trial pit in courtyard; see drawing 1084/3-012
3 | Excavate trial pit, 1000 x 1000 x 750mm deep; make safe for inspection by structural engineer, refill with compacted hardcore after inspection (PROVISIONAL) | 1 | Item
Foundations; excavating pits; breaking up obstructions; working space; earthwork support; levelling and compacting ground; formwork; mesh reinforcement as required; backfilling with DOT Type 1 imported granular hardcore; compacting in layers; disposing of surplus excavated material off site; refer to P&M drawing 24262-Sk 24
Pad foundations to support gate posts
4 | 750 x 750 x 750mm deep; including mesh reinforcement; 75mm thick blinding; founding at 900mm (minimum) below existing ground level; 105mm thick sub-base to slab formation level | 2 | No
Concrete ground slab; excavating to reduce levels; breaking up obstructions; working space; earthwork support; levelling and compacting ground; DOT Type 1 imported granular hardcore; compacting fill; RIW Sheetseal 226; formwork; A393 mesh reinforcement on blinding; soft joint at the perimeter; trowelled finish to surface of concrete; disposing of surplus excavated material off site; refer to drawings
Ground slab to courtyard plantroom; refer to T&K drawing 1084/3_420
5 | 150mm thick concrete slabs; 1No layer A393 mesh reinforcement; 50mm blinding; 150mm thick well-compacted hardcore; allow for founding at approximately 400mm below existing slab level | 22 | m2
6 | Extra over above for formation of gully in plantroom floor | 1 | no.
| SUBSTRUCTURE |  |  | 0

## Upper floors
£
UPPER FLOORS
STRUCTURAL TIMBERWORK
CARPENTRY
Sawn softwood; treated
Works to new mezzanine plantroom; Refer P&M drawing 24262-SK25 & SK26
1 | New timber floor structure comprising 200 x 50mm C16 joists @ 400mm centres on galvanised steel joist hangers fixed to 200 x 50mm C16 wall plate bolted @ 600mm centres to existing brick wall with M12 bolts; including preparing existing brick wall as necessary to receive; including noggins as specified | 14 | m2
2 | Extra over for secondary 200 x 50mm C16 joists (approximately 10m) to support new access hatch (hatch measured separately) | 1 | Item
3 | 18mm chipboard flooring fixed to softwood joists @ maximum 300mm centres | 14 | m2
4 | 100mm insulation laid to roof decking | 14 | m2
Fabricated weldable steel; BS10025, Grade 275; welded fabrication and Grade 8.8 Contractor-designed bolted site connections; drawing 15.3318/ 01, 02, 04, 05
Fabricated beams above proposed toilets to support water tank
5 | 152 x 89 x 16 UB beams, approximately 3.00 metres long; on and including forming pad stones, approximately 100x200x65mm deep, using engineering bricks built into existing masonry walls | 2 | No
6 | 153 x 89 x 16 UB trimming steels, approximately 0.45 metres long; bolted to steel beams | 2 | No
Erecting on site
7 | fabricated members | 1 | Item
| UPPER FLOORS |  |  | 0

## Roof
£
ROOF
CARPENTRY
Refer P&M drawing 24262-SK24 & SK26
Courtyard plantroom G12, approximatley 6m x 5m on plan
1 | New timber flat roof comprising 200 x 50mm C16 joists @ 400mm centres on galvanised steel joist hangers fixed to 200 x 50mm C16 wall plate bolted @ 600mm centres to existing brick wall with M12 bolts; including preparing existing brick wall as necessary to receive; including noggins as specified | 22 | m2 |  |  | 22.05 | m2
2 | Extra over for secondary joists (approximately 10m) to support new roof light | 1 | Item |  |  | 9.4
3 | Timber firrings to above to provide falls | 55 | m |  |  | 55
4 | 50mm Celotec PIR insulation to perimeter cut to falls as required, raked from 200mm to 400mm wide | 20 | m
5 | 18mm plywood roof deck fixed to softwoof joists @ 400mm centres | 22 | m2
6 | 100mm insulation as specified laid to plywood roof decking | 22 | m2
7 | Single ply membranes; Sarnafil; Sarnafil G410-EL glass fibre membrane, Sarnavap 100E; fixing with adhesive; Sarnavap jointing tape joints; welded joints; lightning conductor clips; sealing with tape; carried out by a approved and registered Sarnafil installer; on plywood deck laid as specified (J42/111) to and including 100mm thick SarnaThermG insulation | 22 | m2
8 | Perimeter detail to single ply roof including fillets as required and chasing into existing brick wall; allow for preparing wall as necessary to receive roof covering | 20 | m
Allow for forming the following, all as specified
9 | boiler flues | 3 | no.
10 | toilet extract | 1 | no.
11 | internal downpipe, including rodding points etc. | 1 | no.
12 | rainwater gutter | 1 | Item
13 | rainwater outlet G/S | 1 | no.
14 | New plateau rooflight as specificed L10/450, approximately 800 x 800mm including all works necessary for perimter detail with single-ply roof covering | 1 | no.
| ROOF |  |  | To Summary | 0

## External Walls
£
EXTERNAL WALLS
MASONRY
| Existing courtyard to form new plantroom; refer to T&K drawing 1084/3-420 |  |  |  | 64
1 | Hack off loose render; fill chases and mortices where bricks are missing; and make good and plumb to receive new wall battens; overall wall area approximately 65m2 | 1 | Item |  | 64
2 | Parapets; hack-off loose material, repoint | 1 | Item |  | 64
3 | Carefully remove existing coping stone | 16 | m |  | 64
4 | Make good top of parapet, prepare as necessary and install damp-proof course to receive coping stone | 16 | m |  | 64
5 | Replace existing coping stone; repoint as required | 16 | m |  | 64
6 | Extra-over for new coping stone to match existing (PROVISIONAL QUANTITY) | 2 | m |  | 64
7 | Remove air-brick in external wall above window W12 and reinstate with brickwork to match existing | 1 | No
8 | Replace existing low-level air-brick serving G09 to match existing; make good as required (PROVISIONAL) | 1 | No
9 | Cleaning existing brick walls using DOFF system; allow for sample for approval (PROVISIONAL QUANTITY) | 250 | m2 |  |  | 82.5 | m | 4 | m high | 330
10 | Removal of paint from external brick walls and terracotta cornice (PROVISIONAL QUANTITY) | 10 | m2
[6 empty] | 82.5 | m | 4 | m high | 330
| EXTERNAL WALLS |  |  | 0

## Windows & Ext Doors
£
WINDOWS AND EXTERNAL DOORS
Contractor's Designed Portion
Design warranty
The successful subcontractor will be required to sign a Sub-Contractor Collateral Warranty (SCWa/E) in favour of the Employer with a Professional Indemnity Limit of £1,000,000.
CDP Analysis
The Contractor is to provide an analysis of the sum inserted below within the CDP Analysis forming part of Section 5
Refurbishment of sash windows and doors
1 | CDP Analysis | 1 | Item
End of Contractor's Designed Portion
WINDOWS
Works to existing external windows; refer to window refurbishment notes including strengthening tenon joints, repair cills and box frames using scarfed timber and 2-part resin; timber to be Sapele or Accoya; align mid-rails; ease, adjust and replace as necessary sash pulleys and cords to full working order draught-proofing as necessary; refer to T&K drawings 1084/3-412 & 413
W01 - accessible WC window; approximately 1180 x 2008mm high within frame
2 | Remove external timber board panels and supports to external face | 1 | Item
3 | Overhaul window, frame and architrave/surround to ensure sliding sash operates correctly and surfaces prepared to receive new painted decoration | 1 | Item
4 | Remove existing glazing, prepare to receive new; supply and install new white-frosted glazing to light, appro x imately 450 x 750mm high, including beads etc. as required | 4 | No.
Supply and fit the following new satin-nickle finished ironmongery to existing door: -
5 | 51mm sash lift | 2 | No.
6 | Locking fitch fastener | 1 | No.
7 | Concave sash stop | 2 | No.
Finishes
8 | Prepare and paint window complete as per finishes schedule; ensure smooth operation on completion | 1 | Item
W02 - kitchen window; approximately 1281 x 2008mm high within frame
9 | Remove external timber board panels and supports to external face | 1 | Item
10 | Overhaul window, frame and architrave/surround to ensure sliding sash operates correctly and surfaces prepared to receive new painted decoration | 1 | Item
11 | Remove existing glazing, prepare to receive new; supply and install new white-frosted glazing to light, appro x imately 450 x 750mm high, including beads etc. as required | 4 | No.
Supply and fit the following new satin-nickle finished ironmongery to existing door: -
12 | 51mm sash lift | 2 | No.
13 | Locking fitch fastener | 1 | No.
14 | Concave sash stop | 2 | No.
Finishes
15 | Prepare and paint window complete as per finishes schedule; ensure smooth operation on completion | 1 | Item
W03 - booking hall window; approximately 1189 x 2007mm high within frame
16 | Remove external timber board panels and supports to external face | 1 | Item
17 | Overhaul window, frame and architrave/surround to ensure sliding sash operates correctly and surfaces prepared to receive new painted decoration | 1 | Item
18 | Remove existing glazing, prepare to receive new; supply and install new clear glazing to light, appro x imately 450 x 750mm high, including beads etc. as required | 4 | No.
Supply and fit the following new satin-nickle finished ironmongery to existing door: -
19 | 51mm sash lift | 2 | No.
20 | Locking fitch fastener | 1 | No.
21 | Concave sash stop | 2 | No.
Finishes
22 | Prepare and paint window complete as per finishes schedule; ensure smooth operation on completion | 1 | Item
Secondary glazing
23 | Prepare frame; supply and install secondary glazing as specified 10/585 | 1 | Item
Blinds
24 | Prepare frame; supply and fit Silentglis 4830 black-out blind with chain operation as specified N10/240 | 1 | Item
W04 - booking hall window; approximately 1189 x 2007mm high within frame
25 | Remove external timber board panels and supports to external face | 1 | Item
26 | Overhaul window, frame and architrave/surround to ensure sliding sash operates correctly and surfaces prepared to receive new painted decoration | 1 | Item
27 | Remove existing glazing, prepare to receive new; supply and install new clear glazing to light, appro x imately 450 x 750mm high, including beads etc. as required | 2 | No.
Supply and fit the following new satin-nickle finished ironmongery to existing door: -
28 | 51mm sash lift | 2 | No.
29 | Locking fitch fastener | 1 | No.
30 | Concave sash stop | 2 | No.
Finishes
31 | Prepare and paint window complete as per finishes schedule; ensure smooth operation on completion | 1 | Item
Secondary glazing
32 | Prepare frame; supply and install secondary glazing as specified 10/585 | 1 | Item
Blinds
33 | Prepare frame; supply and black-out blind with chain operation as specified N10/240 | 1 | Item
W05 - luggage room window; approximately 1190 x 2008mm high within frame
34 | Remove external timber board panels and supports to external face | 1 | Item
35 | Overhaul window, frame and architrave/surround to ensure sliding sash operates correctly and surfaces prepared to receive new painted decoration | 1 | Item
36 | Remove existing glazing, prepare to receive new; supply and install new clear glazing to light, appro x imately 450 x 750mm high, including beads etc. as required | 4 | No.
Supply and fit the following new satin-nickle finished ironmongery to existing door: -
37 | 51mm sash lift | 2 | No.
38 | Locking fitch fastener | 1 | No.
39 | Concave sash stop | 2 | No.
Finishes
40 | Prepare and paint window complete as per finishes schedule; ensure smooth operation on completion | 1 | Item
Secondary glazing
41 | Prepare frame; supply and install secondary glazing as specified 10/585 | 1 | Item
Blinds
42 | Prepare frame; supply and fit Silentglis 4830 black-out blind with chain operation as specified N10/240 | 1 | Item
W06 - luggage room window; approximately 1190 x 2008mm high within frame
43 | Remove external timber board panels and supports to external face | 1 | Item
44 | Overhaul window, frame and architrave/surround to ensure sliding sash operates correctly and surfaces prepared to receive new painted decoration | 1 | Item
45 | Remove existing glazing, prepare to receive new; supply and install new clear glazing to light, appro x imately 450 x 750mm high, including beads etc. as required | 4 | No.
Supply and fit the following new satin-nickle finished ironmongery to existing door: -
46 | 51mm sash lift | 2 | No.
47 | Locking fitch fastener | 1 | No.
48 | Concave sash stop | 2 | No.
Finishes
49 | Prepare and paint window complete as per finishes schedule; ensure smooth operation on completion | 1 | Item
Secondary glazing
50 | Prepare frame; supply and install secondary glazing as specified 10/585 | 1 | Item
Blinds
51 | Prepare frame; supply and fit Silentglis 4830 black-out blind with chain operation as specified N10/240 | 1 | Item
W07 - booking hall window; approximately 1190 x 2008mm high within frame
52 | Remove external timber board panels and supports to external face | 1 | Item
53 | Overhaul window, frame and architrave/surround to ensure sliding sash operates correctly and surfaces prepared to receive new painted decoration | 1 | Item
54 | Remove existing glazing, prepare to receive new; supply and install new clear glazing to light, appro x imately 450 x 750mm high, including beads etc. as required | 1 | No.
Supply and fit the following new satin-nickle finished ironmongery to existing door: -
55 | 51mm sash lift | 2 | No.
56 | Locking fitch fastener | 1 | No.
57 | Concave sash stop | 2 | No.
Finishes
58 | Prepare and paint window complete as per finishes schedule; ensure smooth operation on completion | 1 | Item
Secondary glazing
59 | Prepare frame; supply and install secondary glazing as specified 10/585 | 1 | Item
Blinds
60 | Prepare frame; supply and fit Silentglis 4830 black-out blind with chain operation as specified N10/240 | 1 | Item
W08 - booking hall window; approximately 590 x 1372mm high within frame
61 | Remove timber board panels and supports from internal and external faces | 1 | Item
62 | Replace existing glass panes (PROVISIONAL QUANTITY) | 4 | no.
63 | Overhaul window, frame and architrave/surround to ensure sliding sash operates correctly and surfaces prepared to receive new painted decoration | 1 | Item
64 | Repair putty, beads etc. as required | 1 | Item
Supply and fit the following new satin-nickle finished ironmongery to existing door: -
65 | 51mm sash lift | 2 | No.
66 | Locking fitch fastener | 1 | No.
67 | Concave sash stop | 2 | No.
Finishes
68 | Prepare and paint window complete as per finishes schedule; ensure smooth operation on completion | 1 | Item
Secondary glazing
69 | Prepare frame; supply and install secondary glazing as specified 10/585 | 1 | Item
Blinds
70 | Prepare frame; supply and fit Silentglis 4830 black-out blind with chain operation as specified N10/240 | 1 | Item
W09 - cafe window; approximately 1230 x 2068mm high within frame
71 | Remove external timber board panels and supports to external face | 1 | Item
72 | Overhaul window, frame and architrave/surround to ensure sliding sash operates correctly and surfaces prepared to receive new painted decoration | 1 | Item
73 | Repair putty, beads etc. as required | 1 | Item
Supply and fit the following new satin-nickle finished ironmongery to existing door: -
74 | 51mm sash lift | 2 | No.
75 | Locking fitch fastener | 1 | No.
76 | Concave sash stop | 2 | No.
Finishes
77 | Prepare and paint window complete as per finishes schedule; ensure smooth operation on completion | 1 | Item
Secondary glazing
78 | Prepare frame; supply and install secondary glazing as specified 10/585 | 1 | Item
Blinds
79 | Prepare frame; supply and fit Silentglis 4830 black-out blind with chain operation as specified N10/240 | 1 | Item
W10 - cafe window; approximately 1190 x 2008mm high within frame
80 | Remove external timber board panels and supports to external face | 1 | Item
81 | Overhaul window, frame and architrave/surround to ensure sliding sash operates correctly and surfaces prepared to receive new painted decoration | 1 | Item
82 | Repair putty, beads etc. as required | 1 | Item
Supply and fit the following new satin-nickle finished ironmongery to existing door: -
83 | 51mm sash lift | 2 | No.
84 | Locking fitch fastener | 1 | No.
85 | Concave sash stop | 2 | No.
Finishes
86 | Prepare and paint window complete as per finishes schedule; ensure smooth operation on completion | 1 | Item
Secondary glazing
87 | Prepare frame; supply and install secondary glazing as specified 10/585 | 1 | Item
Blinds
88 | Prepare frame; supply and fit Silentglis 4830 black-out blind with chain operation as specified N10/240 | 1 | Item
W11 - female toilet window; approximately 562 x 1355mm high within frame
89 | Remove external timber board panels and supports to external face | 1 | Item
90 | Overhaul window, frame and architrave/surround to ensure sliding sash operates correctly and surfaces prepared to receive new painted decoration | 1 | Item
91 | Remove existing glazing, prepare to receive new; supply and install new white-frosted glazing to light, approximately 250x600mm high, including beads etc. as required | 4 | No.
Supply and fit the following new satin-nickle finished ironmongery to existing door: -
92 | 51mm sash lift | 2 | No.
93 | Locking fitch fastener | 1 | No.
94 | Concave sash stop | 2 | No.
Finishes
95 | Prepare and paint window complete as per finishes schedule; ensure smooth operation on completion | 1 | Item
W12 - female toilet window; approximately 530 x 1402mm high within frame
96 | Remove external timber board panels and supports to external face | 1 | Item
97 | Overhaul window, frame and architrave/surround to ensure sliding sash operates correctly and surfaces prepared to receive new painted decoration | 1 | Item
98 | Remove existing glazing, prepare to receive new; supply and install new white-frosted glazing to light, appro x imately 250 x 600mm high, including beads etc. as required | 4 | No.
Supply and fit the following new satin-nickle finished ironmongery to existing door: -
99 | 51mm sash lift | 2 | No.
100 | Locking fitch fastener | 1 | No.
101 | Concave sash stop | 2 | No.
Finishes
102 | Prepare and paint window complete as per finishes schedule; ensure smooth operation on completion | 1 | Item
W13 - female toilet window; approximately 530 x 1402mm high within frame
103 | Remove external timber board panels and supports to external face | 1 | Item
104 | Overhaul window, frame and architrave/surround to ensure sliding sash operates correctly and surfaces prepared to receive new painted decoration | 1 | Item
105 | Remove existing glazing, prepare to receive new; supply and install new white-frosted glazing to light, approximately 250x600mm high, including beads etc. as required | 4 | No.
Supply and fit the following new satin-nickle finished ironmongery to existing door: -
106 | 51mm sash lift | 2 | No.
107 | Locking fitch fastener | 1 | No.
108 | Concave sash stop | 2 | No.
Finishes
109 | Prepare and paint window complete as per finishes schedule; ensure smooth operation on completion | 1 | Item
DOORS
Works to existing external doors; refer to door refurbishment notes including strengthening tenon joints, repair using scarfed timber and 2-part resin; timber to be Sapele or Accoya; draght-proofing as necessary; refer to T&K drawings 1084/3-410 & 411
ED01: 1420 x 2370mm high double door (nominal); panelled and glazed; additional glazed overpanel, arched externally, including portcullis feature internally approximately 1200mm high
110 | remove existing boarding and supports from external face and make good (PROVISIONAL) | 1 | Item
111 | overhaul door, frame, architrave and overpanel to ensure correct operation | 1 | Item
112 | prepare door, frame and overpanel for decoration; paint as specified | 1 | Item
113 | remove existing 370mm dia. circular glazed pane; make good beads; reglaze to match existing; (PROVISIONAL QUANTITY) | 1 | No.
114 | remove existing 440mm dia. major-segment glazed pane; make good beads; re-glaze to match existing; (PROVISIONAL QUANTITY) | 2 | No.
115 | remove existing 400 x 470mm curved headed glazed pane; make good beads; re-glaze to match existing; (PROVISIONAL QUANTITY) | 1 | No.
116 | remove existing ironmongery and make good as necessary | 1 | Item
Supply & fit the following black powder-coated steel finished ironmongery in accordance with the specification and schedule: -
117 | 19mm RTD lever furniture on round rose | 1 | pair
118 | Europrofile escutcheons | 2 | No.
119 | Floor-mounted doorstop | 1 | No.
120 | 100 x 76mm Grade 13 hinges | 6 | No.
121 | Europrofile mortice sashlock | 1 | No.
122 | Europrofile cylinder & turn, 60mm, UMK | 1 | No.
123 | Supply, fit, connect and test power-assisted door operation to ED1 | 1 | Item
ED02: 1420 x 2370mm high double door (nominal); panelled and glazed; additional glazed overpanel, arched externally, including portcullis feature internally, approximately 1200mm high
124 | remove existing boarding and supports from external face and make good (PROVISIONAL) | 1 | Item
125 | overhaul door, frame, architrave and overpanel to ensure correct operation | 1 | Item
126 | prepare door, frame and overpanel for decoration; paint as specified | 1 | Item
127 | remove existing 370mm dia. circular glazed pane; make good beads; reglaze to match existing; (PROVISIONAL QUANTITY) | 1 | No.
128 | remove existing 440mm dia. major-segment glazed pane; make good beads; re-glaze to match existing; (PROVISIONAL QUANTITY) | 1 | No.
129 | remove existing 400 x 470mm curved headed glazed pane; make good beads; re-glaze to match existing; (PROVISIONAL QUANTITY) | 1 | No.
130 | remove existing ironmongery and make good door as necessary | 1 | Item
Supply & fit the following black powder-coated steel finished ironmongery in accordance with the specification and schedule: -
131 | 19mm RTD lever furniture on round rose | 1 | pair
132 | Europrofile escutcheons | 2 | No.
133 | Floor-mounted doorstop | 1 | No.
134 | 100 x 76mm Grade 13 hinges | 6 | No.
135 | Europrofile mortice sashlock | 1 | No.
136 | Europrofile cylinder & turn, 60mm, UMK | 1 | No.
ED03: 1340 x 2177mm high double door (nominal); arched to overall approximately 2m high; panelled;
137 | remove existing boarding and supports from external face and make good (PROVISIONAL) | 1 | Item
138 | overhaul door, frame, architrave and overpanel to ensure correct operation | 1 | Item
139 | prepare door, frame and overpanel for decoration; paint as specified | 1 | Item
140 | remove existing ironmongery and make good door as necessary | 1 | Item
Supply & fit the following black powder-coated steel finished ironmongery in accordance with the specification and schedule: -
141 | 19mm RTD lever furniture on round rose | 1 | pair
142 | Europrofile escutcheons | 2 | No.
143 | Floor-mounted doorstop | 1 | No.
144 | 100x76mm Grade 13 hinges | 6 | No.
145 | Europrofile mortice sashlock | 1 | No.
146 | Europrofile cylinder & turn, 60mm, UMK | 1 | No.
ED04: 1420 x 2370mm high double door (nominal); panelled and glazed; additional glazed overpanel, arched externally, including portcullis feature internally approximately 1200mm high
147 | remove existing boarding and supports from external face and make good (PROVISIONAL) | 1 | Item
148 | overhaul door, frame, architrave and overpanel to ensure correct operation | 1 | Item
149 | prepare door, frame and overpanel for decoration; paint as specified (PROVISIONAL) | 1 | Item
150 | make good beads to existing 370mm dia. circular glazed pane as necessary; | 1 | No.
151 | remove existing ironmongery as necessary and make good door as necessary | 1 | Item
Supply & fit the following black powder-coated steel finished ironmongery in accordance with the specification and schedule: -
152 | 19mm RTD lever furniture on round rose | 1 | pair
153 | Europrofile escutcheons | 2 | No.
154 | Floor-mounted doorstop | 1 | No.
155 | 100 x 76mm Grade 13 hinges | 6 | No.
156 | Europrofile mortice sashlock | 1 | No.
157 | Europrofile cylinder & turn, 60mm, UMK | 1 | No.
ED05: 1340 x 2177mm high double door (nominal); arched to overall approximately 2.10m high; panelled;
158 | remove existing boarding and supports from external face and make good (PROVISIONAL) | 1 | Item
159 | overhaul door, frame, architrave and overpanel to ensure correct operation | 1 | Item
160 | prepare door, frame and overpanel for decoration; paint as specified (PROVISIONL) | 1 | Item
161 | remove existing ironmongery as necessary and make good door as necessary | 1 | Item
Supply & fit the following black powder-coated steel finished ironmongery in accordance with the specification and schedule: -
162 | 19mm RTD lever furniture on round rose | 1 | pair
163 | Europrofile escutcheons | 2 | No.
164 | Floor-mounted doorstop | 1 | No.
165 | 100 x 76mm Grade 13 hinges | 6 | No.
166 | Europrofile mortice sashlock | 1 | No.
167 | Europrofile cylinder & turn, 60mm, UMK | 1 | No.
168 | Supply, fit, connect and test power-assisted door operation to ED5 | 1 | Item
ED06 - Door to external courtyard
169 | Remove existing timber gate and make good | 1 | Item
170 | New metal, powder-coated steel door; 950 x 1978mm high; refer to door specification; refer to T&K drawings 1084/3-411 | 1 | Item
Supply and fit new black powder-coated steel ironmongery to enable 180 degree opening; refer to ironmongery schedule
171 | 100 x 76mm grade 13 hinges, | 3 | No.
172 | Europrofile mortice sashlock with timed lock | 1 | No.
173 | Europrofile cylinder and turn | 1 | No.
174 | lever handle on round rose | 1 | No.
175 | Europrofile escutcheon | 2 | No.
176 | Supply and fit timer-lock to accessible toilet (PROVISIONAL) | 1 | Item
Accessible toilet
177 | prepare existing single external door and frame internally and paint as specified (M60/150) | 1 | No.
| WINDOWS AND EXTERNAL DOORS |  |  | 0

## Internal Walls
£
INTERNAL WALLS AND PARTITIONS
PLASTERWORK
1 | Remove area of damaged plaster in G01 wall, approx. 1m2, and re-plaster ready for redecoration (PROVISIONL) | 1 | No
2 | Make good small areas of existing plaster around window and door jambs, ready for re-plastering (PROVISIONAL QUANTITY) | 10 | No
MASONRY
Blockwork; mortar (1:1:6); stretcher bond; flush pointing (F10/356)
Walls
3 | 140mm thick in G12 courtyard plantroom; fair-faced both sides; 7.8m x 2.7m high measured over and including 2 no. single door openings and 1 no. double door opening; including lintols, restraints and the like; | 1 | Item
50 x 75mm SSW studs @ 450mm centres; 12mm plywood each side; plasterboard lines both sides as specified K10/205; 75mm acoustic insulation as specified P10/220 between the studs
4 | New full-height timber stud walls in existing 'Office' to form accessible toilet (G05), male toilet (G06) and staff toilet (G07); approximately 7.30m overall length; including 3 no. single door openings | 1 | Item
Timber stud toilet duct walls formed of studs 1100mm centres horizontally, 700mm vertically, plugged and screwed to masonry; Formica access panels all as specified K13/130
5 | 1500mm x 3710mm high to G05 accessible toilet; refer to drawing 1084/3_302 2 | 1 | Item
6 | 1350mm x 1200mm high to G06 male toilet; Painted MDP removable cover panel 300mm wide; refer to drawing 1084/3_302 1&2 | 1 | No.
7 | 1350mm x 1200mm high to G07 staff toilet; Painted MDP removable cover panel 300mm wide; refer to drawing 1084/3_307 1&2 | 1 | No.
8 | 1100mm x 1200mm high to G09 female toilet; Painted MDP removable cover panel 300mm wide; refer to drawing 1084/3_309 | 2 | No.
9 | 1500mm x 2750mm high to G10 accessible toilet; refer to drawing 1084/3_110 | 1 | No.
DOORS, SHUTTERS AND HATCHES
10 | Recondition existing ticket window W14 as specified; refer to T&K drawing 1084/BB/3-414; including replacement of damaged timber and defective ironmongery; prepare and finish as specified | 1 | Item
11 | Refurbish exiting ironmongery | 1 | Item
12 | Recondition existing ticket hatch W15 as specified; refer to T&K drawing 1084/BB/3-414; including replacement of damaged timber and defective ironmongery; prepare and finish as specified | 1 | Item
13 | Refurbish exiting ironmongery | 1 | Item
| INTERNAL WALLS AND PARTITIONS |  |  | 0

## Internal Doors
£
INTERNAL DOORS
DOORS, SHUTTERS AND HATCHES
Works to existing internal doors; refer to door refurbishment notes including strengthening tenon joints, repair using scarfed timber and 2-part resin, draught-proofing as necessary; refer to T&K drawings 1084/3-415 & 416
D01: existing 1020 x 2250mm high door (nominal); panelled; additional glazed overpanel approximately 500mm high
1 | reverse door opening to right-hand opening, including all necessary adjustments, making good etc. | 1 | Item
2 | overhaul door, frame, architrave and glazed overpanel to ensure correct operation | 1 | Item
3 | prepare door, frame and overpanel for decoration; paint as specified | 1 | Item
4 | remove existing 360 x 430mm high glazed pane; make good beads; reglaze to match existing; (PROVISIONAL QUANTITY) | 2 | No.
5 | remove existing ironmongery and make door and frame good as necessary | 1 | Item
Supply & fit the following black powder-coated steel finished ironmongery in accordance with the specification and schedule: -
6 | Adjustable overhead door closer | 1 | No.
7 | 19mm RTD lever furniture on round rose | 1 | pair
8 | Europrofile escutcheons | 2 | No.
9 | Floor mounted door stop | 1 | No.
10 | 100 x 76mm Grade 13 hinges | 3 | No.
11 | Europrofile mortice sashlock | 1 | No.
12 | Euro profile cylinder & turn, 60mm, UMK | 1 | No.
13 | Prepare and paint door and frame, including existing glazed fanlight 650 x 1300 mm overpanel | 1 | Item
D02: existing 906 x 2250mm high door (nominal); flush
14 | remove existing boarding and supports from external face and make good (PROVISIONAL) | 1 | Item
15 | overhaul door, frame, architrave and overpanel to ensure correct operation | 1 | Item
16 | prepare door, frame and overpanel for decoration; paint as specified | 1 | Item
17 | remove existing ironmongery and make door and frame good as necessary | 1 | Item
Supply & fit the following black powder-coated steel finished ironmongery in accordance with the specification and schedule: -
18 | Adjustable overhead door closer | 1 | No.
19 | 19mm RTD lever furniture on round rose | 1 | pair
20 | Europrofile escutcheons | 2 | No.
21 | Floor mounted door stop | 1 | No.
22 | 100x76mm Grade 13 hinges | 3 | No.
23 | Europrofile mortice sashlock | 1 | No.
24 | Euro profile cylinder & turn, 60mm, UMK | 1 | No.
D03: existing 975 x 2250mm high door (nominal); panelled;
25 | remove existing boarding and supports from external face and make good (PROVISIONAL) | 1 | Item
26 | overhaul door, frame, architrave and overpanel to ensure correct operation | 1 | Item
27 | prepare door, frame and overpanel for decoration; paint as specified | 1 | Item
28 | extra-over for painting with intumescent paint to achieve half-hour fire-rating (PROVISIONAL) | 1 | Item
29 | remove existing ironmongery and make door and frame good as necessary | 1 | Item
Supply & fit the following black powder-coated steel finished ironmongery in accordance with the specification and schedule: -
30 | Adjustable overhead door closer | 1 | No.
31 | 19mm RTD lever furniture on round rose | 1 | pair
32 | Europrofile escutcheons | 2 | No.
33 | Floor mounted door stop | 1 | No.
34 | FDKS sign; Stainless Steel by Opitome | 2 | No.
35 | 100 x 76mm Grade 13 hinges | 3 | No.
36 | Europrofile mortice sashlock | 1 | No.
37 | Euro profile cylinder & turn, 60mm, UMK | 1 | No.
D04: existing 880 x 2250mm high door (nominal); panelled; including frame; fitted within new masonry opening; additional glazed overpanel approximately 650mm high
38 | overhaul door, frame, architrave and overpanel to ensure correct operation | 1 | Item
39 | remove existing panel and replace with vision panel from clear safety glazing with patterned manifestations; including necessary works, beads etc. | 1 | Item
40 | prepare door, frame and overpanel for decoration; paint as specified | 1 | Item
41 | extra-over for painting with intumescent paint to achieve half-hour fire-rating (PROVISIONAL) | 1 | Item
41 | remove existing ironmongery and make door and frame good as necessary | 1 | Item
42 | remove existing 300 x 460mm high glazed pane; make good beads; reglaze to match existing; (PROVISIONAL QUANTITY) | 2 | No.
Supply & fit the following black powder-coated steel finished ironmongery in accordance with the specification and schedule: -
43 | Adjustable overhead door closer | 1 | No.
44 | Floor mounted door stop | 1 | No.
45 | 100 x 76mm Grade 13 hinges | 3 | No.
46 | Europrofile cylinder and turn | 1 | No.
47 | Europrofile mortice sashlock | 1 | No.
48 | 19mm RTD lever furniture on round rose | 1 | No.
49 | Europrofile escutcheons | 2 | No.
50 | WC sign; stainless-steel by Opitome | 1 | No.
D05: existing 880 x 2250mm high door (nominal); panelled; including frame; fitted within new masonry opening; additional glazed overpanel approximately 650mm high
51 | overhaul door, frame, architrave and overpanel to ensure correct operation | 1 | Item
52 | remove existing panel and replace with vision panel from clear safety glazing with patterned manifestations; including necessary works, beads etc. | 1 | Item
53 | prepare door, frame and overpanel for decoration; paint as specified | 1 | Item
54 | remove existing ironmongery and make door and frame good as necessary | 1 | Item
55 | remove existing 300 x 460mm high glazed pane; make good beads; reglaze; (PROVISIONAL QUANTITY) | 2 | No.
Supply & fit the following black powder-coated steel finished ironmongery in accordance with the specification and schedule: -
56 | Adjustable overhead door closer | 1 | No.
57 | Floor mounted door stop | 1 | No.
58 | 100 x 76mm Grade 13 hinges | 3 | No.
59 | 19mm RTD lever furniture on round rose | 1 | No.
60 | Europrofile cylinder and turn | 1 | No.
61 | 450x100mm push-plate | 1 | No.
62 | Europrofile mortice sashlock | 1 | No.
63 | stainless steel kickplates 150mm high | 2 | No.
64 | Europrofile escutcheons | 2 | No.
65 | WC sign; stainless-steel by Opitome | 1 | No.
65 | D06: supply and fit new 736 x 2100mm high door (nominal); 44mm flush solid-core lipped on all edges; to and including new 44mm hardwood frame and new 96 x 35mm ogee architrave; fitted within new partition | 1 | Item
66 | prepare door, frame and architrave for decoration; paint as specified | 1 | Item
Supply & fit the following black powder-coated steel finished ironmongery in accordance with the specification and schedule: -
67 | Mortice bathroom lock | 1 | No.
68 | 19mm RTD lever furniture on round rose | 1 | pair
69 | Bathroom turn & release | 1 | No.
70 | 100 x 76mm Grade 13 hinges | 3 | No.
71 | Buffered coat hook | 1 | No.
72 | stainless steel kickplates 150mm high | 2 | No.
73 | WC sign; stainless-steel by Opitome | 1 | No.
73 | D07: supply and fit new 736 x 2100mm high door (nominal); 44mm flush solid-core lipped on all edges; to and including new 44mm hardwood frame and 96 x35mm ogee architrave; fitted within new partition | 1 | Item
74 | prepare door, frame and architrave for decoration; paint as specified | 1 | Item
Supply & fit the following black powder-coated steel finished ironmongery in accordance with the specification and schedule: -
75 | Mortice bathroom lock | 1 | No.
76 | 19mm RTD lever furniture on round rose | 1 | pair
77 | Bathroom turn & release | 1 | No.
78 | 100 x 76mm Grade 13 hinges | 3 | No.
79 | Buffered coat hook | 1 | No.
80 | stainless steel kickplates 150mm high | 2 | No.
81 | WC sign; stainless-steel by Opitome | 1 | No.
81 | D08: supply and fit new 856 x 2100mm high door (nominal); 44mm flush solid-core lipped on all edges; to and including new 44mm hardwood frame and 96 x 35mm ogee architrave; fitted within new partition | 1 | No.
82 | prepare door and frame for decoration; paint as specified | 1 | Item
Supply & fit the following black powder-coated steel finished ironmongery in accordance with the specification and schedule: -
83 | Mortice bathroom lock | 1 | No.
84 | 19mm RTD lever furniture on round rose | 1 | pair
85 | Bathroom turn & release | 1 | No.
86 | 100 x 76mm Grade 13 hinges | 3 | No.
87 | Buffered coat hook | 1 | No.
88 | stainless steel kickplates 150mm high | 2 | No.
89 | WC sign; stainless-steel by Opitome | 1 | No.
D09: existing 958 x 2250mm high door (nominal); panelled;
90 | overhaul door, frame and architrave to ensure correct operation | 1 | Item
91 | prepare door, frame and architrave for decoration; paint as specified | 1 | Item
92 | remove existing ironmongery and make good door and frame as necessary | 1 | Item
Supply & fit the following black powder-coated steel finished ironmongery in accordance with the specification and schedule: -
93 | Adjustable overhead door closer | 1 | No.
94 | Floor mounted door stop | 1 | No.
95 | 100 x 76mm Grade 13 hinges | 3 | No.
96 | 400x19mm pull handle bolt through fixings | 1 | No.
97 | 450x100mm push-plate | 1 | No.
98 | stainless steel kickplates 150mm high | 2 | No.
99 | WC sign; stainless-steel by Opitome | 1 | No.
D10: existing 900 x 2050mm high door (nominal); panelled; additional glazed overpanel approximately 350mm high
100 | overhaul door, frame, architrave and overpanel to ensure correct operation | 1 | Item
101 | prepare door, frame and overpanel for decoration; paint as specified | 1 | Item
102 | remove existing 950 x 280mm high glazed pane; make good beads; reglaze to match existing; (PROVISIONAL) | 1 | No.
103 | remove existing ironmongery and make good door and frame as necessary | 1 | Item
Supply & fit the following black powder-coated steel finished ironmongery in accordance with the specification and schedule: -
104 | Mortice bathroom lock | 1 | No.
105 | 19mm RTD lever furniture on round rose | 1 | pair
106 | Bathroom turn & release | 1 | No.
107 | 100 x 76mm Grade 13 hinges | 3 | No.
108 | Buffered coat hook | 1 | No.
109 | stainless steel kickplates 150mm high | 2 | No.
D11: existing 904 x 2050mm high door (nominal); panelled; additional glazed overpanel approximately 350mm high
110 | overhaul door, frame, architrave and overpanel to ensure correct operation | 1 | Item
111 | prepare door, frame and overpanel for decoration; paint as specified | 1 | Item
112 | remove existing 950 x 280mm high glazed pane; make good beads; reglaze to match existing; (PROVISIONAL) | 1 | No.
113 | remove existing ironmongery and make good door and frame as necessary | 1 | Item
Supply & fit the following black powder-coated steel finished ironmongery in accordance with the specification and schedule: -
114 | Mortice bathroom lock | 1 | No.
115 | 19mm RTD lever furniture on round rose | 1 | pair
116 | Bathroom turn & release | 1 | No.
117 | 100 x 76mm Grade 13 hinges | 3 | No.
118 | stainless steel kickplates 150mm high | 2 | No.
119 | Buffered coat hook | 1 | No.
Work to new doors in new and existing openings
120 | D12: supply and fit new 900 x 2210mm high steel security door (nominal); flush; including frame | 1 | Item
121 | prepare door, frame and surround for decoration; paint as specified | 1 | Item
Supply and fit new stainless-steel ironmongery:
122 | refer to ironmongery schedule | 1 | Item
123 | 100 x 76mm Grade 13 hinges | 3 | No.
124 | adjustable overhead door closer | 1 | No.
125 | mortice bathroom lock | 1 | No.
126 | bathroom turn and release | 1 | No.
127 | 19mm RTD lever furniture on round rose | 1 | No.
128 | Europrofile escutcheons | 2 | No.
129 | stainless steel kickplates 150mm high | 2 | No.
130 | WC sign; stainless-steel by Opitome | 1 | No.
131 | D13: supply and fit new 749 x 2225mm high (nominal) steel security door, including frame; flush | 1 | Item
132 | prepare door, frame and surround for decoration; paint as specified | 1 | Item
Supply and fit new stainless-steel ironmongery:
133 | 100 x 76mm Grade 13 hinges | 3 | No.
134 | adjustable overhead door closer | 1 | No.
135 | Europrofile mortice sashlock | 1 | No.
136 | Europrofile cylinder and turn | 1 | No.
137 | 19mm RTD lever furniture on round rose | 1 | No.
138 | Europrofile escutcheons | 2 | No.
139 | stainless steel kickplates 150mm high | 1 | No.
140 | 'Private' sign; stainless-steel by Opitome | 1 | No.
141 | D14: supply and fit new double steel security door 1282 x 2215mm high (nominal), including frame; flush | 1 | Item
142 | prepare door, frame and surround for decoration; paint as specified | 1 | Item
Supply and fit new stainless-steel ironmongery:
143 | 100 x 76mm Grade 13 hinges | 6 | No.
144 | Europrofile mortice sashlock | 1 | No.
145 | Europrofile cylinder and turn | 1 | No.
146 | 19mm RTD lever furniture on round rose | 1 | No.
147 | Europrofile escutcheons | 2 | No.
148 | Shoot bolts | 2 | No.
149 | stainless steel kickplates 150mm high | 2 | No.
150 | 'Private' sign; stainless-steel by Opitome | 1 | No.
Refer to T&K drawings 1084/3_356.1 - proposed female toilets
151 | Replace missing glass above toilet door, approximately 1,000mm x 300mm high, including making good and replacing surrounding damaged or missing timber, beads etc.; preparing to receive paint finish; paint as specified (PROVISIONAL QUANTITY) | 3 | No
| INTERNAL DOORS |  |  | 0

## Wall Finishes
£
WALL FINISHES
The contractor shall allow for general making good of all plastered walls and covings to the following rooms ready for redecoration
1 | G01 - existing booking hall | 1 | Item
2 | G02 - existing luggage room | 1 | Item
3 | G03 - existing waiting room | 1 | Item
4 | G04 - proposed new kitchen | 1 | Item
5 | G05, 6, 7, 8 and 9 - proposed new toilets | 1 | Item
Refer to T&K drawing 1084/3_352.1 - Luggage Room
6 | Low-level - repair damaged paintwork; removed chipped or peeling paint leaving only paint with good adhesion; patch removed paint with patching compound and sand ready for decoration; approximate area 25m2 | 1 | Item
7 | Replace missing skirting to match existing and prepare to receive decoration (PROVISIONAL QUANTITY) | 5 | m
8 | Remove timber panelling from existing door ED3 including making good as necessary to receive decoration | 1 | Item
9 | Remove small fireplace, approximately 400x900mm high; repair as necessary and reinstate (PROVISIONAL) | 1 | Item
Carefully prepare, reinstate, repair and refinish as specified existing wall panelling approximately 750mm high above skirting to the following rooms: -
10 | G01 - existing booking hall; approximately 15m long in 10 no. sections, including additional detailing below windows W3, 4 and 7 | 1 | Item
11 | G02 - existing luggage room, including below W5 and 6 | 1 | Item
12 | G03 - new cafe and servery | 1 | Item
Carefully prepare, reinstate, repair and refinish as specified existing moulded timber skirting approximately 300mm high to the following rooms: -
13 | G01 - existing booking hall; approximately 15m long in ten sections, including additional detailing below windows W3, 4 and 7 | 1 | Item
14 | G02 - existing luggage room, including below W5 and 6 | 1 | Item
15 | G03 - existing waiting room | 1 | Item
PROPRIETARY LININGS AND PARTITIONS
Courtyard Plantroom; refer to T&K drawing 1084/3_420
16 | Gyproc wall board to Dupont Airguard VCL to 50mm Celotex PIR insulation on DPC all as specified; fitted to and between 50x50mm s/w studs @ 400mm centres plugged and screwed to existing brick wall | 50 | m2
FLOOR, WALL, CEILING AND ROOF FINISHINGS
Plaster; Ardex UK; steel trowelled (M20/ 165); including all necessary preparation, mesh accessories etc.
Walls in G11 toilet lobby in existing courtyard
17 | over 600mm wide; to new and existing masonry | 22 | m2
DECORATION
Painting new or existing plaster / sealed plasterboard walls; all as specified refer M60/110;
General surfaces over 300mm girth, including profiled coving, to 4.70m above floor level
18 | G01 - existing booking hall | 135 | m2
19 | G02 - existing luggage room | 91 | m2
20 | G02 - existing luggage room; extra-over for 900mm high band in contrasting colour | 18 | m
21 | G03 - proposed cafe and servery | 100 | m2
22 | G04 - kitchen | 56 | m2
23 | G05 - accessible toilet | 18 | m2
24 | G06, 7, 8 & 9 - toilets working in confined rooms | 76 | m3
25 | G10 - accessible toilet in existing courtyard | 22 | m2
26 | G11 - lobby in existing courtyard | 22 | m2
27 | G12 - plantroom | 38 | m2
Wood panelling approximately 900mm high: repair, fill, sand and prepare for painting; painting profiled panelling all as specified; refer M60/110
28 | G01 - existing booking hall | 25 | m
Wood panelling approximately: repair, fill, sand and prepare for painting; painting profiled panelling all as specified; refer M60/110
29 | G02 - existing luggage room, 1300 x 1300mm high, below windows | 2 | no.
30 | G03 - proposed cafe, 1400 x 1300mm high, below windows | 2 | no.
31 | G05 - proposed cafe, 1200 x 1000mm high, below window W1 | 1 | no.
Profiled timber skirtings, approximately 350mm high: repair, fill, sand and prepare for painting; all as specified; refer M60/150
32 | G01 - existing booking hall | 29 | m
33 | G02 - existing luggage room | 16 | m
34 | G03 - proposed cafe and servery; in 13 no. lengths | 15 | m
35 | G04 - kitchen | 2 | m
36 | G04 - kitchen (PROVISIONAL behind new units and fittings) | 10 | m
37 | G05 - accessible toilets (in 4 no. lengths) | 3 | m
New timber skirtings, approximately 350mm high; prepare and painted; all as specified; refer M60/150
38 | G06 - male toilet in 3 no. short lengths | 3 | m
39 | G07 - staff toilet in 3 no. short lengths | 3 | m
40 | G09 - female toilet in 6 no. lengths | 10 | m
41 | G09 - female toilet in 1 no. length (PROVISIONAL) | 1 | m
42 | Prepare and paint W14 ticket window approx. 600 x 650mm high, both sides, as specified; refurbish nny existing ironmongery; refer to T&K drawing 1084/BB/3-414; | 1 | No
43 | Prepare and paint W15 ticket hatch, approx. 650 x 1300mm high, both sides, as specified; refer to T&K drawing 1084/BB/3-414; including refurbishing ironmongery as appropriate | 1 | No
| WALL FINISHES |  |  | 0

## Floor Finishes
£
FLOOR FINISHES
Flowcrete K screed, to and including PP fibres, RIW Sheetseal and 50mm Celotex PIR board insulation; Refer to T&K drawing 1084/3_420
Floors
1 | 75mm thick screed; 50mm thick insulation; level or to falls; to concrete; Courtyard Plantroom | 22 | m2
Quarry tiles; as specified M40/110; 3mm joints; bedding; grey grout; all as specified
Floor to plantroom and accessible toilet in existing courtyard
2 | over 600mm wide; to falls, cross falls and slopes not exceeding 15 degrees from horizontal; to screed | 22 | m2
Skirtings
150mm wide; to plaster
3 | in plantroom | 22 | m
4 | in accessible toilet | 6 | m
Existing timber floors
5 | Cut-out as required and patch-in to match profile of existing small isolated areas of profiled skirting 300mm high with softwood timber; sand a fill joints ready for redecoration (PROVISIONAL QUANTITY) | 10 | no.
G01 existing booking hall floor
6 | Carefully take up existing timber floor, marking as appropriate to enable relaying as existing; set aside to reuse | 37 | m2
7 | Review condition of existing joists, supports and underfloor ventilation and report to engineer and architect as to their suitability | 37 | m2
8 | Supply and fix 50x50mm treated sawn softwood battens to existing joists at 400mm centres, to support new insulation | 37 | m2
9 | Supply and fit 100mm thick PIR insulation as specified (P10/250) between existing joists at 400mm centres | 37 | m2
10 | Relay existing floor boards, fixing as specified to existing floor joists | 37 | m2
11 | Sand existing floor boards to receive oil floor finish as specified | 37 | m2
12 | Apply 3 coats of Sadolin floor oil treatment to existing sanded floor boards as per specification M60/180 | 37 | m2
13 | Allow for perimeter treatment and working within recesses | 1 | Item
14 | Extra-over above for replacing existing damaged floor boards with reclaimed board to match existing to the satisfaction of the Architect (PROVISIONAL QUANTITY) | 10 | m2
G02 existing luggage room floor
15 | Carefully take up existing timber floor, marking as appropriate to enable relaying as existing; set aside to reuse | 78 | m2
16 | Review condition of existing joists, supports and underfloor ventilation and report to engineer and architect as to their suitability | 78 | m2
17 | Supply and fix 50x50mm treated sawn softwood battens to existing joists at 400mm centres, to support new insulation | 78 | m2
18 | Supply and fit 100mm thick PIR insulation as specified (P10/250) between existing joists at 400mm centres | 78 | m2
19 | Relay existing floor boards, fixing as specified to existing floor joists | 78 | m2
20 | Sand existing floor boards to receive oil floor finish as specified | 78 | m2
21 | Apply 3 coats of Sadolin floor oil treatment to existing sanded floor boards as per specification M60/180 | 78 | m2
22 | Allow for perimeter treatment and working within recesses | 1 | Item
23 | Extra-over above for replacing existing damaged floor boards with board lifted from the existing toilets; (PROVISIONAL QUANTITY) | 10 | m2
G03 new cafe floor including servery area
24 | Carefully take up existing timber floor, marking as appropriate to enable relaying as existing; set aside to reuse | 45 | m2
25 | Review condition of existing joists, supports and underfloor ventilation and report to engineer and architect as to their suitability | 45 | m2
26 | Supply and fix 50x50mm treated sawn softwood battens to existing joists at 400mm centres, to support new insulation | 45 | m2
27 | Supply and fit 100mm thick PIR insulation as specified (P10/250) between existing joists at 400mm centres | 45 | m2
28 | Relay existing floor boards, fixing as specified to existing floor joists | 35 | m2
29 | Sand existing floor boards to receive oil floor finish as specified | 35 | m2
30 | Extra over reconditioning existing boards for supplying replacement floor boards to receive oil floor finish as specified (PROVISIONAL QUANTITY) | 10 | m2
31 | Apply 3 coats of Sadolin floor oil treatment to existing sanded floor boards as per specification M60/180 | 35 | m2
32 | Allow for perimeter treatment and working within recesses | 1 | Item
33 | Extra-over above for replacing existing damaged boards with reclaimed board to match existing to the satisfaction of the Architect (PROVISIONAL QUANTITY) | 10 | m2
34 | Remove existing joist and replace as appropriate with new 47x220mm C16 treated softwood joist including provision of support from existing walls, damp prevention measures and membranes; 5.75m long (PROVISIONAL) | 5 | No
35 | Remove existing joist and replace as appropriate with new 47x220mm C16 treated softwood joist including provision of support from existing walls, damp prevention measures and membranes; 6.40m long (PROVISIONAL) | 5 | No
G03 new servery area
36 | 18mm grade C/D plywood nailed to existing joists in lieu of sanding and oil treatment | 11 | m2
Vinyl flooring to new plywood measured separately
G04 new kitchen
37 | Carefully take up existing timber floor, marking as appropriate to enable relaying as existing; set aside to reuse | 13 | m2
38 | Review condition of existing joists, supports and underfloor ventilation and report to engineer and architect as to their suitability | 13 | m2
39 | Supply and fix 50x50mm treated sawn softwood battens to existing joists at 400mm centres, to support new insulation | 13 | m2
40 | Supply and fit 100mm thick PIR insulation as specified (P10/250) between existing joists at 400mm centres | 13 | m2
41 | 18mm grade C/D plywood nailed to existing joists including cutting into recesses as necessary | 13 | m2
G05, 6, 7, 8 & 9 new toilets
42 | Carefully take up existing timber floor; set aside for potential reuse in other rooms | 22 | m2
43 | Review condition of existing joists, supports and underfloor ventilation and report to engineer and architect as to their suitability | 22 | m2
44 | Supply and fix 50x50mm treated sawn softwood battens to existing joists at 400mm centres, to support new insulation | 22 | m2
45 | Supply and fit 100mm thick PIR insulation as specified (P10/250) between existing joists at 400mm centres | 22 | m2
46 | 18mm C/D grade plywood; nailed to existing joists | 22 | m2
47 | Vinyl flooring laid as specified (refer to M50/110) to new plywood including all necessary perimeter treatment | 22 | m2
48 | Remove existing joist and replace as appropriate with new 47 x 220mm C16 treated softwood joist including provision of support from existing walls, including damp prevention measures and membranes; 2.20m long (PROVISIONAL) | 5 | No
Vinyl sheet; Forbo Safestep R12; welded joints; fixing with adhesive to plywood; all as specified (M50/152 and M50/151)
Floors
49 | over 600mm wide; level or to falls; to GO3 servery | 11 | m2
50 | over 600mm wide; level or to falls; to GO4 kitchen | 13 | m2
Skirtings
51 | 100mm high as specified; fixing with adhesive; hot welded joints; to existing plaster as specified | 22 | m
Exisitng hearths
52 | Slate hearths to fireplace, approximately 1500 x 800mm deep to existing floor; all as specified (N10/335) (PROVISIONAL) | 2 | No
DECORATION
Painting new chipboard flooring to mezzanine plant space; preparing; epoxy paint as per specification
General surfaces;
53 | over 300mm girth working in confined area of roof space | 14 | m2
54 | Perimeter detailing around perimeter and hatch to ensure drainage into gully | 25 | m
| FLOOR FINISHES |  |  | 0

## Ceiling Finishes
£
CEILING FINISHES
The contractor shall allow for general making good of all plastered ceilings to the following rooms ready for redecoration
1 | G01 - existing booking hall | 79 | m2
2 | G02 - existing luggage room | 37 | m2
3 | G03 - cafe and servery | 45 | m2
4 | Extra over for removal of existing ceiling, disposal and preparing to receive new ceiling (PROVISIONAL) | 45 | m2
5 | G04 - kitchen | 13 | m2
6 | G09 - new female toilet | 8 | m2
CEILINGS
Supply and install acoustic plaster system as per specification K40/120; mechanically fixed to existing joists through ceilings; working over 4.50m above floor level; allow for accommodating light fittings and installation and other services penetrating the ceiling
7 | to booking room ceilings (PROVISIONAL) | 68 | m2
8 | perimeter detail (PROVISIONAL) | 22 | m
9 | to luggage room ceilings (PROVISIONAL) | 30 | m2
10 | perimeter detail (PROVISIONAL) | 22 | m
DECORATION
Make good, fill as necessary, prepare and painting existing profiled plaster covings, overall approximately 450mm deep x 450mm wide, 4.70m above floor level; all as specified refer M60/110;
11 | G01 - existing booking hall | 34 | m
12 | G02 - existing luggage room | 23 | m
13 | G03 - proposed cafe and servery | 26 | m
14 | G04 - kitchen | 15 | m
| G05 - toilets (working in small areas) |  | m
Painting new or existing plaster / sealed plasterboard ceilings 4.70m above floor level; all as specified refer M60/110;
15 | G01 - existing booking hall | 79 | m2
16 | Extra over for paint to acoustic plaster ceiling | 68 | m2
17 | G02 - existing luggage room | 37 | m2
18 | Extra over for paint to acoustic plaster ceiling | 30 | m2
19 | G03 - proposed cafe and servery | 45 | m2
20 | G04 - kitchen | 13 | m2
21 | G05, 6, 7, 8 & 9 - toilets | 22 | m2
22 | G12 - plantroom (PROVISIONAL) | 22 | m2
Supply and install 2no. layers of 170mm thick Rockwool insulation between joists and over joists, as specified, behind existing and new ceilings within roof void including clearing debris and provision of any necessary support; refer to specification P10/125 to the following rooms: -
23 | G01 - existing booking hall | 79 | m2
24 | G02 - existing luggage room | 37 | m2
25 | G03 - cafe and servery | 45 | m2
26 | G04 - kitchen | 13 | m2
27 | G09 - female toilet | 8 | m2
New plasterboard ceiling and insulation including provision of all necessary framework and perimeter detail to new mezzanine plant floor structure; skim and decorate plasterboard as required; refer to specification P10/125 to the following rooms: -
28 | G05, 6, 7 & 8 - toilets | 14 | m2
New plasterboard ceiling, insulation and membranes, including provision of all necessary framework and perimeter detail, to existing pitched roof structure above new mezzanine plant room; skim and decorate plasterboard as required; refer to specification P10/125 to the following rooms: -
29 | New mezzanine plant space (area measured on plan) | 14 | m2
30 | Supply and install new hatch, approximately 750x900mm, to mezzanine plant space above G08 lobby; including all necessary trimming and additional joists etc. | 1 | No
31 | Remove existing; make good; prepare to receive new; supply and install ceiling access hatch to existing roof space above booking hall (PROVISIONAL) | 1 | No
| CEILING FINISHES |  |  | 0

## Fittings
£
FITTINGS, FURNISHINGS AND EQUIPMENT
Contractor's Designed Portion
Design warranty
The successful subcontractor will be required to sign a Sub-Contractor Collateral Warranty (SCWa/E) in favour of the Employer with a Professional Indemnity Limit of £1,000,000.
CDP Analysis
The Contractor is to provide an analysis of the sum inserted below within the CDP Analysis forming part of Section 5
Design, supply, installation and testing of kitchen units, servery counter and bespoke joinery
1 | The contractor is to appoint a specialist to design the fittings including all necessary ancillaries, fixings and bracketry | 1 | Item
2 | CDP Analysis | 1 | Item
End of Contractor's Designed Portion
GLAZING
Mirrors; 6mm thick; ground edges; fixing to existing walls
Mirrors fixed to wall, 6mm thick glass; see specification N13/438
3 | 1400 x 900mm high in male toilet; | 1 | No
4 | 700 x 950mm high in female toilet; | 1 | No
5 | 1400 x 900mm high in staff toilet; | 1 | No
6 | 500 x 900mm high in accessible toilet; | 1 | No
7 | 1400 x 900mm high in courtyard toilet; (PROVISIONAL) | 1 | No
FURNITURE, FITTINGS AND EQUIPMENT
8 | Carefully remove existing timber desk, approximately 2.80m long, from existing ticket office; make good as required; reinstall in G02 on completion | 1 | Item
New purpose-made joinery fittings without services; fixed to existing floors only where backing onto existing wall-panelling; including scribing to existing structure, skirtings and panelling, packing out and sealing as necessary; refer to 1084_BB_504 Fixed-Furniture Schedule for fittings: -
G01 - chair & general storage unit, and tea station, unit jg01-1,
9 | 8550 x 1176mm high overall, stepped from 710 to 530mm deep; refer T&K drawing 1084/3-440 & 441; carcass formed in 18mm painted MDF with 50 x 70mm s/w stud frame; incorporating 2 no. double-doors each pair 2405 x 1176mm high overall, 1 no. pair double-doors 1605 x 1176mm high overall and 1 no. pair of double doors 1605 x 900mm high overall; 44mm solid-core timber doors with 3 no. soss hinges per leaf; including all finishing and stainless-steel ironmongery consisting of Allgood hinges, flush-plate pull handles with Euro-profile mortice lock | 1 | Item
G02 - storage unit jg02-1;
10 | 1867 x 1906mm high overall, 650mm deep; refer T&K drawing 1084/3-444; carcass formed in 18mm painted MDF with 70mm square s/w stud frame; incorporating 1 no. pair unequal double-doors and side panel 1867 x 1800mm high overall with scribed-in closing piece; including all finishing and stainless-steel ironmongery consisting of flush-plate pull handles with mortice lock | 1 | Item
G02 - storage unit for server etc. jg02-2;
11 | 1867 x 1906mm high overall, 650mm deep; refer T&K drawing 1084/3-445; carcass formed in 18mm painted MDF with 70mm square s/w stud frame; incorporating 1 no. pair double-doors 1867 x 1906mm high overall; incorporating 2 no. server vents as specified; including all finishing and stainless-steel ironmongery consisting of flush-plate pull handles with mortice lock | 1 | Item
12 | G03 - display cabinet jg03-2; | 1 | Item
13 | 1175 x 1400mm high, 195mm deep; refer T&K drawing 1084/3-473; carcass and doors formed in 18mm painted MDF; incorporating 1 no. pair double-doors, lockable, each with 6 no. Perspex sheets, 6mm thick, to the inner faces; 3 no. painted adjustable timber shelves, 25mm thick including all finishing and stainless-steel ironmongery consisting of 180 degree cabinet hinges, 2 no. shotbolts and mortice lock | 1 | Item
G03 - bar counter jg03-3;
14 | 2446mm long within recess, 580mm deep with rebate; 48mm thick painted plywood; supported by and including 2 no. 300mm Hafele Hebgo fixed brackets; including 50mm deep upstand; fixed to existing masonry wall, including packing/scribing as necessary | 1 | Item
G03 - CONTRACTOR DESIGNED L-shaped front servery counter jg03-1;KCCJ item 29
15 | 4420mm long, 800mm deep; 646mm wide hinged lockable opening gate to one end; with 2270mm return, 800mm deep; with 839mm wide corner cupboard below; level change; Nero assuluto granite counter, 30mm thick; including all necessary support framework, recesses, cut-outs etc., all including: - | 1 | Item
16 | lockable flap gate section with support to adjacent wall | 1 | Item
17 | plain top-section base and intermediate shelf under Doors: stainless steel | 1 | Item
18 | plain top-section to abut tall cupboard with void under for milk refrigerator (refrigerator measured separately) | 1 | Item
19 | plain top-section housing for cash drawer and base shelf under | 1 | Item
20 | plain top corner section base and intermediate shelf under | 1 | Item
21 | fascia | 1 | Item
22 | timber batten cladding to fronts; painted; 45 x 45mm tulipwood; fixed to base units | 1 | Item
23 | 4 no. units; stainless steel lockable base unit cupboards each with 2 no. adjustable shelves; stainless-steel doors (PROVISIONAL) | 1 | Item
24 | G03 - Wall-shelf, two-tier, 750 x 300mm wide; stainless-steel; fixed to existing wall; KCCJ item 27 | 1 | Item
25 | G03 - Back-counter, 3,000 x 750mm wide, 900mm high to counter top; upstand tile return to rear box structure over with security roller-shutter (itemised below) and integral lighting; stainless-steel; fixed to existing wall; KCCJ item 20, including: - | 1 | Item
26 | Integrated roller-shutter; ALU-1237_Security Shutter UK Roller shutters; fitted within unit | 1 | Item
27 | High-level wall shelf, 2200mm long, 50mm thick; concealed fixings; fixed to existing wall | 1 | Item
28 | Plain top section void under (for ice cream fridge/freezer) | 1 | Item
29 | Hot-chilled water dispenser section with drip-tray and font inset top; housing under for hot-chilled water plant | 1 | Item
30 | plain top-section void under for bottle fridge | 1 | Item
31 | G03 - Tall cupboard; 700 x 790mm wide; 2200mm high; corner section with 4 no. adjustable shelves; timber clad front door; blackboard painted face; KCCJ item 20(d) | 1 | Item
G04 - kitchen units including all necessary scribing and packing to fit to existing walls, and including cut-outs, recesses etc. to receive scedules kitchen equipment
32 | Dish-wash table, 1875 x 700mm wide, 900mm high, with dish-wash basket recess/anti-drip mould, and 1 no. 450mm square bowl sinks inset; full-length 300mm high splash-back to rear; part open void under for 2 no. bins; base shelf under sink; void housing for dishwasher; to receive taps (measured separately); KCCJ item 3 | 1 | Item
33 | Sloping dishwashing basket shelf over dishwasher; 700 x 450mm; stainless-steel; complete with brackets fixed to existing wall; KCCJ item 7 | 1 | Item
34 | Two-tier wall shelf; 1200 x 300mm wide; stainless-steel; over dishwasher; KCCJ item 8 | 1 | Item
35 | Stainless-steel worktop, 1700 x 700mm wide, 900mm high with and including upstand tile return to walls; shaped to fit column; single lockable drawer with removable GN container liner base and intermediate shelf under; KCCJ item 11 | 1 | Item
36 | Two-tier stainless-steel wall shelf over dishwasher; 1400 x 300mm wide; KCCJ item 12 | 1 | Item
37 | Stainless-steel worktop sink inset; 1859 x 600mm wide, 900mm high; upstand to rear and left-hand end; to receive 1 no. 450mm square bowl weld inset; open base and intermediate shelf under; with valance to front; KCCJ item 13 | 1 | Item
38 | Run of 3 no. lockable wall cupboards over | 1 | Item
39 | Worktop/infill spacer base and intermediate shelf under | 1 | Item
40 | Kitchen shelves, 1.5m long, fixed to wall - see elevation C T&K drawing 1084/3-304.1 (PROVISIONAL) | 3 | No
G11 - Courtyard plantroom storage, fixed to new and existing masonry, including packing-out and scribing as necessary
41 | 2300mm high, 1260 wide, shelving unit, 650mm deep; including cupboards with 5 no. adjustable shelves; all site-painted; 25mm MDF MR; including Hafele peg and socket supports etc. | 1 | Item
Catering equipment: integrating with kitchen units (N12/ 400)
Within G03 cafe and servery and G04 Kitchen; fabricate, assemble, supply and install the following: -
42 | Fly killer; Pelsis EX30W; wall-mounted; KCCJ item 1 | 1 | No
43 | Cutlery/condiments dispenser | 1 | No
44 | Bottle-cooler; 2-section Interlevin; 2 no. lockable hinged glass doors, stainless-steel exterior & interior, adjustable shelves, interior light, self-contained refrigeration (KCCJ item 26) | 1 | No
45 | Microwave oven, shelf-mounted on wall brackets; Sharp R23AM/MWB | 1 | No
46 | Multi-tiered refrigerated display unit | 1 | No
47 | Under-counter hot & chilled water system, Billi Quadra, with counter- top font and inset pattern drip-tray | 1 | No
48 | Coffee grinder; Crem 20509 (KCCJ item 25) | 1 | No
49 | Filtration unit, Bestmax; Crem Intl (KCCJ item 24) | 1 | No
50 | Water filter; Crem (PROVISIONAL) | 2 | No
51 | Single-plate counter-top Panini grill | 1 | No
52 | Coffee machine Two group Crem C2Z1RTA | 1 | No
53 | Demountable hot plate; Hatco GRS24I (KCCJ item 28) | 1 | No
54 | Under-counter waste bins, Probbax PB1090GRY (KCCJ item 5) | 2 | No
55 | Under-counter dishwasher; Maidaid C515WSDDW, including connections | 1 | No
56 | Cleans storage rack, as per drawings | 1 | No
57 | Enzyme dosing unit; Mechline GreasePak; battery-operated | 1 | No
58 | Combi oven; Hobart EF077, including fitting and connections | 1 | No
59 | 4-ring, twin-plate electric hob; Hobart E277; including fitting and connections | 1 | No
60 | Hard chrome finish griddle plate, Hobart EFT477LC; including fitting and connections | 1 | No
61 | recirculation hood over hob, 1850mm wide; fixed to walls within existing chimney breast | 1 | No
62 | Ice-cream refrigerator; Tefcold UF200VGS | 1 | No
63 | Mobile upright single-lockable-door freezer; Gram F410RGC6N | 1 | No
64 | Bottle fridge under with lockable glass doors; Tefcold BA20H | 1 | No
65 | Undercounter refrigerator, Gram K210RG3N, with lockable doors | 1 | No
| FITTINGS, FURNISHINGS AND EQUIPMENT |  |  | 0

## Sanitary
£
SANITARY INSTALLATIONS
Domestic water services;
Stripping out
1 | removing redundant installations from site | 1 | Item
Foul drainage;
Stripping out
2 | isolating; removing redundant installations from site | 1 | Item
The following works are to be priced with reference to the Max Fordham specifications:
Supply and fit, including all builder's work in association; including connections
G04 - kitchen
3 | wash hand-basin, First Choice, and associated fittings including battery-operated infra-red sensor red tap (KCCJ item 2) and pre-wash rinse spray (KCCJ item 4) | 1 | no.
4 | kitchen sink and associated twin tap fittings | 1 | no.
G05 to 09 - toilets
5 | wash hand-basin, Ideal Standard White 450mm round back-outlet, and Ideal Standard Sensor Flow 21 Compact Wall Spout, including proximity sensor, and associated fittings | 3 | no.
6 | Ideal Standard Taps/Spout for hand basin: B1457 Alterna 21 bib taps 1/2"lever handles, anti vandal outlet pair | 3 | no.
7 | wash hand-basin in female toilet, as specified (N13/335), with mixer-tap and all associated fittings | 1 | no.
8 | Cistern set, Armitage Shanks S3095 including Conceala 2 cistern, seat & cover S4103, actuator and flush plate | 4 | no.
9 | Ideal Standard WC Pan: E0509(01) Concept back to wall wc pan with horizontal outlet and Aquablade technology | 4 | no.
10 | Armitage Shanks Cistern Control: Contemporary flush plate S4399, chrome plated | 4 | no.
11 | accessible WC, Armitage Shanks S6969 and associated fittings | 1 | no.
12 | Armitage Venesta Toilet Roll Holder: 0302527; fixed to wall | 4 | no.
13 | Armitage Shanks' DOC M PACK: S6969 - Doc M Back To Wall | 1 | Item
14 | hand-dryer; Dyson AB08; fixed to wall; including connection to supply | 4 | no.
G12 courtyard
15 | local electric instantaneous water heater; fixed to wall; including connection to supply | 1 | no.
16 | Armitage Venesta Toilet Roll Holder: 0302527; fixed to wall | 1 | no.
17 | Armitage Shanks' DOC M PACK: S6969 - Doc M Back To Wall | 1 | no.
18 | hand-dryer; Dyson AB08; ; sprayed-nickel; fixed to wall; including connection to supply | 1 | no.
19 | Belfast sink (spec. N13/336) and associated taps and fittings | 1 | no.
Attendances
20 | Main Contractor attendances | 1 | Item
Overheads and profit
21 | Overheads and profit | 1 | Item
| SANITARY INSTALLATIONS |  |  | 0

## Mechanical
£
MECHANICAL INSTALLATIONS
Contractor's Designed Portion
Design warranty
The successful subcontractor will be required to sign a Sub-Contractor Collateral Warranty (SCWa/E) in favour of the Employer with a Professional Indemnity Limit of £1,000,000.
CDP Analysis
Design, supply, installation and testing of 3 no. boiler flues and extract ventilation
1 | The contractor is to appoint a specialist to design the boiler flue system including all necessary flue ancillaries, fixings and bracketry | 1 | Item
2 | CDP Analysis | 1 | Item
End of Contractor's Designed Portion
GENERALLY
Specifications
The following works are to be priced with reference to the relevant Max Fordham specification:
Refer to Max Fordham's Specification for the Mechanical Services Installations
The contractor should allow for all works required for the installation of the following mechanical services: -
3 | Rainwater installations | 1 | Item
4 | Foul drainage above ground | 1 | Item
5 | Cold water installation | 1 | Item
6 | Hot water installation | 1 | Item
7 | Natural gas installation | 1 | Item
8 | Gas-fired boilers | 1 | Item
9 | Ventilation | 1 | Item
Disconnection and removal of existing dilapidated services including meters etc.
10 | Gas supply | 1 | Item
11 | Water supply | 1 | Item
12 | Allow for services boxing and meters as required to Courtyard Plantroom | 1 | Item
Gas access chamber
13 | Gas meter housing, naturally-ventilated as required, and associated concrete base, builders work in connection etc., including automatic cut-off solenoid to gas supply and plant room, linked to the fire-alarm and with manual emergency knock-off buttons to the areas served | 1 | Item
14 | Allow for services boxing and meters as required to Courtyard Plantroom | 1 | Item
15 | The main contractor is to allow for all builder's work including making good to an aesthetic, weathertight and acoustic standard | 1 | Item
Rainwater pipework and gutters in accordance with Max Fordham's specification R10 and drawings
16 | 100mm dia. gutter at high-level to new courtyard plantroom roof including brackets, ends and connection to downpipe | 6 | m
17 | 63mm dia. Downpipe within new courtyard plantroom including brackets, connections and the like | 3 | m
18 | Remove existing and replace with new 100mm dia. cast iron gutter including all brackets fixed to existing masonry or timber, connections to existing, bends and the like (PROVISIONAL QUANTITY) | 10 | m
19 | Remove existing and replace with new 63mm dia. cast iron downpipe including all brackets fixed to existing masonry or timber, connections to existing, swan-neck bends and the like (PROVISIONAL QUANTITY) | 5 | m
Foul drainage above ground to the following all in accordance with Max Fordham's specification R11; single-stack system with vented stacks; weatherproofed roof-penetrations; terminating at below-ground drainage connection; drainage pipework to be generally solvent-welded uPVC unless otherwise specified; including all necessary valves, tundishes, access points, fire collars, insulation, builder's work etc.;
G10 - accessible toilet in courtyard
20 | WC | 1 | No.
21 | wash hand-basin | 1 | No.
G03 - servery
22 | wash hand-basin | 1 | No.
23 | coffee machine | 1 | No.
24 | kitchen sink | 1 | No.
G04 - kitchen
25 | wash hand-basin | 1 | No.
26 | kitchen sink | 2 | No.
27 | dishwasher | 1 | No.
G05 to 09 - toilets
28 | wash hand-basin | 4 | No.
29 | WC | 5 | No.
Cold water installations
Stripping out
30 | isolating; removing redundant installations from site | 1 | Item
31 | New metered connection | 1 | Item
32 | Barrier pipe and trace heating | 1 | Item
33 | Ground meter and valve chamber | 1 | Item
34 | Main isolation valve and drain cock | 1 | Item
Cold water installation all in accordance with Max Fordham's specification S10: pipework as specified (MDPE below ground, solvent-welded uPVC class C over 40mm dia., R205 medium copper below 40mm dia.); including all valves, vapour barriers, sleeves, thermal expansion, acoustic stopping & vibration, fire stopping etc.; fixing to structure; connecting to sanitary appliances, all as drawing 6021/S(1)100
35 | Cold water underground feed from Courtyard plantroom to G09 female toilet, including all builder's work in association with trench, excavation, backfilling etc.; including trace-heating and connection, barrier pipe, marker tap and mesh etc. | 8 | m
G12 courtyard
36 | local electric instantaneous water heater, including trace heating | 1 | Item
37 | WC | 1 | Item
38 | wash-handbasin | 1 | Item
G03 - servery
39 | wash hand-basin | 1 | Item
40 | coffee machine/filter | 2 | Item
41 | kitchen sink | 1 | Item
G04 - kitchen
42 | wash hand-basin | 1 | Item
43 | kitchen sink | 2 | Item
44 | dishwasher | 1 | Item
G05 to 09 - toilets
45 | wash hand-basin | 4 | Item
46 | WC | 5 | Item
Hot & blended water installation, including hot-water return pipework, all in accordance with Max Fordham's specification S11: pipework as specified; including all valves, vapour barriers, sleeves, thermal expansion, acoustic stopping & vibration, firs stopping etc.; all as drawing 6021/S(1)100
G03 - servery
47 | wash hand-basin | 1 | No.
48 | kitchen sink | 1 | No.
G04 - kitchen
49 | wash hand-basin | 1 | No.
50 | kitchen sink | 2 | No.
G05 to 09 - toilets
51 | wash hand-basin | 4 | No.
Natural gas
52 | Disconnection of the existing gas supply pipework, meter and parts and removal from site | 1 | Item
New statutory gas connection
53 | Attendances to SGN and associated builder's work including meter works, concrete base, access chamber, automatic cut-off solenoid valve; trench including excavation and back-filling; market tape and mesh | 1 | Item
54 | Gas pressure booster (PROVISIONAL) | 1 | Item
55 | Gas cut-off systems | 1 | Item
56 | Heavy grade gas supply pipe including appliance gas cocks | 1 | Item
57 | Control panels providing alarm, interlock and shut-off, interlocking with fire-alarm system, kitchen ventilation and all plant in plantroom | 1 | Item
Gas-fired boilers to supply LTHW for space-heating and domestic hot-water; discharge of boiler flue gases; all in accordance with Max Fordham's specification T10drawings and mechanical plant equipment schedule J6021/T[--]500A
58 | High-efficiency condensing gas boilers; located in courtyard plantroom; high-efficiency system consisting of wall-mounted modular assembly; | 3 | No.
59 | Room-sealed boiler flue system (see CDP portion above) | 1 | Item
60 | Boiler circulation pumps, Grundfos; connected to pipework; including housing etc. | 1 | Item
61 | Proprietary boiler cascade weather-compensating controller; complete with external air-temperature sensor and water-flow temperature sensor | 1 | Item
62 | Steel pipework connections within plantroom | 1 | Item
63 | Copper tundish | 1 | Item
Low temperature hot water heating; including all associated pipework, largely medium-weight steel with copper tails, concealed within risers, voids etc. with appropriate access points, all sleeved where required; including all necessary insulation, pumps, gauges, sensor pockets, valves, vents and drain-down points, sensors, air & dirt separator etc.; all labelled with ID bands and in accordance with Max Fordham's drawing 6021/T(1)100 and 200 and radiator schedule specification T31
64 | Calorifier; 300 litre in-direct; Megaflow, 860mm dia., 1800mm high within mezzanine plantroom, and associated pipework and builder's work | 1 | Item
65 | Air & dirt separator; Spirotech UK Ltd; associated pipework and connections, including builder's work | 1 | Item
66 | Dosing pot; BSS; 11 litres, including valves, pipework and builder's work; fixed to wall to allow for filling and drainage | 1 | Item
67 | Gas solenoid shut-off valve; Black Teknigas Ltd; including gas sensors above each boiler; emergency cut-out switch; BMS connection | 1 | Item
68 | Strainers as required by contractor | 1 | Item
69 | Motorised valves as appropriate; by contractor to suit BMS | 1 | Item
70 | LTHW primary circulation pumps, Grundfos; connected to pipework; including access and mounting | 1 | Item
71 | Pressurisation unit with Flexcon integral expansion vessel; mounted on feet cradle in plant room (PROVISIONAL) | 1 | Item
72 | Expansion vessel to DHW system; Grundfos; mounted to allow for maintenance (PROVISIONAL) | 1 | Item
Wall-mounted radiators with TRVs and all associated pipework, valves etc.; fixing to existing masonry walls; see specification and radiator schedule J6021/T[31]500 - A
73 | R1 within luggage room | 3 | No.
74 | R1 within cafe | 2 | No.
75 | R2 within toilets | 1 | No.
76 | R3 within toilets | 1 | No.
77 | R4 within cafe | 1 | No.
78 | R5 within toilets | 1 | No.
79 | R6 within booking hall | 5 | No.
80 | R7 within cafe | 1 | No.
81 | R8 within kitchen - 550 x 1000mm high | 1 | No.
General ventilation in accordance with specification U10; including low-pressure and low-velocity galvanised mile steel ductwork with foil-faced insulation, vapour barriers, dampers, access-points and the like; see drawings6021/U[10]100
82 | G04 - Kitchen - Recirculating fans as specified within cooker canopy in g04; fixing to structure; electrical connections | 1 | Item
83 | G04 - MVHR to kitchen - extract through roof or external walls; with automatic control | 1 | Item
84 | G04 - 600 x 500mm high louvre for additional kitchen ventilation through exisitng external wall, including builder's work (PROVISIONAL) | 1 | Item
85 | G05 - accessible toilet - in-line fan extract, 100mm dia. Duct, to tile vent in existing slate roof; speed-controlled; PIR activated | 1 | No.
86 | G06 & 07 - staff and male toilets - in-line fan extract, 100mm dia. Duct, to tile vent in existing slate roof; speed-controlled; PIR activated | 2 | No.
87 | G08 - toilet lobby - in-line fan extract, 100mm dia. Duct, to tile vent in existing slate roof; speed-controlled; PIR activated | 1 | No.
88 | G09 - Female toilet - in-line fan extract, 100mm dia. duct, to tile vent in existing slate roof; speed-controlled; PIR activated | 2 | No.
89 | G10 - Courtyard accessible toilet - in-line fan extract, 100mm dia. duct, to roof vent | 1 | No.
Above-ground drainage - mezzanine plant room
90 | Cutting in and installation of floor gully in chipboard floor including drainage behind toilet ductwork; connection into new above-ground drainage | 1 | Item
91 | Builder's work in connection with mechanical installations | 1 | Item
Preliminaries
Developing the design
92 | producing working drawings | 1 | Item
93 | issuing builder's work drawings to the Main Contractor | 1 | Item
Site facilities
94 | scaffold, hoists etc | 1 | Item
95 | lighting and power | 1 | Item
96 | small tools | 1 | Item
97 | rubbish removal | 1 | Item
Post completion
98 | labels | 1 | Item
99 | testing, commissioning and issuing certificates | 1 | Item
100 | operation and maintenance manuals | 1 | Item
101 | training of staff | 1 | Item
Generally
102 | other items (Contractor to insert) | 1 | Item
Attendances
Main Contractor attendances
103 | generally | 1 | Item
Overheads and profit
Overheads and profit
104 | generally | 1 | Item
The contractor should allow for all other works not measured above required for the installation of the following mechanical services: -
105 | Rainwater installations | 1 | Item
106 | Foul drainage above ground | 1 | Item
107 | Cold water installation | 1 | Item
108 | Hot water installation | 1 | Item
109 | Natural gas installation | 1 | Item
110 | Gas-fired boilers | 1 | Item
111 | Ventilation | 1 | Item
| MECHANICAL INSTALLATIONS |  |  | 0

## Electrical
£
ELECTRICAL INSTALLATIONS
ELECTRICAL INSTALLATIONS
Contractor's Designed Portion
Design warranty
The successful subcontractor will be required to sign a Sub-Contractor Collateral Warranty (SCWa/E) in favour of the Employer with a Professional Indemnity Limit of £1,000,000.
CDP Analysis
The Contractor is to provide an analysis of the sum inserted below within the CDP Analysis forming part of Section 5
Design, supply, installation and testing of elements of the electrical installations (see Preliminaries)
1 | It is the responsibility of the electrical sub-contractor to develop the design; this is to include all containment sizes, types and bracketry. The subcontractor is to produce installation drawings for comment and agree with the contractor to location of access panels and the like | 1 | Item
2 | CDP Analysis | 1 | Item
End of Contractor's Designed Portion
LV DISTRIBUTION
New 200Amp 3-phase supply (UKPN)
3 | New primary electrical switch panel; 200Amp TPN and main earth bar | 1 | Item
4 | MCB distribution boards with electronic trip units and tamper-resistant covers | 1 | Item
5 | Building earth terminal within courtyard plantroom | 1 | Item
6 | Final circuit distribution boards (by Schneider); single-phase; dual lighting/power metering; inclusive of extension boxes, 25% spare capacity | 1 | Item
7 | Primary distribution submain cabling and containment, submain cables on trays | 1 | Item
8 | Labelling all primary LV distribution cables | 1 | Item
9 | Supply and install 1500mm wide rubber floor safety mats as required | 1 | Item
LIGHTING; in accordance with Max Fordham's drawings and specification V21, and T&K's drawing 1084/3-113 and 3-114, including all switching and fittings
Allow for general lighting controls and fittings including luminaires, switching, cabling, containment and controls to functional, decorative and security lighting as shown on the drawings, self-illuminated exit signage; mains power cabling including local switching and dimming control; extra low-voltage control cabling associated with the lighting control system, including to fittings in the following rooms: -
10 | G01 - recessed spot light white 3000k, 2-way dimmer switched | 18 | no.
11 | G01 - L1; LED pendant lights; suspended linear; Thorn Equaline | 8 | no.
12 | G02 - recessed spot light white 3000k, dimmer switched | 11 | no.
13 | G02 - L1; LED pendant lights; suspended linear; Thorn Equaline | 4 | no.
14 | G03 - track-mounted spot light comprising 6 no. lights | 2 | no.
15 | G03 - L6; pendant light fitting; Davey Lighting Glass School | 3 | no.
16 | G03 - L4/L5 spot light -angled; Thorn Tonic Spot | 2 | no.
17 | G04 - L3(e); IP-rated LED light fitting; suspended linear; Sylvania DeltaWing | 3 | no.
18 | G05, 6, 7, 8 & 9 - recessed spot light | 10 | no.
19 | G05, 6, 7, 8 & 9 - PIR | 5 | no.
20 | G12 - L3(e); IP-rated LED light fitting; suspended linear; Sylvania DeltaWing | 2 | no.
21 | G11, 12, 13 - PIR | 3 | no.
22 | G12 - L2(e) recessed spot light; Concord Syl-lighter LED II 220 | 4 | no.
23 | Externally either side of ED1 & 2 - L8 outdoor wall-mounted lights including all necessary wiring, switching, conduit etc. including astonomical timeclock (timeclock located within the kitchen) | 3 | no.
Small-power installations; including metal trunking and conduit throughout with risers within plastered walls from floor voids behind skirtings, including making good skirtings; refer to Max Fordham's drawing;6021/V[22]100, including all switching and fittings (refer to schedule of small power accessories J6021/Y[6]601 B; fittings in the following rooms:
24 | G01 - double 13 Amp socket outlet | 6 | no.
25 | G01 - floor box comprising 2 no. power outlet and 2 no. data outlets | 4 | no.
26 | G02 - double 13 Amp socket outlet | 5 | no.
27 | G02 - floor box comprising 2 no. power outlet and 2 no. data outlets | 2 | no.
28 | G03 - double 13 Amp socket outlet | 7 | no.
29 | G03 - double 13 Amp socket outlet with USB charging | 2 | no.
30 | G04 - Switched-spur with remote switch | 2 | no.
31 | G04 - single 13 Amp socket outlet (PROVISIONAL QUANTITY) | 10 | no.
32 | G04 - double 13 Amp socket outlet (PROVISIONAL QUANTITY) | 5 | no.
33 | Generally - Switched fused spurs to fittings throughout (PROVISIONAL QUANTITY) | 15 | no.
34 | G12 - double 13 Amp socket outlet (PROVISIONAL QUANTITY) | 2 | no.
AV cabling to and including the following: -
35 | G01 - AV panel | 1 | no.
36 | G02 - AV panel | 1 | no.
Voice and data installations
Supply and install the following including trunking and conduit throughout and making good; refer to Max Fordham's drawings; including all cable, outlets and fittings (refer to schedule of accessories)
37 | G01 - ceiling speaker | 4 | no.
38 | G02 - ceiling speaker | 4 | no.
39 | G03 - ceiling speaker | 4 | no.
40 | G01 - HDMI | 1 | no.
41 | G02 - HDMI | 1 | no.
42 | G03 - HDMI | 1 | no.
43 | G01 - Double data-point | 3 | no.
44 | G02 - Double data-point | 4 | no.
45 | G03 - Double data-point | 2 | no.
46 | Double-data point | 1 | no.
47 | G02 - Server | 1 | no.
48 | TV monitors - monitors supplied by others (PROVISIONAL) | 3 | no.
Smoke and Fire installations including all wiring, controls, fittings etc.
49 | G04 - Fire panel | 1 | no.
50 | G01 - visual alarm beacon | 1 | no.
51 | G01 - smoke-heat detector with sounder base | 1 | no.
52 | G01 - fire-escape sign | 3 | no.
53 | G02 - smoke-heat detector with sounder base | 1 | no.
54 | G02 - visual alarm beacon | 1 | no.
55 | G02 - fire-escape sign (PROVISIONAL) | 1 | no.
56 | G03 - smoke-heat detector with sounder base | 1 | no.
57 | G03 - fire-escape sign | 1 | no.
58 | G03 - visual alarm beacon | 1 | no.
59 | G04 - smoke-heat detector with sounder base | 1 | no.
60 | G05, 6, 7, 8 & 9 - visual alarm beacon | 2 | no.
61 | G05, 6, 7, 8 & 9 - smoke-heat detector with sounder base | 5 | no.
62 | G12 - visual alarm beacon | 1 | no.
63 | G12 - smoke-heat detector with sounder base | 2 | no.
Security installations including all controls and fittings
64 | G03 - CCTV installation complete | 1 | no.
65 | Duct penetrations including duct-plugs and glands | 1 | Item
66 | Cable ducts in trench, minimum 800mm below existing hard-standings; backfilled with sand minimum 150mm depth above the cables including marking tape or tiles; backfilled manually and compacted | 8 | m
67 | BWIC to be formed and sealed in accordance with Max Fordham's details J6021/A[90] | 1 | Item
Electrical connections - Max Fordham's drawing 6021/V[22]100; provide power supply to the following: -
68 | G01 - Thermostat control | 1 | no.
69 | G02 - Thermostat control | 1 | no.
70 | G03 - Thermostat control | 1 | no.
G03 and 4
71 | Coffee machine | 1 | No
72 | Disabled toilet alarm panel | 1 | No
73 | Power-assisted door | 2 | No
74 | Dishwasher | 1 | No
75 | EPOS unit | 1 | No
76 | Fans | 1 | No
77 | Fire-alarm panel | 1 | No
78 | Fly killer | 1 | No
79 | Fridge/freezer | 1 | No
80 | Electric hob | 1 | No
81 | Hot plate | 1 | No
82 | Electric oven | 1 | No
83 | Panini machine | 1 | No
84 | Fans within recirculating hood | 1 | No
85 | TV monitors | 3 | No
86 | G05, 6, 7, 8 & 9 - toilet extract fans | 5 | no.
87 | G12 - toilet extract fans | 1 | no.
88 | Accessible toilet alarm panel (PROVISIONAL QUANTITY) | 1 | no.
89 | Accessible toilet alarm pull-cord and reset button (PROVISIONAL QUANTITY) | 2 | no.
90 | Accessible toilet alarm indicator (PROVISIONAL QUANTITY) | 1 | no.
91 | Supply and fit timer-lock to accessible toilet | 1 | no.
Attendances
92 | Main Contractor's attendances | 1 | Item
Overheads and profit
93 | Main Contractor's overheads and profit | 1 | Item
generally
| ELECTRICAL INSTALLATIONS |  |  | 0

## BWIC
£
BUILDER'S WORK IN CONNECTION WITH SERVICES
General builder's work; mechanical and electrical installations
Refer to MF drawing 6021/A[22]100
Work to provide new mains services connections from existing mains in Bat & Ball Road to G12 Plantroom (Courtyard) including all necessary builder's work and reinstatement of road, pavings etc. NB The contractor should allow for working so as to maintain access for passengers, pedestrians, residents etc. at all times and maintaining the existing services to the station, residence, businesses etc.
1 | Gas | 1 | Item
2 | Water | 1 | Item
3 | Foul & service mains | 1 | Item
4 | Electricity | 1 | Item
5 | Telecoms | 1 | Item
Refer to MF drawing 6021/V[22]100
6 | Service trench as specified for mains cold water feed (trace heated), LTHW flow & return, low-voltage and fire-alarm basket from G12 Plantroom to G09 female toilet including excavation, removal from site and reinstatement as required, including forming openings through existing external walls to courtyard and toilet | 8 | m |  |  | 7.5
7 | Service route as specified for mains cold water feed (trace heated), low-voltage and fire-alarm basket from G12 Plantroom to G09 female toilet including excavation, removal from site and reinstatement as required, including forming openings through existing external walls to courtyard and toilet | 8 | m
8 | Service route as specified for low-voltage and fire-alarm basket within G12 Plantroom slab including excavation, removal from site and reinstatement as required | 4 | m
9 | Service route as specified for low-voltage supply within G12 Plantroom slab including excavation, removal from site and reinstatement as required | 3 | m
Refer to T&K drawing 1084/3-111
10 | Supply and install roof tile vents in existing slate roof; including all necessary access and works to ensure waterproof finish | 8 | no.
11 | BWIC to provide high-level kitchen ventilation 300x400mm through external brick wall; including all necessary support and making good | 1 | Item
12 | Formation of floor boxes within existing timber floors | 8 | No
| BUILDER'S WORK IN CONNECTION WITH SERVICES |  |  | To Summary | 0

## Site Work
£
SITE WORK
EXCAVATION AND MASONRY WORKS
Site preparation; removing from site
Existing courtyard to form new plantroom
1 | Carefully remove vegetation from walls, treating as necessary; remove vegetation from floor; remove general rubbish and debris from site; approximate area 20m2 | 1 | Item
Refer T&K drawing 1084/3_110
Breaking up existing brick plinth wall
2 | Carefully remove for review by the architect short section of brick plinth wall 250mm wide to existing station wall; 500mm high including engineering single cant brick; including making good existing tarmac paving and brick wall including repointing to match existing as necessary | 1 | m
3 | Reinstate to match existing short section of brick plinth wall 250mm wide to existing station wall; 500mm high including engineering single cant brick; (PROVISIONAL) | 1 | m
4 | Brick plinth wall 250mm wide to existing station wall; stepped between 500mm and 900mm including engineering single cant brick; including making good existing tarmac paving and brick wall including repointing to match existing as necessary PROVISIONAL QUANTITY) | 15 | m
| SITE WORK |  |  | To Summary | 0

## Drainage
£
DRAINAGE
DRAINAGE BELOW GROUND
1 | The Contractor should allow for all works being in accordance with the specifications | 1 | Item
Works to existing manholes
Connecting new pipework
2 | breaking into existing manhole MH14; altering configuration of main channels; building-in end of new pipes through existing structure; rocker pipes; making good benchings and manhole wall | 3 | No
New drainage installation under new concrete slab serving proposed courtyard plantroom to MH14; drawings 24262-CIV-04 & 05
Drain runs; excavating trenches for pipes; breaking up existing obstructions and foundations and sleeved with 50 compressible material and taped & boxed-out in plywood; earthwork support; vitrified clay or cast-iron pipes with flexible socketed joints as and where specified; concrete surrounds and bedding and imported granular hardcore bed and surrounds in accordance with details on 24262/05; compacting in layers; disposing of surplus excavated material off site
Pipes serving floor gully and foul water from accessible toilet
3 | 1.00m average depth below existing ground level; 100mm diameter pipes | 5 | m
4 | Bends | 2 | No
5 | Rest bends, including 400x400mm grade C20 concrete in-situ base | 2 | No
6 | Connections to FWP | 2 | No
7 | Connections to manhole MH14 | 2 | No
8 | Connections to gullies | 1 | No
Gully to courtyard plantroom
9 | bottle gully; grating and frame; bedding and surrounding in GEN 3 concrete | 1 | No
New drainage installation below existing station building serving proposed kitchen, servery and toilets, to and including new manhole F1; drawings 24262-CIV-04 & 05
Drain runs; excavating trenches for pipes; breaking up existing obstructions and foundations and sleeved with 50 compressible material and taped & boxed-out in plywood; earthwork support; vitrified clay or cast-iron pipes with flexible socketed joints as and where specified; concrete surrounds and bedding and imported granular hardcore bed and surrounds in accordance with details on 24262/05; compacting in layers; disposing of surplus excavated material off site
Pipes serving foul water from proposed kitchen, servery and toilets
10 | 700mm average depth below existing ground level; 100mm diameter pipes | 20 | m
11 | Bends | 2 | No
12 | Junctions | 2 | No.
13 | Rest bends, including 400x400mm grade C20 concrete in-situ base (PROVISIONAL) | 5 | No
14 | Connections to FWP | 5 | No
15 | Connections to manhole F1 | 3 | No
New drainage from new manhole F1 and F2 to existing manhole MH14; drawings 24262-CIV-04 & 05
Drain runs; excavating trenches for pipes; breaking up existing obstructions; earthwork support; vitrified clay with flexible socketed joints as and where specified; concrete surrounds and bedding and imported granular hardcore bed and surrounds in accordance with details on 24262/05; compacting in layers; disposing of surplus excavated material off site
Pipes, vitrified clay
16 | 900mm average depth below existing ground level; 100mm diameter pipes | 16 | m
17 | Connections to FWP | 5 | No
18 | Connections to manholes F1 and F2 | 3 | No
Manholes F1 and F2: excavating pits; breaking-up obstructions; earthwork support; levelling and compacting bottoms of excavations; 150mm thick concrete base with sulphate-resisting cement; GEN3 conrete surround; precast concrete chamber sections and cover slab bedded on mortar; precast concrete cover slab; minimum 2 maximum 4 courses class B engineeering bricks, concrete blocks or precast cover frame seating rings; class B125 recessed cover with mortar haunching; disposing of surplus excavated material off site
Manholes
19 | F1: internally 750x600mm; 700mm depth to invert; 600x450mm opening; class B125 recessed cover with mortar haunching | 1 | No
20 | F2: internally 750x600mm; 700mm depth to invert; 600x450mm opening; | 1 | No
21 | Pipework connections; rocker pipes | 3 | No
Aco drains to platforms
22 | New Aco drain to new courtyard plantroom door, 1 m long; including breaking up platform, installation of drain running approximately 10m below new ground slab to MH14; connecting to underground drainage; making good on completion (PROVISIONAL) | 1 | Item
23 | New Aco drain to platform adjacent to existing building, 9 m long; including taking up existing aco drain, installation of drain at correct level and adjusting existing connections to underground drainage; making good on completion (PROVISIONAL) | 1 | Item
Generally
Testing and commissioning
24 | of completed rainwater installation | 1 | Item
| DRAINAGE |  |  | 0

## Summary
£
MEASURED WORKS SUMMARY
FACILITATING WORKS |  | 0
SUBSTRUCTURE |  | 0
UPPER FLOORS |  | 0
ROOF |  | 0
EXTERNAL WALLS |  | 0
WINDOWS AND EXTERNAL DOORS |  | 0
INTERNAL WALLS AND PARTITIONS |  | 0
INTERNAL DOORS |  | 0
WALL FINISHES |  | 0
FLOOR FINISHES |  | 0
CEILING FINISHES |  | 0
FITTINGS, FURNISHING AND EQUIPMENT |  | 0
SANITARY INSTALLATIONS |  | 0
MECHANICAL INSTALLATIONS |  | 0
ELECTRICAL INSTALLATIONS |  | 0
BWIC |  | 0
SITE WORK |  | 0
DRAINAGE |  | 0
MEASURED WORKS | To General Summary | 0

## General Summary
£
GENERAL SUMMARY
SECTION 1 - PRELIMINARIES AND GENERAL CONDITIONS |  | 0
SECTION 2 - PRICING NOTES |  | 0
SECTION 3 - PROVISIONAL SUMS AND DAYWORK |  | 85000
SECTION 4 - MEASURED WORKS |  | 0
OVERHEADS AND PROFIT
| To Form of Tender | 85000