Chapel Roof Replacement

University of Chichester

27th May 2023

Notice

This document and its contents have been prepared and are intended solely for information and use in relation to the required work to The Chapel Building at the University of Chichester Bishop Otter Campus – College Lane, Chichester, PO19 6PE.

Document History

| Revision | Purpose description | Originated | Checked | Reviewed | Authorised | Date |
| --- | --- | --- | --- | --- | --- | --- |
| v0.1 – v0.3 | Tender development | JP | JP | JP | JP | 27/05/23 |
| v1.0 | Tender issue | JP | JP | JP/HS | JP | 27/05/23 |

1.0	CLIENT REQUIREMENTS

1.1	General Items

1.1.1	The works generally include the following:

•	Roof replacement, and associated works

•	Treatment to corrosion on Steel frame

•	Drainage alterations (waster ingress mitigation)

•	New flooring throughout

1.1.2	The Client is the University of Chichester

1.1.5	The site is The Chapel Building, University of Chichester, Bishop Otter Campus, College Lane, Chichester, PO19 6PE.

1.1.6	The following scope sets out the works which are to be undertaken under a NEC ECSC contract.

1.2	Tender & Scope Documents

1.2.1	This Scope is to be read in conjunction with all drawings and additional information included. These also form part of the Scope. The Contractor should familiarise themselves with all information provided prior to providing their tender and commencing works.

1.2.2	The documents provided as part of the Scope and Tender Package include:

•	1 - Client Scope / Summary

•	2 – Full Specification and Drawing Pack

•	3 - Proposed Programme

•	4 - Pre-Construction Information (PCI)

•	5 - Draft / Template Contract (NEC4)

•	6 - Pricing Document

•	7 - Principle Contractor Questionnaire

1.2.3	The Contractor is to price for all works contained within the Scope and additional information included. These prices are to be captured in the Pricing Document included within the tender documents. A copy of the fully priced Pricing Document and completed tender form is to be submitted by the Contractor at the time of tendering.

1.2.4	Any discrepancies between the tender documents or queries are to be reported to the Project Manager for clarification.

1.2.5 	It is expected that ahead of full planning being granted and contract being signed, a letter of intent will be issued to the Contractor. This will enable orders on long lead materials to achieve the currently planned completion date.

1.3	Site Visit

1.3.1	The Contactor is required to visit site to acquaint themselves with the extent of the works as deemed necessary for pricing purposes. The Contractor is to contact the Project Manager to arrange access.

1.4	Health, Safety and Welfare Provisions and Use of the Site

1.4.1	The Contractor is to ensure that all health, safety and welfare measures required under or by virtue of the provisions of any enactment or legislation or working rules of any industry are strictly complied with.

1.4.2	The site is not to be used for any purpose other than carrying out the Works. Do not display or permit advertisements to be displayed on site without the consent of the Project Manager. Site works and building operations shall be carried out in such a manner as to prevent damage, danger, nuisance or inconvenience to owners and occupiers of adjoining or other properties.

1.4.3	The Contractor is to be responsible for all necessary precautions to ensure that dust and dirt does not travel outside of the area of the works into other areas (internal or external). All areas must be always kept as clean and tidy as practically possible.

1.4.4	The Contractor is to provide for an on-site working foreman for the duration of the works. They will be required to be on site at all times when work is being completed. They must be suitably competent and qualified to manage a site. They must hold a valid SMSTS certificate, be first aid trained and have relevant asbestos awareness qualifications. They will be the main point of contact on site and must be suitably trained to deal with queries and concerns. The Site Supervisor should provide weekly reports to the Project Manager detailing the weekly progress and labour levels. They will be required to allocate work on site and hold toolbox talks.

1.4.5	The Contractor shall be appointed as the Principal Contractor, as defined in the Construction Design and Management Regulations 2015 (hereinafter referred to as CDM Regulations) and in accordance with the approved Code of Practice.

1.4.6	The Contractor is to ensure that the working areas are cornered off with appropriate barriers whilst the works are completed. For events and key dates it is likely the Client will use these barriers to hang promotional material, subject to final agreement. These barriers are to be set up in such a way to provide adequate protection to all visitors, staff and students at UoC from the works, as well as preventing unauthorised access to the working areas. All equipment, tools and supplies are to be removed from the working areas at the end of each working day and stored in the Contractors compound along with all equipment, tools and supplies.

1.4.7	The Contractor is to provide all necessary ‘wet paint’ signage and barriers to protect any freshly decorated or repaired areas as required. The barriers and signage are to be installed in such a way that they are prominent and avoid persons interacting with the work.

1.5	Fire Precautions

1.5.1	The Contractor shall familiarise themselves with all emergency exit routes serving the area and adjoining buildings, ensuring that no escape routes are blocked or restricted because of the works. Where the works will obstruct an escape route and this can’t be avoided, the Contractor is to give the Project Manager a minimum of one week’ notice of such an event.

1.5.2	The Contractor shall be responsible for providing an appropriate method of raising alarm in the event of an emergency throughout the duration of the works. Method shall be communicated and agreed with the Client before works.

1.5.3	The Client operates their own Hot Works, Permit to Dig, and other relevant permits which the Contractor must adopt for the works.

1.6	Site Set Up & Temporary Facilities

1.6.1	The Contractor is to provide their own temporary accommodation for storage purposes throughout the duration of the project. The area to be provided to the Contractor will need to be agreed with the Project Manager at a Pre-Start Meeting. The Contractor is to note that this area will need to be kept to a minimum due to other projects on site and the operations of UoC.

1.6.2	The Contractor must provide their own welfare facilities. A fully self-sufficient groundhog unit / oasis unit should be provided for the duration of the works.

1.6.3	Limited parking can be provided for the Contractor’s operatives within the campus. This will be limited and will be subject to discussion and agreement at the Pre-Start Meeting. Additional parking is likely to come at a charge as the standard rates.

1.6.4	The Contractor must take precautions to prevent damage to existing external and internal finishes and structures and the like and shall make good at their own expense any damage caused during the execution of the works. The Contractor is to install temporary protection where there is a risk of such damage and remove this on completion of the works. A condition survey will be completed and agreed with all parties ahead of the first day of work starting.

1.6.5	The Contractor must provide one 20ft shipping container as part of the compound, this is to be used to store remaining items from the Chapel building and unloaded upon completion / sign off of work. Specific dates to be agreed subject to programme agreement.

1.6.6	The Contractor is to ensure the entire area is appropriately barriered off using appropriate methods (Heras) and that due to being at the centre of the campus, and a major through route, barriers are to be wrapped professionally,

1.7	Materials, Goods & Workmanship

1.7.1	All workmanship and materials are to be to no less a standard than those laid down in the current British Standard for Building Materials (BS) and British Standard Codes of Practice (CP), where applicable and fully in accordance with any applicable Statutory requirements alongside manufacturers recommendations, instructions and guidelines.

1.7.2	For the purposes of certainty, if any works are required which are not specifically described in the Scope, they shall be carried out in accordance with good working practice, manufacturers recommendations if applicable, and any relevant British Standard specific to those works.

1.7.3	Any maintenance instructions and guarantees provided by product and equipment manufacturers are to be handed over to be provided to the Project Manager on or before completion of the works.

1.7.4     The Contractor is to support full Building Regulation compliance. Adherence and ongoing interaction with the Council will be required. The Contractor is to ensure appropriate notice is given to the Council to ensure site visits and inspections take place as required to meet all conditions of approval.

1.8	Insurances

1.8.1	The insurance requirements are set out within the Contract Data in the proposed contract. Please note that there is a minimum requirement of £10 million for Public Liability Insurance. Copies of certificates will be required upon award.

1.9	Security

1.9.1	The Contractor is responsible for security of the working areas at all times during the construction phase (possession to practical completion). The Contractor is to implement an appropriate security strategy to prevent unauthorised entry, theft and damage.

1.10	Programme

1.10.1	The Contractor is to submit a programme to the Project Manager outlining the sequence of works. Proposed programme to be submitted with the tender return. Whilst developing this programme, the Contractor is to note that the area being worked in is at the centre of a busy operation University campus, with both teaching and residential properties within close proximity.

1.10.2	All works are to be carried out within the timescales set out within the Contract Data and in accordance with the proposed programme.

1.10.3	The Contractor is to note that UoC is a 24/7 operational facility and access is always needed to all areas. The Contractor is to work around these requirements.

1.11	Access Equipment

1.11.1	The Contractor is to allow for all necessary access equipment deemed necessary to complete the works.

2.0	THE WORKS

Please see item  2 - full Specification and Drawing Pack

3.0	COMPLETION

3.1	On completion of all replacement works, the Contractor is to clear the site of all waste, debris, tools, equipment, and accommodation provided for them in the course of completing the works. The Contractor is to leave all areas clean, tidy and in a safe condition.

3.2 	The Contractor is to provide the Principal Designer with all information they require on completion of the works as highlighted within the PCI document.

3.3	The Contractor is to provide the Project Manager and Principal Designer with information on all the products they have used to complete the works.

3.4	The Operating and Maintenance Manuals (O&M) shall be inclusive of the following information, specifically labelled for this project.

The O&M Manuals shall contain, but not limited to:

1. A fly-leaf to provide details of the project.

2. An index of contents.

3. A schedule of record drawings to be read in conjunction with the manual.

4. Emergency information.

5. Contractual and legal information.

6. A detailed description of the equipment, systems and installations.

7. A complete set of system test results.

8. A schedule of maintenance–regular and periodic.

9. A schedule of plant and equipment manufacturers/suppliers.

10. Manufacturer’s maintenance data and manuals for all plant and equipment.

11. Details of all Controls.

12. Operating procedures for all systems.

13. Testing and commissioning procedures.

14. Plant and equipment data.

15. Test and completion certificates.

16. Recommended spares list and addresses of suppliers of the same.

17. Fault finding procedures.

18. Modification information.

19. Disposal instructions.

The contents of the manuals shall be divided into relevant sections, each of which shall be clearly identified and indexed accordingly.

The following manuals shall be provided:

• 2 No. hard copies of the O&M Manual presented in hard back ring binders or similar.

• An electronic file of the full O&M Manual in Adobe format (PDF) suitably labelled

3.5	At completion of the works, the Contractor shall produce and provide Record Drawings to enable proper operation, maintenance, and future extension of the installations

The following drawings shall be provided:

• A paper copy of each Record Drawing folded and enclosed in plastic wallets as part of the O&M Manual.

• A USB stick, containing drawing files of the Record Drawings in AutoCAD format (DWG) & Adobe format (PDF) and enclosed in a plastic pocket as part of the O&M Manual.

All drawings shall be a minimum ‘A1’ plotted size, and shall detail all aspects of the installed works, including accurate locations of service runs, access points, equipment references and sizes of installed equipment.