| DOCUMENTATION FOR RESTORATION WORKS TO CHELTENHAM WAR MEMORIAL 2016 |  |  |
| --- | --- | --- |
|  | CLIENT |  |
| Property & Asset Management |  |  |
|  | Municipal Offices, Promenade |  |
|  | Cheltenham |  |
|  | GL50 1PP |  |

| THE PROVISION OF REMEDIAL REPAIR WORKS |  |  |
| --- | --- | --- |
|  | TO COUNCIL PROPERTY |  |
|  | AT |  |
| WAR MEMORIAL Th |  |  |
|  | THE PROMENADE |  |
|  | CHELTENHAM |  |
| Part 1 – Conditions Preliminaries & Preambles |  |  |
| Part 2 - Schedule of Works |  |  |
| Part 3 - Tender Summary |  |  |
| Contractor: |  |  |
| Contractor’s Name | ……………………………………………………………………… |  |
| Contractor’s Address | ……………………………………………………………………… |  |
| or Registered Office | ……………………………………………………………………… |  |
| in the case of a Company | ……………………………………………………………………… |  |
| Client Directorate: |  |  |
| Built Environment |  |  |
| Municipal Offices |  |  |
| Promenade |  |  |
| Cheltenham |  |  |
| GL50 1PP |  |  |
|  | Date: | ………………………………… |

### Part 1

### Conditions / Preliminaries/Preambles

| PART 1 – CONDITIONS / PRELIMINARIES/PREAMBLES | Unit | £ | p |
| --- | --- | --- | --- |

| A 10 A11 A12 A13 A20 A30 A100 | PROJECT PARTICULARS TENDER AND CONTRACT DOCUMENTS THE SITE/ EXISTING BUILDINGS DESCRIPTION OF THE WORK JCT MINOR WORK BUILDING CONTRACT (MWD) TENDERING/ SUBLETTING/ SUPPLY PRELIMINARIES . |  |  |  |
| --- | --- | --- | --- | --- |
| A10 | PROJECT PARTICULARS |  |  |  |
| 110 | THE PROJECT • Name: Restoration of Cheltenham War Memorial. • Nature: Building Works. • Location: Promenade Long Gardens, Cheltenham. • Length of contract: Approximately12 weeks |  |  |  |
| 120 | EMPLOYER (CLIENT) • Name: Cheltenham Borough Council. • Address: Municipal Offices, Promenade, Cheltenham GL509SA . • Contact: Mr Gary Angove . • Telephone: 01242 264203. • Email: gary.angove@cheltenham.gov.uk. |  |  |  |
| 130 | PRINCIPAL CONTRACTOR (CDM) • Name: Will be the successful Tendering Contractor. • Address: To be confirmed. • Contact: To be confirmed. • Telephone: To be confirmed. • E-mail: To be confirmed. |  |  |  |
| 140 150 | ARCHITECT/ CONTRACT ADMINISTRATOR • Name: Odgers Conservation Consultants • Address:. www.odgersconservation.co.uk • Contact: Mr David Odgers. • Telephone: 01458 851209 • E-mail: David Odgers <david@odgersconservation.co.uk> PRINCIPAL DESIGNER • Name: Odgers Conservation Consultants • Address: www.odgersconservation.co.uk • Contact: David Odgers • Telephone: 01458 851209 • E-mail:. David Odgers <david@odgersconservation.co.uk> |  |  |  |
| A11 | Tender And Contract Documents |  |  |  |
| 110 | TENDER DRAWINGS • The tender drawings are: P000 |  |  |  |
| 120 | CONTRACT DRAWINGS • The Contract Drawings: The same as the tender drawings. |  |  |  |
| 160 | PRECONSTRUCTION INFORMATION - Format: The Preconstruction information Conditions survey and conservation options appraisal (May 2015) and ‘Details of trials to lettering’ August 2015 |  |  |  |
| 180 | OTHER DOCUMENTS - Inspection: Drawings and other documents relating to the Contract but not included in the tender documents may be seen by appointment during normal office hours at the office of Cheltenham Borough Council. • The documents include: Maintenance records. |  |  |  |
| A12 | The Site/ Existing Buildings |  |  |  |
| 110 | THE SITE - Description: The War Memorial is located central to the Promenade Long Gardens which run parallel with The Promenade directly adjacent to the Council Municipal Offices. |  |  |  |
| 120 | EXISTING BUILDINGS ON/ ADJACENT TO THE SITE - Description: The War Memorial and surrounding stone balustrading. |  |  |  |
| 180 | HEALTH AND SAFETY FILE - Availability for inspection: The Health and Safety File for the site/ building may be seen by appointment during normal office hours at: NA. • Other documents: Are included in the Appendix Section. • Arrangements for inspection: Through appointment with Gary Angove |  |  |  |
| 200 | ACCESS TO THE SITE • Description: By public highway on the Inner Promenade road. • Limitations: The access road has chevron parking but in one way. |  |  |  |
| 220 | USE OF THE SITE - General: Do not use the site for any purpose other than carrying out the Works. - Limitations: Restrictions on locations of debris, site cabins, storage compounds, etc. |  |  |  |
| 230 | SURROUNDING LAND/ BUILDING USES • General: Adjacent or nearby uses or activities are as follows: - Continuation of public right of amenity on surrounding gardens |  |  |  |
| 250 | SITE VISIT - Assessment: Ascertain the nature of the site, access thereto and all local conditions and restrictions likely to affect the execution of the Works. • Arrangements for visit: Through appointment with Gary Angove |  |  |  |
| A20 | JCT Minor Work Building Contract With Contractor’s Design (MWD) |  |  |  |
|  | JCT MINOR WORKS BUILDING CONTRACT - The Contract: JCT Minor Works Building Contract 2011 Edition. With amendment 1 March 2015 - Requirement: Allow for the obligations, liabilities and services described. |  |  |  |
|  | THE RECITALS |  |  |  |
|  | First - THE WORKS AND THE CONTRACT ADMINISTRATOR • The work comprises: ‘Restoration of Cheltenham War Memorial’ • Architect/ Contract Administrator: See clause A10/140. |  |  |  |
|  | Second - CONTRACT DOCUMENTS - Contract drawings: As listed in clause A11/120. Contract documents: The following have been prepared which show and describe the work to be done Part 1 Preliminaries; & Preambles and Part 2 Schedule of Works .Part 4 Form of Tender |  |  |  |
|  | DOCUMENTS - Documents to be priced or provided by the Contractor: Part 2 Schedule of Works. Part 4 Form of Tender THE ARTICLES |  |  |  |
|  | 3 - ARCHITECT/ CONTRACT ADMINISTRATOR • Architect/ Contract Administrator: See clause A10/140 |  |  |  |
|  | 4 and 5 – PRINCIPAL DESIGNER/ PRINCIPAL CONTRACTOR • Principal Designer: See clause A10/150. • Principal Contractor: See clause A10/130. |  |  |  |
|  | CONTRACT PARTICULARS |  |  |  |
|  | Fifth Recital and Schedule 2 - BASE DATE • Base date Spring 2016 |  |  |  |
|  | Fifth Recital and clause 4.2 - CONSTRUCTION INDUSTRY SCHEME (CIS) - Employer at the Base Date is a 'contractor' for the purposes of the CIS. |  |  |  |
|  | Sixth Recital - CDM REGULATIONS • The project is notifiable |  |  |  |
|  | Seventh Recital - FRAMEWORK AGREEMENT • Framework agreement: Does not apply. • Details: - Date: Does not apply. - Title: Does not apply. - Parties: Does not apply. Eighth Recital and Schedule 3 - SUPPLEMENTAL PROVISIONS - Collaborative working: Paragraph 1 Applies. - Health and safety: Paragraph 2 Applies. - Cost savings and value improvements: Paragraph 3 Applies. - Sustainable development and environmental considerations: Paragraph 4 Applies. - Performance indicators and monitoring: Paragraph 5 Applies. - Notification and negotiation of disputes: Paragraph 6 Applies. Where paragraph 6 applies, the respective nominees of the parties are: - Employer's nominee: TO BE CONFIRMED BY EMPLOYER. - Contractor's nominee: TO BE CONFIRMED BY CONTRACTOR. Or such replacement as each party may notify to the other from time to time |  |  |  |
|  | Article 7 - ARBITRATION • Article 7 and Schedule 1 Applies. |  |  |  |
|  | Clause 2.2 - COMMENCEMENT AND COMPLETION - Date for Commencement of the Works: Spring 2016, date is dependent on tying into the grant rounds, and obtaining satisfactory listed building consent, so cannot be confirmed at this date. - Date for Completion: August 2016. |  |  |  |
|  | Clause 2.9 - LIQUIDATED DAMAGES |  |  |  |
|  | - At the rate of Liquidated and ascertained damages shall be prepared in accordance with the guidance given in 'Assessment of Liquidated and Ascertained Damages on Building Contracts' prepared by a Select Working Part of the Society of Chief Quantity Surveyors in Local Government. The rate to be entered in Clause 2.8 of the Contract Preliminaries will be calculated according to this formula, and the amount claimed against shall be per week. - If the method of calculation is considered inappropriate the Contractor must notify the Employer making such representation as he wishes in writing and accompanying the Form of Tender. per week. |  |  |  |
|  | Clause 2.11 - RECTIFICATION PERIOD • Period: 12 Months from the date of practical completion. |  |  |  |
|  | Clause 4.3 - PERCENTAGE OF THE TOTAL VALUE OF THE WORK ETC. • Percentage: Percentage of work completed to date less retention percentage at 5%. Clause 4.4 - PERCENTAGE OF THE TOTAL AMOUNT TO BE PAID TO THE CONTRACTOR • Percentage: 97.5%. |  |  |  |
|  | Clause 4.8.1 - SUPPLY OF DOCUMENTATION FOR COMPUTATION OF AMOUNT TO BE FINALLY CERTIFIED • Period: three months from the date of practical completion. |  |  |  |
|  | Clause 4.11 and Schedule 2 - CONTRIBUTION, LEVY AND TAX CHANGES • Schedule 2 (Fluctuations Option)does not applies. |  |  |  |
|  | Clause 5.3.2 - CONTRACTOR'S INSURANCE - INJURY TO PERSONS OR PROPERTY - Insurance cover (for any one occurrence or series of occurrences arising out of one event): £5,000,000. |  |  |  |
|  | Clauses 5.4A, 5.4B and 5.4C - INSURANCE OF THE WORKS ETC - ALTERNATIVE PROVISIONS • Clause 5.4B applies. |  |  |  |
|  | Clauses 5.4A.1 and 5.4B.1.2 - PERCENTAGE TO COVER PROFESSIONAL FEES • Addition: Ten per cent. |  |  |  |
|  | Clause 7.2 – ADJUDICATION - The Adjudicator is: as appointed by the President or a Vice-President or the Chairman or a Vice-Chairman of the Royal Institution of Chartered Surveyors. - Nominating body: The Royal Institution of Chartered Surveyors. |  |  |  |
|  | - Schedule 1 paragraph 2.1 - ARBITRATION - Appointor of Arbitrator (and of any replacement): President or a Vice president of the: The Royal Institution of Chartered Surveyors. |  |  |  |
|  | THE CONDITIONS SECTION 1: DEFINITIONS AND INTERPRETATION 1.4 - RECKONING PERIODS OF DAYS • Amendments: None. 1.7 - APPLICABLE LAW • Amendments: None. SECTION 2: CARRYING OUT THE WORKS SECTION 3: CONTROL OF THE WORKS SECTION 4: PAYMENT SECTION 5: INJURY, DAMAGE AND INSURANCE SECTION 6: TERMINATION SECTION 7: SETTLEMENT OF DISPUTES |  |  |  |
|  | JCT PUBLIC SECTOR SUPPLEMENT - Document: The JCT Public Sector Supplement 2011 - Fair Payment, Transparency and Building Information Modelling. - Fair Payment provisions Apply. - Transparency provisions Apply. - Building information modelling provisions do not apply. - The BIM protocol does not apply. EXECUTION • The Contract: Will be executed as a deed. |  |  |  |
| A30 | Tendering/ Subletting/ Supply |  |  |  |
|  | MAIN CONTRACT TENDERING |  |  |  |
| 110 145 | SCOPE - General: These conditions are supplementary to those stated in the Invitation to Tender and on the form of tender. TENDERING PROCEDURE - General: In accordance with the principles of: JCT Practice Note 'Tendering' 2012. • Arithmetical errors: Overall price is dominant. |  |  |  |
| 160 170 | EXCLUSIONS - Inability to tender: Immediately inform if any parts of the work as defined in the tender documents cannot be tendered. - Relevant parts of the work: Define those parts, stating reasons for the inability to tender. ACCEPTANCE OF TENDER - Acceptance: No guarantee is offered that any tender will be recommended for acceptance or be accepted, or that reasons for non-acceptance will be given. - Costs: No liability is accepted for any cost incurred in the preparation of any tender. |  |  |  |
| 190 | PERIOD OF VALIDITY - Period: After submission or lodgement, keep tender open for consideration (unless previously withdrawn) for not less than three months. - Date for possession/ commencement: See section A20. |  |  |  |
| 210 | PRICING/ SUBMISSION OF DOCUMENTS PRELIMINARIES IN THE SPECIFICATION • The Preliminaries/ General conditions sections (A10-A100 inclusive) must not be relied on as complying with SMM7. |  |  |  |
| 250 310 | PRICED DOCUMENTS - Alterations: Do not alter or qualify the priced documents without written consent. Tenders containing unauthorised alterations or qualifications may be rejected. - Measurements: Where not stated, ascertain from the drawings. - Deemed included: Costs relating to items, which are not priced, will be deemed to have been included elsewhere in the tender. - Submit: With tender. TENDER - General: Tenders must include for all work shown or described in the tender documents as a whole or clearly apparent as being necessary for the complete and proper execution of the Works |  |  |  |
| 440 | SCHEDULE OF RATES - Schedule of rates (unpriced): Included with the tender documents. The Contractor may insert additional items. All items must be fully priced. - Fully priced copy: Submit within one week of request. |  |  |  |
| 550 | HEALTH AND SAFETY INFORMATION - Content: Describe the organisation and resources to safeguard the health and safety of operatives, including those of subcontractors, and of any person whom the Works may affect. - Include: - A copy of the contractor's health and safety policy document, including risk assessment procedures. - Accident and sickness records for the past five years. - Records of previous Health and Safety Executive enforcement action. - Records of training and training policy. - The number and type of staff responsible for health and safety on this project with details of their qualifications and duties. - Submit: Within one week of request. |  |  |  |
| A100 A101 | PRELIMINARIES Setting up site The extent of the site is shown on the location plan. The site must be fully protected from unauthorised access by erection of suitable hoarding to a height of minimum 2.4 metres. |  |  |  |
| A102 | Site security The site must be protected by the installation of fully monitored and approved alarm system. The compound must be lit at all times. Signage must be provided to prevent unauthorised access and to manage pedestrian flow around the memorial. |  |  |  |
| A103 A104 | Scaffold access Scaffold must be erected to allow full access to all areas of the memorial. It is recommended that (i) either the design incorporates unimpeded access to the inscription panels or (ii) that the scaffold to the high levels is removed after completion of that part of the works. Welfare facilities Site welfare facilities(storage, mess hut, WC) must conform to current regulations. They can be located as shown on the attached plan. Any disruption arising from their installation or use must be made good at the end of the contract |  |  |  |
| A105 | Protection Allow to protect areas of the memorial outside the perimeter of the scaffolding that might be vulnerable during the contract (e.g. access paths, balustrade, inscriptions) |  |  |  |
| A106 | Water Water is available from Municipal Offices rear compound. By bowser only, not piped. The Employer will not be responsible for the consequences of failure or restriction in supply, Contractors must allow for temporary connections and distribution from the supply. |  |  |  |
| A107 | Electricity A 16A 240V supply is available from the box shown on the plan. Contractors must allow for temporary connections and for removal of any trailing cables each evening and over weekends. |  |  |  |
| A108 | Health and Safety Under the provisions of the Construction (Design and Management) Regulations 2015, the Client (Cheltenham Borough Council) will be acting as Principal Designer and the Contractor as Principal Contractor. This obliges the contractor to plan, manage and co-ordinate the work on site including: - Drawing up a Construction Phase Health and Safety Plan - Providing method statements and risk assessments for all activities - Ensuring all activities are carried out in a safe manner |  |  |  |
| A109 | Samples Allow for approval of the following: - Raking out and pointing of joints (x3 samples, each 0.25m) - Repair mortar (x 3 samples) - Small scale cleaning using superheated steam - Sample of new stone - Shelter coat These samples will be at the discretion of the council as to whether they are required |  |  |  |
| A110 A112 A111 | Recording Keep a written and photographic record of all works and, at the completion of the project, submit a full conservation report. Site meetings Site meetings will be held every fortnight during the contract. At each meeting the contractor will be expected to provide an updated program and a report on the current state of the works. Clearing site The site must be kept clean and tidy at all times and any rubbish removed weekly. At the conclusion of the work, remove hoarding, clear site and make good surrounding area. |  |  |  |
| A113 | Programme The work is planned to commence in Spring 2016 with completion by August 2016. Allowance should be made for possible disruption to work for commemoration of the beginning of the Battle of the Somme (see provisional sums) |  |  |  |

THE FOLLOWING IS A LIST OF SUGGESTED MATERIALS FOR THE WORK NOTE ALTERNATIVES SUPPLIERS WILL BE CONSIDERED

Algo biocide				Tensid UK			01932 564133

Unit 1 Craven Court

Canada Road

Byfleet

KT14 7JL

www.tensiduk.com

Lime and aggregates		Rose of Jericho		01935 83676

Horchester Farm

Holywell 											Nr. Evershot

Dorchester

Dorset

DT2 0LL

www.rose-of-	jericho.demon.co.uk

Cornish Lime Company	01208 79779

Brims Park

Bodmin

Cornwall

PL31 2DZ

www.cornishlime.co.uk

Dispersed lime injection mortar 	Deffner & Johann		0049 9723 93500

Mühläckerstraße 13,

97520 Röthlein,

Germany

www.deffner-johann.de

Trass	pozzolanic powder		Kremer Pigmente GmbH 	 0049 7565 914480

KG Hauptstrasse 41 - 47

88317 Aichstetten										Germany

www.kremer-pigmente.com

Calosil nanolime E10		Hirst Conservation Materials Ltd

Laughton Farm House	       01529 497517

Sleaford

Lincs

NG34 0HE

www.hirst-conservation.com

For reference purposes the trial panel on the memorial was carried out by: Philippa Fawcett      Tel: 07966 035591     e mail: philippafawcett@zoho.com

### Part 2

### Schedule of Works

| # 1.00 | # Preliminaries Financial Summary |  |  |  |
| --- | --- | --- | --- | --- |
| A10 | Project Particulars | Item |  |  |
| A11 | Tender And Contract Documents | Item |  |  |
| A12 | The Site/ Existing Buildings | Item |  |  |
| A13 | Description Of The Work | Item |  |  |
| A20 | JCT Minor Works Building Contract | Item |  |  |
| A30 | Tendering/ Subletting/ Supply | Item |  |  |
| A101 | Provisional Work/ Items | Item |  |  |
| A102 | Site security | Item |  |  |
| A103 | Scaffold access | Item |  |  |
| A104 | Welfare Facilities | Item |  |  |
| A105 | Protection | Item |  |  |
| A106 | Water | Item |  |  |
| A107 | Electricity | Item |  |  |
| A108 | Health and Safety | Item |  |  |
| A109 | Samples | Item |  |  |
| A110 | Recording | Item |  |  |
| A111 | Clearing site | Item |  |  |
| A112 | Site meetings | Item |  |  |
|  | Other Preliminary costs not identified in the documents | Item |  |  |
| A | The Schedule of Works shall be read in conjunction with all preceding general conditions, preliminary items, preambles and descriptions of materials workmanship and drawings. All items to which the Contractor attaches a monetary value shall be individually priced. |  |  |  |
| B | Cleaning stonework generally except for inscription panels - Using a bristle brush, dry brush all surfaces to remove surface dust and other accumulations - Clean all surfaces using low pressure superheated water at 140°C with a nozzle pressure of maximum 1.5 bar and a splay of 45°. Suitable machines are DOFF or Thermatech - Ensure run-off is controlled and not allowed to run over the inscription panels | Item |  |  |
| C | Cleaning inscription panels - Using a small bristle brush, dry brush surfaces to remove surface dust and other accumulations - Using hand sprays and small brushes, clean surfaces of inscription panels to reduce organic growth. All run-off should be sponged off using a sponge rinsed in clean water - Treat surfaces with Algo biocide and leave for 7 days - Clean all stone surfaces and residual grey paint applied to the lettering with superheated dry steam at 160°C. Suitable machines can be hired – DOFF and Thermatech are not to be used for this part of the cleaning. - Re-treat surfaces with Algo biocide | 4no |  |  |
| D | Cut out spalled stonework, remove cramps and indent new stone - Carefully remove detached sections of stone and clean out debris behind - Establish the size and accessibility of the cramp - Allow for inspection before proceeding - Cut perimeter of stone that is required to be removed to give full access to the cramp - Remove stone from around cramp by drilling and chiseling; minimum stone should be removed - Remove, record and dispose of cramp - Make good any voids - Using approved source of stone, indent new stone with joint maximum 2mm - Secure indent using fine lime mortar as follows: - NHL2 hydraulic lime binder 1 - Fine silver sand 0.5 - Portland stone dust (sieved) 2.5 - Finish stone surface by light tooling to give a slightly rough texture to the stone | 3No |  |  |
| E | Crack filling* - Flush out cracks in stone using mixture of water and ispopropanol delivered with a syringe. Contain run-off using a sponge held at the bottom of the crack - Prepare injection mortar as below: - Dispersed lime injection mortar 1 - Trass 0.5 - Add 10% water - Inject this mixture into pre-wetted crack working from the lowest section upwards - Remove excess and allow to set under controlled conditions - Fill surface of crack with repair mortar (see section H below) | 2no |  |  |
| F | Pointing* • Rake out all cracked pointing from joints around inscription panels - Clean out any open joints to remove all debris and old mortar - Ensure all old mortar is removed to a minimum depth of 20mm - Thoroughly wet all joints and adjacent stone - Apply approved pointing mortar to all open joints. Allow for mortar to be composed as below: - NHL2 hydraulic lime binder 1 - Forticrete sand 1 - Portland stone dust 1 - Guiting stone dust 0.5 - Ensure mortar is fully compressed and allow it to take on initial set - Scrape back surface to provide open texture to match with adjacent weathered stone - Allow for mortar to carbonate under controlled conditions; this may involve keeping the area damp for a period of up to three days | 30 lin m |  |  |
| G | Consolidation and treatment of carvings - Carefully record carved surfaces and identify areas of powdering stone - Allow to treat these areas with three applications of Calosil nanolime E10. Each application should be applied to the affected area by syringe until saturation is achieved. Use a sponge to collect any run-off. - Immediately after application, dab the surface with sponge rinsed out with clean water; this will remove excess nanolime and reduce any bloom - Use syringe to apply dispersed lime injection mortar to any fissures in the carving - Using a fine sharp chisel, carefully cut around perimeter of areas of decay or loss to provide a defined edge (approx. 3 – 5mm deep) for the application of mortar - Apply mortar repairs (see section H) to areas of decay or loss - Mix up approved shelter coat and apply to carved work. Rub back excess and re-apply second thin coat. - Assume that shelter coat will have the following constituents: - Lime putty 1 - Fine silver sand (<150μm) 1 - Bath stone dust (<150μm) 1 - Guiting stone dust 0.5 - Portland stone dust 1 - Trass 0.25 | 3no |  |  |
| H | Mortar repair - Identify areas of water traps or voids that need to be filled - Using a fine sharp chisel, carefully cut around the perimeter of these areas to provide a defined edge (approx. 3 – 5mm deep) for the application of mortar - Assume mortar to be made up as follows: - Lime putty 1 - Forticrete sand (<600μm) 1 - Portland stone dust 1 - Guiting stone dust 0.5 - Trass 0.5 - Apply approved mortar to pre-wetted stone and allow to take on initial set - Compress mortar and rake back surface to provide a texture to match adjacent stone - Allow mortar to carbonate under controlled conditions; this may involve keeping the mortar and adjacent stone damp for a period of up to seven days. | 20no |  |  |
| I | Installation of stainless steel flashing - Carry out measured survey of the proposed flashing and provide scale drawings for approval - Arrange for manufacture of stainless steel flashing in two L-shaped sections - Stainless steel flashing to be manufacture from Grade 316 4mm plate and should follow the pattern of the sample currently installed on the SE corner - Flashing should be 90mm deep on the horizontal surface profiled to match the top of the inscription panels; the front of the flashing should be 50mm deep angled at 45° with a separate rolled edge welded to the front. - Integrated mitred joint for each half of the flashing must be welded on the underside and machined to provide an invisible joint. - For the mitred joints that must be fixed in situ, one end of each half of the flashing will need a small overlap plate with hex nut welded to underside. This will need to coincide with a sunken head hex screw on the corresponding end of the other half. - All metal surfaces should be abraded to a honed finish and then powder coated to RAL ?? to match Portland stone. - Cut out mortar from horizontal joint at top of inscription panels and secure flashing in place with small wooden wedges driven into the joint. - Insert and tighten hex screw to secure two halves together - Fill the head of the hex screw with resin to prevent any chance of it be removed - Point up joints with pointing mortar (see section F above) | Item |  |  |
| J | Re-cutting of lettering The re-cutting and mortar fill of the lettering (sections J and K) on the exemplar panel on the upper north quadrant of the east inscription panel is considered to have achieved the desired quality. - Identify letters or part letter that have lost definition to the extent that there is no longer sufficient key for the mortar fill - Using the template of existing lettering, mark out the areas that require being re-incised. This should be the minimum necessary to provide a sharp edge; it is not the intention to re-cut complete letters. - Very carefully, using letter-cutting chisels and techniques, re-incise to a depth of minimum 3mm - If there are protruding shells or other high spots on the stone that prevent a sharp edge being achieved, use a small riffler to reduce these to the level of the adjacent stone - Where required, drill small 2mm holes to provide a key for mortar (see section K). The location of the holes should coincide with those found in the original inscription | 1500 No letters |  |  |
| K | Mortar fill of lettering - Make up mortar consisting of the following ingredients: - Fast-setting Portland cement 1 - Dispersed lime putty 0.5 - Wood ash 0.5 - Casein 0.1 - Black pigment 0.05 - This will need to be made up in small quantities as it becomes unworkable after about 30 minutes - Using appropriate small dental tools, apply mortar to pre-wetted stone and push into position, including into any holes drilled to provide a key - Allow to set for two hours or so before being shaped at the edges and scraped back to a flat surface. - When completely set (after a few days), polish the surface using a Dremel fitted with a small pointed carborundum stone. | 1800 No letters |  |  |
| L | New inscriptions - A number of new names (6 No) are to be incised into the small blank area at the bottom west corner of the south panel - Set out names following exactly the form, sizing and layout of the existing inscriptions - Cut lettering (151 No including punctuation) to match existing - Drill 2mm holes in the incisions to match original style - Fill new letters with mortar (see section K) | 151 No letters |  |  |
| M | Amending existing inscriptions - A small number of inscriptions have been reported as incorrect - Allow to remove mortar from those incorrect letters - Fill the incisions of those letters with mortar (see section H) - Set out new lettering (12 No including punctuation) and incise (see section L) Fill new lettering with mortar (see section K) | 12 No letters |  |  |
| N | Removal and replacement of resin letters - Using sharp chisels and drills, remove resin lettering from four names on east elevation (Hill, Hobbs, Hobbs, Holder) - Allow to re-incise letters to match original design and size (see section J) - Fill letters with mortar (see section K) | 41 No letters |  |  |
|  | Provisional sums |  |  |  |
| # P1 | Attendance on lettering sub-contractor | 8 weeks |  |  |
| # P2 | Down time due to events at the War Memorial | 2 days |  |  |
| # P3 | Craftsperson | 40 hours |  |  |
| # P4 | Letter cutter | 40 hours |  |  |
| # P5 | Conservator | 40 hours |  |  |
|  | Schedule of Works - Collection Page |  |  |  |
|  | 16 |  |  |  |
|  | 17 |  |  |  |
|  | 18 |  |  |  |
|  | 19 |  |  |  |
|  | 20 |  |  |  |
|  | 21 |  |  |  |
| Collection To part 3 Form of Tender |  |  |  |

### Part 3

Form of Tender

| PART 4 - TENDER SUMMARY |  | Unit | £ | p |
| --- | --- | --- | --- | --- |
|  | The Contractor is to price, or enter the word Nil against each of the following items. |  |  |  |
| 1.00 | Conditions of Contract |  |  |  |
| 2.00 | Contingency Sum For contingencies to be expended or deducted in whole or in part, as directed by the Contract Administrator. |  | 1,000 | 00 |
| 3.00 3.01 | Price Specification of Works including Preliminary Items Part 1 – Conditions Preambles & Preliminaries |  |  |  |
| 3.03 | Part 2 Schedule of works |  |  |  |
| 4.00 | Add for provision of insurance to cover the liability of the Contractor or any Subcontractor in respect of personal injuries or deaths as required by the Contract conditions A20 Clause 5.3.2. |  |  |  |
| 5.00 | Add for provision of insurance to cover the liability of the Contractor or any Subcontractor in respect of injury or damage to property real and personal as required by the Contract conditions A20 Clause 5.4 such insurance to cover up to £5,000,000 (five million pounds) for any one accident, the number of incidents being unlimited. |  |  |  |
| 7.00 | The Contractor’s attention is specifically drawn to the following: This is a fixed price Contract. |  |  |  |
| 8.00 | No allowance should be made in this Tender for Value Added Tax. |  |  |  |
| 9.00 | The Council will accept this tender only on a net basis |  |  |  |
| Collection |  |  |  |  |

Please print clearly

| Signature of Contractor: | ………………..………………………..…………………………………… |  |
| --- | --- | --- |
|  | Date: | …………………………………………… |
| Name of signatory: | ………………………………………………..…………………………….. |  |
| Capacity of signatory: | ………………………………………………..…………………………….. |  |
| Company Registration No | ……………………………………………………… |  |
| Company UTR: | ……………………………………………………… |  |
| CIS Details: | ……………………………………………………… |  |