STATEMENT OF REQUIREMENT

THE PROVISION OF A MECHANICAL AND ELECTRICAL REPAIR, STATUTORY MAINTENANCE AND INSTALLATION OF EQUIPMENT INCLUDING: MACHINE TOOLS, WELDING MACHINES AND LOCAL EXHAUST VENTILATION AT HMS SULTAN

  - Scope of Requirement

    - HMS Sultan holds a large quantity of equipment used for training and in support of training, which includes career courses in Mechanical and Electrical engineering principles. The statutory maintenance and support of the equipment is essential to ensure minimum downtime and disruption to the courses in the event of equipment failure.  Annex C details an indicative list of equipment to be overseen.  However, it should be noted that this list of equipment requiring statutory maintenance and/or repair can change and cannot be taken as definitive.  New equipment may be added or removed as training needs are updated.

    - The scope of electrical repairs and tasks includes installation design, actual installation, repairs, modifications and enhancements associated with Training Facilities, Equipment and Machinery.

    - The scope of mechanical repairs and tasks includes installation design, actual installation, repairs, modifications and enhancements associated with Training Facilities, Equipment and Machinery. Typically these machines include: Centre Lathes, Milling Machines, Grinders, Sheet Metal working machines, Drills, Wood Working Machinery, CNC controls on various machinery; supporting Hydraulic pipe work and valves, fuel and water pipe work; Local Exhaust Ventilation (LEV) examination, service and repair; Welding Equipment calibration, service and repair. The above listed training equipment is in support of, and essential to, training delivery.

    - This Statement of Requirement addresses the provision of Mechanical and Electrical support to undertake various tasks but not limited or inclusive to:

      - Undertaking various mechanical or electrical repairs as notified in accordance with the ordering procedure set out in Annex A.

      - To isolate services, such as electrics, hydraulics, ventilation, water etc. to redundant equipment.

      - To remove redundant equipment (Decommission) and transport to holding site location as required, for disposal by others.

      - To install new (Commission) or replacement (Re commission) equipment including reconnection of all required services to the equipment.

      - To undertake repair and renewal of supply services such as electrics, hydraulics, ventilation, water etc. to training equipment in workshops and classrooms.

      - To provide design services for modifications to existing training equipment and installation of replacement training equipment.

      - To undertake improvements to exhaust ventilation systems in workshops and classrooms for training equipment where required.

      - To undertake upgrading of equipment to enhance training facilities in workshops and classrooms to support training where required.

      - To undertake improvements and repair to lighting systems in workshops and classrooms to training equipment where required.

    - Machine Tools: To undertake all variations of electrical and mechanical repairs, servicing, statutory and maintenance routines on machine tools including Computer Numerical Controls (CNC) and to supply written report and certification on completion.

    - All materials (including consumables and spares) required to carry out the task shall be supplied by the Contractor unless otherwise stated.

    - All the work shall be undertaken without MOD assistance unless otherwise stated and agreed.

    - To attend Pricing meetings to discuss and view the requirement of the task to identify any areas of concern prior to the Contractor supplying a price. Repairs shall be given a limit of liability to enable investigation and simple repairs to be undertaken. Further works and costs will be subject to evaluation of quotes and approval of the Authority’s Project Manager.

    - To submit a three monthly written report to the Authority’s Project Manager on the contract progress, which may contain for example areas of concern, updates on tasks being undertaken etc.

    - Welding equipment can be found at Annex B.

    - Local exhaust ventilation: To carry out service, testing and certification of local exhaust ventilation in compliance with controlling airborne contaminants at work (HSG258 2nd Edition) and control of substances hazardous to health (COSHH) regulations 2002. To supply and fit new filters as required and supply written report and certification on completion.

  - Definitions

    - In addition to the definitions detailed in the Terms and Conditions of the Contract the following definitions shall also apply. Where the definitions below contrast to those detailed in the Terms and Conditions of the Contract then the definitions within the Terms and Conditions of the Contract shall take precedence.

| Term | Definition |
| --- | --- |
| Contractor’s Personal Use | Means any use of MOD furnished property, facilities or equipment intended for the primary benefit of the Contractor or the Contractor’s Personnel which is contrary to the MOD’s interests is considered personal use. |
| Contractor’s Personnel | Means any employees, including sub-contractors or other agents working on behalf of the Contractor, shall be deemed the Contractor’s Personnel. |

    - In addition to the abbreviations and acronyms detailed in the Terms and Conditions of the Contract the following abbreviations and acronyms will be used.

| Abbreviation or Acronym | Interpretation |
| --- | --- |
| ACoP | Approved Code of Practice |
| AP | Approved Person |
| BCGA CP7 | British Compressed Gases Association Code of Practice 7 |
| CNC | Computer Numerical Controls |
| COSHH | Control Of Substances Hazardous to Health |
| DO | Designated Officer |
| EAWR | Electricity at Work Regulations |
| ESO | Engineering Support Office |
| HMS | Her Majesty’s Ship |
| IET | Institution of Engineering and Technology |
| LEV | Local Exhaust Ventilation |
| LOLER | Lifting Operations and Lifting Equipment Regulations |
| MHSWR | Management of Health and Safety at Work Regulations |
| MIG | Metal Inert Gas |
| MOD | Ministry of Defence |
| MMA | Manual Metal Arc |
| NICEIC | National Inspection Council for Electrical Installation Contracting |
| PUWER | Provision and Use of Work Equipment Regulations |
| REACH | Registration, Evaluation, Authorisation and restriction of CHemicals |
| RN | Royal Navy |
| SC | Security Check |
| SoR | Statement of Requirement |
| SOTR | Staff Officer Training Resources |
| TIG | Tungsten Inert Gas |

  - References

    - In addition to the references detailed in the Terms and Conditions of the Contract the following references shall also apply as well as any subsequent revisions and amendments to the references. This list does not absolve the Contractor from conforming to any other relevant publications.

| Reference | Version | Source |
| --- | --- | --- |
| Controlling Airborne Contaminants at Work – A guide to local exhaust ventilation | HSG258 2nd Edition | http://www.hse.gov.uk/pubns/books/hsg258.htm |
| The Control of Substances Hazardous to Health Regulations 2002 (as amended) – Approved Code of Practice and Guidance (COSHH) | L5 5th Edition | http://www.hse.gov.uk/pubns/books/l5.htm |
| Electricity at Work Regulations 1989 - memorandum of Guidance on Regulations (EAWR) | HSR25 3rd Edition | http://www.hse.gov.uk/pubns/books/hsr25.htm |
| Government Security Classifications | 1.0 | https://www.gov.uk/government/publications/government-security-classifications |
| Health and Safety at Work etc. Act 1974 | c. 37 | http://www.legislation.gov.uk/ukpga/1974/37 |
| IET Wiring Regulations 17th Edition | BS 7671: 2008 +A3:2015 |  |
| Lifting operations and Lifting Equipment Regulations 1998 – Approved Code of Practice and Guidance (LOLER) | L113 2nd Edition | http://www.hse.gov.uk/pubns/books/l113.htm |
| Management of Health and Safety at Work Regulations 1999 - Approved Code of Practice and Guidance (MHSWR) | L21 2nd Edition | http://www.hse.gov.uk/pubns/books/l21.htm |
| Provision and Use of Work Equipment Regulations 1998 – Approved Code of Practice and Guidance (PUWER) | L22 4th Edition | http://www.hse.gov.uk/pubns/books/l22.htm |
| Registration, Evaluation, Authorisation and restriction of CHemicals (REACH) |  | http://www.hse.gov.uk/reach/index.htm |
| Supply of Machinery (Safety) Regulations 2008 Statutory Instrument 2008/1597 | SI 2008/1597 | http://www.legislation.gov.uk |
| British Compressed Gases Association Code of Practice 7 – The safe use of Oxy-Fuel | BCGA CP7 |  |
| Qualification test of welders. Fusion welding. Steels | BS EN ISO 9606-1:2013 |  |
| Specification and qualification of welding procedures for metallic materials. Welding procedure test. Arc and gas welding of steels and arc welding of nickel and nickel alloys | BS EN ISO 15614-1: 2004 +A2:2012 |  |

  - Site

    - The Site for the delivery of all services is HMS Sultan. HMS Sultan is site located in Military Road, Gosport, Hampshire PO12 3BY

  - Security

    - All information related to or generated by this Contract is to be treated in the appropriate manner in accordance with Government Security Classifications. The classification of the material to be handled shall not exceed OFFICIAL in nature.

    - The successful contractor’s engineers will be required to complete a Basic Security Check Standard Application forms will be supplied as required following contract award and take-on meeting.

    - Either hold a valid HM Government “Cyber Essentials” certificate or acquire said certificate and provide evidence to the DO within 6 months from contract 	start date

  - Site Access

    - Engineers will be required to undertake a Basic Security Check Standard application which shall allow unescorted access to the base on successful clearance. Until clearance has been achieved engineers shall be escorted whilst on the establishment.

  - Safety and Environmental Provisions

    - When on the Site the Contractor is to comply with all MOD Safety, Health and Environmental Protection regulations and policy.

    - Prior to work commencing, the contractor will be required to forward the following:

      - Risk Assessment.

      - Method Statement.

      - Copy of the company's Health and Safety Policy.

      - History of the company's safety performance.

      - Certification and tests of plant and equipment being employed.

      - COSHH assessments for any hazardous materials being brought and used on site.

    - Contractor shall supply all tools and lifting equipment (with current certification) and any other equipment as necessary to complete the task.

    - Contractor shall be NICEIC approved and registered. All electrical work shall be carried out in accordance with the Electricity at Work Regulations 1989 and BS 7671:2008+A3:2015 IET Wiring Regulations 17th Edition.

    - All work shall be carried out in accordance with all current Regulations and standards appertaining to the type of work undertaken.

    - Contractor's electrical staff must be certified by the Establishment electrical Approved Person (AP). To obtain certification individual electricians/electrical fitters shall:

      - Prove their competence by showing original indentures and current 17th Edition IET course certification etc.

      - Hold a basic First Aid certificate.

      - Hold a basic Fire Fighting certificate.

      - Be in possession of Approved test equipment, personal locks and signs.

    - Contractor's mechanical staff that may be required to work on pressure systems must be certified by the Establishment Approved Person (AP). To obtain certification individual fitters shall:

      - Prove their competence by showing original indentures, course certification etc.

      - Hold a basic First Aid certificate.

      - Hold a basic Fire Fighting certificate.

  - Hours of Operation

    - All services to the Site shall be delivered between the hours of 08:00 - 16:00 on weekdays with exception of recognised UK Bank Holidays and Public Holidays. Work outside of these hours will only be undertaken following the issue of a formal approval by the Designated Officer using the appropriate Contract Demand Order Form

A.9	Quality Assurance

A.9.a	Be a designated body which appears to the Secretary of State to be a Recognised Body under the Statutory  Instruments 2013        No 2992, The Education (Recognised Bodies) (England) Order 2013

A.9.b     Compliant with NATO QCC AQAP 2310 and DEFCON 627

A.9.c     Quality Plan requirement in accordance with AQAP 2015

| Ref | Requirement | Additional Information | Quantity | Standard of Performance |
| --- | --- | --- | --- | --- |
| B | Deliverable Requirements |  |  |  |
| B.1 | To investigate and carry out all types of electrical and mechanical repairs, statutory servicing and fault rectifcation on Machine Tools, including Computer Numerical Controls (CNC) machines, as detailed at Annex C. | Legally required to provide safe equipment for use in connection with training. Where the safety of equipment depends on the installation conditions or is exposed to conditions causing deterioration liable to result in dangerous situations, equipment must be inspected to identify whether it can be operated, adjusted and maintained safely. Undertaking this on a regular basis can help detect any deterioration and enable action before it results in any health and safety risk. | 1 per year Statutory maintenance & approx. 20 - 30 call outs per year. | PUWER 1998. Regulation 6. Manufacturer's recommended use and maintenance guidance. |
| B.2 | To investigate and carry out various electrical repairs to training and associated equipment and supply services to the equipment. | Electrician/Electrical fitter to be certified by Establishment Approved Person (AP). | Approx. 20 – 30 call outs per year. | In accordance with: EAWR 1989 and BS 7671:2008+A3:2015 IET Wiring Regulations 17th Edition. |
| B.3 | To investigate and carry out various mechanical repairs to training and associated equipment and supply services to the equipment. | If required to work on Pressure Systems, the Fitter to be certified by Establishment Approved Person (AP). | Approx. 20 – 30 call outs per year. | PUWER 1998. Regulation 6. Manufacturer's recommended use and maintenance guidance. |
| B.4 | To isolate and disconnect all electrical and mechanical services to redundant equipment prior to removal. | Risk Assessment and Method Statement required prior to any works commencing. | Approx. 5 – 10 call outs per year. | PUWER 1998. Regulation 6. LOLER 1998 ACoP L113 2nd Ed. EAWR 1989 and BS 7671:2008+A3:2015 IET Wiring Regulations 17th Ed. |
| B.5 | To remove and transport redundant equipment from training area to holding location within HMS Sultan. | Risk Assessment and Method Statement required prior to any works commencing. | Approx. 5 – 10 call outs per year. | LOLER 1998 ACoP L113 2nd Ed. PUWER 1998 |
| B.6 | To install new / replacement training equipment and all associated supply services as required to operate the equipment. | Risk Assessment and Method Statement required prior to any works commencing. | Approx. 1 – 5 call outs per year. | PUWER 1998. Regulation 6. LOLER ACoP L113 2nd Edition EAWR 1989 and BS 7671:2008+A3:2015 IET Wiring Regulations 17th Edition. |
| B.7 | To provide design services and manufacture modifications to training equipment to enhance safety of the training facilities. | Also to provide design services to assist replacement training equipment and the utilisation of existing services to provide better value for money to the crown. | Approx. 1 – 5 per year. | PUWER 1998. Regulation 6. LOLER ACoP L113 2nd Edition EAWR 1989 and BS 7671:2008+A3:2015 IET Wiring Regulations 17th Edition. |
| B.8 | To inspect and certificate statutory inspections of Machine Tools including CNC. | Refer Annex C RED Refer Annex C BLUE. | 1 per year 2 per year | PUWER 1998. Regulation 6. EAWR 1989 and BS 7671:2008+A3:2015 IET Wiring Regulations 17th Edition. |
| B.9 | To service, test and certificate local exhaust ventilation | Risk Assessment and Method Statement required prior to any works commencing. | 1 per year | COSHH 2002. HSG 258 2nd Edition |
| B.10 | To calibrate and validate welding machines and associated machinery | Risk Assessment and Method Statement required prior to any works commencing. | 1 per year | BCGA CP7 |

B.11    To be able to respond to

an emergency situation

within four (4) hours during

normal hours of operation

iaw SOR Ref A8a

Annex A – Ordering Process

- Ordering  Process

  - Statutory Inspection & Servicing

    - The costs to carry out the statutory inspection and servicing of machine tools, local exhaust ventilation and welding equipment, on an annual basis, should be set out in the tender as a firm price.

  - Reported defect – Investigate and Repair

    - In the event of a breakdown a work order (ESS7) – (see attached) will be sent to the contractor to allow for investigation and repair to be carried out within a Delegated Financial  limit.

    - Following investigation a report detailing the fault and cost to repair shall be forwarded to the Designated Officer  to obtain financial approval if considered to be value for money to effect repair of the defect.

    - The ESS7 will be amended and forwarded to the contractor once approval has been obtained.

  - Isolation, Installation and Reconnection – Replacement equipment or services

    - Attend an on-site meeting to review the required task and confirm actual requirement.

    - Produce a quotation for evaluation and financial approval.

    - On acceptance an ESS7 form would be raised with the quotation value giving authority to proceed.

Annex B - Welding equipment

Welding equipment: To undertake all investigations and repairs to welding machines and associated equipment as required and to undertake annually calibration and validation of the following and shall be undertaken by a competent person as outlined in British Compressed Gases Association Code of Practice 7 – The safe use of Oxy-Fuel (BCGA CP7) to carry out the following procedures in the maintenance and testing of:

MIG equipment

      - Strip and clean rectifier using low pressure air line and the vacuum to remove accumulated dust.

      - Check and clean contacts on relays, contactors and circuit board edge connectors.

      - Check main diodes, rectifiers and/or thyristors.

      - Check operation of all controls.

      - Check power control interconnections.

      - Check and where necessary lubricate wire drive systems.

      - Check and clean liners and gas spreaders on torches.

      - Check work return leads and connections.

      - Check open circuit voltages.

      - Check and clean spool on guns.

      - Check gas lines and flows.

      - Weld test equipment with assistance of machine operator.

MMA equipment

      - Strip and clean rectifier using low pressure air line and the vacuum to remove accumulated dust.

      - Check and clean contacts on relays, contactors and circuit board edge connectors.

      - Check main diodes, rectifiers and/or thyristors.

      - Check operation of all controls.

      - Check power control interconnections.

      - Check fan and airways on air cooled sets.

      - Check work return leads and connections.

      - Check oil for level and contamination on oil cooled sets.

      - Check open circuit voltages.

      - Check insulation.

      - Weld test equipment with assistance of machine operator.

Plasma cutters

      - Strip and clean rectifier using low pressure air line and the vacuum to remove accumulated dust.

      - Check and clean contacts on relays, contactors and circuit board edge connectors.

      - Check main diodes, rectifiers and/or thyristors.

      - Check for loose or bad connections and remake as necessary.

      - Check, clean and adjust high frequency contact gap assembly.

      - Check torch and connections.

      - Weld test equipment with assistance of machine operator.

Electrode ovens

      - Check equipment for normal operation.

      - Calibrate temperature control oven, at various temperature ranges.

Profile cutters

      - Check equipment for normal operation.

TIG equipment

      - Strip and clean rectifier using low pressure air line and the vacuum to remove accumulated dust.

      - Check and clean contacts on relays, contactors and circuit board edge connectors.

      - Check main diodes, rectifiers and/or thyristors.

      - Check for loose or bad connections and remake as necessary.

      - Check, clean and adjust high frequency contact gap assembly.

      - Check operation of all controls including foot pedal.

      - Check water return lead and connections.

      - Weld test equipment with assistance of machine operator.

      - All work shall be carried out in accordance with all current Regulations and standards appertaining to the type of work undertaken.

Annex C – List of currently held equipment

Equipment								Location				Bld No.

| LEV SYSTEM | .22 RANGE | 35 |
| --- | --- | --- |
| DECOMPRESSION CHAMBER & ASSOCIATED EQUIPMENT | AIR MEDICAL SCHOOL | 40 |
| HARRISON M300 LATHE | ATW | 1 |
| PROSAW 300 RFA | ATW | 1 |
| TECARC AC/DC 300E MMA | ATW | 1 |
| TECARC AC/DC 300E MMA | ATW | 1 |
| TECARC AC/DC 300E MMA | ATW | 1 |
| TECARC AC/DC 300E MMA | ATW | 1 |
| TECARC AC/DC 300E MMA | ATW | 1 |
| TECARC AC/DC 300E MMA | ATW | 1 |
| ESAB MIG 340 PRO | ATW | 1 |
| ESAB MIG 340 PRO | ATW | 1 |
| GUYSON EUROBLASTER 6SF GRIT | ATW | 1 |
| GUYSON EUROBLASTER 6SF GRIT | ATW | 1 |
| FOLDING MACHINE PAN BOX S/N 11568 (BPC1270) | ATW | 1 |
| ROLLER BENDER S/N 53058 (MBR 1050/90) | ATW | 1 |
| DUSTRACTION SOUND BOOTH ROOM | ATW | 1 |
| BENCH DRILL STARTRITE | ATW | 1 |
| BENCH DRILL STARTRITE | ATW | 1 |
| BENCH DRILL STARTRITE | ATW | 1 |
| BENCH DRILL STARTRITE | ATW | 1 |
| WADKIN PLANER AT630 | ATW | 1 |
| RIGID PIPE BENDER | ATW | 1 |
| ROTHENBERGER PIPE FREEZER | ATW | 1 |
| KIESER KRAFT SISSOR LIFT | ATW | 1 |
| HYDRA-SWAGE PIPE EXPANDER FLAIRING TOOLSETS | ATW | 1 |
| HYDRA-SWAGE PIPE EXPANDER FLAIRING TOOLSETS | ATW | 1 |
| HYDRA-SWAGE PIPE EXPANDER FLAIRING TOOLSETS | ATW | 1 |
| HYDRA-SWAGE PIPE EXPANDER FLAIRING TOOLSETS | ATW | 1 |
| PALLETISER TRUCK | ATW | 1 |
| POLISHER MAKITA | ATW1 | 1 |
| PANELSAW ROBLAND Z320 | ATW1 | 1 |
| DELTA 23655 240V DOUBLE ENDED BENCH GRINDER | ATW1 | 1 |
| EXHAUST VENT UNIT | ATW1 | 1 |
| EXHAUST VENTILATION SYSTEM | ATW1 | 1 |
| HOT BOND CONTROLLER | ATW1 | 1 |
| HOT BOND CONTROLLER | ATW1 | 1 |
| UNIVERSAL POWER SOURCE | ATW1 | 1 |
| VACUUM CLEANER | ATW1 | 1 |
| DRY VACUUM CLEANER (KERSTAR KAV 20) | ATW1 | 1 |
| DRY VACUUM CLEANER (KERSTAR KAV 20) | ATW1 | 1 |
| PROSAW V315 CIRCULAR SAW | ATW1 | 1 |
| PROSAW V315 CIRCULAR SAW | ATW2 | 1 |
| HAND LEVER SHEARS | ATW1 DESIGN & MAKE SECTION | 1 |
| SURFACE TABLE | ATW1 CSI | 1 |
| 30" VERTICAL BANDSAW | ATW1 DESIGN & MAKE SECTION | 1 |
| DUST EXTRACTION UNIT | MACHINE SHOP | 1 |
| FOLDER | ATW1 DESIGN & MAKE SECTION | 1 |
| FOLDER | ATW1 DESIGN & MAKE SECTION | 1 |
| GUILLOTINE | ATW1 DESIGN & MAKE SECTION | 1 |
| HAND SHEARS | ATW1 DESIGN & MAKE SECTION | 1 |
| LEV SYSTEM | ATW1 DESIGN & MAKE SECTION | 1 |
| MODEL SUPER 4 | ATW1 DESIGN & MAKE SECTION | 1 |
| POLISHER | ATW1 DESIGN & MAKE SECTION | 1 |
| POWER PRESS | ATW1 DESIGN & MAKE SECTION | 1 |
| ROLLERS | ATW1 DESIGN & MAKE SECTION | 1 |
| WELDING UNIT | ATW1 DESIGN & MAKE SECTION | 1 |
| DRILL GRINDING MACHINE | ATW1 FITTING | 1 |
| GRINDING MACHINE D/E | ATW1 FITTING | 1 |
| MARKING OUT TABLE | ATW1 FITTING | 1 |
| MARKING OUT TABLE | ATW1 FITTING | 1 |
| PILLAR DRILL | ATW1 FITTING | 1 |
| PILLAR DRILL | ATW1 FITTING | 1 |
| SHAPING MACHINE 14" | ATW1 FITTING | 1 |
| FUME CUPBOARD | ATW1 GRP MIXING ROOM | 1 |
| LEV SYSTEM | ATW1 GRP SHOP 1 | 1 |
| LEV SYSTEM | ATW1 GRP SHOP 1 | 1 |
| LEV SYSTEM | ATW1 GRP SHOP 1 | 1 |
| LEV SYSTEM | ATW1 GRP SHOP 1 | 1 |
| LEV SYSTEM | ATW1 GRP SHOP 1 | 1 |
| LEV SYSTEM | ATW1 GRP SHOP 1 | 1 |
| FUME EXTRACTION CUPBOARD PENRYN | ATW1 GRP SHOP 2 | 1 |
| LEV SYSTEM | ATW1 GRP SHOP 2 | 1 |
| LEV SYSTEM | ATW1 GRP SHOP 2 | 1 |
| LEV SYSTEM | ATW1 GRP SHOP 2 | 1 |
| LEV SYSTEM | ATW1 GRP SHOP 2 | 1 |
| LEV SYSTEM NEEDERMAN | ATW1 GRP SHOP 2 | 1 |
| LEV SYSTEM | ATW1 GRP SHOP ABRADING ROOM | 1 |
| FUME EXTRACTION CUPBOARD | ATW1 GRP SHOP MIXING ROOM | 1 |
| AIR DRILL SPOT SUCTION ATTACHMENT | ATW1 GRP WORKSHOP | 1 |
| CIRCULAR CUTTER (AIR DRIVEN) | ATW1 GRP WORKSHOP | 1 |
| CIRCULAR CUTTER (AIR DRIVEN) | ATW1 GRP WORKSHOP | 1 |
| RANDOM ORBITAL SANDER | ATW1 GRP WORKSHOP | 1 |
| RANDOM ORBITAL SANDER | ATW1 GRP WORKSHOP | 1 |
| MITRE & TRIM MACHINE | ATW1 JOINERY SHOP | 1 |
| BANDSAW | ATW1 PLASTICS SHOP | 1 |
| DISC SANDER | ATW1 PLASTICS SHOP | 1 |
| INDUSTRIAL VACUUM CLEANER | ATW1 PLASTICS SHOP | 1 |
| INJECTOR MOULDER | ATW1 PLASTICS SHOP | 1 |
| LEV SYSTEM | ATW1 PLASTICS SHOP | 1 |
| LEV SYSTEM NP | ATW1 PLASTICS SHOP | 1 |
| MITREING MACHINE | ATW1 PLASTICS SHOP | 1 |
| STRIP HEATER SHEET 380 | ATW1 PLASTICS SHOP | 1 |
| STRIP HEATER HOTWIRE | ATW1 PLASTICS SHOP | 1 |
| VACUUM FORMER | ATW1 PLASTICS SHOP | 1 |
| MITRE MACHINE SYSTEM 4000 | ATW1 | 1 |
| MITRE MACHINE | ATW1 WOODWORK SECTION | 1 |
| MITRE & TRIM MACHINE | ATW1 WOODWORK SECTION | 1 |
| 10 KVA TRANSFORMER | ATW1 WOODWORK SECTION | 1 |
| CIRCULAR BENCH SAW 9" | ATW1 WOODWORK SECTION | 1 |
| CIRCULAR SAW 500 MM | ATW1 WOODWORK SECTION | 1 |
| BANDSAW WADKIN PBR-HD | ATW1 WOODWORK SECTION | 1 |
| CIRCULAR SAW 9" | ATW1 WOODWORK SECTION | 1 |
| CROSS CUT SAW TRENCHING | ATW1 WOODWORK SECTION | 1 |
| DISC & BOBBIN SANDING MACHINE | ATW1 WOODWORK SECTION | 1 |
| DUST EXTRACTION PLANT | ATW1 WOODWORK SECTION | 1 |
| DUST EXTRACTION UNIT | ATW1 WOODWORK SECTION | 1 |
| GRINDING MACHINE D/E | ATW1 WOODWORK SECTION | 1 |
| GRINDING MACHINE D/E | ATW1 WOODWORK SECTION | 1 |
| JZ CIRCULAR SAW | ATW1 WOODWORK SECTION | 1 |
| MORTISING MACHINE | ATW1 WOODWORK SECTION | 1 |
| PILLAR DRILL | ATW1 WOODWORK SECTION | 1 |
| PLANE BLADE SHARPENER | ATW1 WOODWORK SECTION | 1 |
| PLANING AND THICKNESS M/C | ATW1 WOODWORK SECTION | 1 |
| SANDING BENCH | ATW1 WOODWORK SECTION | 1 |
| UNIVERSAL WOODWORK M/C | ATW1 WOODWORK SECTION | 1 |
| VERTICAL BANDSAW | ATW1 WOODWORK SECTION | 1 |
| VERTICAL BANDSAW 30" | ATW1 WOODWORK SECTION | 1 |
| WOOD TURNING LATHE | ATW1 WOODWORK SECTION | 1 |
| WOOD TURNING LATHE | ATW1 WOODWORK SECTION | 1 |
| WOODWASTE COLLECTION PLANT | ATW1 WOODWORK SECTION | 1 |
| PLANER THICKNESSER (FORMAT) | ATW1 WOODWORK SECTION | 1 |
| WOODWASTE EXTRACTION UNIT | ATW1 WOODWORK SECTION | 1 |
| ROUTER TABLE LEV EXTRACTION | ATW1 WOODWORK SECTION | 1 |
| NIBBLER PILLAR STATION | ATW2 | 40 |
| NIBBLER PILLAR STATION | ATW2 | 40 |
| NIBBLER TRUMPF 1500 | ATW2 | 40 |
| NIBBLER TRUMPF 1500 | ATW2 | 40 |
| PIPE FLARING KIT | ATW2 | 1 |
| NIBBLER TRUMPF TKF1500+ | ATW2 | 1 |
| NIBBLER TRUMPF TKF1500 | ATW2 | 1 |
| NIBBLER TRUMPF TKF1500 | ATW2 | 1 |
| LEV NEDERMAN | ATW2 | 40 |
| LEV NEDERMAN | ATW2 | 40 |
| LEV NEDERMAN | ATW2 | 40 |
| LEV NEDERMAN | ATW2 | 40 |
| LEV NEDERMAN | ATW2 | 40 |
| TRUMPF NIBBLER TKF 1500-0 | ATW2 | 1 |
| STARTRITE CHOP SAW C350D | ATW2 | 1 |
| STARTRITE CHOP SAW C350D | ATW2 | 1 |
| NIBBLER TRUMPF TKF1500+ | ATW2 | 2 |
| NIBBLER TRUMPF TKF1500+ | ATW2 | 2 |
| MUREX WELDING MACHINE | ATW | 2 |
| TRANSTIG 353i MUREX WELDING MACHINE | ATW2 | 2 |
| TRANSTIG 353i MUREX WELDING MACHINE | ATW2 | 2 |
| TRANSTIG 353i MUREX WELDING MACHINE | ATW2 | 2 |
| TRANSTIG 353i MUREX WELDING MACHINE | ATW2 | 2 |
| TRANSTIG 353i MUREX WELDING MACHINE | ATW2 | 2 |
| TRANSTIG 353i MUREX WELDING MACHINE | ATW2 | 2 |
| TRANSTIG 353iS MUREX WELDING MACHINE | ATW2 | 2 |
| TRANSTIG 353iS MUREX WELDING MACHINE | ATW2 | 2 |
| TRANSTIG 353iS MUREX WELDING MACHINE | ATW2 | 2 |
| LEV PROFILE CUTTER EXTRACTION UNIT | ATW2 | 2 |
| LEV CUTTING & BURNING SECTION EXTRACTION UNIT | ATW2 | 2 |
| FURNACE TIN (WHITE METAL FURNACE) | ATW2 | 2 |
| LEV NEDERMAN PROFILE CUTTER | ATW2 | 2 |
| MUREX TRADESMIG 191 WELDING MACHINE | ATW2 |  |
| RIDGRD 3802 PIPE BENDER HYDRAULIC | ATW2 | 2 |
| RIDGRD 3802 PIPE BENDER HYDRAULIC | ATW2 | 2 |
| 2 KVA TRANSFORMER | ATW2 | 2 |
| 2 KVA TRANSFORMER | ATW2 | 2 |
| ARC WELDING SET | ATW2 | 2 |
| BENDING MACHINE | ATW2 | 2 |
| EXHAUST VENT UNIT | ATW2 | 2 |
| EXHAUST VENT UNIT | ATW2 | 2 |
| GRINDING MACHINE 15" | ATW2 | 2 |
| GRINDING MACHINE 6" | ATW2 | 2 |
| GRINDING MACHINE D/E | ATW2 | 2 |
| GRINDING MACHINE D/E | ATW2 | 2 |
| GRINDING MACHINE D/E 6" | ATW2 | 2 |
| HAND LEVER SHEARS | ATW2 | 2 |
| HOT WATER POWER WASHER | ATW2 | 2 |
| MIG WELDING SET | ATW2 | 2 |
| MIGATRONIC WELDING MACHINE | ATW2 | 2 |
| MIGATRONIC WELDING MACHINE | ATW2 | 2 |
| NUMBER 1 LP AIR COMPRESSOR | ATW2 | 2 |
| NUMBER 2 LP AIR COMPRESSOR | ATW2 | 2 |
| PIC-ARC VC 350 OIL COOLED WELDING MACHINE | ATW2 | 2 |
| PILLAR DRILL | ATW2 | 2 |
| PIPE BENDING MACHINE | ATW2 | 2 |
| POLISHING MACHINE | ATW2 | 2 |
| POLISHING MACHINE | ATW2 | 2 |
| POLISHING MACHINE | ATW2 | 2 |
| PROVING PUMP | ATW2 | 2 |
| QUENCH TANK | ATW2 | 2 |
| QUENCH TANK | ATW2 | 2 |
| QUENCH TANK | ATW2 | 2 |
| SMALL BORE ARC WELDING EQUIPMENT | ATW2 | 2 |
| SURFACE TABLE | ATW2 | 2 |
| SWAGING MACHINE | ATW2 | 2 |
| TIG WELDING SET | ATW2 | 2 |
| TIG WELDING UNIT | ATW2 | 2 |
| TIG WELDING UNIT | ATW2 | 2 |
| TIG WELDING UNIT | ATW2 | 2 |
| TIG WELDING UNIT | ATW2 | 2 |
| TIG WELDING UNIT | ATW2 | 2 |
| TRANSTIG AC/DC 352 (WATER COOLED) | ATW2 | 2 |
| TRANSTIG AC/DC 352 (WATER COOLED) | ATW2 | 2 |
| TRANSTIG AC/DC 352 (WATER COOLED) | ATW2 | 2 |
| TRANSTIG AC/DC 352 (WATER COOLED) | ATW2 | 2 |
| TRANSTIG AC/DC 352 (WATER COOLED) | ATW2 | 2 |
| TRANSTIG AC/DC 352 (WATER COOLED) | ATW2 | 2 |
| TRANSTIG AC/DC 3531 WATER COOLED | ATW2 | 2 |
| TRANSTIG WELDING MACHINE | ATW2 | 2 |
| TREADLE GUILLOTINE | MACHINE SHOP | 2 |
| TUNGSTEN ELECTRIC GRINDER | ATW2 | 2 |
| WELDING CHOKE | ATW2 | 2 |
| WELDING CHOKE | ATW2 | 2 |
| WELDING CHOKE | ATW2 | 2 |
| WELDING CHOKE | ATW2 | 2 |
| WELDING MACHINE | ATW2 | 2 |
| BEVELLING MACHINE | ATW2 AW | 2 |
| MIGATRONIC INVERTER | ATW2 AW | 2 |
| PLASMA CUTTER | ATW2 AW | 2 |
| TRANSTIG AC/DC 355 SQUAREWAVE | ATW2 AW BAY 18 | 2 |
| SURFACE TABLE | ATW2 CSII | 2 |
| ELECTRODE OVEN | ATW2 SPEC WELD | 2 |
| ELECTRODE OVEN | ATW2 SPEC WELD | 2 |
| TRANSTIG 500 | ATW2 SPEC WELD | 2 |
| MUREX SMALL QUIVER ROD HEATER | ATW2 SPEC WELD | 2 |
| MUREX SMALL ROD HEATER | ATW2 SPEC WELD | 2 |
| MUREX SMALL ROD HEATER | ATW2 SPEC WELD | 2 |
| MUREX SMALL ROD HEATER | ATW2 SPEC WELD | 2 |
| MUREX SMALL ROD HEATER | ATW2 SPEC WELD | 2 |
| MUREX SMALL ROD HEATER | ATW2 SPEC WELD | 2 |
| MUREX SMALL ROD HEATER | ATW2 SPEC WELD | 2 |
| PICKHILL WELDING MACHINE | ATW2 SPEC WELD | 2 |
| PICKHILL WELDING MACHINE | ATW2 SPEC WELD | 2 |
| PICKHILL WELDING MACHINE | ATW2 SPEC WELD | 2 |
| PICKHILL WELDING MACHINE | ATW2 SPEC WELD | 2 |
| PICKHILL WELDING MACHINE | ATW2 SPEC WELD | 2 |
| PICKHILL WELDING MACHINE | ATW2 SPEC WELD | 2 |
| PICKHILL WELDING MACHINE | ATW2 SPEC WELD | 2 |
| PICKHILL WELDING MACHINE | ATW2 SPEC WELD | 2 |
| PICKHILL WELDING MACHINE | ATW2 SPEC WELD | 2 |
| BENCH GRINDER | ATW2 AW | 2 |
| BEVELLING MACHINE | ATW2 AW | 2 |
| ELECTRODE OVEN | ATW2 AW | 2 |
| FETTLING BENCH | ATW2 AW | 2 |
| FUME EXTRACTION SYSTEM | ATW2 AW | 2 |
| FUME EXTRACTION SYSTEM | ATW2 AW | 2 |
| FUME EXTRACTION SYSTEM | ATW2 AW | 2 |
| FUME EXTRACTION SYSTEM | ATW2 AW | 2 |
| FUME EXTRACTION SYSTEM | ATW2 AW | 2 |
| GRINDING MACHINE | ATW2 AW | 2 |
| GRINDING MACHINE | ATW2 AW | 2 |
| HORIZONTAL BANDSAW | ATW2 AW | 2 |
| PROFILE CUTTER | ATW2 AW | 2 |
| TUNGSTEN GRINDER | ATW2 AW | 2 |
| WELDING ROD OVEN | ATW2 AW | 2 |
| BOC 350 AX & VRD | ATW2 AW | 2 |
| BOC 350 AX & VRD | ATW2 AW BAY 11 | 2 |
| BOC 350 AX & VRD | ATW2 AW BAY 12 | 2 |
| BOC 350 AX & VRD | ATW2 AW BAY 13 | 2 |
| BOC 350 AX & VRD | ATW2 AW BAY 17 | 2 |
| BOC 350 AX & VRD | ATW2 AW BAY 18 | 2 |
| BOC 350 AX & VRD | ATW2 AW BAY 7 | 2 |
| BOC 350 AX & VRD | ATW2 AW BAY 8 | 2 |
| BOC 350 AX & VRD | ATW2 AW BAY 9 | 2 |
| BOC 350 AX & VRD | ATW2 AW BAY 1 | 2 |
| ARC WELDER 350 | ATW2 AW BAY 14 | 2 |
| BOC 350 AX & VRD | ATW2 AW BAY 14 | 2 |
| BOC 350 AX & VRD | ATW2 AW BAY 15 | 2 |
| BOC 350 AX & VRD | ATW2 AW BAY 16 | 2 |
| BOC 350 AX & VRD | ATW2 AW BAY 19 | 2 |
| WELDING SET 355 SQUAREWAVE | ATW2 AW BAY 19 | 2 |
| MIG WELDING MACHINE | ATW2 AW BAY 2 | 2 |
| TRANSTIG TIG WELDING SET 355 SQUAREWAVE | ATW2 AW BAY 22 | 2 |
| TRANSTIG TIG WELDING SET 355 SQUAREWAVE | ATW2 AW BAY 23 | 2 |
| TRANSTIG TIG WELDING SET 355 SQUAREWAVE | ATW2 AW BAY 24 | 2 |
| BOC 350 AX & VRD | ATW2 AW BAY 26 | 2 |
| BOC 350 AX & VRD | ATW2 AW BAY 27 | 2 |
| BOC 350 AX & VRD | ATW2 AW BAY 28 | 2 |
| BOC 350 AX & VRD | ATW2 AW BAY 29 | 2 |
| BOC 350 AX & VRD | ATW2 AW BAY 30 | 2 |
| BOC 350 AX & VRD | ATW2 AW BAY 6 | 2 |
| TRANSTIG 260 WELDING MACHINE | ATW2 AW BAY 6 | 2 |
| TRANSTIG WELDING MACHINE 355 SQUAREWAVE | ATW2 AW BAY 7 | 2 |
| TRANSTIG WELDING MACHINE METER UNIT | ATW2 AW BAY 7 | 2 |
| TRANSTIG WELDING MACHINE 355 SQUAREWAVE | ATW2 AW BAY 8 | 2 |
| TRANSTIG WELDING MACHINE 355 SQUAREWAVE | ATW2 AW BAY 9 | 2 |
| TRANSARC VRD 453 | ATW2 AW BAY 1 | 2 |
| ARCTEC 350 | ATW2 AW BAY 10 | 2 |
| TRANSARC VRD 453 | ATW2 AW BAY 10 | 2 |
| ARCTEC 350 | ATW2 AW BAY 11 | 2 |
| TRANSARC VRD 453 | ATW2 AW BAY 11 | 2 |
| ARCTEC 350 | ATW2 AW BAY 12 | 2 |
| TRANSARC VRD 453 | ATW2 AW BAY 12 | 2 |
| ARCTEC 350 | ATW2 AW BAY 13 | 2 |
| TRANSARC VRD 453 | ATW2 AW BAY 13 | 2 |
| TRANSARC VRD 453 | ATW2 AW BAY 14 | 2 |
| ARCTEC 350 | ATW2 AW BAY 15 | 2 |
| TRANSARC VRD 453 | ATW2 AW BAY 15 | 2 |
| ARCTEC 350 | ATW2 AW BAY 16 | 2 |
| TRANSARC VRD 453 | ATW2 AW BAY 16 | 2 |
| TRANSARC VRD 453 | ATW2 AW BAY 17 | 2 |
| TRANSARC VRD 453 | ATW2 AW BAY 2 | 2 |
| TRANSTIG TIG WELDING SET 355 SQUAREWAVE | ATW2 AW BAY 21 | 2 |
| TRANSARC VRD 453 | ATW2 AW BAY 26 | 2 |
| TRANSARC VRD 453 | ATW2 AW BAY 27 | 2 |
| TRANSARC VRD 453 | ATW2 AW BAY 28 | 2 |
| TRANSARC VRD 453 | ATW2 AW BAY 29 | 2 |
| TRANSARC VRD 453 | ATW2 AW BAY 3 | 2 |
| TRANSARC VRD 453 | ATW2 AW BAY 30 | 2 |
| TRANSARC VRD 453 | ATW2 AW BAY 4 | 2 |
| TRANSARC VRD 453 | ATW2 AW BAY 5 | 2 |
| TRANSARC VRD 453 | ATW2 AW BAY 6 | 2 |
| TRANSARC VRD 453 | ATW2 AW BAY 7 | 2 |
| TRANSARC VRD 453 | ATW2 AW BAY 8 | 2 |
| TRANSARC VRD 453 | ATW2 AW BAY 9 | 2 |
| BENDING SLAB | ATW2 BSS | 2 |
| GRINDING MACHINE D/E | ATW2 BSS | 2 |
| GRINDING MACHINE D/E | ATW2 BSS | 2 |
| HORIZONTAL BANDSAW | ATW2 BSS | 2 |
| HYDRAULIC GUILLOTINE | ATW2 BSS | 2 |
| OPEN TOP FURNACE | ATW2 BSS | 2 |
| OPEN TOP FURNACE | ATW2 BSS | 2 |
| OPEN TOP FURNACE | ATW2 BSS | 2 |
| OPEN TOP FURNACE | ATW2 BSS | 2 |
| BENDING SLAB | ATW2 CSI | 2 |
| HAND LEVER SHEARS | ATW2 CSI | 2 |
| PILLAR DRILL | ATW2 CSI | 2 |
| PILLAR DRILL | ATW2 CSI | 2 |
| ANNEALING OVEN | ATW2 CSII | 2 |
| ANNEALING OVEN | ATW2 CSII | 2 |
| BENDING SLAB | ATW2 CSII | 2 |
| BOX AND PAN FOLDING MACHINE | ATW2 CSII | 2 |
| BUFFING MACHINE | ATW2 CSII | 2 |
| BUFFING MACHINE | ATW2 CSII | 2 |
| FOLDING MACHINE | ATW2 CSII | 2 |
| FOLDING MACHINE | ATW2 CSII | 2 |
| GRINDING MACHINE D/E | ATW2 CSII | 2 |
| GUILLOTINE | ATW2 CSII | 2 |
| HAND LEVER SHEARS | ATW2 CSII | 2 |
| OPEN TOP HEARTH | ATW2 CSII | 2 |
| OPEN TOP HEARTH | ATW2 CSII | 2 |
| PILLAR DRILL | ATW2 CSII | 2 |
| PILLAR DRILL | ATW2 CSII | 2 |
| PIPE BENDING MACHINE | ATW2 CSII | 2 |
| PIPE BENDING MACHINE | ATW2 CSII | 2 |
| PIPE BENDING MACHINE | ATW2 CSII | 2 |
| PIPE BENDING MACHINE | ATW2 CSII | 2 |
| PIPE BENDING MACHINE | ATW2 CSII | 2 |
| PRESSURE TEST PUMP | ATW2 CSII | 2 |
| PRESSURE TEST PUMP | ATW2 CSII | 2 |
| SURFACE TABLE | ATW2 CSII | 2 |
| TUBE BENDING MACHINE | ATW2 CSII | 2 |
| TUBE BENDING MACHINE | ATW2 CSII | 2 |
| TUBE BENDING MACHINE | ATW2 CSII | 2 |
| TUBE BENDING MACHINE | ATW2 CSII | 2 |
| WELDING CHOKE REGULATOR | ATW2 CSII | 2 |
| FESTO VACUUMS | ATW2 GRP | 2 |
| FESTO VACUUMS | ATW2 GRP | 2 |
| FESTO VACUUMS | ATW2 GRP | 2 |
| OVEN | ATW2 GRP | 2 |
| DRILL MACHINE 3/4" | ATW2 GW | 2 |
| GRINDING MACHINE D/E | ATW2 GW | 2 |
| GRINDING MACHINE D/E | ATW2 GW | 2 |
| HAND LEVER SHEARS | ATW2 GW | 2 |
| TIG WELDING MACHINE SSP 200 | ATW2 NUC WELD | 2 |
| TIG WELDING MACHINE SSP 200 | ATW2 NUC WELD | 2 |
| TIG WELDING MACHINE SSP 200 | ATW2 NUC WELD | 2 |
| BENDING ROLLING MACHINE | ATW2 SMI | 2 |
| BEVELLING MACHINE | ATW2 SMI | 2 |
| BOX & PAN FILDING MACHINE | ATW2 SMI | 2 |
| CENTRE LATHE 6 1/2" | ATW2 SMI | 2 |
| CENTRE LATHE 6" | ATW2 SMI | 2 |
| CENTRE LATHE 8 1/2" | ATW2 SMI | 2 |
| ELECTRODE STORE DEHUMIDIFIER | ATW2 SMI | 2 |
| GRINDING MACINE | ATW2 SMI | 2 |
| HAND LEVER SHEARS | ATW2 SMI | 2 |
| HAND LEVER SHEARS | ATW2 SMI | 2 |
| HORIZONTAL BANDSAW | ATW2 SMI | 2 |
| HYDRAULIC GUILLOTINE | ATW2 SMI | 2 |
| LATHE M300 | ATW2 SMI | 2 |
| PILLAR DRILL | ATW2 SMI | 2 |
| PORTABLE FUME EXTRACTOR | ATW2 SMI | 2 |
| PORTABLE FUME EXTRACTOR(WELDING) | ATW2 SMI | 2 |
| GAS CUTTING BENCH 01 - 08 LEV | ATW2 |  |
| GAS CUTTING BENCH 09 - 20 LEV | ATW2 |  |
| GAS CUTING BENCH 21 - 32 LEV | ATW2 |  |
| GAS CUTTING BENCH 33 - 40 LEV | ATW2 |  |
| PUNCHING & SHEARING MACHINE | ATW2 SMI | 2 |
| BENCH GRINDER | ATW2 SMII | 2 |
| BENDING ROLLING MACHINE | ATW2 SMII | 2 |
| BENDING ROLLING MACHINE | ATW2 SMII | 2 |
| BENDING ROLLING MACHINE | ATW2 SMII | 2 |
| BENDING ROLLS | ATW2 SMII | 2 |
| BENDING SLAB | ATW2 SMII | 2 |
| BOX & FAN FOLDING MACHINE | ATW2 SMII | 2 |
| BOX & PAN FOLDING MACHINE | ATW2 SMII | 2 |
| BOX & PAN FOLDING MACHINE | ATW2 SMII | 2 |
| BOX & PAN FOLDING MACHINE | ATW2 SMII | 2 |
| BOX & PAN FOLDING MACHINE | ATW2 SMII | 2 |
| BOX & PAN FOLDING MACHINE | ATW2 SMII | 2 |
| FOLDING MACHINE | ATW2 SMII | 2 |
| FOLDING MACHINE | ATW2 SMII | 2 |
| FOLDING MACHINE | ATW2 SMII | 2 |
| GRINDING MACHINE D/E | ATW2 SMII | 2 |
| GUILLOTINE | ATW2 SMII | 2 |
| HACKSAW MECHANICAL | ATW2 SMII | 2 |
| HACKSAW MECHANICAL | ATW2 SMII | 2 |
| HAND LEVER SHEARS | ATW2 SMII | 2 |
| HAND PRESS | ATW2 SMII | 2 |
| HAND PRESS | ATW2 SMII | 2 |
| NIBBLING MACHINE | ATW2 SMII | 2 |
| NIBBLING MACHINE | ATW2 SMII | 2 |
| PILLAR DRILL | ATW2 SMII | 2 |
| PILLAR DRILL | ATW2 SMII | 2 |
| PIPE BENDING MACHINE | ATW2 SMII | 2 |
| POWER SHEARER | ATW2 SMII | 2 |
| PRESS 8' X 1/2" | ATW2 SMII | 2 |
| SWAGING MACHINE | ATW2 SMII | 2 |
| TREADLE GUILLOTINE 36" | ATW2 SMII | 2 |
| TREADLE GUILLOTINE 48" | ATW2 SMII | 2 |
| 2 KVA TRANSFORMER | ATW2 STORE | 2 |
| PLASMA CUTTING MACHINE | ATW2 STORE ROOM | 2 |
| 0-25 KVA TRANSFORMER | ATW2 STORES | 2 |
| WELDING TRANSFORMER 1PE760 | ATW2 SWITCH ROOM | 2 |
| WELDING TRANSFORMER 3PE760 | ATW2 SWITCH ROOM | 2 |
| WELDING TRANSFORMER 5QE009 | ATW2 SWITCH ROOM | 2 |
| FUME DUSTRACTION UNIT | ATW2 AW | 2 |
| FUME DUSTRACTION UNIT | ATW2 AW | 2 |
| DUSTRACTION SOUND BOOTH ROOM | ATW2 AW | 2 |
| PIPE PROFILE MACHINE 4" | ATW2 AW | 2 |
| METER FOR 355 SQUAREWAVE | ATW2 AW BAY 18 | 2 |
| METER FOR 355 SQUAREWAVE | ATW2 AW BAY 19 | 2 |
| BOC 350 AX & VRD | ATW2 AW BAY 4 | 2 |
| PIPE BENDING MACHINE | ATW2 CS2 | 2 |
| HYDRAULIC TEST EQUIPMENT | ATW2 GRP | 2 |
| PRESSURE TEST PUMP | ATW2 GRP | 2 |
| LEV SYSTEM | ATW2 NUCLEAR SECTION | 2 |
| LEV SYSTEM | ATW2 NUCLEAR SECTION | 2 |
| LEV SYSTEM | ATW2 NUCLEAR SECTION | 2 |
| LEV SYSTEM | ATW2 NUCLEAR SECTION | 2 |
| LEV SYSTEM | ATW2 SHEETMETAL SHOP1 | 2 |
| LEV SYSTEM | ATW2 SHEETMETAL SHOP2 | 2 |
| RADIAL DRILL 3' | ATW2 SMII | 2 |
| GRINDING MACHINE S/E | ATW2 SPECIAL WELD SECTION | 2 |
| GRINDING MACHINE S/E | ATW2 SPECIAL WELD SECTION | 2 |
| LEV SYSTEM | ATW2 SPECIAL WELD SECTION | 2 |
| LEV SYSTEM | ATW2 SPECIAL WELD SECTION | 2 |
| LEV SYSTEM | ATW2 SPECIAL WELD SECTION | 2 |
| LEV SYSTEM | ATW2 SPECIAL WELD SECTION | 2 |
| LEV SYSTEM | ATW2 SPECIAL WELD SECTION | 2 |
| LEV SYSTEM | ATW2 SPECIAL WELD SECTION | 2 |
| LEV SYSTEM | ATW2 SPECIAL WELD SECTION | 2 |
| LEV SYSTEM | ATW2 SPECIAL WELD SECTION | 2 |
| MIG WELDING MACHINE AC 245 | ATW2 SPECIAL WELD SECTION | 2 |
| TRNSARC AC350 WELDING SET & VRD | ATW2 SPECIAL WELD SECTION | 2 |
| TRNSARC AC350 WELDING SET & VRD | ATW2 SPECIAL WELD SECTION | 2 |
| TRNSARC AC350 WELDING SET & VRD | ATW2 SPECIAL WELD SECTION | 2 |
| TUNGSTEN GRINDER | ATW2 SPECIAL WELD SECTION | 2 |
| TUNGSTEN GRINDER | ATW2 SPECIAL WELD SECTION | 2 |
| TRANSMIG 326S | ATW2 SPECIAL WELD SECTION | 2 |
| TRANSMIG 326S | ATW2 SPECIAL WELD SECTION | 2 |
| TRANSMIG 326S | ATW2 SPECIAL WELD SECTION | 2 |
| TRANSMIG 326S | ATW2 SPECIAL WELD SECTION | 2 |
| WELDING MACHINE | ATW2 SPECIAL WELD SECTION | 2 |
| WELDING MACHINE 350 | ATW2 SPECIAL WELD SECTION | 2 |
| WELDING SET ESAB 400 | ATW2 SPECIAL WELD SECTION | 2 |
| TRANSARC VRD 453 | ATW2 SPECIAL WELD SECTION | 2 |
| TRANSARC VRD 453 | ATW2 SPECIAL WELD SECTION | 2 |
| LEV NEEDERMAN | ATW2 SPECIAL WELD SECTION ANNEX | 2 |
| LEV NEEDERMAN | ATW2 SPECIAL WELD SECTION ANNEX | 2 |
| LEV NEEDERMAN | ATW2 SPECIAL WELD SECTION ANNEX | 2 |
| LEV NEEDERMAN | ATW2 SPECIAL WELD SECTION ANNEX | 2 |
| LEV NEEDERMAN | ATW2 SPECIAL WELD SECTION ANNEX | 2 |
| LEV NEEDERMAN | ATW2 SPECIAL WELD SECTION ANNEX | 2 |
| LEV NEEDERMAN | ATW2 SPECIAL WELD SECTION ANNEX | 2 |
| TRANSARC VRD 453 | ATW2 SPECIAL WELD SECTION ANNEX | 2 |
| TRANSARC VRD 453 | ATW2 SPECIAL WELD SECTION ANNEX | 2 |
| TRANSARC VRD 453 | ATW2 SPECIAL WELD SECTION ANNEX | 2 |
| TRANSARC VRD 453 | ATW2 SPECIAL WELD SECTION ANNEX | 2 |
| TRANSARC VRD 453 | ATW2 SPECIAL WELD SECTION ANNEX | 2 |
| TRANSARC VRD 453 | ATW2 SPECIAL WELD SECTION ANNEX | 2 |
| TRANSARC VRD 453 | ATW2 SPECIAL WELD SECTION ANNEX | 2 |
| TRANSARC VRD 453 | ATW2 SPECIAL WELD SECTION ANNEX | 2 |
| WELDING MACHINE MIGATRONIC 400 | ATW2 SPECIAL WELD SECTION ANNEX | 2 |
| WELDING MACHINE MIGATRONIC 400 | ATW2 SPECIAL WELD SECTION ANNEX | 2 |
| WELDING MACHINE MIGATRONIC 400 | ATW2 SPECIAL WELD SECTION ANNEX | 2 |
| WELDING MACHINE MIGATRONIC 400 | ATW2 SPECIAL WELD SECTION ANNEX | 2 |
| WELDING MACHINE MIGATRONIC 400 | ATW2 SPECIAL WELD SECTION ANNEX | 2 |
| WELDING MACHINE MIGATRONIC 400 | ATW2 SPECIAL WELD SECTION ANNEX | 2 |
| WELDING MACHINE MIGATRONIC 400 | ATW2 SPECIAL WELD SECTION ANNEX | 2 |
| WELDING MACHINE MIGATRONIC 400 | ATW2 SPECIAL WELD SECTION ANNEX | 2 |
| ACOUSTIC GRINDING BOOTHE | ATW2 WELDING SHOP | 2 |
| POWER WASHER | BOATS SECTION |  |
| SINGER SEWING MACHINE | BOATS SECTION |  |
| REFRIGERATION TRAINING UNIT R134A | BRUNEL LAB | 2 |
| REFRIGERATION TRAINING UNIT R134A | BRUNEL LAB | 2 |
| STATIC AND DYNAMIC BALANCE M/C | BRUNEL LAB | 12 |
| BALANCING MACHINE RECIP MASSES | BRUNEL LAB MECHANICS | 12 |
| CAM ANALYSIS MACHINE | BRUNEL LAB MECHANICS | 12 |
| EPICYCLIC GEAR APPARATUS | BRUNEL LAB MECHANICS | 12 |
| FURNACE | BRUNEL LAB MECHANICS | 12 |
| GOVERNOR APPARATUS | BRUNEL LAB MECHANICS | 12 |
| HARDNESS TESTING MACHINE INDENTEC | BRUNEL LAB MECHANICS | 12 |
| HARDNESS TESTING MACHINE VICKERS | BRUNEL LAB MECHANICS | 12 |
| IMPACT TEST MACHINE | BRUNEL LAB MECHANICS | 12 |
| IMPACT TESTING MACHINE | BRUNEL LAB MECHANICS | 12 |
| L6000S TENSILE TEST MACHINE | BRUNEL LAB MECHANICS | 12 |
| LINEAR AIR TRACK | BRUNEL LAB MECHANICS | 12 |
| LP AIR COMPRESSOR | BRUNEL LAB MECHANICS | 12 |
| OPTIPHOT MICROSCOPE | BRUNEL LAB MECHANICS | 12 |
| STATIC AND DYNAMIC BALANCE M/C | BRUNEL LAB MECHANICS | 12 |
| T20K TENSILE TESTING MACHINE AND PLOTTERS | BRUNEL LAB MECHANICS | 12 |
| T20K TENSILE TESTING MACHINE AND PLOTTERS | BRUNEL LAB MECHANICS | 12 |
| T20K TENSILE TESTING MACHINE AND PLOTTERS | BRUNEL LAB MECHANICS | 12 |
| T20K TENSILE TESTING MACHINE AND PLOTTERS | BRUNEL LAB MECHANICS | 12 |
| T20K TENSILE TESTING MACHINE AND PLOTTERS | BRUNEL LAB MECHANICS | 12 |
| T20K TENSILE TESTING MACHINE AND PLOTTERS | BRUNEL LAB MECHANICS | 12 |
| T22K TENSILE TEST MACHINE AND PLOTTERS | BRUNEL LAB MECHANICS | 12 |
| T22K TENSILE TEST MACHINE AND PLOTTERS | BRUNEL LAB MECHANICS | 12 |
| T30K TENSILE TEST MACHINE AND PLOTTERS | BRUNEL LAB MECHANICS | 12 |
| TURBINE PUMPING UNITS FM3SU | BRUNEL LAB MECHANICS | 12 |
| TURBINE PUMPING UNITS FM3SU | BRUNEL LAB MECHANICS | 12 |
| AUTO 3 ENGINE TEST BED | BRUNEL LAB THERMODYNAMICS | 12 |
| ENG TEST BED C/W DYNOMETER INSTR TABLE | BRUNEL LAB THERMODYNAMICS | 12 |
| ENG TEST BED C/W DYNOMETER INSTR TABLE | BRUNEL LAB THERMODYNAMICS | 12 |
| PL3 PLOTTERS LLOYDS LTD | BRUNEL LAB THERMODYNAMICS | 12 |
| PL3 PLOTTERS LLOYDS LTD | BRUNEL LAB THERMODYNAMICS | 12 |
| PRESSURE MEASUREMENT BENCH | BRUNEL LAB THERMODYNAMICS | 12 |
| STEAM TABLES APPARATUS | BRUNEL LAB THERMODYNAMICS | 12 |
| TWO SHAFT GAS TURBINE | BRUNEL LAB THERMODYNAMICS | 12 |
| TWO SHAFT GAS TURBINE | BRUNEL LAB THERMODYNAMICS | 12 |
| WATER BOOST PUMP GRUNDOFS | BRUNEL LAB THERMODYNAMICS | 12 |
| LP AIR COMPRESSOR | CAR CLUB | 18 |
| HOOVER AQUA VISION TUMBLE DRYER | CBM | 22 |
| INDESIT PRIME WASHING MACHINE | CBM | 22 |
| SEWING MACHINE (S/N 45453) | CBM | 22 |
| SEWING MACHINE 431 F200A | CBM | 22 |
| SEWING MACHINE | CBM | 22 |
| SALT SPREADER (SNOWEX) | CBM | 22 |
| GENERATOR(SSD/X11) STEPHILL 11KVA/8.8KW 1PHASE 50 HZ | CBM | 22 |
| GENERATOR STEPHILL 16KVA 12.8KW S/N603141 | CBM | 22 |
| CALTHERM ELECTRICAL INDUSTRIAL OVEN | COCKERELL | 4 |
| CALTHERM ELECTRICAL INDUSTRIAL OVEN | COCKERELL | 4 |
| CALTHERM ELECTRICAL INDUSTRIAL OVEN | COXKERELL | 4 |
| MORGAN RUSHWORTH TEADLE GUILLOTINE | COCKERELL | 4 |
| STARTRITE 681S BANDSAW | COCKERELL | 4 |
| HAND OPERATED PCB SHEARER | COCKERELL | 4 |
| SCRUBBER DRYER NUMATIC MODEL TWINTEC TTB/665 | COCKERELL | 4 |
| SANYO GALLENKAMP OMT225.XX.2.C | COCKERELL | 4 |
| SANYO GALLENKAMP OMT225.XX.2.C | COCKERELL | 4 |
| ARM-EVAC 2000 FUME EXTRACTOR | COCKERELL | 4 |
| ARM-EVAC 2000 FUME EXTRACTOR | COCKERELL | 4 |
| LEV SYSTEM | COCKERELL | 4 |
| BVC HVT15 INDUSTRIAL VACUUM CLEANER | COCKERELL AFR AREA | 4 |
| JIZER BATH (ELECTRICAL) | COCKERELL AFR AREA | 4 |
| NILFISK IND VACUUM CLEANER | COCKERELL AFR AREA | 4 |
| PIPE BENDING MACHINE | COCKERELL AIRCRAFT SECTION | 4 |
| BOX & PAN FOLDING MACHINE | COCKERELL HANGAR | 4 |
| GALLENKAMP PLUS II OVEN | COCKERELL HANGAR | 4 |
| GALLENKAMP HOTBOX OVEN | COCKERELL HANGAR | 4 |
| MORGAN RUSHWORTH BENDER | COCKERELL HANGAR | 4 |
| BOX & PAN FOLDING MACHINE | COCKERELL HANGAR | 4 |
| CENTRE LATHE 6" | COCKERELL HANGAR | 4 |
| CHEST FREEZER | COCKERELL HANGAR | 4 |
| CIRCLE CUTTER | COCKERELL HANGAR | 4 |
| CUTTER/GRINDER | COCKERELL HANGAR | 4 |
| DOUBLE ENDED GRINDER 8" | COCKERELL HANGAR | 4 |
| DUST EXTRACTION UNIT | COCKERELL HANGAR | 4 |
| DUST EXTRACTION UNIT | COCKERELL HANGAR | 4 |
| DUST EXTRACTOR FOR P33762 | COCKERELL HANGAR | 4 |
| DYE LINE PRINTER | COCKERELL HANGAR | 4 |
| ECKOLD HANDFORMER | COCKERELL HANGAR | 4 |
| ECKOLD NIBBLER | COCKERELL HANGAR | 4 |
| ECKOLD NIBBLER | COCKERELL HANGAR | 4 |
| ENGRAVING MACHINE CNC | COCKERELL HANGAR | 4 |
| FUME EXTRACTION SYSTEM | COCKERELL HANGAR | 4 |
| GALLENKEMP OVEN | COCKERELL HANGAR | 4 |
| GALLENKEMP OVEN | COCKERELL HANGAR | 4 |
| GAS FIRED OVEN | COCKERELL HANGAR | 4 |
| GRAVOGRAPH TOOL GRINDER | COCKERELL HANGAR | 4 |
| GRINDING MACHINE D/E | COCKERELL HANGAR | 4 |
| HAND BENDING MACHINE | COCKERELL HANGAR | 4 |
| HAND BENDING MACHINE | COCKERELL HANGAR | 4 |
| HILMAR PIPE BENDER | COCKERELL HANGAR | 4 |
| INDIRECT GAS FIRED OVEN | COCKERELL HANGAR | 4 |
| LEV SYSTEM | COCKERELL HANGAR | 4 |
| LEV SYSTEM | COCKERELL HANGAR | 4 |
| LEV SYSTEM | COCKERELL HANGAR | 4 |
| LP AIR COMPRESSOR No1 | COCKERELL HANGAR | 4 |
| LP AIR COMPRESSOR No2 | COCKERELL HANGAR | 4 |
| PAINT SHOP LEV | COCKERELL HANGAR | 4 |
| PILLAR DRILL | COCKERELL HANGAR | 4 |
| PIPE BENDING MACHINE | COCKERELL HANGAR | 4 |
| SOLDER FUME EXTRACTOR PP & FILTER | COCKERELL HANGAR | 4 |
| SPOT WELDER | COCKERELL HANGAR | 4 |
| TRADES MIG 240 WELDER | COCKERELL HANGAR | 4 |
| PLASMA CUTTER | COCKERELL HANGAR | 4 |
| TREADLE GUILLOTINE | COCKERELL HANGAR | 4 |
| TREADLE GUILLOTINE | COCKERELL HANGAR | 4 |
| TRIPLE BENDING MACHINE | COCKERELL HANGAR | 4 |
| TURRET MILLING MACHINE | COCKERELL HANGAR | 4 |
| TURRET MILLING MACHINE | COCKERELL HANGAR | 4 |
| WELDING FUME EXTRACTOR | COCKERELL HANGAR | 4 |
| CIRCULAR SAW | COCKERELL HANGAR | 4 |
| DRILL BENCH MOUNTED | COCKERELL HANGAR | 4 |
| RADIAL DRILLING MACHINE | COCKERELL HANGAR | 4 |
| TREADLE GUILLOTINE | COCKERELL HANGAR | 4 |
| GALLENKEMP PLUS II OVEN | COCKERELL HANGAR | 4 |
| VERTICAL BANDSAW | COCKERELL HANGAR | 4 |
| FOLDING MACHINE | COCKERELL HANGAR | 4 |
| HAND LEVER SHEARS 6" | COCKERELL HANGAR SMW | 4 |
| GRINDING MACHINE D/E 12" | COCKERELL HANGAR AIR PIPE SC | 4 |
| FOLDING MACHINE | COCKERELL HANGAR AIRFRAME | 4 |
| FOLDING MACHINE | COCKERELL HANGAR AIRFRAME | 4 |
| GRINDING MACHINE 8" | COCKERELL HANGAR AIRFRAME | 4 |
| MUFFLE FURNACE | COCKERELL HANGAR AIRFRAME | 4 |
| PILLAR DRILL (GATE PROGRESS No3A) | COCKERELL HANGAR AIRFRAME | 4 |
| SURFACE TABLE | COCKERELL HANGAR AIRFRAME | 4 |
| TREADLE MACHINE | COCKERELL HANGAR AIRFRAME | 4 |
| WHEELING MACHINE | COCKERELL HANGAR AIRFRAME | 4 |
| GRINDING MACHINE D/E | COCKERELL HANGAR INITIAL SEC | 4 |
| PILLAR DRILL | COCKERELL HANGAR INITIAL SEC | 4 |
| PILLAR DRILL | COCKERELL HANGAR INITIAL SEC | 4 |
| POLLARD DRILL | COCKERELL HANGAR INITIAL SEC | 4 |
| POLLARD DRILL | COCKERELL HANGAR INITIAL SEC | 4 |
| POLLARD DRILL | COCKERELL HANGAR INITIAL SEC | 4 |
| POLLARD DRILL | COCKERELL HANGAR INITIAL SEC | 4 |
| POLLARD DRILL | COCKERELL HANGAR INITIAL SEC | 4 |
| POLLARD DRILL | COCKERELL HANGAR INITIAL SEC | 4 |
| STEEL BENCH 4' 6" X 12' | COCKERELL HANGAR INITIAL SEC | 4 |
| STEEL BENCH 4' 6" X 12' | COCKERELL HANGAR INITIAL SEC | 4 |
| STEEL BENCH 4' 6" X 12' | COCKERELL HANGAR INITIAL SEC | 4 |
| SURFACE TABLE | COCKERELL HANGAR INITIAL SEC | 4 |
| SWAGING MACHINE | COCKERELL HANGAR ISSUE CENTRE | 4 |
| SOLDER FUME EXTRACTOR PP & FILTER | COCKERELL HANGAR PCB AREA | 4 |
| GRINDING MACHINE 8" | COCKERELL HANGAR PIPE BAY | 4 |
| LEV SYSTEM | COCKERELL HANGAR ROOM 25 | 4 |
| LEV SYSTEM | COCKERELL HANGAR ROOM 57 | 4 |
| ARBOR PRESS | COCKERELL HANGAR SMW | 4 |
| BELT SANDING MACHINE | COCKERELL HANGAR SMW | 4 |
| CENTRE LATHE 8" | COCKERELL HANGAR SMW | 4 |
| DRILL MACHINE 1/2" | COCKERELL HANGAR SMW | 4 |
| DRILL MACHINE 1/2" | COCKERELL HANGAR SMW | 4 |
| DRILL MACHINE 1/2" | COCKERELL HANGAR SMW | 4 |
| DRILL MACHINE 1/2" | COCKERELL HANGAR SMW | 4 |
| DRILL MACHINE 1/2" | COCKERELL HANGAR SMW | 4 |
| FLY PRESS | COCKERELL HANGAR SMW | 4 |
| FOLDING MACHINE | COCKERELL HANGAR SMW | 4 |
| FOLDING MACHINE | COCKERELL HANGAR SMW | 4 |
| FOLDING MACHINE | COCKERELL HANGAR SMW | 4 |
| GRINDING MACHINE 8" | COCKERELL HANGAR SMW | 4 |
| GRINDING MACHINE 8" | COCKERELL HANGAR SMW | 4 |
| GUILLOTINE | COCKERELL HANGAR SMW | 4 |
| GUILLOTINE | COCKERELL HANGAR SMW | 4 |
| GUILLOTINE POWER OPERATED | COCKERELL HANGAR SMW | 4 |
| MOBILE HAND HOIST | COCKERELL HANGAR SMW | 4 |
| SAWDUST EXTRACTION SYSTEM | COCKERELL HANGAR SMW | 4 |
| SHEARING & BENDING MACHINE | COCKERELL HANGAR SMW | 4 |
| STEEL WORK BENCH | COCKERELL HANGAR SMW | 4 |
| SURFACE TABLE | COCKERELL HANGAR SMW | 4 |
| SURFACE TABLE | COCKERELL HANGAR SMW | 4 |
| SURFACE TABLE | COCKERELL HANGAR SMW | 4 |
| SURFACE TABLE | COCKERELL HANGAR SMW | 4 |
| SWAGING MACHINE | COCKERELL HANGAR SMW | 4 |
| SWAGING MACHINE | COCKERELL HANGAR SMW | 4 |
| VACUUM FORMING MACHINE | COCKERELL HANGAR SMW | 4 |
| AXMINSTER PLANER WOOD MACHINE | COCKERELL HANGAR SMW | 4 |
| VERTICAL BANDSAW | COCKERELL HANGAR SMW | 4 |
| WHEELING & RAISING MACHINE | COCKERELL HANGAR SMW | 4 |
| DRILL MACHINE 1/2" | COCKERELL HANGAR SMW MEDD | 4 |
| WHEEL AND RAISING MACHINE | COCKERELL HANGAR TOOL CENTRE | 4 |
| WHEELING & RAISING MACHINE | COCKERELL HANGAR TOOL CENTRE | 4 |
| BALANCING MACHINE | COCKERELL HANGAR TRG SUPPORT | 4 |
| ENGRAVING MACHINE | COCKERELL HANGAR TRG SUPPORT | 4 |
| HORIZONTAL BANDSAW | COCKERELL HANGAR TRG SUPPORT | 4 |
| POLISHING MACHUNE | COCKERELL HANGAR TRG SUPPORT | 4 |
| SAND BLAST CABINET,LEV | COCKERELL HANGAR TRG SUPPORT | 4 |
| SHAPING MACHINE 14" | COCKERELL HANGAR TRG SUPPORT | 4 |
| SURFACE GRINDER | COCKERELL HANGAR TRG SUPPORT | 4 |
| TOOL/CUTTER GRINDER,LEV | COCKERELL HANGAR TRG SUPPORT | 4 |
| ORYX PEC DRILL (BUILT IN LEV) | COCKERELL ISSUE CENTRE | 4 |
| ORYX PEC DRILL (BUILT IN LEV) | COCKERELL ISSUE CENTRE | 4 |
| PRIMA PEC DRILL | COCKERELL ISSUE CENTRE | 4 |
| PRIMA PEC DRILL | COCKERELL ISSUE CENTRE | 4 |
| INTERLUX LIGHT UNIT | COCKERELL P/B LAB | 4 |
| GUILLOTINE 18" | COCKERELL PCB AREA | 4 |
| INTERLUX LIGHT UNIT | COCKERELL PCB AREA | 4 |
| INTERLUX LIGHT UNIT | COCKERELL PCB AREA | 4 |
| ORYX PEC DRILL (BUILT IN LEV) | COCKERELL PCB AREA | 4 |
| UV PEC DEVELOPER | COCKERELL PCB AREA | 4 |
| WEIR POWER UNIT | COCKERELL PCB AREA | 4 |
| LEV CABINET FUME EXTRACTOR | COCKERELL PCB AREA | 4 |
| CENTRE LATHE 6" | COCKERELL SMW | 4 |
| JIZER BATH (ELECTRICAL) | COCKERELL SMW AREA | 4 |
| INDUSTRIAL VACAIR CLEANER | COCKERELL TRG | 4 |
| UFA1C 45000181 GARS SIMULATOR | DAEDALUS | 33 |
| UFA1C 45000195 GARS SIMULATOR | DAEDALUS | 33 |
| ISOLATION TRANSFORMER X2 | DAEDALUS | 33 |
| PAT TESTER (MEGGER PAT4 DV/3) | DAEDALUS | 33 |
| FREQUENCY CONVERTOR | DAEDALUS "B" | 29 |
| GYROSCOPE APPARATUS | DAEDALUS "B" | 29 |
| LEV SYSTEM | DAEDALUS "B" | 29 |
| LEV SYSTEM | DAEDALUS "B" | 29 |
| TENSOMETER | DAEDALUS "B" | 29 |
| WIND TUNNEL | DAEDALUS "B" | 29 |
| FURNACE | DAEDALUS "B" | 29 |
| FURNACE | DAEDALUS "B" | 29 |
| IMPACT TESTER | DAEDALUS "B" | 29 |
| IMPACT TESTER | DAEDALUS "B" | 29 |
| TENSOMETER | DAEDALUS "B" | 29 |
| TENSOMETER | DAEDALUS "B" | 29 |
| TENSOMETER | DAEDALUS "B" | 29 |
| TENSOMETER | DAEDALUS "B" | 29 |
| WIND TUNNEL | DAEDALUS "B" | 29 |
| WIND TUNNEL BALENCING RIG | DAEDALUS "B" | 29 |
| FUEL PUMP | DAEDALUS "B04" | 29 |
| GRINDING MACHINE | DAEDALUS "C" | 30 |
| HARRIER PNEUMATICS | DAEDALUS "C" | 30 |
| VACUME SYSTEM | DAEDALUS "C" | 30 |
| LEV SYSTEM | DAEDALUS "C" 112 | 30 |
| LEV SYSTEM | DAEDALUS "C" 112 | 30 |
| SEWING MACHINE 118605 | DAEDALUS "C" 117 | 30 |
| SEWING MACHINE 118626 | DAEDALUS "C" 117 | 30 |
| SEWING MACHINE 124030 | DAEDALUS "C" 117 | 30 |
| SEWING MACHINE 301241 | DAEDALUS "C" 117 | 30 |
| SEWING MACHINE 301248 | DAEDALUS "C" 117 | 30 |
| SEWING MACHINE 301252 | DAEDALUS "C" 117 | 30 |
| SEWING MACHINE 87803 | DAEDALUS "C" 117 | 30 |
| COUNTERBALANCE CRANE | DAEDALUS "C" 12 | 30 |
| ENGINE TROLLEY 5 | DAEDALUS "C" 12 | 30 |
| ENGINE TROLLEY 6 | DAEDALUS "C" 12 | 30 |
| LEV SYSTEM | DAEDALUS "C" 14 | 30 |
| LEV SYSTEM | DAEDALUS "C" 2 | 30 |
| HEAT SEALING MACHINE | DAEDALUS "C" 4 | 30 |
| LEV No1 | DAEDALUS "C" 4 | 30 |
| LEV No2 | DAEDALUS "C" 4 | 30 |
| LAMINATOR | DAEDALUS "C" 5 | 30 |
| HEAT SEALING MACHINE | DAEDALUS "C" 6 | 30 |
| LEV SYSTEM | DAEDALUS "C" 6 | 30 |
| GENERATOR PORTABLE | DAEDALUS "C"05 | 30 |
| SEWING MACHINE 306482 | DAEDALUS "C"06 | 30 |
| SEWING MACHINE 591 | DAEDALUS "C"13 | 30 |
| ANALOX SURVEYOR COP2 DETECTOR SYSTEM | DAEDALUS "C"16 | 30 |
| CO2 CHARGING UNIT | DAEDALUS "C"16 | 30 |
| HP AIR COMPRESSOR | DAEDALUS "C"16 | 30 |
| LP AIR COMPRESSOR SERIAL No 2639 | DAEDALUS "C6" | 30 |
| AIR DRIER | DAEDALUS "F" | 33 |
| AIR RECEIVER | DAEDALUS "F" | 33 |
| BENCH GRINDER ELU | DAEDALUS "F" | 33 |
| CENTRE LATHE 5 1/2" | DAEDALUS "F" | 33 |
| DRILL MACHINE 1/2" | DAEDALUS "F" | 33 |
| HYDRAULIC PUMPING STSTION | DAEDALUS "F" | 33 |
| LP AIR COMPRESSOR | DAEDALUS "F" | 33 |
| MOTOR GENERATOR | DAEDALUS "F" | 33 |
| TEST RIG | DAEDALUS "F" | 33 |
| TRANSFORMER | DAEDALUS "F" | 33 |
| VACUUM PUMP | DAEDALUS "F" | 33 |
| HONDA PORTABLE GENERATOR | DAEDALUS (SURVIVAL EQUIPT GROUP) | 33 |
| HONDA PORTABLE GENERATOR | DAEDALUS (SURVIVAL EQUIPT GROUP) | 33 |
| LP AIR COMPRESSOR DUPLEX CATTANI | DENTIST | 40 |
| PAT TESTING MACHINE (MEGGER PAT4 DV3) | EMO WORKSHOP | 10 |
| PAT TESTING MACHINE (MEGGER PAT4 DV3) | EMO WORKSHOP | 10 |
| PAT TESTING MACHINE (MEGGER PAT4 DV) | EMO WORKSHOP | 10 |
| TYPE 42 SWITCHBOARD SIMULATOR | FARADAY | 5 |
| MOTOR GENERATOR | FARADAY | 5 |
| TYPE 45 SWITCHBOARD HV | FARADAY | 5 |
| MOTOR GENERATOR | FARADAY | 5 |
| AIE LP AIR COMPRESSOR | FARADAY | 5 |
| SOLDER FUME EXTRACTION SYSTEM | FARADAY | 5 |
| FUME EXTRACTOR PLANT | FARADAY CRAFTROOMS 48/49 | 5 |
| EARTH LEAKING CIRCUIT BREAKER | FARADAY ETG FREE RUN AREA 1 | 5 |
| EARTH LEAKING CIRCUIT BREAKER | FARADAY ETG FREE RUN AREA 2 | 5 |
| EARTH LEAKING CIRCUIT BREAKER | FARADAY ETG DAMAGE CONTROL | 5 |
| EARTH LEAKING CIRCUIT BREAKER | FARADAY ETG ROOM 12 | 5 |
| EARTH LEAKING CIRCUIT BREAKER | FARADAY ETG ROOM 15 | 5 |
| EARTH LEAKING CIRCUIT BREAKER | FARADAY ETG ROOM 22 | 5 |
| EARTH LEAKING CIRCUIT BREAKER | FARADAY ETG ROOM 25 | 5 |
| EARTH LEAKING CIRCUIT BREAKER | FARADAY ETG ROOM 28 | 5 |
| EARTH LEAKING CIRCUIT BREAKER | FARADAY ETG ROOM 29 | 5 |
| EARTH LEAKING CIRCUIT BREAKER | FARADAY ETG ROOM 30 | 5 |
| EARTH LEAKING CIRCUIT BREAKER | FARADAY ETG ROOM 8 | 5 |
| TRANSFORMER RECTIFIER | FARADAY QUAD | 5 |
| SWITCHING LOAD BANK | FARADAY QUADRANGLE | 5 |
| SWITCHING LOAD BANK | FARADAY QUADRANGLE | 5 |
| SWITCHING LOAD BANK | FARADAY QUADRANGLE | 5 |
| SWITCHING LOAD BANK | FARADAY QUADRANGLE | 5 |
| SWITCHING LOAD BANK | FARADAY QUADRANGLE | 5 |
| SWITCHING LOAD BANK | FARADAY QUADRANGLE | 5 |
| SWITCHING LOAD BANK | FARADAY QUADRANGLE | 5 |
| SWITCHING LOAD BANK | FARADAY QUADRANGLE | 5 |
| PCB MICRO DRILL | FARADAY ROOM 13B | 5 |
| 1.5 KVA INDUCTOR ALTERNATOR | FARADAY ROOM 14 | 5 |
| 3 KVA MOTOR GENERATOR | FARADAY ROOM 14 | 5 |
| 5 KVA MOTOR ALTERNATOR | FARADAY ROOM 14 | 5 |
| LOAD PANEL | FARADAY ROOM 14 | 5 |
| LOAD PANEL | FARADAY ROOM 15 | 5 |
| 1 KVA TRANSFORMER | FARADAY ROOM 24 | 5 |
| 1 KVA TRANSFORMER | FARADAY ROOM 24 | 5 |
| 1 KVA TRANSFORMER | FARADAY ROOM 24 | 5 |
| POWER SUPPLY UNIT | FARADAY ROOM 29 | 5 |
| VENTILATION UNIT | FARADAY ROOM 47 | 5 |
| POWER SUPPLY UNIT | FARADAY ROOM 49 | 5 |
| VENTILATION UNIT | FARADAY ROOM 8A | 5 |
| VENTILATION UNIT | FARADAY ROOM 8A | 5 |
| T45 MV3000 DRIVE SYSTEM | FARADAY ROOM 9 | 5 |
| HIGH SPEED DRILL 1 | FARADAY ROOM A | 5 |
| HIGH SPEED DRILL 2 | FARADAY ROOM A | 5 |
| HIGH SPEED DRILL 3 | FARADAY ROOM A | 5 |
| HIGH SPEED DRILL 4 | FARADAY ROOM A | 5 |
| HIGH SPEED DRILL 5 | FARADAY ROOM A | 5 |
| HIGH SPEED DRILL 6 | FARADAY ROOM A | 5 |
| GRINDING MACHINE D/E | FARADAY ROOM17 | 5 |
| PCB MICRO DRILL | FARADAY ROOM17 | 5 |
| PCB MICRO DRILL | FARADAY ROOM21 | 5 |
| OVEN | FARADAY ROOM46 | 5 |
| PCB MICRO DRILL | FARADAY ROOM48 | 5 |
| PCB MICRO DRILL | FARADAY ROOM48 | 5 |
| STERO MICROSCOPE | FARADAY ROOM48 | 5 |
| LP AIR COMPRSSOR | FOUNDRY | 9 |
| AJT 10 TONNE LOAD TESTING MACHINE (BIG BLUE) | LIFTING SCHOOL | 15 |
| NUMATIC WET & DRY VACUUM WVD 1500-2DH | MACHINE SHOP |  |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 1 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 1 |
| CUTTER/GRINDER | MACHINE SHOP | 1 |
| DUST CONTROL EQUIPMENT | MACHINE SHOP | 1 |
| MILLING MACHINE | MACHINE SHOP | 1 |
| GRINDING MACHINE D/E | MACHINE SHOP | 2 |
| BENCH GRINDER | MACHINE SHOP | 2 |
| GRINDING MACHINE D/E | MACHINE SHOP | 14 |
| PILLAR DRILL | MACHINE SHOP | 2 |
| PILLAR DRILL | MACHINE SHOP | 2 |
| MIG WELDING MACHINE | MACHINE SHOP | 1 |
| PILLAR DRILL | MACHINE SHOP | 1 |
| WELDING MACHINE | MACHINE SHOP | 1 |
| FOLDER MORGAN RUSHWORTH | MACHINE SHOP | 14 |
| FOLDER MORGAN RUSHWORTH | MACHINE SHOP | 14 |
| PAT TESTER (MEGGER PAT4 DV/3) | MACHINE SHOP | 14 |
| PAT TESTER (MEGGER PAT4 DV/3) | MACHINE SHOP | 14 |
| LABEL MACHINE (BROTHER P-TOUCH 550) | MACHINE SHOP | 14 |
| AJAX AJT4 TURRET MILLING MACHINE | MACHINE SHOP | 14 |
| AJAX MILL | MACHINE SHOP | 14 |
| AJAX UNIVERSAL MILLING MACHINE | MACHINE SHOP | 14 |
| BENCH MOUNTED SAW | MACHINE SHOP | 14 |
| BRIDGEPORT MILL | MACHINE SHOP | 14 |
| BRIDGEPORT MILL | MACHINE SHOP | 14 |
| BRIDGEPORT MILL | MACHINE SHOP | 14 |
| BRIDGEPORT VERTICAL MILLING MACHINE | MACHINE SHOP | 14 |
| BRIDGEPORT VERTICAL MILLING MACHINE | MACHINE SHOP | 14 |
| CENTRE LATHE | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP | 14 |
| CENTRE LATHE 6" | MACHINE SHOP | 14 |
| CLEAR LIFT FLOOR CRANE | MACHINE SHOP | 14 |
| COOLANT TANK | MACHINE SHOP | 14 |
| DRIIL/GRINDER | MACHINE SHOP | 14 |
| DRILLING MACHINE | MACHINE SHOP | 14 |
| DUST EXTRACTORS PORTABLE | MACHINE SHOP | 14 |
| ENGRAVING MACHINE | MACHINE SHOP | 14 |
| FLOOR CRANE | MACHINE SHOP | 14 |
| GRINDING MACHINE | MACHINE SHOP | 14 |
| GRINDING MACHINE | MACHINE SHOP | 14 |
| GRINDING MACHINE | MACHINE SHOP | 14 |
| GRINDING MACHINE D/E | MACHINE SHOP | 14 |
| GRINDING MACHINE D/E | MACHINE SHOP | 14 |
| GRINDING MACHINE D/E | MACHINE SHOP | 14 |
| GRINDING MACHINE D/E | MACHINE SHOP | 14 |
| GRINDING MACHINE D/E | MACHINE SHOP | 14 |
| GRINDING MACHINE D/E | MACHINE SHOP | 14 |
| GRINDING MACHINE D/E | MACHINE SHOP | 14 |
| GRINDING MACHINE D/E | MACHINE SHOP | 14 |
| GRINDING MACHINE D/E | MACHINE SHOP | 14 |
| GRINDING MACHINE D/E | MACHINE SHOP | 14 |
| GRINDING MACHINE D/E | MACHINE SHOP | 14 |
| GRINDING MACHINE D/E | MACHINE SHOP | 14 |
| GRINDING MACHINE D/E | MACHINE SHOP | 14 |
| GRINDING MACHINE D/E | MACHINE SHOP | 14 |
| GRINDING MACHINE D/E | MACHINE SHOP | 14 |
| GRINDING MACHINE D/E | MACHINE SHOP | 14 |
| GRINDING MACHINE D/E 200 MM | MACHINE SHOP | 14 |
| GRINDING MACHINE D/E 200 MM | MACHINE SHOP | 14 |
| GRINDING MACHINE D/E 200 MM | MACHINE SHOP | 14 |
| GRINDING MACHINE D/E 200 MM | MACHINE SHOP | 14 |
| GRINDING MACHINE D/E 200 MM | MACHINE SHOP | 14 |
| GRINDING MACHINE D/E 200 MM | MACHINE SHOP | 14 |
| GRINDING MACHINE D/E 200 MM | MACHINE SHOP | 14 |
| GRINDING MACHINE D/E 200 MM | MACHINE SHOP | 14 |
| GRINDING MACHINE D/E 200 MM | MACHINE SHOP | 14 |
| GRINDING MACHINE D/E 200 MM | MACHINE SHOP | 14 |
| GRINDING MACHINE D/E 200MM | MACHINE SHOP | 14 |
| GRINDING MACHINE D/E 7" | MACHINE SHOP | 14 |
| GRINDING MACHINE D/E 7" | MACHINE SHOP | 14 |
| GRINDING MACHINE D/E 7" | MACHINE SHOP | 14 |
| GRINDING MACHINE D/E 7" | MACHINE SHOP | 14 |
| GRINDER SURFACE | MACHINE SHOP | 14 |
| HORIZOMTAL BORING MACHINE | MACHINE SHOP | 14 |
| HORIZONTAL BAND SAW | MACHINE SHOP | 14 |
| HORIZONTAL BANDSAW | MACHINE SHOP | 14 |
| HORIZONTAL BANDSAW | MACHINE SHOP | 14 |
| HORIZONTAL ROTARY GRINDER | MACHINE SHOP | 14 |
| LEV SYSTEM | MACHINE SHOP | 14 |
| MARCH TOOL GRINDER | MACHINE SHOP | 14 |
| MARKING OUT TABLE | MACHINE SHOP | 14 |
| PILLAR DRILL | MACHINE SHOP | 14 |
| PILLAR DRILL | MACHINE SHOP | 14 |
| PILLAR DRILL | MACHINE SHOP | 14 |
| PILLAR DRILL | MACHINE SHOP | 14 |
| PILLAR DRILL | MACHINE SHOP | 14 |
| PILLAR DRILL | MACHINE SHOP | 14 |
| PILLAR DRILL | MACHINE SHOP | 14 |
| PILLAR DRILL | MACHINE SHOP | 14 |
| PILLAR DRILL | MACHINE SHOP | 14 |
| PILLAR DRILL | MACHINE SHOP | 14 |
| PILLAR DRILL | MACHINE SHOP | 14 |
| PILLAR DRILL | MACHINE SHOP | 14 |
| PILLAR DRILL | MACHINE SHOP | 14 |
| PILLAR DRILL | MACHINE SHOP | 14 |
| PILLAR DRILL | MACHINE SHOP | 14 |
| PILLAR DRILL | MACHINE SHOP | 14 |
| PILLAR DRILL | MACHINE SHOP | 14 |
| PILLAR DRILL | MACHINE SHOP | 14 |
| PILLAR DRILL | MACHINE SHOP | 14 |
| PILLAR DRILL | MACHINE SHOP | 14 |
| PILLAR DRILL | MACHINE SHOP | 14 |
| PILLAR DRILL | MACHINE SHOP | 14 |
| PILLAR DRILL | MACHINE SHOP | 14 |
| PILLAR DRILL | MACHINE SHOP | 14 |
| PILLAR DRILL | MACHINE SHOP | 14 |
| PILLAR DRILL | MACHINE SHOP | 14 |
| PILLAR DRILL | MACHINE SHOP | 14 |
| PILLAR DRILL | MACHINE SHOP | 14 |
| PILLAR DRILL | MACHINE SHOP | 14 |
| PILLAR DRILL | MACHINE SHOP | 14 |
| PILLAR DRILL | MACHINE SHOP | 14 |
| PILLAR DRILL | MACHINE SHOP | 14 |
| PILLAR DRILL | MACHINE SHOP | 14 |
| PILLAR DRILL | MACHINE SHOP | 14 |
| PILLAR DRILL | MACHINE SHOP | 14 |
| PILLAR DRILL | MACHINE SHOP | 14 |
| PILLAR DRILL | MACHINE SHOP | 14 |
| PILLAR DRILL | MACHINE SHOP | 14 |
| PILLAR DRILL | MACHINE SHOP | 14 |
| RADIAL DRILLING MACHINE | MACHINE SHOP | 14 |
| SHAPIMG MACHINE 14" | MACHINE SHOP | 14 |
| SLOTTING MACHINE 8" | MACHINE SHOP | 14 |
| SLURRY TANK | MACHINE SHOP | 14 |
| SUMP CLEANER | MACHINE SHOP | 14 |
| SUMP CLEANER | MACHINE SHOP | 14 |
| SUMP CLEANER | MACHINE SHOP | 14 |
| SURFACE GRINDER | MACHINE SHOP | 14 |
| SURFACE GRINDER | MACHINE SHOP | 14 |
| SURFACE MARKING TABLE | MACHINE SHOP | 14 |
| SURFACE MARKING TABLE | MACHINE SHOP | 14 |
| SURFACE MARKING TABLE | MACHINE SHOP | 14 |
| SURFACE MARKING TABLE | MACHINE SHOP | 14 |
| SURFACE MARKING TABLE | MACHINE SHOP | 14 |
| SURFACE MARKING TABLE | MACHINE SHOP | 14 |
| SURFACE MARKING TABLE | MACHINE SHOP | 14 |
| SURFACE MARKING TABLE | MACHINE SHOP | 14 |
| SURFACE MARKING TABLE | MACHINE SHOP | 14 |
| SURFACE MARKING TABLE | MACHINE SHOP | 14 |
| SURFACE MARKING TABLE | MACHINE SHOP | 14 |
| SURFACE MARKING TABLE | MACHINE SHOP | 14 |
| SURFACE MARKING TABLE | MACHINE SHOP | 14 |
| SURFACE MARKING TABLE | MACHINE SHOP | 14 |
| SURFACE TABLE | MACHINE SHOP | 14 |
| SURFACE TABLE | MACHINE SHOP | 14 |
| SURFACE TABLE | MACHINE SHOP | 14 |
| SURFACE TABLE | MACHINE SHOP | 14 |
| SURFACE TABLE | MACHINE SHOP | 14 |
| SURFACE TABLE | MACHINE SHOP | 14 |
| SURFACE TABLE | MACHINE SHOP | 14 |
| TOOL & CUTTER GRINDING M/C | MACHINE SHOP | 14 |
| UNIVERSAL GRINDER | MACHINE SHOP | 14 |
| UNIVERSAL MILLING MACHINE | MACHINE SHOP | 14 |
| UNIVERSAL MILLING MACHINE | MACHINE SHOP | 14 |
| UNIVERSAL MILLING MACHINE | MACHINE SHOP | 14 |
| UNIVERSAL MILLING MACHINE | MACHINE SHOP | 14 |
| UNIVERSAL MILLING MACHINE | MACHINE SHOP | 14 |
| UNIVERSAL MILLING MACHINE | MACHINE SHOP | 14 |
| UNIVERSAL MILLING MACHINE | MACHINE SHOP | 14 |
| UNIVERSAL MILLING MACHINE | MACHINE SHOP | 14 |
| VACUME SUMP CLEANER 6492.9211 | MACHINE SHOP | 14 |
| VACUUM SWEEPER | MACHINE SHOP | 14 |
| VERTICAL BANDSAW | MACHINE SHOP | 14 |
| VERTICAL BANDSAW | MACHINE SHOP | 14 |
| VERTICAL MILLING MACHINE | MACHINE SHOP | 14 |
| BENCH DRILL STARTRITE | MACHINE SHOP | 14 |
| BENCH DRILL STARTRITE | MACHINE SHOP | 14 |
| BENCH DRILL STARTRITE | MACHINE SHOP | 14 |
| BENCH DRILL STARTRITE | MACHINE SHOP | 14 |
| MORGAN RUSHWORTH GUILLOTINE | MACHINE SHOP | 14 |
| LP AIR COMPRESSOR | MACHINE SHOP | 14 |
| BRIDGEPORT MILL | MACHINE SHOP | 14 |
| BRIDGEPORT MILL | MACHINE SHOP | 14 |
| BRIDGEPORT MILL | MACHINE SHOP | 14 |
| CUTTER/GRINDER LEV | MACHINE SHOP | 14 |
| NEDERMAN FLEXIBLE ARM WELDING EXTRACTION | MACHINE SHOP | 14 |
| LATHE | MACHINE SHOP CAD/CAM ANNEX | 14 |
| MILLING MACHINE | MACHINE SHOP CAD/CAM ANNEX | 14 |
| PROFILE & ENGRAVER MACHINE | MACHINE SHOP CAD/CAM ANNEX | 14 |
| VERTICAL BANDSAW | MACHINE SHOP STORE | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP TOOL ROOM | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP TOOL ROOM | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP TOOL ROOM | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP TOOL ROOM | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP TOOL ROOM | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP TOOL ROOM | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP TOOL ROOM | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP TOOL ROOM | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP TOOL ROOM | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP TOOL ROOM | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP TOOL ROOM | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP TOOL ROOM | 14 |
| CENTRE LATHE 6 1/2" | MACHINE SHOP TOOL ROOM | 14 |
| LIGHTFOOT REFRIGERANT RIG | MORRELL BLOCK | 21 |
| LIGHTFOOT REFRIGERANT RIG | MORRELL BLOCK | 21 |
| LIGHTFOOT REFRIGERANT RIG | MORRELL BLOCK | 21 |
| LIGHTFOOT REFRIGERANT RIG | MORRELL BLOCK | 21 |
| LIGHTFOOT REFRIGERANT RIG | MORRELL BLOCK | 21 |
| LIGHTFOOT REFRIGERANT RIG | MORRELL BLOCK | 21 |
| COOLING TOWER & PUMPS - MOTORS - EQUIPMENT | MORRELL BLOCK | 21 |
| CCP TRAINING RIG | MORRELL BLOCK | 21 |
| COOLING TOWER (DECOMMISIONED) | MORRELL BLOCK | 21 |
| FAULT FINDING REFRIGERATION RIGS | MORRELL BLOCK | 21 |
| FRIDGE PLANT TRAINING RIG | MORRELL BLOCK | 21 |
| FRIDGE TRAINING RIG | MORRELL BLOCK | 21 |
| GALLEY READY USE FRIDGE | MORRELL BLOCK | 21 |
| HYDRAULIC HAND PUMP, TANGY PUMP | MORRELL BLOCK | 21 |
| HYDRAULIC PUMPING STATION & SYSTEM | MORRELL BLOCK | 21 |
| REFRIGERATION ROOM | MORRELL BLOCK | 21 |
| REFRIGERATION ROOM | MORRELL BLOCK | 21 |
| REFRIGERATION ROOM | MORRELL BLOCK | 21 |
| ROTEC CONTAMINATION TEST RIGS | MORRELL BLOCK | 21 |
| ROTEC CONTAMINATION TEST RIGS | MORRELL BLOCK | 21 |
| ROTEC CONTAMINATION TEST RIGS | MORRELL BLOCK | 21 |
| SCOTSMAN ICE MAKER | MORRELL BLOCK | 21 |
| TYPE 23 REFRIGERATION PLANT | MORRELL BLOCK | 21 |
| TYPE 42 REFRIGERATION PLANT | MORRELL BLOCK | 21 |
| VANGUARD ACP AND SYSTEM | MORRELL BLOCK | 21 |
| WATER TREATMENT EQUIPMENT | MORRELL COOLING TOWER | 21 |
| ROTEC FAULT FINDING RIG | MORRELL BLOCK | 21 |
| ROTEC FAULT FINDING RIG | MORRELL BLOCK | 21 |
| ROTEC FAULT FINDING RIG | MORRELL BLOCK | 21 |
| ROTEC FAULT FINDING RIG | MORRELL BLOCK | 21 |
| ROTEC FAULT FINDING RIG | MORRELL BLOCK | 21 |
| ROTEC FAULT FINDING RIG | MORRELL BLOCK | 21 |
| INEL TEST RIG | MORRELL BLOCK | 21 |
| T23 CHILLED WATER PLANT 750KW | MORRELL BLOCK | 21 |
| CVS CHILLED WATER PLANT | MORRELL BLOCK |  |
| T45 CHILLED WATER PLANT | MORRELL BLOCK | 21 |
| PRESSURE WASHER KARCHER K855HS | NEWCOMMEN | 13 |
| PRESSURE WASHER KARCHER K399M | NEWCOMMEN | 13 |
| AXMINSTER BELT & DISC SANDER | NEWCOMMEN | 13 |
| AXMINSTER EXTRACTION SYSTEM | NEWCOMMEN | 13 |
| AXMINSTER PILLAR DRILL & MORTICER | NEWCOMMEN | 13 |
| DELTA SIDEKICK SAW | NEWCOMMEN | 13 |
| INCA EURO 205 BANDSAW | NEWCOMMEN | 13 |
| MICROCLEAN UK FILTER | NEWCOMMEN | 13 |
| SCHEPPACH HMS 260 PLANER/THICKNESSER | NEWCOMMEN | 13 |
| VERTICAL BANDSAW | NEWCOMMEN | 13 |
| FUME EXTRACTOR | NEWCOMMEN | 13 |
| ATLAS COPCO LE55-10-250H AIR SYSTEM | NEWCOMMEN | 13 |
| CIRCULAR SAW TABLE D65510 | NEWCOMMEN | 13 |
| COLES 8-9 TON SPEEDCRANE | NEWCOMMEN | 13 |
| COMPAIR REAVELL HP AIR SYSTEM | NEWCOMMEN | 13 |
| DOUGLAS AIRCRAFT TOW TRACTOR MK5 | NEWCOMMEN | 13 |
| DOUGLAS AIRCRAFT TOW TRACTOR MK5 | NEWCOMMEN | 13 |
| GUYSON SAND BLASTER | NEWCOMMEN | 13 |
| HOUCHIN 556/A MOBILE LOADBANK | NEWCOMMEN | 13 |
| HOUCHIN 60KVA ELECTRICAL | NEWCOMMEN | 13 |
| JACK TEST RIG | NEWCOMMEN | 13 |
| KANGO DRILL | NEWCOMMEN | 13 |
| KARCHER MPDS SKID MOUNTED STEAM CLEANER | NEWCOMMEN | 13 |
| MADSLEY GROUND POWER UNIT | NEWCOMMEN | 13 |
| MOBILE AIR COMPRESSOR | NEWCOMMEN | 13 |
| NEWTON DERBY 30 KVA FREQUENCY CONVERTER | NEWCOMMEN | 13 |
| NEWTON DERBY 30 KVA FREQUENCY CONVERTER | NEWCOMMEN | 13 |
| NEWTON DERBY 30 KVA FREQUENCY CONVERTER | NEWCOMMEN | 13 |
| NEWTON DERBY 30 KVA FREQUENCY CONVERTER | NEWCOMMEN | 13 |
| TURBO SPRAYS DEGREASING TANK | NEWCOMMEN | 13 |
| TURBO SPRAY 3 CABINET | NEWCOMMEN | 13 |
| SERIES 2 FUME EXTRACTOR 2 MAN TYPE | NEWCOMMEN EAST ANNEXE | 13 |
| AIR GAUGE TRANSMITTER | NEWCOMMEN HANGAR | 13 |
| BOX & PAN FOLDING MACHINE | NEWCOMMEN HANGAR | 13 |
| DOUBLE ENDED GRINDER 10" | NEWCOMMEN HANGAR | 13 |
| ENGRAVING MACHINE | NEWCOMMEN HANGAR | 13 |
| EXTRACTOR FOR ENGRAVER P30749 | NEWCOMMEN HANGAR | 13 |
| GRINDING MACHINE D/E | NEWCOMMEN HANGAR | 13 |
| HANGAR VACUUM SWEEPER | NEWCOMMEN HANGAR | 13 |
| HORIZONTAL BANDSAW | NEWCOMMEN HANGAR | 13 |
| HP AIR COMPRESSOR | NEWCOMMEN HANGAR | 13 |
| HYDRAULIC TEST PUMP | NEWCOMMEN HANGAR | 13 |
| LP AIR COMPRESSOR | NEWCOMMEN HANGAR | 13 |
| MOBILE CRANE 9TON | NEWCOMMEN HANGAR | 13 |
| OIL GAUGE TRANSMITTER | NEWCOMMEN HANGAR | 13 |
| OVERHEAD GANTRY | NEWCOMMEN HANGAR | 13 |
| PACKAGING SEALER | NEWCOMMEN HANGAR | 13 |
| PEDESTAL DRILL | NEWCOMMEN HANGAR | 13 |
| PRESSURE GAUGE CALIBRATOR | NEWCOMMEN HANGAR | 13 |
| STEAM CLEANER | NEWCOMMEN HANGAR | 13 |
| TREADLE GUILLOTINE | NEWCOMMEN HANGAR | 13 |
| TROLLEY JACK | NEWCOMMEN HANGAR | 13 |
| VACUUM CLEANER KARCHER | NEWCOMMEN HANGAR | 13 |
| FREQUENCY CONVERTOR 30KVA | NEWCOMMEN SERIAL No 306588/2 | 13 |
| FREQUENCY CONVERTOR 30KVA | NEWCOMMEN SERIAL No 306588/3 | 13 |
| FREQUENCY CONVERTOR 30KVA | NEWCOMMEN SERIAL No 306588/4 | 13 |
| FREQUENCY CONVERTOR 30KVA | NEWCOMMEN SERIAL No 306588/7 | 13 |
| TRANSFORMER RECTIFIER | NEWCOMMEN SET N22877 | 13 |
| TRANSFORMER RECTIFIER | NEWCOMMEN SET N22877 | 13 |
| 2 KVA TRANSFORMER | NTG | 16 |
| AIR PARTICLE DETECTOR UNIT 2 | NTG | 16 |
| AIR PARTICLE DETECTOR UNIT 2 | NTG | 16 |
| MICROSCOPE | NTG | 16 |
| STATIC FREQUENCY CHANGER | NTG | 16 |
| PENTRAK XRAY DISTANCING SYSTEM | NTG | 16 |
| TENSOMETER | NTG | 16 |
| FUME CUPBOARD 240V | NTG WATER TREATMENT LAB | 16 |
| ROTORK VALVES X 8 | PARSONS BLOCK 0.14 | 15 |
| 8 KVA MOTOR GENERATOR SET | PARSONS BLOCK | 15 |
| LP AIR COMPRESSOR | PARSONS BLOCK | 15 |
| POWER SUPPLY UNIT | PARSONS BLOCK | 15 |
| STATIC FREQUENCY CHANGER | PARSONS BLOCK 0.14 | 15 |
| 0.5 KVA TRANSFORMER RECTIFIER | PARSONS BLOCK 0.15 | 15 |
| 1 KVA TRANSFORMER | PARSONS BLOCK 0.15 | 15 |
| TRANSFORMER RECTIFIER | PARSONS BLOCK 0.15 | 15 |
| BENCH POWER SUPPLY UNIT | PARSONS BLOCK 2.1 | 15 |
| BENCH POWER SUPPLY UNIT | PARSONS BLOCK 2.1 | 15 |
| BENCH POWER SUPPLY UNIT | PARSONS BLOCK 2.2 | 15 |
| FARNELL PORTABLE POWER BENCH | PARSONS BLOCK 2.3 | 15 |
| FARNELL PORTABLE POWER BENCH | PARSONS BLOCK 2.3 | 15 |
| LOWARA MULTI STAGE LIFT PUMP | PILLAR BUILDING | 28 |
| LOWARA MULTI STAGE LIFT PUMP | PILLAR BUILDING | 28 |
| OLYMPUS ENDERSCOPE IPLEX RX/R | RAPER | 20 |
| OLYMPUS ENDERSCOPE IPLEX RX/R | RAPER | 20 |
| DOWEL EXTRACTOR KIT | RAPER | 20 |
| DOWEL EXTRACTOR KIT | RAPER | 20 |
| BOROSCOPE OLYMPUS CAMERA | RAPER | 20 |
| OLYMPUS VIBRATION MONITOR | RAPER | 20 |
| OLYMPUS VIBRATION MONITOR | RAPER | 20 |
| TYNE VIBRATION MONITOR | RAPER | 20 |
| TYNE VIBRATION MONITOR | RAPER | 20 |
| DIESEL ENGINE SET (C110D5) 110KVA 80KW | RAPER | 20 |
| OIL COOLER TYNE DYNAMOMETER | RAPER | 20 |
| OLYMPUS DYNAMOMETER 1 | RAPER | 20 |
| OLYMPUS DYNAMOMETER 2 | RAPER | 20 |
| DYNAMOMETER POWER PACK | RAPER | 20 |
| DYNAMOMETER POWER PACK | RAPER | 20 |
| COOLING TOWER &WATER TREATMENT EQUIPMENT SYSTEMS | RAPER COOLING TOWER | 20 |
| LP AIR COMPRESSOR | RUTHERFORD | 16 |
| AIR ACETELYENE BURNER (THERMO OPTEC) | RUTHERFORD | 16 |
| BOILER HEAT TRANSFER UNIT | RUTHERFORD | 16 |
| WET & DRY AA HOOD EXTRACTION | RUTHERFORD | 16 |
| FUME CUPBOARD | RUTHERFORD | 16 |
| FUME CUPBOARD (LABCAIRE 4850) | RUTHERFORD | 16 |
| FUME CUPBOARD (BIG NEAT 1200) x2 | RUTHERFORD | 16 |
| HARDNESS TESTER (DENISON MAYES GROUP) DMG | RUTHERFORD | 16 |
| HARDNESS TESTER (DENISON MAYES GROUP) DMG | RUTHERFORD | 16 |
| MICROSCOPE x6 | RUTHERFORD | 16 |
| CHLORIDE STATIC FREQUENCY CONVERTER | RUTHERFORD | 16 |
| NEWTON DERBY MOTOR GENERATOR SET | RUTHERFORD | 16 |
| SPECTROMETER ULTRA VIOLET PERKIN-ELVER | RUTHERFORD | 16 |
| TENSOMETER MONSANTO (DMG) | RUTHERFORD | 16 |
| RUNNING MACHINE PULSE | SARC | 10 |
| RUNNING MACHINE PULSE | SARC | 10 |
| RUNNING MACHINE PULSE | SARC | 10 |
| SKI ERGS PULSE | SARC | 10 |
| SKI ERGS PULSE | SARC | 10 |
| TECHNOGYM RUNNING MACHINE | SARC | 10 |
| TECHNOGYM RUNNING MACHINE | SARC | 10 |
| TECHNOGYM RUNNING MACHINE | SARC | 10 |
| TECHNOGYM WATT BIKE PRO | SARC | 10 |
| TECHNOGYM WATT BIKE PRO | SARC | 10 |
| TECHNOGYM CONCEPT II ROWERS | SARC | 10 |
| TECHNOGYM CONCEPT II ROWERS | SARC | 10 |
| TECHNOGYM CONCEPT II ROWERS | SARC | 10 |
| TECHNOGYM CONCEPT II ROWERS | SARC | 10 |
| TECHNOGYM CONCEPT II ROWERS | SARC | 10 |
| TECHNOGYM CROSS TRAINER | SARC | 10 |
| TECHNOGYM CROSS TRAINER | SARC | 10 |
| TECHNOGYM BIKE | SARC | 10 |
| TECHNOGYM BIKE | SARC | 10 |
| TECHNOGYM BIKE | SARC | 10 |
| TECHNOGYM BIKE | SARC | 10 |
| LIFEFITNESS CLUB SERIES RUNNING MACHINE | SARC | 10 |
| LIFEFITNESS CLUB SERIES RUNNING MACHINE | SARC | 10 |
| LIFEFITNESS CLUB SERIES RUNNING MACHINE | SARC | 10 |
| LIFEFITNESS CLUB SERIES RUNNING MACHINE | SARC | 10 |
| LIFEFITNESS CLUB SERIES RUNNING MACHINE | SARC | 10 |
| LIFEFITNESS 95T RUNNING MACHINE | SARC | 10 |
| LIFEFITNESS 95T RUNNING MACHINE | SARC | 11 |
| LIFEFITNESS 95T RUNNING MACHINE | SARC | 12 |
| LIFEFITNESS 95T RUNNING MACHINE | SARC | 13 |
| LIFE FITNESS 95Si STEPPER | SARC | 10 |
| LIFE FITNESS 95Si STEPPER | SARC | 10 |
| AIR STEPPER | SARC | 10 |
| CONCEPT II ROWING MACHINE | SARC | 10 |
| CONCEPT II ROWING MACHINE | SARC | 10 |
| CONCEPT II ROWING MACHINE | SARC | 10 |
| CONCEPT II ROWING MACHINE | SARC | 10 |
| CONCEPT II ROWING MACHINE | SARC | 10 |
| CONCEPT II ROWING MACHINE | SARC | 10 |
| LIFEFITNESS CROSS-TRAINER 95X | SARC | 10 |
| CROSS TRAINER 95Xi | SARC | 10 |
| CROSS TRAINER 95Xi | SARC | 10 |
| LIFE FITNESS 95Xi CROSS TRAINER | SARC | 10 |
| LIFE FITNESS 95Xi CROSS TRAINER | SARC | 10 |
| LIFE FITNESS 95Xi CROSS TRAINER | SARC | 10 |
| LIFE FITNESS 90C UPRIGHT BIKE | SARC | 10 |
| LIFE FITNESS 90C UPRIGHT BIKE | SARC | 10 |
| LIFE FITNESS 90C UPRIGHT BIKE | SARC | 10 |
| LIFE FITNESS 90R RECUMBENT BIKE | SARC | 10 |
| LIFE FITNESS 90R RECUMBENT BIKE | SARC | 10 |
| LIFE FITNESS 95Si STEPPER | SARC | 10 |
| LIFE FITNESS 95Si STEPPER | SARC | 10 |
| POWERSPORT X3000 AIR STEPPER | SARC | 10 |
| VIBRO PLATE | SARC | 10 |
| VIBRO PLATE | SARC | 11 |
| VIBRO PLATE | SARC | 12 |
| VIBRO PLATE | SARC | 13 |
| LIFEFITNESS LIFECYCLE 9X SPINNING BIKE | SARC | 13 |
| LIFEFITNESS LIFECYCLE 9X SPINNING BIKE | SARC | 14 |
| LIFEFITNESS LIFECYCLE 9X SPINNING BIKE | SARC | 15 |
| LIFEFITNESS LIFECYCLE 9X SPINNING BIKE | SARC | 16 |
| LIFEFITNESS LIFECYCLE 9X SPINNING BIKE | SARC | 17 |
| LIFEFITNESS LIFECYCLE 9X SPINNING BIKE | SARC | 18 |
| LIFEFITNESS LIFECYCLE 9X SPINNING BIKE | SARC | 19 |
| LIFEFITNESS LIFECYCLE 9X SPINNING BIKE | SARC | 20 |
| LIFEFITNESS LIFECYCLE 9X SPINNING BIKE | SARC | 21 |
| LIFEFITNESS LIFECYCLE 9X SPINNING BIKE | SARC | 22 |
| LIFEFITNESS LIFECYCLE 9X SPINNING BIKE | SARC | 23 |
| LIFEFITNESS LIFECYCLE 9X SPINNING BIKE | SARC | 24 |
| LIFEFITNESS LIFECYCLE 9X SPINNING BIKE | SARC | 25 |
| LIFEFITNESS LIFECYCLE 9X SPINNING BIKE | SARC | 26 |
| LIFEFITNESS LIFECYCLE 9X SPINNING BIKE | SARC | 27 |
| LIFEFITNESS LIFECYCLE 9X SPINNING BIKE | SARC | 28 |
| LIFEFITNESS LIFECYCLE 9X SPINNING BIKE | SARC | 29 |
| LIFEFITNESS LIFECYCLE 9X SPINNING BIKE | SARC | 30 |
| LIFEFITNESS LIFECYCLE 9X SPINNING BIKE | SARC | 31 |
| LIFEFITNESS LIFECYCLE 9X SPINNING BIKE | SARC | 32 |
| LE MOND SPINNING BIKE | SARC | 10 |
| LE MOND SPINNING BIKE | SARC | 10 |
| LE MOND SPINNING BIKE | SARC | 10 |
| LE MOND SPINNING BIKE | SARC | 10 |
| LE MOND SPINNING BIKE | SARC | 10 |
| LE MOND SPINNING BIKE | SARC | 10 |
| LE MOND SPINNING BIKE | SARC | 10 |
| LE MOND SPINNING BIKE | SARC | 10 |
| LE MOND SPINNING BIKE | SARC | 10 |
| LE MOND SPINNING BIKE | SARC | 10 |
| LE MOND SPINNING BIKE | SARC | 10 |
| LE MOND SPINNING BIKE | SARC | 10 |
| LE MOND SPINNING BIKE | SARC | 10 |
| LE MOND SPINNING BIKE | SARC | 10 |
| LE MOND SPINNING BIKE | SARC | 10 |
| LE MOND SPINNING BIKE | SARC | 10 |
| LE MOND SPINNING BIKE | SARC | 10 |
| LE MOND SPINNING BIKE | SARC | 10 |
| LE MOND SPINNING BIKE | SARC | 10 |
| CROSS TRAINER | SARC (HQ1) |  |
| RECUMBENT EVOLUTION | SARC (HQ1) |  |
| CONCEPT II ROWING MACHINE | SARC (HQ1) |  |
| CONCEPT II ROWING MACHINE | SARC (WARDROOM) | 4 |
| CONCEPT II ROWING MACHINE | SARC (WARDROOM) | 4 |
| GX BIKE LIFEFITNESS | SARC (WARDROOM) | 4 |
| GX BIKE LIFEFITNESS | SARC (WARDROOM) | 4 |
| LIFEFITNESS STEPER X TRAINER | SARC (WARDROOM) | 4 |
| LIFEFITNESS CLIMBER | SARC (WARDROOM) | 4 |
| LIFEFITNESS CLIMBER | SARC (WARDROOM) | 4 |
| VERSA CLIMBER | SARC (WARDROOM) | 4 |
| CONCEPT 2 ROWING MACHINE | SARC (WARDROOM) |  |
| CONCEPT 2 ROWING MACHINE | SARC (WARDROOM) |  |
| EVOLUTION CROSS TRAINER | SARC (WARDROOM) | 4 |
| EVOLUTION BIKE | SARC (WARDROOM) | 4 |
| POWERSPORT X3000 AIR STEPPER | SARC (WARDROOM) | 4 |
| CONCEPT II ROWING MACHINE | SARC |  |
| CONCEPT II ROWING MACHINE | SARC |  |
| CONCEPT II ROWING MACHINE | SARC |  |
| TECHNOGYM CROSS TRAINER | SARC |  |
| TECHNOGYM CROSS TRAINER | SARC |  |
| CONCEPT II ROWING MACHINE | SARC |  |
| CONCEPT II ROWING MACHINE | SARC |  |
| CONCEPT II ROWING MACHINE | SARC |  |
| CONCEPT II ROWING MACHINE | SARC |  |
| CLIMBMILL STAIRMASTER | SARC |  |
| RUNNING MACHINE | SARC |  |
| RUNNING MACHINE | SARC |  |
| MATRIX AURA-S72 SEATED LEG CURL | SARC |  |
| MATRIX AURA-S71 LEG EXTENSION | SARC |  |
| MATRIX AURA-S33 DIVERGING LAT PULLDOWN | SARC |  |
| MATRIX AURA-S13 CONVERGING CHEST PRESS | SARC |  |
| MATRIX AURA-S12 PECTORAL FLY | SARC |  |
| MATRIX AURA-S23 CONVERGING SHOULDER PRESS | SARC |  |
| MATRIX AURA-MS20 ADJUSTABLE CABLE CROSSOVER | SARC |  |
| MAGNUM MG-A420 PL SEATED ROW | SARC |  |
| MAGNUM MG-A417 PL INCLINE BENCH PRESS | SARC |  |
| MATRIX AURA-FW40 PREACHER CURL | SARC |  |
| MATRIX AURA-FW14 OLYMPIC INCLINE BENCH | SARC |  |
| MATRIX AURA-FW15 OLYMPIC DECLINE BENCH | SARC |  |
| MATRIX AURA-FW13 OLYMPIC FLAT BENCH | SARC |  |
| MATRIX AURA-PL70 45 DEGREE LEG PRESS | SARC |  |
| MATRIX AURA-PL79 DIVERGING SQUAT/LUNGE | SARC |  |
| MATRIX AURA-FW52 BACK EXTENSION BENCH | SARC |  |
| MATRIX AURA-S51 ABDOMINAL CRUNCH | SARC |  |
| VARSITY VY-D45 SHOULDER PRESS | SARC |  |
| MATRIX AURA-MSFT300 FUNCTIONAL TRAINER | SARC |  |
| SPEY GAS TURBINE | SPEY |  |
| CABINET BATTERY CHARGER | SPEY | 11 |
| COALESCER | SPEY | 11 |
| DIESO FUEL TANK | SPEY | 11 |
| DYNAMO RETURN WATER PUMP HW WELL | SPEY | 11 |
| DYNAMO WATER ACTUATOR COOL TOWER | SPEY | 11 |
| DYNAMOMETER | SPEY | 11 |
| DYNAMOMETER FEED PUMP | SPEY | 11 |
| DYNAMOMETER HYDRAULIC PUMP | SPEY | 11 |
| FILTER POWER TURBINE OIL PUMP | SPEY | 11 |
| FUEL PRE FILTER | SPEY | 11 |
| GENERATOR COUNTRYMAN | SPEY | 11 |
| LOW PRESSURE FUEL VALVE | SPEY | 11 |
| LUB OIL COOLER DYNAMOMETER | SPEY | 11 |
| LUB OIL COOLER POWER TURBINE+B66 | SPEY | 11 |
| LUB OIL COOLER TRUNION | SPEY | 11 |
| OIL TANK | SPEY | 11 |
| OIL TANK | SPEY | 11 |
| OIL TANK HEATER 175 GALLON | SPEY | 11 |
| OIL TANK HEATER 250 GALLON | SPEY | 11 |
| POWER TURBINE OIL PUMP FILTER | SPEY | 11 |
| RECTIFIER | SPEY | 11 |
| RETURN WATER ACTUATOR VV HW WELL | SPEY | 11 |
| SERVICE RETURN WATER PP HW WELL | SPEY | 11 |
| SERVICE WATER ACTUATOR VALVE | SPEY | 11 |
| SERVICE WATER FEED PUMP | SPEY | 11 |
| SPEY DYNO LUB OIL CIRC PUMP | SPEY | 11 |
| SPEY DYNO LUB OIL CONTROL VALVE | SPEY | 11 |
| SPEY FUEL BOOST PUMP No1 | SPEY | 11 |
| SPEY POWER TURBINE CIRC PUMP | SPEY | 11 |
| SPEY POWER TURBINE LO CONTROL VALVE | SPEY | 11 |
| SPEY POWER TURBINE LO PUMP 1 | SPEY | 11 |
| SPEY POWER TURBINE LO PUMP 2 | SPEY | 11 |
| SPEY POWER TURBINE OIL PUMP No1 | SPEY | 11 |
| SPEY SHAFT OIL PUMP No1 | SPEY | 11 |
| SPEY SHAFT OIL PUMP No2 | SPEY | 11 |
| SPEY TRUNION OIL PUMP | SPEY | 11 |
| INVERTER VARIABLE SPEED -COOLING TOWER FAN No1 | SPEY | 11 |
| INVERTER VARIABLE SPEED -COOLING TOWER FAN No2 | SPEY | 11 |
| INVERTER VARIABLE SPEED -COOLING TOWER FAN No3 | SPEY | 11 |
| HP AIR COMPRESSOR 5436N | SPEY |  |
| SPEY FUEL BOOST PUMP No2 | SPEY | 11 |
| WATER COOLING TOWER & TREATMENT EQUIPMENT | SPEY COOLING TOWER | 11 |
| LP AIR COMPRESSOR | STEAM LORRY WORKSHOP | 20 |
| LP AIR COMPRESSOR | STEAM LORRY WORKSHOP | 20 |
| CENTRE LATHE 6 1/2" HARRISON | STEAM LORRY WORKSHOP | 20 |
| CAPSTAN LATHE (WARD) | STEAM LORRY WORKSHOP | 20 |
| TOOL/CUTTER/GRINDER (JONES & SHIPMAN) | STEAM LORRY WORKSHOP | 20 |
| UNIVERSAL MILLING MACHINE (DENFORD) | STEAM LORRY WORKSHOP | 20 |
| FLY PRESS | STEAM LORRY WORKSHOP | 20 |
| GRINDING MACHINE (UNION) | STEAM LORRY WORKSHOP | 20 |
| GRINDING MACHINE D/E 8" (WOLF POLISHER) | STEAM LORRY WORKSHOP | 20 |
| PILLAR DRILL (Q&S) | STEAM LORRY WORKSHOP | 20 |
| PILLAR DRILL 3/4" (MEDDINGS) | STEAM LORRY WORKSHOP | 20 |
| POWER WASH SKIPPER (PULITECLO OMEGA 112) | STEAM LORRY WORKSHOP | 20 |
| SHAPING MACHINE 14" (ELLIOTT) | STEAM LORRY WORKSHOP | 20 |
| UNIV MILLING MACHINE (PARKSON) | STEAM LORRY WORKSHOP | 20 |
| WASHING MACHINE INDESIT | STEAM LORRY WORKSHOP | 20 |
| LP AIR COMPRESSOR HYDROVANE 830 | STEPHENSON | 36 |
| HOUCHIN 60KVA ELECTRICAL SERVICING & START U | STEPHENSON HANGAR | 36 |
| HOUCHIN GROUND POWER UNIT 40 KVA DIESEL | STEPHENSON HANGAR | 36 |
| HYDRAULIC TEST RIG | STEPHENSON HANGAR | 36 |
| LEEDS TRANSFORMER/RECTIFIER | STEPHENSON HANGAR | 36 |
| LEEDS TRANSFORMER/RECTIFIER | STEPHENSON HANGAR | 36 |
| LEEDS TRANSFORMER/RECTIFIER | STEPHENSON HANGAR | 36 |
| NEWTON DERBY 30 KVA FREQUENCY CONVERTER | STEPHENSON HANGAR | 36 |
| NEWTON DERBY 30 KVA FREQUENCY CONVERTER | STEPHENSON HANGAR | 36 |
| AIR COMPRESSOR | THUNDERER BLOCK | 37 |
| MEGGAR ELECTRICAL LOOP TESTER LTW425 | WATT | 6 |
| MBR | WATT |  |
| NUMATIC FLOOR SCRUBBER TTB4045 | WATT | 6 |
| CATERPILLAR C32 ODG | WATT | 6 |
| WATERBRAKE SCHENECK (CATERPILLAR) | WATT | 6 |
| HP AIR COMPRESSOR (SAUER WP5500-1 S/N 108705 | WATT | 6 |
| ROTORK VALVES X 4 | WATT | 6 |
| SISSOR LIFT KIESER KRAFT | WATT | 6 |
| WARTSILA SEAL JACK | WATT | 8 |
| OVERHEAD CRANE | WATT | 6 |
| COMPAIR REAVELL HP COMPRESSOR | WATT HANGAR |  |
| HAMWORTHY HP AIR COMPRESSOR | WATT HANGAR |  |
| CHILLED WATER PUMP STARTER | WATT AIR PUMP PLATFORM | 6 |
| MAIN S/U PUMP | WATT AIR PUMP PLATFORM | 6 |
| AUTOMATIC BATTERY CHARGER | WATT BATTERY SHOP | 6 |
| COOLANT TANK | WATT CELL PLATFORM/ROOF | 6 |
| WATER TREATMENT EQUIPMENT | WATT COOLING TOWER | 6 |
| FUEL PUMP DELTIC | WATT DELTIC CELL | 6 |
| NAPIER DELTIC DIESEL ENGINE | WATT DELTIC CELL | 6 |
| BREAKER UNIT SSK VALENTA | WATT DSL | 6 |
| CONTROL PANE No 2 VENTURA | WATT DSL | 6 |
| CONTROL PANEL (6RPA) | WATT DSL | 6 |
| COOLANT TANK No2 VENTURA | WATT DSL | 6 |
| DIESO TANK (6RPA) No3 | WATT DSL | 6 |
| DIESO TANK No 1 VENTURA | WATT DSL | 6 |
| DIESO TANK No 2 VENTURA | WATT DSL | 6 |
| GENERATOR SSK VALENTA | WATT DSL | 6 |
| LOAD BANK CIRCUIT BREAKER | WATT DSL | 6 |
| TRANSFORMER 115V | WATT DSL | 6 |
| TRANSFORMER 24V | WATT DSL | 6 |
| TRASF RECT FOR VENTURA 3 | WATT DSL | 6 |
| TRASF RECT FOR VENTURA 3 | WATT DSL | 6 |
| WATCHKEEPING PANEL No 2 VENT | WATT DSL | 6 |
| COOLANT TANK (6RPA) | WATT DSL (6RPA) | 6 |
| LO PRIME PUMP (6RPA) | WATT DSL (6RPA) | 6 |
| AVR (FD12) | WATT DSL (FD12) | 6 |
| COOLANT TANK | WATT DSL (FD12/SSK VALENTA) | 6 |
| DIESO TANK | WATT DSL (FD12/SSK VALENTA) | 6 |
| STARTER COOL PUMP FODEN CELL | WATT DSL (FODEN CELL) | 6 |
| STARTER VHP36 FODEN CELL | WATT DSL (FODEN CELL) | 6 |
| SURV PANEL VHP36 FODEN CELL | WATT DSL (FODEN CELL) | 6 |
| COOLANT TANK No1 VENTURA | WATT DSL (No1 VENTURA) | 6 |
| LOCAL CONTROL PANEL 1 VENTURA | WATT DSL (No1 VENTURA) | 6 |
| W/K PANEL No1 VENTURA | WATT DSL (No1 VENTURA) | 6 |
| SWITCHBOARD | WATT DSL (No3 VALENTA) | 6 |
| DUMMY LOAD UNIT | WATT DSL (SSK VALENTA) | 6 |
| W.K PANEL SSK VALENTA | WATT DSL (SSK VALENTA) | 6 |
| CV 8 ROLLS ROYCE DIESEL ENGINE | WATT HANGAR | 6 |
| DIESO RU TANK | WATT DSL(ROLLS ROYCE) | 6 |
| FLOWLINE | WATT EBERS | 6 |
| FUEL PUMP TEST RIG | WATT EBERS | 6 |
| HIGH PRESSURE TEST PUMP | WATT EBERS | 6 |
| HYDRACLAMP | WATT EBERS | 6 |
| INJECTOR TESTER | WATT EBERS | 6 |
| INJECTOR TESTER | WATT EBERS | 6 |
| INJECTOR TESTER | WATT EBERS | 6 |
| INJECTOR TESTER | WATT EBERS | 6 |
| INJECTOR TESTER | WATT EBERS | 6 |
| INJECTOR TESTER | WATT EBERS | 6 |
| INJECTOR TESTER | WATT EBERS | 6 |
| INJECTOR TESTER | WATT EBERS | 6 |
| INJECTOR TESTER | WATT EBERS | 6 |
| NIPPLE FORMER | WATT EBERS | 6 |
| NOZZLE MULTICLEAN | WATT EBERS | 6 |
| PHASING & CALIBRATING MACHINE | WATT EBERS | 6 |
| POIP TESTER-3 | WATT EBERS | 6 |
| PUMP PHASING RIG | WATT EBERS | 6 |
| SPRING COMPRESSOR | WATT EBERS | 6 |
| UTRASONIC CLEANER | WATT EBERS | 6 |
| REFERENCE CALIBRATION PUMP | WATT EBERS SSK GEN | 6 |
| BRABY DISTILLING PLANT | WATT HANGAR |  |
| JIB CRANE SWL 500KG & CHAIN HOIST | WATT HANGAR | 6 |
| 0-10 KVA TRANSFORMER | WATT HANGAR | 6 |
| 0-10 KVA TRANSFORMER | WATT HANGAR | 6 |
| 15 KVA TRANSFORMER | WATT HANGAR | 6 |
| 2.5 KVA TRANSFORMER | WATT HANGAR | 6 |
| AVCAT TRANSFER PUMP STARTER | WATT HANGAR | 6 |
| CENTRIFUGAL PUMP WESTFALIA | WATT HANGAR | 6 |
| FLOOR CLEANER | WATT HANGAR | 6 |
| FRESH WATER TANK | WATT HANGAR | 6 |
| DIRTY OIL TANK | WATT HANGAR |  |
| FUEL TRANSFER PUMP | WATT HANGAR | 6 |
| FW PUMP STARTER | WATT HANGAR | 6 |
| GRINDING MACHINE D/E 8" | WATT HANGAR | 6 |
| HOT WATER PRESSURE UNIT | WATT HANGAR | 6 |
| HYDRA+B1025ULIC CRANE | WATT HANGAR | 6 |
| JIB CRANE | WATT HANGAR | 6 |
| JIB CRANE | WATT HANGAR | 6 |
| JIB CRANE | WATT HANGAR | 6 |
| LIFTING BEAM | WATT HANGAR | 6 |
| LOAD BANK | WATT HANGAR | 6 |
| LP AIR COMPRESSOR STARTER | WATT HANGAR | 6 |
| LP SEA WATER PUMP STARTER | WATT HANGAR UPPER AIR | 6 |
| LUB OIL TANK | WATT HANGAR | 6 |
| MAIN LUB OIL PUMP STARTER | WATT HANGAR | 6 |
| MILLING MACHINE | WATT HANGAR | 6 |
| OVERHEAD CRANE | WATT HANGAR | 6 |
| OVERHEAD CRANE | WATT HANGAR | 6 |
| OVERHEAD TRAVEL CRANE | WATT HANGAR | 6 |
| REMOTE CONTROL STATION | WATT HANGAR | 6 |
| STEEL WATER TANK | WATT HANGAR | 6 |
| T42 COMPENSATED TANK SIMULATOR | WATT HANGAR | 6 |
| TRANSFORMER RECTIFIER | WATT HANGAR | 6 |
| VAPOUR EXTRACTION SYSTEM | WATT HANGAR | 6 |
| INVERTER VARIABLE SPEED -COOLING TOWER FAN No 1 | WATT HANGAR | 6 |
| LUB OIL PRIME PUMP | WATT HANGAR | 6 |
| WR21 GAS TURBINE | WATT HANGAR | 6 |
| BATTERY CHARGER | WATT HANGAR BATTERY SHOP | 6 |
| BATTERY CHARGER | WATT HANGAR BATTERY SHOP | 6 |
| BATTERY CHARGER | WATT HANGAR BATTERY SHOP | 6 |
| LEV SYSTEM | WATT HANGAR BATTERY SHOP | 6 |
| FUEL INJECTION TEST BED | WATT HANGAR EBERS | 6 |
| FUEL PUMP TEST BENCH | WATT HANGAR EBERS | 6 |
| GOVERNOR TEST RIG | WATT HANGAR EBERS | 6 |
| INJECTOR MICROSCOPE | WATT HANGAR EBERS | 6 |
| HP AIR COMPRESSOR | WATT HANGAR FODEN CELL | 6 |
| AIR RECEIVER | WATT HANGAR GRAVEYARD | 6 |
| COOLING TOWER & PUMPS/MOTORS/EQUIPMENT | WATT HANGAR ICE TOWER | 6 |
| DIESEL LOAD RESISTER | WATT HANGAR O/S HANGAR | 6 |
| LEV SYSTEM | WATT HANGAR OBM SHOP | 6 |
| LEV SYSTEM | WATT HANGAR OBM SHOP | 6 |
| LEV SYSTEM | WATT HANGAR OBM SHOP | 6 |
| LEV SYSTEM | WATT HANGAR OBM SHOP | 6 |
| STANLEY AIR DRIVEN HAND DRILL | WATT HANGAR OBM SHOP | 6 |
| OUTBOARD MOTOR TEST TANK | WATT HANGAR OBM SHOP | 6 |
| FUEL TANK | WATT HANGAR OUTSIDE | 6 |
| FUEL TANK | WATT HANGAR OUTSIDE ICE | 6 |
| FUEL TANK | WATT HANGAR OUTSIDE SPEY | 6 |
| GANTRY 3TON | WATT HANGAR OUTSIDE HANGAR | 6 |
| RESISTANCE LOAD UNIT | WATT HANGAR OUTSIDE HANGAR | 6 |
| RESISTANCE LOAD UNIT | WATT HANGAR OUTSIDE HANGAR | 6 |
| RESISTANCE LOAD UNIT | WATT HANGAR OUTSIDE HANGAR | 6 |
| RESISTANCE LOAD UNIT | WATT HANGAR OUTSIDE HANGAR | 6 |
| RESISTANCE LOAD UNIT | WATT HANGAR OUTSIDE HANGAR | 6 |
| RESISTANCE LOAD UNIT | WATT HANGAR OUTSIDE HANGAR | 6 |
| LEV SYSTEM | WATT HANGAR OUTSIDE LAGGING SHOP | 6 |
| AIR RECEIVER | WATT HANGAR PP HOUSE | 6 |
| LP AIR COMPRESSOR | WATT HANGAR PP HOUSE | 6 |
| PAXMAN DIESEL CUBICLE | WATT HANGAR TEST CELL | 6 |
| HPAC TRI QUAD | WATT HANGAR TOP PLATFORM | 6 |
| CENTRE LATHE 6 1/2" | WATT HANGAR WORKSHOP | 6 |
| LEV SYSTEM | WATT LAGGING SHOP | 6 |
| ALFA LAVAL LUB OIL SEPERATOR | WATT LOWER PLATFORM | 6 |
| ALPHA LAVEL FUEL CENTRI FUGE | WATT LOWER PLATFORM | 6 |
| ALPHA LAVEL LUB OIL CENTRIFUGE | WATT LOWER PLATFORM | 6 |
| ALPHA LAVEL LUB OIL CENTRIFUGE | WATT LOWER PLATFORM | 6 |
| AUTO CLEAN STRAINER | WATT LOWER PLATFORM | 6 |
| HAMWORTHY LUB OIL PUMP | WATT LOWER PLATFORM | 6 |
| HAMWORTHY LUB OIL PUMP | WATT LOWER PLATFORM | 6 |
| HELICOPTER REFUELLING | WATT LOWER PLATFORM | 6 |
| MAIN PROPULSION GEAR BOX | WATT LOWER PLATFORM | 6 |
| TYNE PRIMARY GEARBOX | WATT LOWER PLATFORM | 6 |
| PAXMAN MARINE DIESEL ENGINE | WATT NO 02 VENTURA | 6 |
| HP AIR COMPRESOR | WATT NO 01 HPAC BAY | 6 |
| PAXMAN MARINE DIESEL ENGINE | WATT NO 01 VENTURA | 6 |
| MAINTENANCE TROLLEY | WATT OBM | 6 |
| MAINTENANCE TROLLEY | WATT OBM | 6 |
| MAINTENANCE TROLLEY | WATT OBM | 6 |
| MAINTENANCE TROLLEY | WATT OBM | 6 |
| MAINTENANCE TROLLEY | WATT OBM | 6 |
| MAINTENANCE TROLLEY | WATT OBM | 6 |
| TEST TANK 1 | WATT OBM | 6 |
| TEST TANK 2 | WATT OBM | 6 |
| TEST TANK 3 | WATT OBM | 6 |
| DOMINIC HUNTER LP AIR DRIER | WATT PUMP PLATFORM | 6 |
| FUEL BOOSTER PUMP 1 | WATT PUMP PLATFORM | 6 |
| FUEL BOOSTER PUMP 2 | WATT PUMP PLATFORM | 6 |
| FUEL BOOSTER PUMP 3 | WATT PUMP PLATFORM | 6 |
| FUEL BOOSTER PUMP 4 | WATT PUMP PLATFORM | 6 |
| SSS RG REVERSE OSMOSIS PLANT | WATT RO PLATFORM | 6 |
| PALL REVERSE OSMOSIS PLANT | WATT RO/EVAP PLATFORM |  |
| SSS REVERSE OSMOSIS PLANT QEC/LPD/T26 | WATT RO/EVAP PLATFORM |  |
| FRESH WATER PUMP TYPE 23 | WATT RO/EVAP PLATFORM | 6 |
| FRESH WATER PUMP TYPE 23 | WATT RO/EVAP PLATFORM | 6 |
| FRESH WATER PUMP TYPE 23 | WATT RO/EVAP PLATFORM | 6 |
| FRESH WATER PUMP TYPE 23 | WATT RO/EVAP PLATFORM | 6 |
| FRESH WATER PUMP TYPE 23 | WATT RO/EVAP PLATFORM | 6 |
| FRESH WATER PUMP TYPE 23 | WATT RO/EVAP PLATFORM | 6 |
| FRESH WATER PUMP TYPE 23 | WATT RO/EVAP PLATFORM | 6 |
| FRESH WATER PUMP TYPE 42 | WATT RO/EVAP PLATFORM | 6 |
| FRESH WATER PUMP TYPE 42 | WATT RO/EVAP PLATFORM | 6 |
| HYDROVANE LP AIR COMPRESSOR | WATT RO/EVAP PLATFORM |  |
| HYDROVANE LP AIR COMPRESSOR | WATT RO/EVAP PLATFORM |  |
| LP AIR COMPRESSOR | WATT RO/EVAP PLATFORM | 6 |
| FUEL TANK | WATT SE1 | 6 |
| PERKINS DIESEL ENGINE | WATT SMALL ENGINE BAY | 6 |
| PERKINS DIESEL ENGINE | WATT SMALL ENGINE BAY | 6 |
| PERKINS DIESEL ENGINE | WATT SMALL ENGINE BAY | 6 |
| PERKINS DIESEL ENGINE | WATT SMALL ENGINE BAY | 6 |
| PERKINS DIESEL ENGINE | WATT SMALL ENGINE BAY | 6 |
| PERKINS DIESEL ENGINE | WATT SMALL ENGINE BAY | 6 |
| PERKINS DIESEL ENGINE | WATT SMALL ENGINE BAY | 6 |
| PERKINS DIESEL ENGINE | WATT SMALL ENGINE BAY | 6 |
| PERKINS DIESEL ENGINE | WATT SMALL ENGINE BAY | 6 |
| HEAT EXCHANGER WORK BENCH X3 | WATT STEAM PLATFORM | 6 |
| HYDRAULIC PRESSURE TEST RIG | WATT STEAM PLATFORM | 6 |
| LP STEAM TRAINING RIG | WATT STEAM PLATFORM | 6 |
| VOSPER THORNY CROFT SHIPS STEERING SET | WATT STEERING | 6 |
| PAXMAN VELENTA DIESEL ENGINE | WATT T23 VALENTA | 6 |
| HALE HAMILTON HP AIR TRAINING BAY | WATT TOP PLATFORM | 6 |
| HALE HAMILTON HP AIR TRAINING BAY | WATT TOP PLATFORM | 6 |
| HALE HAMILTON HP AIR TRAINING BAY | WATT TOP PLATFORM | 6 |
| HALE HAMILTON HP AIR TRAINING BAY | WATT TOP PLATFORM | 6 |
| HAMWORTHY CENT WATER Pp | WATT TOP PLATFORM | 6 |
| HAMWORTHY CENT WATER Pp | WATT TOP PLATFORM | 6 |
| TYPE 23 LP SALT WATER PUMP | WATT TOP PLATFORM | 6 |
| DIESEL CONTROL PANEL TYPE 23 | WATT TYPE 23 CELL | 6 |
| DIESEL TANK TYPE 23 | WATT TYPE 23 CELL | 6 |
| VOLVO DIESEL ENGINE PENTA D13B | WATT HANGAR |  |
| RICARDO DIESEL ENGINE | WATT SMALL ENGINE BAY |  |
| RICARDO DIESEL ENGINE | WATT SMALL ENGINE BAY |  |
| FREQUENCY CONVERTER 750 KW PILLAR No1 | WATT HANGAR (NEWCOMEN) |  |
| FREQUENCY CONVERTER 750 KW PILLAR No2 | WATT HANGAR (NEWCOMEN) |  |
| DYNAMOMETER DPY7 | WATT HANGAR |  |
| DYNAMOMETER DPY6 | WATT HANGAR |  |
| DYNAMOMETER DPY8 CV8 | WATT HANGAR |  |
| DYNAMOMETER DPY6 | WATT HANGAR |  |
| DYNAMOMETER DPYR8 DELTIC | WATT HANGAR |  |

LIST OF FUTURE EQUIPMENT AWAITING INSTALLATION(CURRENTLY KNOWN).

WARTSILA WL20 DIESEL GENERATOR

MTU MV4000 DIESEL GENERATOR

REVERSE OSMOSIS PLANT

OILY WATER SEPERATOR

ASTUTE  CW PLANT

LV TRAINING EQUIPMENT

MT 30 EMULATOR INSTALL

QEC SIM AND CLASSROOM INSTALL

RAPER CALSSROOM INSTALL

GENERATOR LOAD BANK