To inform the potential competitive tendering of an electrocardiogram (ECG) and ambulatory blood pressure monitoring (ABPM) service for NHS Croydon Clinical Commissioning Group

NHS Croydon Clinical Commissioning Group (Croydon CCG) is engaging on proposals to procure a community-based ECG and ABPM service.It is anticipated that the contract would be for an initial period of 3 years with the option to extend for 2 further years.

This draft service specification requires the delivery of the following tests for Croydon CCG’s GP-registered patient population, where they are requested directly by Croydon's general practices:

1. Resting 12 lead electrocardiogram (‘12-lead ECG’)

2. Ambulatory electrocardiogram - 24 hour and continuous (‘Ambulatory ECG’)

3. Ambulatory Blood Pressure Monitoring (‘ABPM’)

This draft service specification sets out to:

- Specify an expert diagnostic service, delivering ECG and ABPM investigations and the reporting and interpretation of these tests, where they are directly requested by Croydon general practices.

- Ensure that the provision of the ECG and ABPM tests are conducted consistently and effectively through a set of agreed core standards, performance indicators and reporting arrangements.

- Specify the broad model the CCG would want the provider/s to deliver

The service must provide Croydon GPs with sufficient capacity to deliver all 12-lead ECGs, ambulatory ECGs and ABPM requested by them, delivered in community settings (ideally primary care settings) brining care closer to patient's homes.

The required service provision to deliver the tests (12-lead ECG, Ambulatory ECG and ABPM) involves three distinct but interlocking 'elements' that must be delivered:

1. 'Patient delivery': Managing patients appointments and responsible for setting up devices and removing them from the patient. General practices will then utilise the results to form a clinical diagnosis after receipt of interpretative reports.

2. 'Equipment': Providing equipment, training, consumables and appropriate support in the use of these.

3. 'Interpretation': Providing interpretation of the test results and associated written diagnostic reports.

The draft specification does not mandate a specific way of delivering this model. However, it is specified that ‘equipment’ and ‘interpretation’ must be delivered by the same provider. Interpretation may be delivered off-site via telemedicine, for example by the provider of the ‘patient delivery’ element setting up the device with the patient in a primary care setting, then sending the data to the ‘interpretation’ provider who provides a diagnostic report back to the patients general practice for clinical diagnosis.

Diagnostic ‘hubs’:

- The provider of the ‘patient delivery’ element of the service will establish cardiac diagnostic ‘hubs’ in community settings, ideally primary care settings, that deliver ECG and ABPM tests (12-lead ECG, Ambulatory ECG and ABPM) requested by Croydon general practices. ‘Hubs’ will be situated across Croydon based on need and accessibility.

- The provider of ‘equipment’ and ‘interpretation’ will provide a service for the delivery of those elements in the hubs, for 12-lead ECG, Ambulatory ECG and ABPM.

Standalone’ GPs (TBC):

- The provider/s of the ‘equipment’ and ‘interpretation’ elements of the service will provide a service for the delivery of 12-lead ECGs in all individual general practices (‘standalone practices’), in addition to hubs. Ambulatory ECG and ABPM will not be provided in ‘standalone’ practices.

- The delivery of the ‘Patient Support’ element in ‘standalone practices’ for 12-lead ECGs is to be confirmed (TBC). This is currently provided through a local incentive scheme (LIS) with Croydon general practices.

Please find below draft indicative unit costs for the service. Please note that these do not constitute a call for competition and are indicative only, not confirmed, and are subject to further review:

| Test Type | Service element (please see description above) | Unit cost (indicative, excl. VAT) | Forecast activity (per annum) |
| --- | --- | --- | --- |
| Static Simple ECG - e.g. 12 Lead | ‘Patient delivery' - Managing patient appointments, setting up/removing from patient etc. | £10.50 | TBC |
|  | ‘Interpretation' | £19.00 | 11000 tests |
|  | ‘Equipment': Machine - cost per annum per machine, rented | £200.00 | 63 machines |
|  | ‘Equipment': Electrodes/other consumables - cost per test | £1.40 | 11000 tests |
| Ambulatory ECG - 24 Hour | ‘Patient delivery' - Managing patient appointments, setting up/removing from patient etc. | £14.50 | 2150 tests |
|  | ‘Interpretation' | £30.00 | 2150 tests |
|  | ‘Equipment': Machine - cost per annum per machine, rented | TBC | 21 machines |
|  | ‘Equipment': Electrodes/other consumables - cost per test | £1.40 | 2150 tests |
| Ambulatory ECG - Continuous | ‘Patient delivery' - Managing patient appointments, setting up/removing from patient etc. | £14.50 | 40 tests |
|  | ‘Interpretation' | £75.00 | 40 tests |
|  | ‘Equipment': Machine - cost per annum per machine, rented | TBC | Incl. in Ambulatory ECG equipment |
|  | ‘Equipment': Electrodes/other consumables - cost per test | £1.40 | 40 tests |
| Ambulatory Blood Pressure Monitoring (ABPM) | ‘Patient delivery' - Managing patient appointments, setting up/removing from patient etc. | £12.50 | 2400 tests |
|  | ‘Interpretation' |  | 2400 tests |
|  | ‘Equipment': Machine - cost per annum per machine, rented | TBC | 21 machines |

Before deciding whether to commence a procurement process, the CCG wishes to undertake market sounding on this proposed model and therefore would welcome the views of providers on the questions set out below:

We would like to receive feedback on the following areas and any other comments that you may have. Organisations will have the opportunity to ask clarification questions on the specification that may be developed if the procurement process is undertaken.

Which service element are you interested in: 1. 'Patient delivery': Managing patients appointments and responsible for setting up devices and decommissioning (definition: removal of the device from the patient) of devices for monitoring. General practices will then utilise the results to form a clinical diagnosis after receipt of interpretative reports. 2. 'Equipment and interpretation': Providing equipment, training, consumables and appropriate support in the use of these. Providing interpretation of the diagnostic test results and providing associated written diagnostic reports. 3. Both

What would be your general level of interest in bidding to provide such a service?

Would you be able to provide the service at the price described above? If not, what would be a potentially viable price? What would you advise is a reasonable price for ambulatory ECG and ABPM equipment, rent and separately purchase?

The service requires close working between different parts of the health system, and potentially different providers. Do you think the service specification clearly defines roles of responsibilities, and are there any parts of the specification you would suggest require more detail?

What would you see as the key delivery challenges in delivering the proposed service?

What mobilisation time do you think would be required?

Do you have any other comments about the proposed service?

Please provide details of your organisation and your contact details should we wish to contact you to discuss the above or any other points further

We would be grateful if responses to these questions could be submitted to Greg Reide at greg_reide@nhs.net by 5pm on 8th March 2017.

Please note:

Interested parties will not be prejudiced by any response or failure to respond to this soft market testing/sounding exercise and a response to this notice does not guarantee any invitation to participate in any future public procurement process that the Commissioning Authority may conduct.

This notice does not constitute a call for competition to procure any services for the Commissioning

Authority and the Commissioning Authority is not bound to accept any proposals offered. The

Commissioning Authority is not liable for any costs, fees or expenses incurred by any party participating in the soft market testing/sounding exercise. Any procurement of any services by the Commissioning Authority in due course will be carried out strictly in accordance with the provisions of the Public Contracts Regulations.

Any responses provided will not be treated as commercially confidential and may be used by the

Commissioning Authority in the final service specifications used for the contracts but no organisation will be individually identified.