Specification:

- Contract cover – 3 year Comprehensive cover with one annual service visit, unlimited call-outs

- Equipment – 2x Iradimed Infusion Pumps

| Location | Equipment | S/N |
| --- | --- | --- |
| CRF Outpatients | Iradimed Infusion Pump 3860+ | IR60101802 |
| CRF Outpatients | Iradimed Infusion Pump 3860+ | IR60101801 |
| CRF Outpatients | Iradimed Remote 3865 | IR65100948 |
| CRF Outpatients | Iradimed Remote 3865 | IR65100947 |
| CRF Outpatients | Iradimed Side Cart 3861 | IR61100837 |

- Location – King’s Clinical Research Facility Outpatients

- Software upgrades and remote diagnostics included

- Coverage Times – please confirm

- Response Times – please confirm

- Call-Out Fees – please confirm

- Cancellation Terms – please confirm

- Payment Terms – please confirm

- EST performed at service