Invitation to Tender for:

HNDU: Heat Network Electricity Revenues Guidance

Tender Reference Number: 1241/11/2016

Deadline for Tender Responses 14th December 2016

Department for Business, Energy & Industrial Strategy

Date: 22nd November 2016

The Department for Business, Energy & Industrial Strategy (“BEIS”) wishes to commission a project to provide HNDU: Heat Network Electricity Guidance

Enclosed are the following sections:

- Section 1 (page 3) 	Instructions on tendering procedures

- Section 2 (page 7) 	Specification of requirements

- Section 3 (page 20)	Further information on tendering procedure

- Section 4 (page 23)  	Declarations and information to be provided;

          - Statement of Non-Collusion

          - Form of Tender

          - Conflict of Interest

          - Questions for tenderers

- Annex A: Pricing schedule

Please register your interest in submitting a tender for this project by emailing hndu@decc.gsi.gov.uk. This will ensure you receive immediate notification of updates to the ITT process or answers to questions raised by potential bidders.

Please read the instructions on the tendering procedures carefully since failure to comply with them may invalidate your tender. Your tender must be returned by 12:00 14th  December clearly marked as “TENDER HNERG”.

I look forward to receiving your response.

Yours sincerely,

Neil Smillie

HNDU BEIS

Section 1

Instructions and Information on Tendering Procedures

Invitation to Tender for HNDU: Heat Network Electricity Revenues Guidance

Tender Reference Number: 1241/11/2016

Deadline for Tender Responses: 14th December 2016

Contents

A.	Indicative Timetable	4

B.	Procedure for Submitting Tenders	4

C.	Conflict of Interest	5

D.	Evaluation of Responses	6

E.	Terms and conditions applying to this Invitation to Tender	6

F.	Further Instructions to Contractors	6

G.	Checklist of Documents to be Returned	6

# Indicative Timetable

The anticipated timetable for this tender exercise is as follows.  BEIS reserves the right to vary this timetable. Any variations will be published on contracts finder or circulated to all organisations who have registered an interest in notifications.

| Tender Timeline | Date |
| --- | --- |
| Advert and full invitation to tender issued | 22/11/16 |
| Deadline for questions relating to the tender | 02/12/16 |
| Responses to questions published | 06/12/16 |
| Deadline for receipt of tender | 14/12/16 |
| All suppliers alerted of outcome | w/c 19/12/16 |
| Contract award on signature by both parties | w/c 02/01/17 |
| Contract start date | w/c 02/01/17 |

The contract is to be for a maximum period of 4 months unless terminated or extended by the Department in accordance with the terms of the contract.  There will be a break-point upon production of satisfactory drafts at the end of February, upon acceptance of satisfactory drafts the project will re-commence.

# Procedure for Submitting Tenders

The maximum page limit for tenders is 20 pages (excluding cover, contents pages, CV’s, pricing schedules and declarations).

Please send copies of your tender (with scanned attachments of sections where signatures are required) by 12:00 14thth of December to hndu@decc.gsi.gov.uk.

For questions regarding the procurement process please contact us via our team inbox at hndu@decc.gsi.gov.uk.

Tenders will be received up to the time and date stated. Please ensure that your tender is delivered not later than the appointed time on the appointed date. The Department does not undertake to consider tenders received after that time. The Department requires tenders to remain valid for a period indicated in the specification of requirements.

BEIS shall have the right to disqualify you from the procurement if you fail to fully complete your response, or do not return all of the fully completed documentation and declarations requested in this ITT.  BEIS shall also have the right to disqualify you if it later becomes aware of any omission or misrepresentation in your response to any question within this invitation to tender. If you require further information concerning the tender process, or the nature of the proposed contract, email hndu@decc.gsi.gov.uk.

You will not be entitled to claim from the Department any costs or expenses that you may incur in preparing your tender whether or not your tender is successful.

# Conflict of Interest

The Department’s standard terms and conditions of contract include reference to conflict of interest and require contractors to declare any potential conflict of interest to the Secretary of State.

For research and analysis, conflict of interest is defined as the presence of an interest or involvement of the contractor, subcontractor (or consortium member) which could affect the actual or perceived impartiality of the research or analysis.

Where there may be a potential conflict of interest, it is suggested that the consortia or organisation designs a working arrangements such that the findings cannot be influenced (or perceived to be influenced) by the organisation which is the owner of a potential conflict of interest. For example, consideration should be given to the different roles which organisations play in the research or analysis, and how these can be structured to ensure an impartial approach to the project is maintained.

The process by which this will be managed in the procurement process is as follows:

- During the bidding process, organisations may contact BEIS to discuss whether or not their proposed arrangement is likely to yield a conflict of interest. Any responses given to individual organisations or consortia will be published on contract finder (in a form which does not reveal the questioner’s identity). Any organisation thinking of submitting a bid, should share their contact details with the staff member responsible for this procurement, to ensure they receive an update when any responses to questions are published.

- Contractors are asked to sign and return Declaration 3 (page 26) to indicate whether or not any conflict of interest may be, or be perceived to be, an issue. If this is the case, the contractor or consortium should give a full account of the actions or processes that it will use to ensure that conflict of interest is avoided. In any statement of mitigating actions, contractors are expected to outline how they propose to achieve a robust, impartial and credible approach to the research.

- When tenders are scored, this declaration will be subject to a pass/fail score, according to whether, on the basis of the information in the proposal and declaration, there remains a conflict of interest which may affect the impartiality of the research.

Failure to declare or avoid conflict of interest at this or a later stage may result in exclusion from the procurement competition, or in the Department exercising its right to terminate any contract awarded.

# Evaluation of Responses

The tender process will be conducted to ensure that bids are evaluated fairly and transparently, in accordance with agreed assessment criteria.  Further details are provided in the specification.

# Terms and conditions applying to this Invitation to Tender

The Department’s Standard Terms and Conditions of Contract will apply to this contract.  These can be downloaded from Contracts Finder.

# Further Instructions to Contractors

The Department reserves the right to amend the enclosed tender documents at any time prior to the deadline for receipt of tenders. Any such amendment will be numbered, dated and issued by 9th December 2016. Where amendments are significant, the Department may at its discretion extend the deadline for receipt of tenders.

The Department reserves the right to withdraw this contract opportunity without notice and will not be liable for any costs incurred by contractors during any stage of the process. Contractors should also note that, in the event a tender is considered to be fundamentally unacceptable on a key issue, regardless of its other merits, that tender may be rejected. By issuing this invitation the Department is not bound in any way and does not have to accept the lowest or any tender and reserves the right to accept a portion of any tender unless the tenderer expressly stipulates otherwise in their tender.

# Checklist of Documents to be Returned

- Proposal (maximum 20 pages)

- CVs

- Annex A – pricing schedule

- Declaration 1: Statement of non-collusion

- Declaration 2: Form of Tender

- Declaration 3: Conflict of Interest

Section 2

Specification of Requirements

Invitation to Tender for HNDU: Heat Network Electricity Revenues Guidance

Tender Reference Number: 1241/11/2016

Deadline for Tender Responses: 14th December 2016

Contents

1.	Introduction and summary of requirements	8

2.	Background	9

3.	Project requirements	10

4.	Methodology	11

5.	Outputs Required	12

6.	Ownership and Publication	13

7.	Quality Assurance	14

8.	Timetable	14

9.	Challenges	15

10.	Working Arrangements	15

11.	Required Skills	15

12.	Consortium Bids	15

13.	Budget	16

14.	Evaluation of Tenders	16

# Introduction and summary of requirements

The Heat Networks Delivery Unit (HNDU) in the Department for Business, Energy and Industrial Strategy (BEIS) was established in 2013 to provide support (grant funding and guidance) to Local Authorities in England and Wales in the development of heat network projects.

HNDU is currently supporting over 200 projects across 131 Local Authority project sponsors through the stages of heat mapping, energy masterplanning, techno-economic feasibility, detailed project development and commercialisation. Through this work, the specialists within the unit support the project sponsor to ensure any heat network opportunities have been technically and economically optimised, including maximising possible revenues of the scheme.

Many of the projects in development have identified gas (and other cogeneration fuel sources) Combined Heat and Power (CHP) as providing the most economically viable energy supply solution due to the revenues associated with electricity generation. The financial performance of a network can often be substantially increased if a more favourable value for the output of small scale electricity generation can be achieved when compared to a baseline position of export to grid through a power purchase agreement PPA.

The desired outcome of this piece of work is to enable heat network projects to better understand the full range of potential revenues available to them from electricity sales and associated services. The Guidance will look at the financial impact to projects of using these various revenue options. Present opportunities for optimisation against the various options to maximise positive financial impact and improve scheme viability. Identify all steps required to be undertaken by all relevant parties necessary to ensure these revenues can be secured. In so doing Project Sponsors will be enabled to identify how best to accrue the full potential benefit offered by their proposed scheme and become more investable.

The desired outputs of this piece of work are:

- Comprehensive guidance (interim , draft, final draft, final) primarily aimed at Local Authority project sponsors (but with wider heat network applicability) which responds to the aims and objectives outlined in the Project Requirements (including user-friendly flow charts to indicate the potential routes to achieve higher revenues from electricity)

- Updated Heads of Terms (interim, draft, final draft, final) to reflect the identified electricity revenue generation scenarios

- Meetings (to include inception and presentation of progress) aligned with written outputs

- 1 additional presentation to external stakeholders upon publication of guidance

# Background

‘The Future of Heating: Meeting the Challenge’ (published in March 2013) identified the role of heat networks in contributing the decarbonisation of heat in the UK, along with contributing to local and national targets and aspirations for fuel poverty, regeneration, local jobs and growth and energy bill reduction.

The strategy recognised Local authorities as having a vital role in developing heat networks; as sponsor, pivotal heat customer, heat source, planning authority and relationship brokers. Recognising the capacity and capability challenges which Local Authorities identified as barriers to heat network deployment in the UK, the Heat Networks Delivery Unit (HNDU) in the Department for Business, Energy and Industrial Strategy (BEIS) was established in 2013 to provide support (grant funding and guidance) to Local Authorities in England and Wales in the development of heat network projects.

HNDU is currently supporting over 200 projects across 131 Local authorities through the stages of heat mapping, energy masterplanning, techno-economic feasibility, detailed project development and commercialisation. Through this work, the specialists within the unit support the project sponsor to ensure any heat network opportunities have been technically and economically optimised, including maximising possible revenues of the scheme.

In addition to supporting Local Authority projects, HNDU is also focused on removing barriers and supporting robust and appropriate heat network development. This proposed guidance looks to expand on previously completed Detailed Project Development Guidance where it was identified that there is a need for a specialised piece of guidance that will help address some of the more complex aspects of the Electricity markets in relation to improving electricity revenues.

This proposed work will continue to build capability in the heat network market, help improve and secure revenues which support the development of heat networks and enable a greater number of projects to progress through to investment, either independently or with capital support from the Heat Network Investment Project

# Project Requirements

The aim of this work is to create a document that can be easily navigated to specific topics and help to inform project officers in Local Authorities. This document should:

- Identify the full range of potential revenue streams which can be secured through power generation (cogenerated with heat) and the steps required to put them in place, including but not limited to:

    - Export onto the DNO network and power is sold to market off-taker

    - Export onto the DNO network and power supplied to local consumer under license lite, white label etc

    - Export onto the DNO network and power supplied to local consumer

    - Private wire to local consumer

    - Self-supply

- Distinguish the ability for revenue streams to be secured through supply to different customer types covering both domestic and non-domestic scenarios

- Detail the financial benefits to a heat network project of securing each identified revenue stream in 3a

- Provide indicative cost areas and likely costs associated with each identified revenue stream in 3a (costs associated with the physical installation of infrastructure required under each revenue stream and ongoing maintenance should be developed and expressed).

- Detail all legislation, statutory requirements or contractual arrangements which either promote or prohibit a projects ability to secure each revenue stream in part or in full.

    - identify existing relevant guidance on the electricity market

    - examine anomalies within guidance which constrains a project sponsor from maximising revenue under each of the streams identified in 3a

    - make recommendations as to any changes which would support a project sponsors ability to secure these revenues and improve the economics of heat networks

- Utilising commercial structures produced in BEIS Detailed Project Development, identify the opportunities or limitations on the revenue streams identified in 3a encompassing:

    - supply and distribution class exemptions and opportunities / risks

    - an explanation of how unbundling could impact the allocation of profits and any opportunities / risks

- Ensure clear guidance is provided as to any impact on ability to secure revenue due to vertical integration and/or size of generation / export

- Establish and describe the process required for a project sponsor to secure each revenue stream including tasks required, likely time scales, dependencies and any unknowns

- Identification and gap analysis of areas where revenue could be further optimised such as through integration with the wider energy system (e.g. TRIAD, STOR, Capacity Market, fast frequency response, power storage, grid balancing and demand side response, etc) and/or avoided costs or charges associated with development and ongoing operation of contracts

- Further tailor the Heads of Terms documents related to electricity supply including:

    - Details of negotiating Power Purchase Agreement (PPA) and assist with the identification of what should be within the terms and conditions.

    - Highlight the risks associated with differing agreements and the risks when selling to third parties of differing types.

    - Guidance on the assessment of customer financial standing (e.g. an acceptable financial covenant to stand behind a PPA).

- Highlight future opportunities and risks to these revenue streams

- Provide examples of best practice approaches which have been successfully delivered including but not limited to:

    - The use of PPAs in the past and how these could be used in the future to supply different types of customers.

    - The case studies will look at several different types of PPA and how differing sizes of project can interact within this market

# Methodology

Bidders are requested to submit a methodology and approach that they believe will meet the requirements of this specification. Bidders are requested to provide a methodology that demonstrates their extensive expertise with the contracts and revenue routes heat networks can use to increase revenues from electrical sales

## General notes on methodology:

- Please provide an approach to research for this project that will substantiate the Guidance.

- Please provide a Quality Assurance plan, including details of who will sign-off the outputs and their role within the contractor’s organisation; and approach to dealing with issues of concern raised by HNDU in a timely and efficient manner.

- The Guidance is expected to make use of best practice and case studies as helpful examples.

- The advantages and disadvantages of each revenue route should be presented.

- The objectives of the network sponsor should be the defining factor when a particular route is selected.

# Outputs required

- Comprehensive Guidance (interim, draft and final) aimed at Local Authority project sponsors (but with wider applicability to heat network project sponsors) which details and responds to the aims and objectives outlined in the Project Requirements (including simple flow charts to indicate the potential routes to achieve higher revenues from electricity)

- Internal and Executive summary and recommendations

- Updated Heads of Terms (interim draft, and  final) to reflect the identified electricity revenue generation scenarios

- Three Meetings (to include inception and presentation of progress) aligned with written outputs plus one meeting as a contingency

- 1 additional presentation to external stakeholders upon publication of guidance

# Format

As this document should be easily navigated and understood by Local Authorities, all terms of a specialist nature within the electricity industry should be outlined and detail given to the meanings.

The final Guidance document output will be available to local authorities via Huddle (an online collaboration platform used by HNDU-supported local authorities). BEIS HNDU ultimately plans to publish this guidance alongside other DPD guidance; enabling it to be of benefit to the wider UK Heat Network supply chain.

# PPM requirements

- Agreed plan for the project including proposed outputs, methodology and resource plan, with any subsequent changes to be agreed with BEIS and incorporated into the plan if required

- This includes, but is not limited to:

- Email updates of an agreed weekly frequency;

- Regular meetings with HNDU and potentially other BEIS colleagues undertaking other initiatives, to ensure consistency of work and quality.

- Risks and issues register

- Delivery of interim outputs by 30th of January 2017

- Delivery of draft outputs by 27th of February 2017

- Delivery of final outputs by 31st of March 2017

All outputs will need to be agreed with and approved by the HNDU at the project kick-off meeting.

# Sources of information to be supplied by the HNDU:

- BEIS HNDU Detailed Project Development: Business Case Guidance

- Previously funded HNDU work on Licence Lite

# Ownership and Publication

BEIS is committed to openness and transparency. All outputs listed in section 5 (with the exception of any internal project planning documentation) should be accessible, non-disclosive and suitable for publication and further use. The exceptions to this are where:

- The intellectual property rights to an output (or part of an output) is owned by someone other than the contractor. Contractors should state in their tender where they know this to be the case and indicate whether the third party copy righted materials can be redacted.

- Data is commercial in confidence

Unless the above exceptions have been stated in a proposal, all outputs from the project will be assumed to be owned by BEIS. The outputs, raw data and tools developed in the research cannot therefore be used for contractors for purposes other than our work.

# Non-disclosure

All outputs must be provided to BEIS in a format that is non-disclosive (i.e. no individuals or individual organisations are identifiable from any data or analysis, directly or indirectly), unless the specification states otherwise. The contractor is responsible for ensuring that any data is supplied in this form alongside a report on the checks made. A minimum standard for checking includes cell counts within sub-groups for all outputs and analysis. The contractor will be asked to agree their approach to checking for disclosure with BEIS during the course of the contract, before the checks are carried out. Where any data or analysis is found to be disclosive during checking, the contractor will be required to suggest an approach or approaches to aggregate the analysis and to agree this with BEIS.

# Quality Assurance

All outputs need to be approved by HNDU. BEIS reserves the right to refuse to sign off outputs which do not meet the required standard specified in the brief.

The successful bidder will be responsible for any work supplied by sub-contractors and should therefore provide assurance that all work in the contract is quality assured by the contractor prior to being sent to HNDU.

The consultant is expected to demonstrate relevant experience in producing high quality reporting. Contactors must supply a quality assurance plan detailing who will be responsible for signing off and quality assuring content before it is sent to BEIS.

# Timetable

Tender closure Date; 14th of December

| Milestone | Date | Comment |
| --- | --- | --- |
| ITT open | 22/11/16 |  |
| Deadline for questions relating to the tender | 02/12/16 | Noon |
| Responses to questions published | 06/12/16 |  |
| Deadline for receipt of tender | 14/12/16 | Noon |
| All suppliers alerted of outcome | w/c 19/12/16 |  |
| Contract award | w/c 02/01/17 |  |
| Contract signing | w/c 02/01/17 |  |
| Kick-off meeting | w/c 02/01/17 |  |
| Interim outputs | w/c 30/01/17 |  |
| Draft outputs | w/c 27/02/17 |  |
| Final outputs | w/c 31/03/17 |  |

# Challenges

The project is subject to challenging timeframes. The contractor is expected to employ effective project management techniques and deploy a flexible team to ensure outputs can be delivered to timeframe.

The contractor will need to demonstrate its readiness to start the work immediately after being awarded the contract.

# Working Arrangements

The successful contractor will be expected to identify one named point of contract through whom all enquiries can be filtered. A BEIS project manager will be assigned to the project and will be the central point of contact:

# Skills and experience

BEIS would like you to demonstrate that you have the experience and capabilities to undertake the project. Your tender response should include a summary of each proposed team members experience and capabilities.

Contractors should propose named members of the project team, and include the tasks and responsibilities of each team member. This should be clearly linked to the work programme, indicating the grade/ seniority of staff and number of days allocated to specific tasks.

Contractors should identify the individual(s) who will be responsible for managing the project.

# Consortium Bids

In the case of a consortium tender, only one submission covering all of the partners is required but consortia are advised to make clear the proposed role that each partner will play in performing the contract as per the requirements of the technical specification.  We expect the bidder to indicate who in the consortium will be the lead contact for this project, and the organisation and governance associated with the consortia.

Contractors must provide details as to how they will manage any sub-contractors and what percentage of the tendered activity (in terms of monetary value) will be sub-contracted.

If a consortium is not proposing to form a corporate entity, full details of alternative proposed arrangements should be provided in the Annex. However, please note the Department reserves the right to require a successful consortium to form a single legal entity in accordance with Regulation 28 of the Public Contracts Regulations 2006.

The Department recognises that arrangements in relation to consortia may (within limits) be subject to future change. Potential Providers should therefore respond in the light of the arrangements as currently envisaged. Potential Providers are reminded that any future proposed change in relation to consortia must be notified to the Department so that it can make a further assessment by applying the selection criteria to the new information provided.

# Budget

The budget for this project is £30,000 to £50,000 Excluding VAT.

Contractors should provide a full and detailed breakdown of costs. This should include staff (and day rate) allocated to specific tasks. The proposed price for output (Guidance & annex) should be presented as one.

Cost will be a criterion against which bids which will be assessed (see ‘Pricing Evaluation’ below).

Payments will be linked to delivery of key milestones.  The indicative milestones and phasing of payments is as follows:

| Payment | Milestone | Split |
| --- | --- | --- |
| 1st Payment | Sign off Interim Report | 25% |
| 2nd Payment | Receipt Draft Report | 25% |
| 3rd Payment | Sign off Final Report | 50% |

This can be adjusted and agreed with the contractor based on the tender response/details.  Please advise in your tender response how this breakdown reflects your usual payment processes.

In submitting full tenders, contractors confirm in writing that the price offered will be held for a minimum of 60 calendar days from the date of submission.  Any payment conditions applicable to the prime contractor must also be replicated with sub-contractors.

The Department aims to pay all correctly submitted invoices as soon as possible with a target of 10 days from the date of receipt and within 30 days at the latest in line with standard terms and conditions of contract.

# Evaluation of Tenders

Contractors are invited to submit full tenders of no more than 20 pages, excluding cover, contents pages, CV’s and declarations. Tenders will be evaluated by a panel of at least 3 that will include BEIS officers and external experts.

BEIS will select the bidder that scores highest against the criteria and weighting listed below:

- Conflict of interest: pass/fail. See page 5 of the ITT for further information.

EVALUATION CRITERIA AND SCORING METHODOLOGY

Tenders will be evaluated against the criteria in the below table:

| #### Criterion | #### Description | #### Weighting |
| --- | --- | --- |
| 01 | Quality of Tender 01 | 70% |
| 01a | 01a Approach – (35%) Further sub-criteria: • Demonstrates a clear understanding of BEIS aims, objectives, and guidance scope (15%) • Provision of a detailed, robust and credible methodology to meet these requirements (10%) • Provision of robust, credible information demonstrating recent and relevant experience of Heat Networks and how work produced was useful to Local authorities and the sector (10%) |  |
| 01b | 01b Staff & Resources – (20%) Further sub-criteria: • Suitable provision of relevant details of named staff who will be allocated to deliver the scope of works including, name, position, CVs, specific project roles, key assigned tasks, hours, cost rates, costs, and specific relevant experience (15%) • Credible contingency proposals to ensure deliverability of the proposed programme to timescale and budget in the event of loss or absence of staff (5%) |  |
| 01c | 01c Project& programme management – (15%) Further sub-criteria: • Clearly presented information on complex subjects, robust, and credible proposals for the project management and quality assurance approach to be adopted (10%) • Provision of a credible and acceptable project programme (5%) |  |
| 02 | Price | 30% |
|  |  | 100% |

# Scoring Method

Tenders will be scored against each of the criteria above, according to the extent to which they meet the requirements of the tender. The meaning of each score is outlined in the table below.

The total score will be calculated by applying the weighting set against each criterion, outlined above; the maximum number of marks possible will be 100.  Should any contractor score 1 in any of the criteria, they will be excluded from the tender competition.

| Score | Description |
| --- | --- |
| 1 | Not Satisfactory: Proposal contains significant shortcomings and does not meet the required standard |
| 2 | Partially Satisfactory: Proposal partially meets the required standard, with one or more moderate weaknesses or gaps |
| 3 | Satisfactory: Proposal mostly meets the required standard, with one or more minor weaknesses or gaps. |
| 4 | Good: Proposal meets the required standard, with moderate levels of assurance |
| 5 | Excellent: Proposal fully meets the required standard with high levels of assurance |

Scoring for Pricing Evaluation

Price will be marked proportionate to the lowest price, with a maximum of 30 marks for price.

The lowest priced bid will receive the full 30marks, all other bids will then be marked as a proportionate of that cost, as per example below.

Marking will be proportionate to the lowest price, as set out below:

- There will be a maximum of 30 marks available in total for price.

- The lowest priced bid for will receive the full 30 all other bids will then be marked proportionately as per the following example:

| Supplier | Price | Marks |
| --- | --- | --- |
| 1 (lowest bid) | £30,000 | 30 |
| 2 | £40,000 | 30/40 * 30 = 22.5 |
| 3 | £50,000 | 30/50 * 30 = 18 |

# Structure of Tenders

Contractors are strongly advised to structure their tender submissions to cover each of the criteria above. Complete the price schedule attached at Annex A, specifying the daily rates (ex-VAT) you will charge for each level of your staff.

# Bid Clarification

The Department reserves the right to award the contract based on applicants’ written evaluation only if one candidate emerges from the evaluation stage as significantly stronger than the others.  BEIS may invite all suppliers for bid clarification if they feel bid clarification should be carried out.

# Feedback

Feedback will be given in the unsuccessful letters or emails.

Section 3

Further Information on Tender Procedure

Invitation to Tender for HNDU: Heat Network Electricity Revenues Guidance

Tender Reference Number: 1241/11/2016

Deadline for Tender Responses: 14th December 2016

Contents:

A.	Definitions	21

B.	Data security	21

C.	Non-Collusion	22

# Definitions

Please note that references to the "Department" throughout these documents mean The Secretary of State for Energy and Climate Change acting through his/her representatives in the Department for Energy & Industrial Strategy.

The Freedom of Information Act 2000 (“FOIA”) and the Environmental Information Regulations 2004 (“EIR”) apply to the Department.  You should be aware of the Department’s obligations and responsibilities under FOIA or EIR to disclose, on written request, recorded information held by the Department.  Information provided in connection with this procurement exercise, or with any contract that may be awarded as a result of this exercise, may therefore have to be disclosed by the Department in response to such a request, unless the Department decides that one of the statutory exemptions under the FOIA or the exceptions in the EIR applies.  If you wish to designate information supplied as part of this response as confidential, of if you believe that its disclosure would be prejudicial to any person’s commercial interests, you must provide clear and specific detail as to the precise information involved and explain (in broad terms) what harm may result from disclosure if a request is received, and the time period applicable to that sensitivity.  Such designation alone may not prevent disclosure if in the Department’s reasonable opinion publication is required by applicable legislation or Government policy or where disclosure is required by the Information Commissioner or the First-tier Tribunal (Information Rights).

Additionally, the Government’s transparency agenda requires that tender documents (including ITTs such as this) are published on a designated, publicly searchable web site.  The same applies to other tender documents issued by the Department (including the original advertisement and the pre-qualification questionnaire (if used)), and any contract entered into by the Department with its preferred supplier once the procurement is complete.  By submitting a tender you agree that your participation in this procurement may be made public.  The answers you give in this response will not be published on the transparency web site (but may fall to be disclosed under FOIA or EIR (see above)).  Where tender documents issued by the Department or contracts with its suppliers fall to be disclosed the Department will redact them as it thinks necessary, having regard (inter alia) to the exemptions/exceptions in the FOIA or EIR.

# Data security

The successful tenderer must comply with the Data Protection Act (DPA) 1998 and any information collected, processed and transferred on behalf of The Department, and in particular personal information, must be held and transferred securely. Contractors must provide assurances of compliance with the DPA and set out in their proposals details of the practices and systems they have in place for handling data securely including transmission between the field and head office and then to BEIS. Contractors will have responsibility for ensuring that they and any subcontractor who processes or handles information on behalf of The Department is conducted securely. The sorts of issues which must be addressed satisfactorily and described in contractors’ submissions include:

- procedures for storing both physical and system data;

- data back-up procedures;

- procedures for the destruction of physical and system data;

- how data is protected;

- data encryption software used;

- use of laptops and electronic removable media;

- details of person/s responsible for data security;

- policies for unauthorised staff access or misuse of confidential/personal data;

- policies for staff awareness and training of DPA;

- physical security of premises.

- How research respondents will be made aware of all potential uses of their     data.

# Non-Collusion

No tender will be considered for acceptance if the contractor has indulged or attempted to indulge in any corrupt practice or canvassed the tender with an officer of BEIS. Section 4 contains a "Statement of non-collusion" (declaration 1); any breach of the undertakings covered under items 1 - 3 inclusive will invalidate your tender.   If a contractor has indulged or attempted to indulge in such practices and the tender is accepted, then grounds shall exist for the termination of the contract and the claiming damages from the successful contractors. You must not:

- Tell anyone else what your tender price is or will be, before the time limit for delivery of tenders.

- Try to obtain any information about anyone else's tender or proposed tender before the time limit for delivery of tenders.

- Make any arrangements with another organisation about whether or not they should tender, or about their or your tender price.

Offering an inducement of any kind in relation to obtaining this or any other contract with the Department will disqualify your tender from being considered and may constitute a criminal offence.

Section 4

Declarations to be submitted by the Tenderer

Invitation to Tender for HNDU: Heat Network Electricity Revenues Guidance

Tender Reference Number: 1241/11/2016

Deadline for Tender Responses: 14th December 2016

Contents

Declaration 1: Statement of non-collusion	24

Declaration 2: Form of Tender	25

Declaration 3: Conflict of Interest	26

Declaration 4: Questions for tenderers	28

# Declaration 1: Statement of non-collusion

To: The Department for Business, Energy & Industrial Strategy

1.  We recognise that the essence of competitive tendering is that the Department will receive a bona fide competitive tender from all persons tendering.  We therefore certify that this is a bona fide tender and that we have not fixed or adjusted the amount of the tender or our rates and prices included therein by or in accordance with any agreement or arrangement with any other person.

2. We also certify that we have not done and undertake not to do at any time before the hour and date specified for the return of this tender any of the following acts:

- communicate to any person other than the Department the amount or approximate amount of our proposed tender, except where the disclosure, in confidence, of the approximate amount is necessary to obtain any insurance premium quotation required for the preparation of the tender;

- enter into any agreement or arrangement with any other person that he shall refrain for submitting a tender or as to the amount included in the tender;

- offer or pay or give or agree to pay or give any sum of money, inducement or valuable consideration directly or indirectly to any person doing or having done or causing or having caused to be done, in relation to any other actual or proposed tender for the contract any act, omission or thing of the kind described above.

3. In this certificate, the word “person” shall include any person, body or association, corporate or unincorporated; and “any agreement or arrangement” includes any such information, formal or informal, whether legally binding or not.

……………………………………………………………………………….….

Signature (duly authorised on behalf of the tenderer)

……….………………………………………………………………………….

Print name

…………………………………………………………….…………………….

On behalf of (organisation name)

…………………………………………………………………….…………….

Date

# Declaration 2: Form of Tender

To: The Department for Business, Energy & Industrial Strategy

1. Having considered the invitation to tender and all accompanying documents

(including without limitation, the terms and conditions of contract and the Specification) we confirm that we are fully satisfied as to our experience and ability to deliver the goods/services in all respects in accordance with the requirements of this invitation to tender.

2. We hereby tender and undertake to provide and complete all the services required to be performed in accordance with the terms and conditions of contract and the Specification for the amount set out in the Pricing Schedule.

3. We agree that any insertion by us of any conditions qualifying this tender or any unauthorised alteration to any of the terms and conditions of contract made by us may result in the rejection of this tender.

4. We agree that this tender shall remain open to be accepted by the Department for 12 weeks from the date below.

5. We understand that if we are a subsidiary (within the meaning of section 1159 of (and schedule 6 to) the Companies Act 2006) if requested by the Department we may be required to secure a Deed of Guarantee in favour of the Department from our holding company or ultimate holding company, as determined by the Department in their discretion.

6. We understand that the Department is not bound to accept the lowest or any tender it may receive.

7. We certify that this is a bona fide tender.

…………………………………………………………………………........

Signature (duly authorised on behalf of the tenderer)

…………………………………………………………………………………

Print name

………………………………………………………………………….

On behalf of (organisation name)

………………………………………………………………………….

Date

# Declaration 3: Conflict of Interest

I have nothing to declare with respect to any current or potential interest or conflict in relation to this research (or any potential providers who may be subcontracted to deliver this work, their advisers or other related parties). By conflict of interest, I mean, anything which could be reasonably perceived to affect the impartiality of this research, or to indicate a professional or personal interest in the outcomes from this research.

Signed      …………………………………….

Name	…………………………………….

Position     …………………………………….

OR

I wish to declare the following with respect to personal or professional interests related to relevant organisations*;

- X

- X

Where a potential conflict of interest has been declared for an individual or organisation within a consortia, please clearly outline the role which this individual or organisation will play in the proposed project and how any conflict of interest has or will be mitigated.

- X

- X

Signed      …………………………………….

Name	…………………………………….

Position     …………………………………….

Please complete this form and return this with your ITT documentation - Nil returns are required.

* These may include (but are not restricted to);

- A professional or personal interest in the outcome of this research

- For evaluation projects, a close working, governance, or commercial involvement in the project under evaluation

- Current or past employment with relevant organisations

- Payment (cash or other) received or likely to be received from relevant organisations for goods or services provided (Including consulting or advisory fees)

- Gifts or entertainment received from relevant organisations

- Shareholdings (excluding those within unit trusts, pension funds etc) in relevant organisations

- Close personal relationship or friendships with individuals employed by or otherwise closely associated with relevant organisations

All of the above apply both to the individual signing this form and their close family / friends / partners etc.

If your situation changes during the project in terms of interests or conflicts, you must notify the Department straight away.

A DECLARATION OF INTEREST WILL NOT NECESSARILY MEAN THE INDIVIDUAL OR ORGANISATION CANNOT WORK ON THE PROJECT; BUT IT IS VITAL THAT ANY INTEREST OR CONFLICT IS DECLARED SO IT CAN BE CONSIDERED OPENLY.

# Declaration 4: Questions for tenderers

In some circumstances the Department is required by law to exclude you from participating further in a procurement.  If you cannot answer ‘no’ to every question in this section it is very unlikely that your application will be accepted, and you should contact us for advice before completing this form.

Please state ‘Yes’ or ‘No’ to each question.

| Has your organisation or any directors or partner or any other person who has powers of representation, decision or control been convicted of any of the following offences? | Answer |
| --- | --- |
| - conspiracy within the meaning of section 1 or 1A of the Criminal Law Act 1977 or article 9 or 9A of the Criminal Attempts and Conspiracy (Northern Ireland) Order 1983 where that conspiracy relates to participation in a criminal organisation as defined in Article 2 of Council Framework Decision 2008/841/JHA; |  |
| - corruption within the meaning of section 1(2) of the Public Bodies Corrupt Practices Act 1889 or section 1 of the Prevention of Corruption Act 1906; where the offence relates to active corruption; |  |
| - the offence of bribery, where the offence relates to active corruption; |  |
| - bribery within the meaning of section 1 or 6 of the Bribery Act 2010; |  |
| - fraud, where the offence relates to fraud affecting the European Communities’ financial interests as defined by Article 1 of the Convention on the protection of the financial interests of the European Communities, within the meaning of: |  |
| - the offence of cheating the Revenue; |  |
| - the offence of conspiracy to defraud; |  |
| - fraud or theft within the meaning of the Theft Act 1968, the Theft Act (Northern Ireland) 1969, the Theft Act 1978 or the Theft (Northern Ireland) Order 1978; |  |
| - fraudulent trading within the meaning of section 458 of the Companies Act 1985, article 451 of the Companies (Northern Ireland) Order 1986 or section 993 of the Companies Act 2006; |  |
| - fraudulent evasion within the meaning of section 170 of the Customs and Excise Management Act 1979 or section 72 of the Value Added Tax Act 1994; |  |
| - an offence in connection with taxation in the European Union within the meaning of section 71 of the Criminal Justice Act 1993; |  |
| - destroying, defacing or concealing of documents or procuring the execution of a valuable security within the meaning of section 20 of the Theft Act 1968 or section 19 of the Theft Act (Northern Ireland) 1969; |  |
| - fraud within the meaning of section 2, 3 or 4 of the Fraud Act 2006; or |  |
| - making, adapting, supplying or offering to supply articles for use in frauds within the meaning of section 7 of the Fraud Act 2006; |  |
| - money laundering within the meaning of section 340(11) of the Proceeds of Crime Act 2002; |  |
| - an offence in connection with the proceeds of criminal conduct within the meaning of section 93A, 93B or 93C of the Criminal Justice Act 1988 or article 45, 46 or 47 of the Proceeds of Crime (Northern Ireland) Order 1996; or |  |
| - an offence in connection with the proceeds of drug trafficking within the meaning of section 49, 50 or 51 of the Drug Trafficking Act 1994; or |  |
| - any other offence within the meaning of Article 45(1) of Directive 2004/18/EC as defined by the national law of any relevant State. |  |

Annex A: Pricing Schedule

Part A  Output – Staff/project team charges

| Set up Costs – please specify |  |
| --- | --- |
| Expenses |  |

| Name and Grade/level of staff (include CV’s in annex) | Daily rate (ex VAT) | No. days offered over course of contract | Tasks to be undertaken on this project | Total price offered per staff member |
| --- | --- | --- | --- | --- |
|  | £ |  |  | £ |
|  | £ |  |  | £ |
|  | £ |  |  | £ |
|  | £ |  |  | £ |
|  | £ |  |  | £ |
| Sub-total |  |  |  | £ |

[*Suppliers should also include sub-contractors]

Part B – Non-staff/project team charges

| Item | No. of items | Price per item (ex VAT) | Total price per offer |
| --- | --- | --- | --- |
|  |  | £ | £ |
|  |  | £ | £ |
|  |  | £ | £ |
|  |  | £ | £ |
|  |  | £ | £ |
| Sub-total |  |  | £ |

Part C – Full price offered

| Sub-total (Part A + Part B) | £ |
| --- | --- |
| VAT | £ |
| TOTAL (Sub-total + VAT) | £ |

HNIP aims to provide £320m of capital support to increase the volume of heat networks being built, deliver carbon savings, and help create the conditions necessary for a self-sustaining heat network market to develop

HoT 11 Framework Supply Agreement developed as part of HNDU Detailed Project Development package with Heads of Terms for all revenue streams identified  to be drafted if required

HoT 11 Framework Supply Agreement developed as part of HNDU Detailed Project Development package with Heads of Terms for all revenue streams identified  to be drafted if required

The Invitation to Tender is issued for the Secretary of State for Energy and

Climate Change, as the new office of Secretary of State for Business,

Energy and Industrial Strategy has yet to be constituted as a corporation sole.

It is expected that rights and liabilities of the Secretary of State for Energy and

Climate Change, including this Invitation to Tender, will in due course be transferred to

the Secretary of State for Business, Energy and Industrial Strategy by an

Order in Council under section 2 of the Ministers of the Crown Act 1975.