Sustainability, energy, and carbon specialist support

- Provide specialist advice and training to estates, facilities, contractors, consultants, and other stakeholders as required, on matters affected by and relating to energy usage, sustainable engineering, and the built environment across the MSE estate.

- On a monthly basis, benchmark energy and water usage against best practice key performance indicators, investigate and then organise corrective measures. This is carried out generally by CCS so not a specific, individual requirement.

- Oversee and ensure CHP post install monitoring, for both existing (Southend) and the new CHP plant at Basildon and Broomfield; include a review and recommendation in respect of participation in demand side response / capacity market scheme.

- Produce monthly energy reports for Southend, Basildon and Braintree Hospitals.

- Attend monthly Sustainability meetings and present performance reports.

- Manage and oversee the UK Emissions Trading Scheme (UK ETS) for Basildon.

- Oversee and manage CHP Maintenance Agreements at Southend, Broomfield, and Basildon.

- Produce Consumption and Spend Reports as required

- Input to predicting future energy prices as required by liaising with CCS (Crown Commercial Services.

- Provide support for energy efficiency and carbon reduction projects