## Quality Scores
| REQUIREMENT | WHAT DOES GOOD LOOK LIKE? | Weighting | Score between 0 to 5 - see tab (Score matrix) | Weighted score | Comment (Please detail any comments)
SUPPLIER RESPONSE: Proposal for a low carbon heating /cooling solution of large auditorium | The Town Council requires a low carbon heating system to be installed at the Princess Pavilion site within a guide price of £35k | A good response would recommend the optimum solution with a clear and itemised breakdown of the costs and how the solution is predicted to perform. Please note, this will be a fixed price contract. | 30% |  | 0%
SUPPLIER RESPONSE: Supply | A.To complement the Council's Procurement Regulations the geographical location of the installation company, specifically concerning experience of rural/marine environment installations | A good response would clearly state where the supplier and delivery team is based. Evidence to be provided on experience of installations in rural / coastal or marine environments including any advice to help ensure the system works to its best and give consideration to the need to cool/ventilate as well as heat. | 15% |  | 0%
| B. Manufacturer location and supply of component parts will be considered | A good response would be the installation of units which are have component parts manufacturued from countries with a proven track record of supplying reliable units. Please specify where the products are assembled. | 10% |  | 0%
SUPPLIER RESPONSE: Site specific solution | The Town Council is looking for a detailed high quality submission which demonstrates an understanding of the site constraints. | A good response would be specifically tailored to provide a solution which will work for the size and style of the building. | 20% |  | 0%
SUPPLIER RESPONSE: A high quality product and installation | The Town Council is looking for a high quality product with long warranties for both the equipment and the installation | A good response would identify each unit's warranty period of at least 7 years. In addition, provide evidence of operative competency / training qualifications & Health & Safety site processes (RAMS / Supervision etc). Please also include any information pertaining to the use of the site during works. | 10% |  | 0%
SUPPLIER RESPONSE:Lead in time | The Town Council is looking to install and complete prior to the 31st March 2025 | A good response must outline the lead-in time and a guide to timeline for installation. If scheme delivery cannot be met by the 31st March 2025 the tender will not be considered. | 5% |  | 0%
SUPPLIER RESPONSE: Evidence | The Town Council is looking for an installer with a proven track record | A good response would be to provide case studies/ testimonials / recommendations from previous clients | 10% |  | 0%
100%

## Score matrix
Scoring Matrix for Quality Criteria
Score | Judgement | Interpretation
5 | Excellent | Exceptional demonstration of the relevant ability, understanding, experience / expertise, skills, resource and/or quality measures required to provide the services. Full evidence provided where required to support the response.
4 | Good | Above average demonstration of the relevant ability, understanding, experience / expertise, skills, resource and/or quality measures required to provide the services. Majority evidence provided to support the response.
3 | Acceptable | Demonstration of the relevant ability, understanding, experience / expertise, skills, resource and / or quality measures required to provide the services, with some evidence to support the response.
2 | Minor Reservations | Some minor reservations of the relevant ability, understanding, experience / expertise, skills, resource and / or quality measures required to provide the services, with little or no evidence to support the response.
1 | Serious Reservations | Considerable reservations of the relevant ability, understanding, experience / expertise, skills, resource and / or quality measures required to provide the services, with little or no evidence to support the response.
0 | Unacceptable | Does not comply and/or insufficient information provided to demonstrate that there is the ability, understanding, experience / expertise, skills, resource and / or quality measures required to provide the services, with little or no evidence to support the response.