Clarification questions

Are we only quoting for the 1st year so we can gather data on the condition of the doors, or do you have information on their current condition allowing us to quote for after year 1?  To quote a fully comprehensive contract is difficult unless we have been working on the doors for a year.

We would like a cost based on doors being in good condition following year 1 of the contract

Are there any known issues with the doors currently?

Not known but the condition could be improved, hence the requirement for year 1 to provide a condition survey and asset list.

I will be quoting for 2 service visits per year unless you require more?

Servicing based on best practice in relation to BS standards.

Are there any pictures of the doors?

Not currently available