## Cost Model
AW5.2 Price Schedule
SOURCING REFERENCE: | FM20214 | [7 empty] | Bidders are required to complete all red highlighted cells. All prices are to be firm and fixed and include all relevant costs, such as (but not exclusively) travel costs, management, overheads and profits etc., which may be required for the successful completion of the services. Bidders are to use SFG20 as detailed in Appendix 5 CPPM and PPM Specification to price for Planned Preventative Maintenance, the relevant schedule has been identified in column E. The hours for the SFG Tasks required in Appendix 5 must be the minimum times shown in the relevant SFG20 Schedules provided in Appendix 5A - 5D. For the avoidance of doubt the total compiled within cell (C65) will be used for the evaluation of this procurement.
SOURCING DOCUMENT TITLE: | Fire Safety Equipment Maintenance
BIDDER NAME | [Bidder to add name]
Year 1 | PPM | [9 empty] | Notes & Comments
Systems | Assets | No of Assets | SFG20 Schedule(s) used for pricing | Self Delivered, Subcontracted or Retained Supplier | Name of Subcontractor | Subcontracted Costs | Self Delivered Hours | Self Delivered Hourly Rate | Total PPM Cost | Total
Fire Safety | Fire Alarm | 10 | 22-01 |  |  | 0 |  |  | 0 | 0
| Fire Alarm - Hartree Centre - Out of Hours | 1 | 22-01 |  |  | 0 |  |  | 0 | 0
| Dry Risers | 1 | 23-04 |  |  | 0 |  |  | 0 | 0
| Ductwork | 10 systems/36 dampers, 300m ductwork | 16-02 |  |  | 0 |  |  | 0 | 0
| Fire Dampers |  | 16-03 |  |  | 0 |  |  | 0 | 0
| Gas suppression system | 3 | 23-05 |  |  | 0 |  |  | 0 | 0
| VESDA | 16 | 22-01 Vesda |  |  | 0 |  |  | 0 | 0
| PAVA System - Out of Hours | 9 | 11-01 |  |  | 0 |  |  | 0 | 0
Provisional Sum | Material and Consumable Provisional Sum | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 1000
| Total | 60
TOTAL YEAR 1 | [9 empty] | 1000
Year 2 | PPM | [9 empty] | Notes & Comments
Systems | Assets | No of Assets | SFG20 Schedule(s) used for pricing | Self Delivered, Subcontracted or Retained Supplier | Name of Subcontractor | Subcontracted Costs | Self Delivered Hours | Self Delivered Hourly Rate | Total PPM Cost | Total
Fire Safety | Fire Alarm | 10 | 22-01 |  |  | 0 |  |  | 0 | 0
| Fire Alarm - Hartree Centre - Out of Hours | 1 | 22-01 |  |  | 0 |  |  | 0 | 0
| Dry Risers | 1 | 23-04 |  |  | 0 |  |  | 0 | 0
| Ductwork | 10 systems/36 dampers, 300m ductwork | 16-02 |  |  | 0 |  |  | 0 | 0
| Fire Dampers |  | 16-03 |  |  | 0 |  |  | 0 | 0
| Gas suppression system | 3 | 23-05 |  |  | 0 |  |  | 0 | 0
| VESDA | 16 | 22-01 Vesda |  |  | 0 |  |  | 0 | 0
| PAVA System - Out of Hours | 9 | 11-01 |  |  | 0 |  |  | 0 | 0
Provisional Sum | Material and Consumable Provisional Sum | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 1000
| Total | 60
TOTAL YEAR 2 | [9 empty] | 1000
Year 3 | PPM | [9 empty] | Notes & Comments
Systems | Assets | No of Assets | SFG20 Schedule(s) used for pricing | Self Delivered, Subcontracted or Retained Supplier | Name of Subcontractor | Subcontracted Costs | Self Delivered Hours | Self Delivered Hourly Rate | Total PPM Cost | Total
Fire Safety | Fire Alarm | 10 | 22-01 |  |  | 0 |  |  | 0 | 0
| Fire Alarm - Hartree Centre - Out of Hours | 1 | 22-01 |  |  | 0 |  |  | 0 | 0
| Dry Risers | 1 | 23-04 |  |  | 0 |  |  | 0 | 0
| Ductwork | 10 systems/36 dampers, 300m ductwork | 16-02 |  |  | 0 |  |  | 0 | 0
| Fire Dampers |  | 16-03 |  |  | 0 |  |  | 0 | 0
| Gas suppression system | 3 | 23-05 |  |  | 0 |  |  | 0 | 0
| VESDA | 16 | 22-01 Vesda |  |  | 0 |  |  | 0 | 0
| PAVA System - Out of Hours | 9 | 11-01 |  |  | 0 |  |  | 0 | 0
Provisional Sum | Material and Consumable Provisional Sum | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 1000
| Total | 60
TOTAL YEAR 3 | [9 empty] | 1000
Year 1 | 1000
Year 2 | 1000
Year 3 | 1000
Total used for Evaluation | 3000
All prices are firm and fixed.
All prices are exclusive of VAT

## SoR (Information Only)
AW5.2 Price Schedule - Schedule of Rates
SOURCING REFERENCE: | FM20214 |  |  |  | Bidders are required to complete all red highlighted cells. Bidders are to note that the rates provided are for information only however will form part of the contract and be used for remedial, reactive and minor works. All rates are fixed for two years and are subject to review should the Contracting Authority implement a Contract extension.
SOURCING DOCUMENT TITLE: | Fire Safety Equipment Maintenance
BIDDER NAME | [Bidder to add name]
Normal Hours: 08:00 to 17:00 Monday to Thursday, 08:00 to 16:00 Fridays excluding Public Holidays
Out of Hours: 18:01 - 07:59 Monday to Friday, and any time Saturday, Sundays or designated Public Holidays
Trade/Level | Hourly Charge Rate Normal Hours: | Hourly Charge Rate Ot of Hours: | Day Rate Monday to Friday | Day Rate Saturday, Sunday & Public Holidays
Fire Safety Engineer - Holds an Advanced City & Guilds Craft Certificate, BTEC ONC/OND, NVQ Level 3 or equivalent in the fire safety field or demonstrates an equivalent level of experience | 0 | 0 | 0 | 0
General Operative - Tradesperson who can demonstrate suitable experience and competence | 0 | 0 | 0 | 0
Apprentice - Training for an appropriate recognised qualification | 0 | 0 | 0 | 0
Minor Works Minor Works is work other than Planned Preventative or Reactive Maintenance required by the Client. Minor Works include replacement, remedial works, repairs refurbishment, upgrade/improvement works to the assets outlined in Appendix 4. The Contractor will price for the works based on the labour rates provided above, materials costs and sub-contractor costs, plus mark-up percentages. Mark-up percentages for Minor Works are to be provided against the net labour charge rate, net invoiced material costs and net invoiced sub-contractor costs.
Net (Invoiced) Value (£) | Mark-up on labour | Mark-up on materials | Mark-up on sub-contractors
| % | % | %
£0 to £5,000 | 0 | 0 | 0
£5,001 to £10,000 | 0 | 0 | 0
£10,001 to £25,000 | 0 | 0 | 0
£25,001 to £50,000 | 0 | 0 | 0
All rates are firm and fixed.
All prices are exclusive of VAT