NML Wondrous Place Enabling Works Questions & Answers

Q - Can you confirm that the existing gallery has a raised modular floor or similar that will allow easy access to the new power locations?

A - The flooring system has an internal grid that allows the pulling of cables to and from power locations.