| KPI No. | Task/Performance Measure | Target |
| --- | --- | --- |
| 1 | Planned Preventative Maintenance (PPM) Activity |  |
| 1.1 | All PPM tasks to be completed within 5 working days of the agreed PPM Schedule due date. | 100% |
| 2 | Reactive Maintenance Activity |  |
| 2.1 | All Reactive Works to be acknowledged, actioned and completed within agreed Response Times (See Table 1) | 100% |
| 3 | Communications |  |
| 3.1 | Site Logbook to be kept up to date (with all Service and Reactive worksheets) and fully compliant with Specification | 100% |
| 3.2 | Client to be notified by e-mail, or telephone in advance of service visits and deliveries of equipment or plant/machinery to sites. | 100% |

| 3.3 | Contractor to ensure that staff sign in/out on all visits to Client premises. | 100% |
| --- | --- | --- |
| 3.4 | All Contractor’s staff to arrive at the Client’s premises with the relevant job/work/task details on their Worksheet. | 100% |
| 4 | Plant and Equipment |  |
| 4.1 | All existing equipment and plant maintained as per manufacturers instructions | 100% |
| 4.2 | All future installations of new equipment and plant to be added to the PPM schedule and maintained as per the contract specification. | 100% |
| 4.3 | All defects identified in the course of normal operations are to be reported to the Client within the response times. | 100% |
| 5 | Health and Safety |  |
| 5.1 | The Contractor must comply with all relevant Statutory provision ensuring that they are operating, at all times, without risk to its employees, sub-contractors or the Clients staff. | 100% |
| 5.2 | Method statements and Risk Assessments on activities to be provided to the Client within prior to commencing the activity. | 100% |
| 6. | Contract Management Information |  |
| 6.1 | Monthly reports to be submitted within five working days of the month and accepted by Client | 100% |
| 7. | Invoices |  |
| 7.1 | Accurate and undisputed invoices presented within 10 working days of the end of the month. | 100% |