|  |  | T: 03459 335577 helpline@defra.gov.uk www.gov.uk/defra |
| --- | --- | --- |
|  | Kings Meadow House Reading RG1 8DQ |  |

# Specification Template

Project / contract Information

| Project name | Heating Pumps – Replacement |
| --- | --- |
| Project SOP reference | TBC |
| Contract reference | KMH Heating Pumps |
| Date | 25th November 2022 |
| Version number | V01 |
| Author | Sam Walker |

Revision history

| Revision date | Summary of changes | Version number |
| --- | --- | --- |
|  | First Issue | V01 |

Details of the Works

Details of works are:-
Replacement of 3  x Heating pump sets- Primary, secondary, and compensating heating project.

(6 pumps in total).

- .1 Objective

a) Replacement of Heating pump sets at Kings Meadow House, Reading (KMH) to gain the best possible building temperatures. The current pumps are ‘end of life’

- 1.2 Specification

a) Outcome specification - fully working heating pump system

b) Remove any redundant equipment.

1.3 The works specifically exclude –

2. Drawings, site information or reports already available:

- KMH - Original building plans to be provided on request.  A lot of the documents are hard copies only.

- Copy of Asbestos register to be provided – suspected asbestos in the pump gaskets.

3. Constraints on how the Contractor delivers the Works:

a) Working hours to be agreed with client, Normal working hours 09:00 to 16:00.  Out of hours works by request only.

b) Making good as necessary.

c) Removing and disposing of all redundant parts and waste within Waste Management Regulations.

4. Requirements of the programme:

a) The work needs to be completed by February 2023.

b)  Site visit will be required on: - KMH –  10:30 am 01/12/2022 by appointment

c) Updated drawings and technical information to be supplied on completion

d) O & M’s will be required on completion

5. Services and other things provided by the Purchaser:

a) Welfare facilities during works: Toilets, Changing rooms, Showers, Kitchen.