## CCTV cameras
System Name | Camera Name | Prot | IP Address | Connection Status | Enable | Record Status | MAC Address | Type | Model | Firmware | Frame Rate | Resolution | Format | Quality
Ash Server | A+B Block PTZ |  | 172.30.55.218#bank=2 | Disabled | Not Enabled | Recording Disabled | 44-47-CC-DE-BD-64 | HikVision | DS-6716HUHI-K | V3.5.31 Build build 180919 | - | - | - | -
Ash Server | Ash A+ B Crossing |  | 172.30.55.218#bank=2 | Connected | Enabled | Continuous Recording | 44-47-CC-DE-BD-64 | HikVision | DS-6716HUHI-K | V3.5.31 Build build 180919 | 10 | 960x576 | H.264 | -
Ash Server | Ash Bath Corridor Inner |  | 172.30.55.213 | Disabled | Not Enabled | Recording Disabled | 00-02-D1-71-F0-57 | Vivotek | VS8801 | VS8801-VVTK-0300c | - | - | - | -
Ash Server | ASH Comms Room |  | 172.30.55.110 | Connected | Enabled | Motion Recording | 00-50-F9-67-80-7D | Illustra3 | Illustra Flex2 3MP Dome Out | Illustra.SS004.01.08.03.0166 | 30 | 2048x1536 | H.264 | -
Ash Server | ASH Comms Room Middle Isle |  | 172.30.55.109 | Connected | Enabled | Motion Recording | 00-50-F9-67-82-E9 | Illustra3 | Illustra Flex2 3MP Dome Out | Illustra.SS004.01.08.03.0166 | 12 | 2048x1536 | H.264 | -
Ash Server | Ash Inner Corridor |  | 172.30.55.213 | Disabled | Not Enabled | Recording Disabled | 00-02-D1-71-F0-57 | Vivotek | VS8801 | VS8801-VVTK-0300c | - | - | - | -
Ash Server | Ash Main Bathroom Entrance |  | 172.30.55.213 | Connected | Enabled | Continuous Recording | 00-02-D1-71-F0-57 | Vivotek | VS8801 | VS8801-VVTK-0300c | 10 | 704x576 | H.264 | 3
Ash Server | Ash Reception Door |  | 172.30.55.213 | Connected | Enabled | Continuous Recording | 00-02-D1-71-F0-57 | Vivotek | VS8801 | VS8801-VVTK-0300c | 10 | 720x576 | H.264 | 3
Ash Server | ETP-ISO10.162 |  | 172.30.55.162 | Disabled | Not Enabled | Recording Disabled | 00-50-F9-F8-8B-14 | Illustra Essentials | IES02MFBNWIYB | Illustra.Esse7.01.02.00.0001 | - | - | - | -
Ash Server | ETP-PLOW-1 |  | 172.30.55.68 | Connected | Enabled | Scheduled Off | 00-04-7D-12-E5-2F | Pelco | IMS0DN10-1E | 1.8.2.18-20121109-1.8266-O1.8503 | 8 | 800x608 | H.264 | 4
Ash Server | Gate House Internal |  | 172.30.55.219 | Connected | Enabled | Continuous Recording | 00-50-F9-61-85-3F | Illustra3 | Illustra Flex2 3MP Dome Out | Illustra.SS004.01.06.07.0071 | 12 | 2048x1536 | H.264 | -
Ash Server | Haul Road 2 |  | 172.30.55.212 | Connected | Enabled | Continuous Recording | 00-50-F9-F9-39-D2 | Illustra3 | Illustra Flex2 | Illustra.SS004.01.01.00.0518 | 10 | 1920x1080 | H.264 | -
Ash Server | Haul Road 4 |  | 172.30.55.211 | Connected | Enabled | Continuous Recording (in motion) | 00-50-F9-F9-AE-3B | Illustra3 | Illustra Flex2 Box | Illustra.SS004.01.05.02.0773 | 10 | 1920x1080 | H.264 | -
Ash Server | Houghton Road replacement |  | 172.30.55.164 | Connected | Enabled | Motion Recording | 00-50-F9-F8-8B-1A | Illustra Essentials | IES02MFBNWIYB | Illustra.Esse7.01.02.00.0001 | 25 | 1080 | H.264 | 7
Ash Server | Inside Car Park |  | 172.30.55.209 | Connected | Enabled | Continuous Recording | 00-50-F9-F9-39-D0 | Illustra3 | Illustra Flex2 Box | Illustra.SS004.01.01.00.0518 | 10 | 1920x1080 | H.264 | -
Ash Server | ISO 2 PTZ |  | 172.30.55.122 | Connected | Enabled | Scheduled Off | 00-04-7D-27-A8-2D | Pelco | P1220 | 05.10.56-20200214 | 15 | 1920x1080 | H.264 | 9
Ash Server | ISO 4 PTZ |  | 172.30.55.57 | Connected | Enabled | Scheduled Off | 00-04-7D-27-A8-1E | Pelco | P1220 | 05.10.56-20200214 | 12 | 1920x1080 | H.264 | 6
Ash Server | ISO 4 PTZ (1) |  | 172.30.55.57 | Disabled | Not Enabled | Recording Disabled | 00-04-7D-27-A8-1E | Pelco | P1220 | 05.10.56-20200214 | - | - | - | -
Ash Server | ISO 5 PTZ |  | 172.30.55.55 | Connected | Enabled | Scheduled Off | 00-04-7D-27-A8-3B | Pelco | P1220 | 05.10.56-20200214 | 7 | 1920x1080 | H.264 | 8
Ash Server | ISO 5 PTZ (1) |  | 172.30.55.55 | Connected | Enabled | Scheduled Off | 00-04-7D-27-A8-3B | Pelco | P1220 | 05.10.56-20200214 | 5 | 1280x720 | H.264 | 8
Ash Server | ISO 6 PTZ |  | 172.30.55.56 | Device not responding. | Enabled | Scheduled Off |  | Pelco |  |  | 12 | 1920x1080 | H.264 | 6
Ash Server | ISO 6 PTZ (1) |  | 172.30.55.56 | Disabled | Enabled | Recording Disabled |  | Pelco |  |  | 5 | 1280x720 | H.264 | 8
Ash Server | ISO 7 - Fixed Rear ETP |  | 172.30.55.17 | Connected | Enabled | Continuous Recording | 00-30-46-FE-E9-B0 | Illustra3 | ADCi800F-X002 | 3.1.6 | 10 | 1280x720 | H.264 | 5
Ash Server | ISO Camera 1 |  | 172.30.55.121 | Connected | Enabled | Scheduled Off | 00-04-7D-27-A8-0F | Pelco | P1220 | 05.10.56-20200214 | 15 | 1920x1080 | H.264 | 10
Ash Server | Jenner - Cryo Store |  | 172.30.55.16 | Connected | Enabled | Continuous Recording | 00-50-F9-E8-A2-5A | Illustra3 | Illustra Pro 5MP Fisheye 360Â° | 2.0.2.B17191AC848 | 12 | 1936x1936 | H.264 | 9
Ash Server | Jenner Building - Autoclave |  | 172.30.55.11 | Connected | Enabled | Continuous Recording | 00-30-46-FF-7E-3F | Illustra | ADCi600-D013 | AD00-00-17-28 | 10 | 720P | H.264 | 4
Ash Server | Jenner Building - LN Corridor |  | 172.30.55.15 | Connected | Enabled | Continuous Recording | 00-30-46-01-3C-A8 | Illustra | ADCi600-D033 | AD00-00-17-28 | 10 | 720P | H.264 | 4
Ash Server | Jenner Building - Main Entrance |  | 172.30.55.14 | Connected | Enabled | Continuous Recording (in motion) | 00-30-46-FF-7E-41 | Illustra | ADCi600-D013 | AD00-00-17-28 | 10 | 720P | H.264 | 4
Ash Server | Jenner Main Entrance PTZ |  | 172.30.55.60 | Device not responding. | Enabled | Scheduled Off | D4-F5-13-84-A3-3E | Illustra3 | Illustra 625 PTZ | 2.1.8.A17802ZZZ716 | 10 | 1600x900 | H.264 | 8
Ash Server | Jenner Main Entrance PTZ (1) |  | 172.30.55.60 | Device not responding. | Enabled | Scheduled Off | D4-F5-13-84-A3-3E | Illustra3 | Illustra 625 PTZ | 2.1.8.A17802ZZZ716 | 7 | 480x270 | H.264 | 9
Ash Server | Jenner Rear Binstore PTZ |  | 172.30.55.13 | Connected | Enabled | Continuous Recording | D4-F5-13-84-BF-FA | Illustra3 | Illustra 625 PTZ | 2.1.8.A17802ZZZ716 | 10 | 1920x1080 | H.264 | 5
Ash Server | JENNER REAR PTZ |  | 172.30.55.10 | Connected | Enabled | Motion Recording | 00-04-7D-27-B8-BA | Pelco | D7230L | 3.5.0.8.9350-A0.0 | 15 | 1920x1080 | H.265 | 5
Ash Server | Main Car Park |  | 172.30.55.61 | Connected | Enabled | Continuous Recording | 00-04-7D-2A-F0-02 | Pelco | D6230L | 2.13.1.3.9340-A0.0 | 30 | 1920x1080 | H.264 | 7
Ash Server | Main Entrance Ped Gate |  | 172.30.55.58 | Connected | Enabled | Continuous Recording | 00-50-F9-ED-38-7C | Illustra3 | ADCi800F-X002 | 3.1.6 | 10 | 1280x720 | H.264 | 5
Ash Server | Main Lab Road |  | 172.30.55.208 | Connected | Enabled | Continuous Recording | 00-50-F9-F9-39-D1 | Illustra3 | Illustra Flex2 Box | Illustra.SS004.01.01.00.0518 | 20 | 1920x1080 | H.264 | -
Ash Server | Perimeter Cam 12 |  | 172.30.55.28 | Connected | Enabled | Scheduled Off | 00-04-7D-27-A8-15 | Pelco | P1220 | 05.10.56-20200214 | 10 | 1920x1080 | H.264 | 5
Ash Server | Perimeter Cam 14 |  | 172.30.55.30 | Connected | Enabled | Scheduled Off | 00-04-7D-27-A8-2E | Pelco | P1220 | 05.10.56-20200214 | 15 | 1920x1080 | H.264 | 7
Ash Server | Perimeter Cam 16 |  | 172.30.55.32 | No route to device. | Enabled | Scheduled Off |  | Pelco |  |  | 30 (invalid) | 640 x 480 (invalid) | H.264 | 5
Ash Server | Perimeter Cam 3 |  | 172.30.55.19 | Connected | Enabled | Scheduled Off | 00-04-7D-27-A8-21 | Pelco | P1220 | 05.10.56-20200214 | 10 | 1920x1080 | H.264 | 7
Ash Server | Perimeter Cam 4 |  | 172.30.55.20 | No route to device. | Enabled | Scheduled Off |  | Pelco |  |  | 30 (invalid) | 640 x 480 (invalid) | H.264 | 5
Ash Server | Perimeter Cam 6 |  | 172.30.55.22 | No route to device. | Enabled | Scheduled Off |  | Pelco |  |  | 30 (invalid) | 640 x 480 (invalid) | H.264 | 5
Ash Server | Perimeter Cam 8 PTZ |  | 172.30.55.24 | Connected | Enabled | Continuous Recording | 00-04-7D-27-A8-2B | Pelco | P1220 | 05.10.56-20200214 | 5 | 1280x720 | H.264 | 8
Ash Server | Perimeter Camera 1 PTZ |  | 172.30.55.62 | Connected | Enabled | Continuous Recording | 00-04-7D-2A-EF-D9 | Pelco | D6230L | 2.13.1.3.9340-A0.0 | 15 | 1920x1080 | H.264 | 7
Ash Server | Perimeter Camera 11 |  | 172.30.55.27 | Connected | Enabled | Continuous Recording | 00-50-F9-ED-3C-AF | Illustra3 | ADCi800F-X002 | 3.1.6 | 10 | 1280x720 | H.264 | -
Ash Server | Perimeter Camera 13 |  | 172.30.55.29 | Connected | Enabled | Continuous Recording | 00-50-F9-ED-3C-A9 | Illustra3 | ADCi800F-X002 | 3.1.6 | 10 | 1280x720 | H.264 | -
Ash Server | Perimeter Camera 15 |  | 172.30.55.31 | Device not responding. | Enabled | Continuous Recording | 00-30-46-FF-08-D6 | Illustra3 | ADCi800F-X002 | 3.1.6 | 7 | 1280x720 | H.264 | 8
Ash Server | Perimeter Camera 2 |  | 172.30.55.18 | Connected | Enabled | Continuous Recording (in motion) | 00-30-46-FF-08-E1 | Illustra3 | ADCi800F-X002 | 3.1.6 | 25 | 1920x1080 | H.264 | -
Ash Server | Perimeter Camera 30 |  | 172.30.55.50 | Connected | Enabled | Continuous Recording | 00-50-F9-ED-38-8B | Illustra3 | ADCi800F-X002 | 3.1.6 | 10 | 1280x720 | H.264 | 5
Ash Server | Perimeter Camera 5 |  | 172.30.55.21 | Device not responding. | Enabled | Motion Recording | 00-30-46-FF-08-D7 | Illustra3 | ADCi800F-X002 | 3.1.6 | 10 | 1280x720 | H.264 | -
Ash Server | Perimeter Camera 7 |  | 172.30.55.23 | Device not responding. | Enabled | Continuous Recording | 00-30-46-FF-08-D3 | Illustra3 | ADCi800F-X002 | 3.1.6 | 10 | 1280x720 | H.264 | 5
Ash Server | Perimeter Camera 9 |  | 172.30.55.25 | Connected | Enabled | Continuous Recording | 00-50-F9-ED-3C-AC | Illustra3 | ADCi800F-X002 | 3.1.6 | 10 | 1280x720 | H.264 | 5
Ash Server | Perimiter Cam 10 |  | 172.30.55.26 | Connected | Enabled | Scheduled Off | 00-04-7D-27-A8-0C | Pelco | P1220 | 05.10.56-20200214 | 10 | 1920x1080 | H.264 | 10
Ash Server | Perimitere Cam 8 |  | 172.30.55.24 | Connected | Enabled | Scheduled Off | 00-04-7D-27-A8-2B | Pelco | P1220 | 05.10.56-20200214 | 30 | 1920x1080 | H.264 | 9
Ash Server | PK7 Haul Road |  | 172.30.55.210 | Connected | Enabled | Continuous Recording | 00-50-F9-F9-AE-3C | Illustra3 | Illustra Flex2 Box | Illustra.SS004.01.05.02.0773 | 10 | 1280x720 | H.264 | -
Ash Server | PL (15) Door To Tunnel Corridor |  | 172.30.55.203 | Connected | Enabled | Continuous Recording | 00-02-D1-71-F0-57 | Vivotek | VS8801 | VS8801-VVTK-0300c | 10 | 720x576 | H.264 | 3
Ash Server | PL (2) West Wing |  | 172.30.55.218#bank=2 | Disabled | Not Enabled | Recording Disabled | 44-47-CC-DE-BD-64 | HikVision | DS-6716HUHI-K | V3.5.31 Build build 180919 | - | - | - | -
Ash Server | PL (8) East Wing |  | 172.30.55.218#bank=2 | Disabled | Not Enabled | Recording Disabled | 44-47-CC-DE-BD-64 | HikVision | DS-6716HUHI-K | V3.5.31 Build build 180919 | - | - | - | -
Ash Server | Spare |  | 172.30.55.203 | Connected | Enabled | Scheduled Off | 00-02-D1-71-F0-57 | Vivotek | VS8801 | VS8801-VVTK-0300c | 10 | 720x576 | H.264 | 3
Ash Server | Spare |  | 172.30.55.203 | Connected | Enabled | Scheduled Off | 00-02-D1-71-F0-57 | Vivotek | VS8801 | VS8801-VVTK-0300c | 10 | 704x576 | H.264 | 3
Ash Server | Spare |  | 172.30.55.203 | Connected | Enabled | Scheduled Off | 00-02-D1-71-F0-57 | Vivotek | VS8801 | VS8801-VVTK-0300c | 10 | 720x576 | H.264 | 3
Ash Server | Staff Car Park PTZ |  | 172.30.55.106 | Connected | Enabled | Continuous Recording |  | Pelco | D7230L | 3.5.0.8.9350-A0.0 | 30 | 1920x1080 | H.264 | 4
Plowright Server | A & B Block PTZ |  | 172.30.55.129 | Connected | Enabled | Scheduled Off | 00-04-7D-27-A8-2A | Pelco | P1220 | 05.10.56-20200214 | 12 | 1920x1080 | H.264 | 10
Plowright Server | A & B Block PTZ (1) |  | 172.30.55.129 | Connected | Enabled | Continuous Recording | 00-04-7D-27-A8-2A | Pelco | P1220 | 05.10.56-20200214 | 5 | 1280x720 | H.264 | 8
Plowright Server | BETP Top Collect and Treat Tanks.69 |  | 172.30.55.69 | Connected | Enabled | Motion Recording | 00-04-7D-12-45-38 | Pelco | IMS0DN10-1E | 1.8.2.18-20121109-1.8266-O1.8503 | 24 | 800x608 | H.264 | 7
Plowright Server | BETP Transfer Pumps.70 |  | 172.30.55.70 | Connected | Enabled | Motion Recording | 00-04-7D-12-E5-0A | Pelco | IMS0DN10-1E | 1.8.2.18-20121109-1.8266-O1.8503 | 24 | 800x608 | H.264 | 7
Plowright Server | BETP Under Gantry V0701.72 |  | 172.30.55.72 | Connected | Enabled | Motion Recording | 00-04-7D-12-45-35 | Pelco | IMS0DN10-1E | 1.8.2.18-20121109-1.8266-O1.8503 | 24 | 800x608 | H.264 | 5
Plowright Server | BMS Ops Room Door |  | 172.30.55.2 | Connected | Enabled | Motion Recording | 00-50-F9-61-86-71 | Illustra3 | Illustra Flex2 3MP Dome Out | Illustra.SS004.01.06.07.0071 | 20 | 2048x1536 | H.264 | -
Plowright Server | CETP Crushers.71 |  | 172.30.55.71 | Connected | Enabled | Scheduled Off | 00-04-7D-24-06-96 | Pelco | IMS0DN10-1E | 1.9.2.2-20130717-1.8266-O1.9926 | 25 | 704x576 | MPEG4 | 7
Plowright Server | CETP DEC1 Pumps.73 |  | 172.30.55.73 | Connected | Enabled | Motion Recording | 00-04-7D-12-E5-53 | Pelco | IMS0DN10-1E | 1.8.2.18-20121109-1.8266-O1.8503 | 24 | 800x608 | H.264 | 7
Plowright Server | CETP DEC2 and HMI.74 |  | 172.30.55.74 | Device not responding. | Enabled | Scheduled Off |  | Pelco |  |  | 30 (invalid) | 640 x 480 (invalid) | H.264 | 5
Plowright Server | CETP Tank 2 Top and Flush Valve.75 |  | 172.30.55.75 | Connected | Enabled | Scheduled Off | 00-04-7D-12-E5-3D | Pelco | IMS0DN10-1E | 1.8.2.18-20121109-1.8266-O1.8503 | 24 | 800x608 | H.264 | 8
Plowright Server | CETP Under Tank 1.4 |  | 172.30.55.4 | Connected | Enabled | Scheduled Off | 00-04-7D-36-74-2D | Pelco | IMP121-1ES | 01.16.37-20180416 | 30 | 1280x960 | H.264 | 7
Plowright Server | CETP Under Tank 2.68 |  | 172.30.55.68 | Connected | Enabled | Scheduled Off | 00-04-7D-12-E5-2F | Pelco | IMS0DN10-1E | 1.8.2.18-20121109-1.8266-O1.8503 | 8 | 800x608 | H.264 | 4
Plowright Server | Escape Hatch |  | 172.30.55.206 | Connected | Enabled | Scheduled Off | 00-02-D1-71-F0-56 | Vivotek | VS8801 | VS8801-VVTK-0300c | 10 | 720x576 | H.264 | 6
Plowright Server | ETP-ISO10.161 |  | 172.30.55.161 | Not Connected | Not Enabled | Scheduled Off | 00-50-F9-F8-8B-05 | Illustra Essentials | IES02MFBNWIYB | Illustra.Esse7.01.02.00.0001 | - | - | - | -
Plowright Server | ETP-ISO10.161 (1) |  | 172.30.55.161 | Not Connected | Not Enabled | Scheduled Off | 00-50-F9-F8-8B-05 | Illustra Essentials | IES02MFBNWIYB | Illustra.Esse7.01.02.00.0001 | - | - | - | -
Plowright Server | ETP-ISO10.163 |  | 172.30.55.163 | Not Connected | Not Enabled | Scheduled Off | 00-50-F9-F8-8B-0B | Illustra Essentials | IES02MFBNWIYB | Illustra.Esse7.01.02.00.0001 | - | - | - | -
Plowright Server | ETP-ISO10.165 |  | 172.30.55.165 | Not Connected | Not Enabled | Scheduled Off | 00-50-F9-F8-8B-12 | Illustra Essentials | IES02MFBNWIYB | Illustra.Esse7.01.02.00.0001 | - | - | - | -
Plowright Server | ETP-ISO10.165 (1) |  | 172.30.55.165 | Not Connected | Not Enabled | Scheduled Off | 00-50-F9-F8-8B-12 | Illustra Essentials | IES02MFBNWIYB | Illustra.Esse7.01.02.00.0001 | - | - | - | -
Plowright Server | ETP-ISO10.166 |  | 172.30.55.166 | Not Connected | Not Enabled | Scheduled Off | 00-50-F9-F8-8B-03 | Illustra Essentials | IES02MFBNWIYB | Illustra.Esse7.01.02.00.0001 | - | - | - | -
Plowright Server | ETP-ISO10.167 |  | 172.30.55.167 | Not Connected | Not Enabled | Continuous Recording | 00-50-F9-F8-8B-0D | Illustra Essentials | IES02MFBNWIYB | Illustra.Esse7.01.02.00.0001 | - | - | - | -
Plowright Server | ETP-ISO10.167 (1) |  | 172.30.55.167 | Not Connected | Not Enabled | Scheduled Off | 00-50-F9-F8-8B-0D | Illustra Essentials | IES02MFBNWIYB | Illustra.Esse7.01.02.00.0001 | - | - | - | -
Plowright Server | Input 1 (1) |  | 172.30.55.47 | Connected | Enabled | Scheduled Off | 00-30-46-FF-08-C6 | IllustraFlex | ADCi800F-X002 | 3.1.6 | 7 | 352x288 | H.264 | 4
Plowright Server | ISO 1 PTZ |  | 172.30.55.106 | Connected | Enabled | Scheduled Off |  | Pelco | D7230L | 3.5.0.8.9350-A0.0 | 30 | 1920x1080 | H.264 | 4
Plowright Server | ISO 3 PTZ |  | 172.30.55.123 | Connected | Enabled | Scheduled Off | 00-04-7D-27-A8-33 | Pelco | P1220 | 05.10.56-20200214 | 30 | 1920x1080 | H.264 | 8
Plowright Server | ISO 3 PTZ (1) |  | 172.30.55.123 | Connected | Enabled | Scheduled Off | 00-04-7D-27-A8-33 | Pelco | P1220 | 05.10.56-20200214 | 5 | 1280x720 | H.264 | 8
Plowright Server | ISO 5 PTZ |  | 172.30.55.55 | Connected | Enabled | Scheduled Off | 00-04-7D-27-A8-3B | Pelco | P1220 | 05.10.56-20200214 | 10 | 1920x1080 | H.264 | 5
Plowright Server | ISO 7 Houghton Gate New |  | 172.30.55.124 | Connected | Enabled | Scheduled Off | 00-04-7D-41-FC-C9 | pelco | IMP531-1ERS | 02.37.1.8.1948-20201119 | 10 | 2560x1440 | H.264 | 5
Plowright Server | ISO 7 Houghton Gate New (1) |  | 172.30.55.124 | Connected | Enabled | Scheduled Off | 00-04-7D-41-FC-C9 | pelco | IMP531-1ERS | 02.37.1.8.1948-20201119 | 20 | 1920x1080 | H.264 | 5
Plowright Server | ISO 8 PTZ |  | 172.30.55.125 | Connected | Enabled | Scheduled Off | 00-04-7D-27-A8-0B | Pelco | P1220 | 05.10.56-20200214 | 12 | 1920x1080 | H.264 | 10
Plowright Server | ISO 8 PTZ (1) |  | 172.30.55.125 | Connected | Enabled | Scheduled Off | 00-04-7D-27-A8-0B | Pelco | P1220 | 05.10.56-20200214 | 5 | 1280x720 | H.264 | 8
Plowright Server | ISO Camera 1 |  | 172.30.55.121 | Connected | Enabled | Scheduled Off | 00-04-7D-27-A8-0F | Pelco | P1220 | 05.10.56-20200214 | 15 | 1920x1080 | H.264 | 10
Plowright Server | ISO Energy Side Road |  | 172.30.55.215 | Connected | Enabled | Scheduled Off | 00-02-D1-60-20-87 | Vivotek | VS8801 | VS8801-VVTK-0300c | 10 | 720x576 | H.264 | 6
Plowright Server | Jenner Comms Room 1st Floor |  | 172.30.55.112 | Connected | Enabled | Motion Recording | 00-50-F9-67-82-E8 | Illustra3 | Illustra Flex2 3MP Dome Out | Illustra.SS004.01.08.03.0166 | 30 | 2048x1536 | H.264 | -
Plowright Server | Jenner Comms Room Ground |  | 172.30.55.111 | Connected | Enabled | Motion Recording | 00-50-F9-67-82-EA | Illustra3 | Illustra Flex2 3MP Dome Out | Illustra.SS004.01.08.03.0166 | 30 | 2048x1536 | H.264 | -
Plowright Server | Main Entrance Barrier |  | 172.30.55.106 | Connected | Enabled | Continuous Recording |  | Pelco | D7230L | 3.5.0.8.9350-A0.0 | 30 | 1920x1080 | H.264 | 4
Plowright Server | Main ISO Road |  | 172.30.55.217 | No route to device. | Enabled | Scheduled Off | 00-02-D1-71-F0-58 | Vivotek | VS8801 | VS8801-VVTK-0300c | 10 (invalid) | 720 x 576 (invalid) | H.264 | 6
Plowright Server | Perimeter Cam 18 |  | 172.30.55.34 | No route to device. | Enabled | Scheduled Off |  | Pelco |  |  | 30 (invalid) | 640 x 480 (invalid) | H.264 | 5
Plowright Server | Perimeter Cam 18 (1) |  | 172.30.55.34 | No route to device. | Enabled | Scheduled Off |  | Pelco |  |  | 5 (invalid) | 1024 x 576 (invalid) | H.264 | 8
Plowright Server | Perimeter Cam 20 |  | 172.30.55.36 | Connected | Enabled | Scheduled Off | 00-04-7D-27-A8-14 | Pelco | P1220 | 05.10.56-20200214 | 30 | 1920x1080 | H.264 | 8
Plowright Server | Perimeter Cam 20 (1) |  | 172.30.55.36 | Connected | Enabled | Continuous Recording | 00-04-7D-27-A8-14 | Pelco | P1220 | 05.10.56-20200214 | 5 | 1280x720 | H.264 | 8
Plowright Server | Perimeter Cam 21 |  | 172.30.55.37 | Connected | Enabled | Scheduled Off | 00-04-7D-27-A8-36 | Pelco | P1220 | 05.10.56-20200214 | 10 | 1920x1080 | H.264 | 9
Plowright Server | Perimeter cam 26 |  | 172.30.55.44 | Connected | Enabled | Motion Recording (in motion) | 00-50-F9-F9-39-DC | Illustra3 | Illustra Flex2 Box | Illustra.SS004.01.01.00.0518 | 11 | 2048x1536 | H.264 | -
Plowright Server | Perimeter Cam 29 PTZ |  | 172.30.55.48 | Connected | Enabled | Scheduled Off | 00-04-7D-27-A8-20 | Pelco | P1220 | 05.10.56-20200214 | 12 | 1920x1080 | H.264 | 10
Plowright Server | Perimeter Cam 29 PTZ |  | 172.30.55.48 | Connected | Enabled | Continuous Recording | 00-04-7D-27-A8-20 | Pelco | P1220 | 05.10.56-20200214 | 5 | 1280x720 | H.264 | 8
Plowright Server | Perimeter Camera 17 |  | 172.30.55.33 | No route to device. | Enabled | Continuous Recording |  | IllustraFlex |  |  | 7 (invalid) | 1280 x 720 (invalid) | H.264 | 5
Plowright Server | Perimeter Camera 19 |  | 172.30.55.35 | No route to device. | Enabled | Continuous Recording |  | IllustraFlex |  |  | 7 (invalid) | 1280 x 720 (invalid) | H.264 | 6
Plowright Server | Perimeter Camera 22 |  | 172.30.55.38 | Connected | Enabled | Continuous Recording | 00-30-46-FF-08-E0 | IllustraFlex | ADCi800F-X002 | 3.1.6 | 10 | 1280x720 | H.264 | 5
Plowright Server | Perimeter Camera 23 |  | 172.30.55.39 | No route to device. | Enabled | Continuous Recording |  | IllustraFlex |  |  | 10 (invalid) | 1280 x 720 (invalid) | H.264 | 1
Plowright Server | Perimeter Camera 24A |  | 172.30.55.40 | No route to device. | Enabled | Continuous Recording |  | IllustraFlex |  |  | 10 (invalid) | 1280 x 720 (invalid) | H.264 | 1
Plowright Server | Perimeter Camera 24B |  | 172.30.55.41 | No route to device. | Enabled | Continuous Recording |  | IllustraFlex |  |  | 10 (invalid) | 1280 x 720 (invalid) | H.264 | 8
Plowright Server | Perimeter Camera 24C |  | 172.30.55.42 | No route to device. | Enabled | Continuous Recording |  | IllustraFlex |  |  | 10 (invalid) | 1280 x 720 (invalid) | H.264 | 1
Plowright Server | Perimeter Camera 27 |  | 172.30.55.45 | Connected | Enabled | Continuous Recording | 00-30-46-FF-08-D9 | IllustraFlex | ADCi800F-X002 | 3.1.6 | 10 | 1280x720 | H.264 | 4
Plowright Server | Perimeter Camera 27B |  | 172.30.55.46 | Unable to create video stream. | Enabled | Continuous Recording | 00-50-F9-ED-3C-AD | IllustraFlex | ADCi800F-X002 | 3.1.6 | 25 | 1280x720 | H.264 | 8
Plowright Server | Perimeter Camera 28 |  | 172.30.55.49 | Connected | Enabled | Continuous Recording | 00-50-F9-ED-38-81 | IllustraFlex | ADCi800F-X002 | 3.1.6 | 10 | 1280x720 | H.264 | 4
Plowright Server | Perimeter camera 29 |  | 172.30.55.47 | Connected | Enabled | Scheduled Off | 00-30-46-FF-08-C6 | IllustraFlex | ADCi800F-X002 | 3.1.6 | 10 | 1920x1080 | H.264 | 5
Plowright Server | Permieter Cam 25 |  | 172.30.55.43 | Connected | Enabled | Scheduled Off | 00-04-7D-27-A8-30 | Pelco | P1220 | 05.10.56-20200214 | 12 | 1920x1080 | H.264 | 6
Plowright Server | PL 2 West Wing |  | 172.30.55.222 | Connected | Enabled | Motion Recording | 00-04-7D-27-B8-D4 | Pelco | D7230L | 3.5.0.8.9350-A0.0 | 15 | 1920x1080 | H.264 | 7
Plowright Server | PL 2 West Wing (1) |  | 172.30.55.222 | Connected | Enabled | Motion Recording | 00-04-7D-27-B8-D4 | Pelco | D7230L | 3.5.0.8.9350-A0.0 | 30 | 1920x1080 | H.264 | 8
Plowright Server | PL 3 Main Entrance |  | 172.30.55.221 | Connected | Enabled | Motion Recording | 00-04-7D-27-B8-D6 | Pelco | D7230L | 3.5.0.8.9350-A0.0 | 15 | 1920x1080 | H.264 | 7
Plowright Server | PL Bathroom Lobby |  | 172.30.55.215 | Connected | Enabled | Scheduled Off | 00-02-D1-60-20-87 | Vivotek | VS8801 | VS8801-VVTK-0300c | 10 | 720x576 | H.264 | 6
Plowright Server | PL Door 1 FE23 Lobby |  | 172.30.55.217 | No route to device. | Enabled | Scheduled Off | 00-02-D1-71-F0-58 | Vivotek | VS8801 | VS8801-VVTK-0300c | 10 (invalid) | 720 x 576 (invalid) | H.264 | 6
Plowright Server | PL Door 2 FE24 Lobby |  | 172.30.55.217 | No route to device. | Enabled | Scheduled Off | 00-02-D1-71-F0-58 | Vivotek | VS8801 | VS8801-VVTK-0300c | 10 (invalid) | 720 x 576 (invalid) | H.264 | 6
Plowright Server | PL Door 3 East Wing Lift |  | 172.30.55.205 | Connected | Enabled | Scheduled Off | 00-02-D1-60-20-87 | Vivotek | VS8801 | VS8801-VVTK-0300c | 10 | 720x576 | H.264 | 6
Plowright Server | PL Door 4 FN20 Lobby |  | 172.30.55.215 | Connected | Enabled | Scheduled Off | 00-02-D1-60-20-87 | Vivotek | VS8801 | VS8801-VVTK-0300c | 10 | 720x576 | H.264 | 6
Plowright Server | PL East Wing |  | 172.30.55.223 | Connected | Enabled | Motion Recording | 00-04-7D-27-B8-92 | Pelco | D7230L | 3.5.0.8.9350-A0.0 | 30 | 1920x1080 | H.264 | 7
Plowright Server | PL EAST WING |  | 172.30.55.223 | Connected | Enabled | Motion Recording | 00-04-7D-27-B8-92 | Pelco | D7230L | 3.5.0.8.9350-A0.0 | 30 | 1920x1080 | H.264 | 7
Plowright Server | PL Entrance Turnsyles |  | 172.30.55.215 | Connected | Enabled | Scheduled Off | 00-02-D1-60-20-87 | Vivotek | VS8801 | VS8801-VVTK-0300c | 10 | 720x576 | H.264 | 6
Plowright Server | PL Main Entrance Internal |  | 172.30.55.206 | Connected | Enabled | Scheduled Off | 00-02-D1-71-F0-56 | Vivotek | VS8801 | VS8801-VVTK-0300c | 10 | 720x576 | H.264 | 6
Plowright Server | PL Reception |  | 172.30.55.207 | No route to device. | Enabled | Scheduled Off | 00-02-D1-71-F0-58 | Vivotek | VS8801 | VS8801-VVTK-0300c | 10 (invalid) | 720 x 576 (invalid) | H.264 | 6
Plowright Server | PL Stores Corridor |  | 172.30.55.206 | Connected | Enabled | Scheduled Off | 00-02-D1-71-F0-56 | Vivotek | VS8801 | VS8801-VVTK-0300c | 10 | 720x576 | H.264 | 6
Plowright Server | PL Tunnels 1 |  | 172.30.55.207 | No route to device. | Enabled | Scheduled Off | 00-02-D1-71-F0-58 | Vivotek | VS8801 | VS8801-VVTK-0300c | 10 (invalid) | 720 x 576 (invalid) | H.264 | 6
Plowright Server | PL Tunnels 2 |  | 172.30.55.207 | No route to device. | Enabled | Scheduled Off | 00-02-D1-71-F0-58 | Vivotek | VS8801 | VS8801-VVTK-0300c | 10 (invalid) | 720 x 576 (invalid) | H.264 | 6
Plowright Server | PL Tunnels 3 |  | 172.30.55.217 | No route to device. | Enabled | Scheduled Off | 00-02-D1-71-F0-58 | Vivotek | VS8801 | VS8801-VVTK-0300c | 10 (invalid) | 720 x 576 (invalid) | H.264 | 6
Plowright Server | PL Tunnels 4 |  | 172.30.55.206 | Connected | Enabled | Scheduled Off | 00-02-D1-71-F0-56 | Vivotek | VS8801 | VS8801-VVTK-0300c | 10 | 720x576 | H.264 | 6
Plowright Server | PL4 ISO Road |  | 172.30.55.12 | Connected | Enabled | Scheduled Off | 00-04-7D-27-A8-0D | Pelco | P1220 | 05.10.56-20200214 | 25 | 1920x1080 | H.264 | 8
Plowright Server | PL4 ISO Road (1) |  | 172.30.55.12 | Connected | Enabled | Scheduled Off | 00-04-7D-27-A8-0D | Pelco | P1220 | 05.10.56-20200214 | 5 | 1280x720 | H.264 | 8
Plowright Server | Plowright Changing Room 1 Male |  | 172.30.55.114 | Connected | Enabled | Motion Recording | 00-50-F9-67-80-7C | Illustra3 | Illustra Flex2 3MP Dome Out | Illustra.SS004.01.08.03.0166 | 12 | 2048x1536 | H.264 | -
Plowright Server | Plowright Changing Room 2 Male |  | 172.30.55.115 | Connected | Enabled | Motion Recording | 00-50-F9-67-82-F0 | Illustra3 | Illustra Flex2 3MP Dome Out | Illustra.SS004.01.08.03.0166 | 12 | 2048x1536 | H.264 | -
Plowright Server | Plowright Changing Room 3 Female |  | 172.30.55.116 | Connected | Enabled | Motion Recording | 00-50-F9-67-82-EC | Illustra3 | Illustra Flex2 3MP Dome Out | Illustra.SS004.01.08.03.0166 | 12 | 2048x1536 | H.264 | -
Plowright Server | Plowright Changing Room 4 Female |  | 172.30.55.117 | Connected | Enabled | Motion Recording | 00-50-F9-67-82-E7 | Illustra3 | Illustra Flex2 3MP Dome Out | Illustra.SS004.01.08.03.0166 | 12 | 2048x1536 | H.264 | -
Plowright Server | Plowright Comms Room |  | 172.30.55.113 | Connected | Enabled | Motion Recording | 00-50-F9-67-82-EB | Illustra3 | Illustra Flex2 3MP Dome Out | Illustra.SS004.01.08.03.0166 | 12 | 2048x1536 | H.264 | -
Plowright Server | Spare Blank |  | 172.30.55.205 | Disabled | Not Enabled | Recording Disabled | 00-02-D1-60-20-87 | Vivotek | VS8801 | VS8801-VVTK-0300c | - | - | - | -
Plowright Server | Spare Blank |  | 172.30.55.205 | Disabled | Not Enabled | Recording Disabled | 00-02-D1-60-20-87 | Vivotek | VS8801 | VS8801-VVTK-0300c | - | - | - | -
Plowright Server | Spare Blank |  | 172.30.55.205 | Disabled | Not Enabled | Recording Disabled | 00-02-D1-60-20-87 | Vivotek | VS8801 | VS8801-VVTK-0300c | - | - | - | -
Plowright Server | spare blank |  | 172.30.55.207 | No route to device. | Enabled | Scheduled Off | 00-02-D1-71-F0-58 | Vivotek | VS8801 | VS8801-VVTK-0300c | 10 (invalid) | 720 x 576 (invalid) | H.264 | 6
Plowright Server | VS8801 1 |  | 172.30.55.206 | Connected | Enabled | Scheduled Off | 00-02-D1-71-F0-56 | Vivotek | VS8801 | VS8801-VVTK-0300c | 10 | 720x576 | H.264 | 6
Plowright Server | VS8801 2 |  | 172.30.55.206 | Connected | Enabled | Scheduled Off | 00-02-D1-71-F0-56 | Vivotek | VS8801 | VS8801-VVTK-0300c | 10 | 720x576 | H.264 | 6
Plowright Server | VS8801 3 |  | 172.30.55.206 | Connected | Enabled | Scheduled Off | 00-02-D1-71-F0-56 | Vivotek | VS8801 | VS8801-VVTK-0300c | 10 | 720x576 | H.264 | 6
Plowright Server | VS8801 4 |  | 172.30.55.206 | Connected | Enabled | Scheduled Off | 00-02-D1-71-F0-56 | Vivotek | VS8801 | VS8801-VVTK-0300c | 10 | 720x576 | H.264 | 6

## Gates, turnstiles, barriers
Speed entrance gates in Plowright, the set of barriers and gates on the Haul Road, and the sliding Gate at the Main entrance, set of barriers and the turnstile

## Door Access
Building | Asset Type | Serial Number | Asset ID | Asset Description
Plowright | DAC 01 - Ground Floor GW05 | 172.30.48.200 |  | iSTAR Ultra Encrypted
Plowright | DAC 02 - Ground Floor GW05 | 172.30.48.201 |  | iSTAR Ultra Encrypted
Plowright | DAC 03 - Ground Floor Mezz GM F01 | 172.30.48.202 |  | iSTAR Ultra Encrypted
Plowright | DAC 04 - Ground Floor Mezz GM F01 | 172.30.48.203 |  | iSTAR Ultra Encrypted
Plowright | DAC 05 - Ground Floor Mezz GM F01 |  |  | iSTAR Ultra Encrypted
Plowright | DAC 06 - Ground Floor Mezz GM F01 | 172.30.48.205 |  | iSTAR Ultra Encrypted
Plowright | DAC 07 - Ground Floor GN30 | 172.30.48.206 |  | iSTAR Ultra Encrypted
Plowright | DAC 08 - Ground Floor GN30 | 172.30.48.207 |  | iSTAR Ultra Encrypted
Plowright | DAC 09 - Ground Floor GN17 | 172.30.48.208 |  | iSTAR Ultra Encrypted
Plowright | DAC 10 - HEPA deck West | 172.30.48.209 |  | iSTAR Ultra Encrypted
Plowright | DAC 11 - HEPA deck West | 172.30.48.210 |  | iSTAR Ultra Encrypted
Plowright | DAC 12- HEPA deck West | 172.30.48.211 |  | iSTAR Ultra Encrypted
Plowright | DAC 13 - HEPA deck East | 172.30.48.212 |  | iSTAR Ultra Encrypted
Plowright | DAC 14 - HEPA deck East | 172.30.48.213 |  | iSTAR Ultra Encrypted
Plowright | DAC 15 - HEPA deck East | 172.30.48.214 |  | iSTAR Ultra Encrypted
Plowright | DAC 16 - HEPA deck East | 172.30.48.215 |  | iSTAR Ultra Encrypted
Plowright | DAC 17 - HEPA deck East | 172.30.48.216 |  | iSTAR Ultra Encrypted
Plowright | DAC 18 - HEPA deck North | 172.30.48.217 |  | iSTAR Ultra Encrypted
Plowright | DAC 19 - HEPA deck North | 172.30.48.218 |  | iSTAR Ultra Encrypted
Plowright | DAC 20 - HEPA deck North | 172.30.48.219 |  | iSTAR Ultra Encrypted
Plowright | DAC 21 - HEPA deck North | 172.30.48.220 |  | iSTAR Ultra Encrypted
Energy Centre | DAC 22 - Energy Centre Utility Room | 172.30.48.221 |  | iSTAR Ultra Encrypted
Gatehouse | DAC 23 - Gatehouse | 172.30.48.222 |  | iSTAR Ultra Encrypted
Ash | DAC 24 - Ash plant room | 172.30.50.18 |  | iSTAR Ultra Encrypted
Ash | DAC 25 - Ash IT workshop | 172.30.50.16 |  | iSTAR Ultra Encrypted
Ash | DAC 26 - ASH Security Office iStar | 172.30.50.50 |  | iSTAR Ultra Encrypted
MOD 1 | DAC 27 - MOD 1 | 172.30.50.10 |  | iSTAR Ultra Encrypted
A Block | DAC 28 - A Block | 172.30.50.17 |  | iSTAR Ultra Encrypted
BSU | DAC 30 - BSU | 172.30.50.13 |  | iSTAR Ultra Encrypted
Insectary. | DAC 31 - Insectary. | 172.30.50.12 |  | iSTAR Ultra Encrypted
IS4L | DAC 32 - IS4L | 172.30.50.37 |  | iSTAR Ultra Encrypted
IS4L | DAC 33 - IS4L | 149.155.225.225 |  | iSTAR Ultra Encrypted
IS4L | DAC 34 - IS4L | 149.155.225.221 |  | iSTAR Ultra Encrypted
IS4L | DAC 35 - IS4L | 149.155.225.222 |  | iSTAR Ultra Encrypted
Biggs | DAC 38 - ISO 10 South | 172.30.50.23 |  | iSTAR Ultra Encrypted
Biggs | DAC 39 - ISO 10 North | 172.30.50.22 |  | iSTAR Ultra Encrypted
ISO 11 | DAC 40 - ISO 11 | 172.30.50.20 |  | iSTAR Ultra Encrypted
ISO 11 | DAC 41 - Incinerator | 172.30.50.21 |  | iSTAR Ultra Encrypted
ISO 11 | DAC 42 - ISO 8/9 | 149.155.225.196 |  | iSTAR Ultra Encrypted
E&M Workshop | DAC 44 - E&M Workshop | 172.30.50.30 |  | iSTAR Ultra Encrypted
Modular Building 2 | DAC 45 - Modular Building 2 | 172.30.50.19 |  | iSTAR Ultra Encrypted
DDT | DAC 47 - DDT | 172.30.50.15 |  | iSTAR Ultra Encrypted
Jenner | DAC 48 - Jenner Building 1 | 172.30.48.231 |  | iSTAR Ultra Encrypted
Jenner | DAC 49 - Jenner Building 2 | 172.30.48.232 |  | iSTAR Ultra Encrypted
Jenner | DAC 50 - Jenner Building 3 | 172.30.48.235 |  | iSTAR Ultra Encrypted
Library | DAC- 51 - Library IStar Edge | 172.30.50.11 |  | iSTAR Edge
SO 11 ETP Container | DAC 52 - ISO 11 ETP Container | 172.30.50.24 |  | iSTAR Ultra Encrypted
Haul Road Gate | DAC 53 - Haul Road Gate | 149.155.227.24 |  | iSTAR Edge
Houghton Hatchery | DAC 54 - Houghton Hatchery | 149.155.225.197 |  | iSTAR Classic/Pro
Gym | DAC 55 - Gym | 172.30.50.7 |  | iSTAR Edge