# HRTC Christmas Lights Project Overview/Requirements

Festive Lighting Display

Pre-Season Works: - Check all equipment against the Asset Register - Carry out inspections of all equipment, including the condition of frames/joint boxes/flex/plugs, and check operation. - Carry out PAT Testing - On completion, provide a report showing any issues and associated costs for repairs. Manage and update the Asset Register as required. - Carry out inspection of electrical infrastructure to confirm compliance with BS7671. - Check the operation of safety devices/timers - On completion, provide a report showing any issues found and associated costs for repair. - Agree on the layout of the display for the season with HRTC. Installation: - Transport equipment to the site. - Provide Engineers and suitable access equipment to install and commission the display in accordance with the previously agreed layout, which will include HRTC's own Christmas Tree. - Arrange a meeting to walk through the display with the client and show that it is all ready for switching on. Notes: All works are to be completed a minimum of 2 weeks before the agreed switch-on date to allow walk-through. All works must be installed in accordance with PLG06 Guidance notes and comply with BS7671. All engineers must be HERS accredited. Switch on Event: - Provide 2no. Engineers to attend switch on event to include setting of all timeclocks and ensuring all display is running correctly. Maintenance: - Provide engineers and suitable access equipment to carry out maintenance visits, at minimum twice weekly, to ensure the display is running correctly. - Where possible, carry out repairs during visits and advise of any issues requiring attention.

Switch Off and Removal: - On the agreed date at the end of the season, provide engineers to attend and isolate all displays. - Remove all equipment and transport to storage. - Check all returned equipment against the Asset Register. - Contractor must provide secure and weathertight storage between seasons.