## Items 1 to 30
|  | PFRU-PROJ-034 - Supply of Medical Equipment for the State Emergency Services Ukraine (III) |  |  | Vendor name: | Insert name here
Item # | Description and Specifications of Item (See Annex 3. Products technical specifications) | Desired Unit of Measure (UoM) | Required Qty. In UOM | Technical Specifications | Compliance to the Technical Specification (Yes / No / Partial) select an option | Reason for Partial or Non Compliance/Remarks (if any) | Proposed Addicional/Alternative Specifications | Supplier's Item Description (Full Technical Specifications and Standards Offered) | Proposed Manufacturer name | Proposed Brand | Proposed Product Code | Country of Manufacture | Incoterms (FCA or EXW) | Port of Origin | Country of Supply | CE or FDA certificate (if applicable) or DOC | EC Declaration of Conformity | Other Certificates (if applicable) | Proposed Unit of Measure | Proposed Quantity | Unit Price In GBP | Total Price in GBP | Delivery Lead Time (Calendar Days)
1 | Stretcher | each | 6 | The stretcher must be manufactured with flexible material to a smooth finish allowing easy sliding and must permit the stretcher to be rolled width ways or lengthways to facilitate transport. No webbing shall passe under the stretcher preventing damage whilst dragging. Must have strong handles around the stretcher allowing it to be maneuvered by several rescuers. The stretcher must allow to be hauled vertically or horizontally. The closure straps must be secure and allow the stretcher to mould around the casualty.
Stretcher Only:
· Width - 915mm.
· Length - 2300mm.
· Max Recommended User Weight - 400KG.
· Conformance - CE93/42/EEC CLASS 1.
Packed Box Weight and Dimensions Stretcher Only:
· Length - 100cm.
· Width - 42cm.
· Height - 33cm.
· Weight - 11kg.
Stretcher Type: Horizontal Lifting, Vertical Lifting, Confined Space
Stretcher Accessory Type: With Stretcher Bag
Slix 100 Options: Slix 100 Rescue Stretcher, Slix 100 Kit Rescue Stretcher Strops & Bag, Slix 100 Kit Rescue Stretcher & Spinal Splint
Confined Space: Yes
2 | Stretcher, basket | each | 6 | The Titan titanium Basket Stretcher is specifically designed to perform in a technical rescue environment. Their materials must allow them to survive in extreme conditions, while the design itself must allow for a user-friendly platform from which to work.
The titanium frame versions must allow an additional feature of reducing more than half of the weight when compared to similar stainless steel models.
Include a 25.4mm (1 inch) top-tube to make it easy to hold onto relative to smaller-tube frames and four StratLoad™ attachment points that make it quick to clip your stretcher bridle and protect the carabiner from wall and rock faces.
Tapered Design – Allows easier access in confined areas
25 mm Top Tube – large top tube is very easy to hold onto, especially in long carries
StratLoad™ Feature as Standard
Split-Apart design - patented Loc-Safe feature for a solid connection between both parts
High Density Polyethylene (HDPE) netting and UHMW-PE Back Support
Available in Stainless Steel or Titanium frame materials
134kg load rating
3 | Stretcher, Basket, head guard | each | 6 | A Head Guard designed for Basket Stretchers must fit metal frame basket stretchers on item #6.
· Robust TIG welded tubular construction
· Performance tested design
· Glove friendly rubber attachment clamps
· Stainless steel and polycarbonate construction
· High visibility, heavy duty PVC, weather resistant, replaceable cover
· Positive location on the stretcher frame
· Side opening reduces interference with hauling and lowering systems
· Mesh venting for enhanced airflow, reducing the risk of a build-up of exhaled medical gasses
· UKCA certified as a Class 1 Medical Device
4 | Stretcher, Basket, skid sheet | each | 6 | The Basket Stretcher Skid Sheet must be designed to fit metal frame basket stretchers on item #6.
This rescue solution must create a barrier that protects the lower frame tubes from knocks and abrasion when the stretcher is dragged over abrasive surfaces, soft ground and snow.
Offer added protection to the stretcher from ground abrasion
Ease movement by providing a smooth base to the stretcher
Simple, robust design
Large, glove-friendly attachment hooks
Roll up for easy storage and transport
5 | Training manikin, adult, 50kg | each | 4 | A versatile manikin for all rescue scenarios typically practised by emergency rescue professionals including Confined Space, USAR, Chemical/Biological Hazard, Road Traffic Collision (RTC) & general handling exercises – must ensure effective, realistic training.
Must be constructed in the same flame-retardant Polyester used in Police ballistic/stab vests, which typically must have 4 times the strength and abrasion resistance of 16oz canvas or P.V.C (the materials previously used) – making the manikins even stronger than before.
Anatomically correct weight distribution giving the 'feel' of an unconscious casualty.
Strong webbing loop allowing easy handling, hauling aloft, storage and suspension for drying.
Tough enough to withstand being buried under concrete or steel lintels, driven over by a 4x4 vehicle, or dropped from a second floor window without damage.
Water repellent material, making it suitable for wet or foul scenarios such as HAZMAT/CBRN.
Weight: 50kg
Height: 1.8m
Soft body joints eliminating the risk of pinch welts and bruising; common injuries when using plastic bodied manikins.
An immobilisation/extrication collar can be fitted around the neck of the manikin to promote proper casualty care.
6 | Training manikin, adult, 70kg | each | 6 | A versatile manikin for all rescue scenarios typically practised by emergency rescue professionals including Confined Space, USAR, Chemical/Biological Hazard, Road Traffic Collision (RTC) & general handling exercises – must ensure effective, realistic training.
Must be constructed in the same flame-retardant Polyester used in Police ballistic/stab vests, which typically must have 4 times the strength and abrasion resistance of 16oz canvas or P.V.C (the materials previously used) – making the manikins even stronger than before.
Anatomically correct weight distribution giving the 'feel' of an unconscious casualty.
Strong webbing loop allowing easy handling, hauling aloft, storage and suspension for drying.
Tough enough to withstand being buried under concrete or steel lintels, driven over by a 4x4 vehicle, or dropped from a second floor window without damage.
Water repellent material, making it suitable for wet or foul scenarios such as HAZMAT/CBRN.
Weight: 70kg
Height: 1.8m
Soft body joints eliminating the risk of pinch welts and bruising; common injuries when using plastic bodied manikins.
An immobilisation/extrication collar can be fitted around the neck of the manikin to promote proper casualty care.
7 | Training manikin, youth, 20kg | each | 4 | A versatile manikin for all rescue scenarios typically practised by emergency rescue professionals including Confined Space, USAR, Chemical/Biological Hazard, Road Traffic Collision (RTC) & general handling exercises – must ensure effective, realistic training.
Must be constructed in the same flame-retardant Polyester used in Police ballistic/stab vests, which typically must have 4 times the strength and abrasion resistance of 16oz canvas or P.V.C (the materials previously used) – making the manikins even stronger than before.
Anatomically correct weight distribution giving the 'feel' of an unconscious casualty.
Strong webbing loop allowing easy handling, hauling aloft, storage and suspension for drying.
Tough enough to withstand being buried under concrete or steel lintels, driven over by a 4x4 vehicle, or dropped from a second floor window without damage.
Water repellent material, making it suitable for wet or foul scenarios such as HAZMAT/CBRN.
Weight: 20kg
Height: 1.3m
Soft body joints eliminating the risk of pinch welts and bruising; common injuries when using plastic bodied manikins.
An immobilisation/extrication collar can be fitted around the neck of the manikin to promote proper casualty care.
8 | Hand gel, anti-bacterial | each | 10 | Highly effective alcohol hand gel, anti-viral and anti-bacterial. Must contain Aloe vera to reduce skin damage or irritation.
Must have been tested to BSEN1276 and BSEN1500 and AFNOR, economical to use and with enhanced skin-moisturising properties.
Tested to British and European Standards BSEN1276. Effective against many viruses, bacteria, mycobacterium and spores.
Conforming to the latest health and safety legislation.
Formulated to prevent skin irritation or unusual sensitivity.
Contain cosmetic-grade plant-based ingredients that assist in replacing the skin oils and lipids, ensuring skin condition isn't compromised.
Combined cleaning and disinfection action removing the need for separate products.
Can be used as a standalone hand decontaminant in situations where clean water is not available for washing.
Nontoxic, biodegradable and non-accumulative, therefore no special treatment is required for disposal.
70% Alcohol -
500ml Bottle

## drop down list (hidden)
Yes
No
Partial