## Pricing Matrix
Appendix E - Pricing Matrix
Provision of a Calibration Service
Reference - SO18178
Supplier Name |  |  | [PLEASE ENTER YOUR ORGANISATION'S NAME HERE]
Item | Calibration Standard | Equipment Description | Manufacturer | Type of Equipment e.g. balances, optical etc | On Site Calibration? | Serial Number | Range, Resolution, Accuracy where available state calibration figures for equipment (blank cell = full range of equipment) | Tendered Price
1 | Standard | LCA 6000 VA Airflow anemometer | Airflow | Anemometer | No | 111442
2 | UKAS | 8350-1 Temperature/Velocity Meter | TSI | Anemometer | No | 1568
3 | Standard | DE6K2N 6000g Digital Balance | Kern | Balance | Yes | WC0514993
4 | UKAS | SECURA1102-1S Precision Balance | Sartorius | Balance | Yes | 0032107156
5 | UKAS | RF513 Digital Temperature/Relative Humidity Transmitter | Comark | Data Logger | No | CC09140036
6 | Standard | Radeye SX External Scintillation Detector | Thermo Fisher | Detector | No | 11446 Probe 19014
7 | Standard | Absolute Digimatic CD-6" CP Vernier caliper | Mitutoyo | Digital Caliper | No | 015100
8 | Standard | Dispensette Digital 1-10ml | Brand | Dispensette | No | 10J63938 | 1-10ml
9 | Standard | PD-12i gamma dosimeter | SAIC | Dosimeter | No | DM2288
10 | Standard | Broadband Field Meter EF1891 E Field Probe | Narda | Field meter | No | A0264
11 | Standard | NBM 550 Broadband Field Meter | Narda | Meter | No | B0420
12 | Standard | P Series N1911A Power meter | Agilent | Meter | No | MY50000881
13 | Standard | M210 Milli-Ohmeter | Rhopoint | Meter | No | MOEE09114850
14 | Standard | Fluke 83 III Multimeter | Fluke | Meter | No | 81460314
15 | Standard | Mavolux 5032B USB Lux Meter | Gossen | Meter | No | 9D21426
16 | Standard | Digimatic outside micrometer | Mitutoyo | Micrometer | No | 6122045
17 | Standard | M210 milliohmeter | Rhopoint | Milliohmeter | No | MOEE03088370
18 | Standard | Tiger PID Photo Ionisation Monitor | Ion Science | Monitor | No | L104726 | Two point calibration - zero air + 100ppm Isobutylene. Certified gas expiry 02/07/2018
19 | Standard | IDM 305 True RMS Multimeter | Isotech | Multimeter | No | 34200186
20 | Standard | Vector Network Analyser | Agilent | Network Analyser | No | US48110149
21 | Standard | TSMW Network Analyser | Rohde & Schwarz | Network Analyser | No | 100168
22 | Standard | Milli Ohmmeter | Rhopoint | Ohmeter | No | MOEE03088357
23 | UKAS | LS100 Luminance Meter | Minolta | Optical | No | 97211029 | Range: 0.01 - 200cd/m2, Resolution: 0.001 cd/m2, Accuracy: ±10% over range 0.01-0.09cd/m2, and ±3% over range 0.1-200cd/m2
24 | Standard | DPO3054 Digital Phosphor Oscilloscope | Tektronix | Oscilloscope | No | C010944
25 | Standard | LT30-2 Twin Power Supply Unit | Farnell | Power Supply | No | 004240
26 | Standard | TSM25A Regulated DC power supply | BSI | Power Supply | No | 070106878
27 | Standard | 2086P Pressure meter | Digitron | Pressure meter | No | 4811156186RC
28 | Standard | P5100A 500MHz 40MΩ Voltage Probe | Tektronix | Probe | No | C000449
29 | Standard | SRM3000 field probe and RF meter system | Narda | Probe | No | J0101
30 | Standard | RAM GENE-1 MarkII Dose Rate Meter | Rotem | Radiation Monitor | No | 12810-034
31 | Standard | 5S1G4 RF Power Amplifier | Amplifier Research | RF Amplifier | No | 17896
32 | Standard | Nardalert D8862 Presonal RF Monitor | Narda | RF monitor | No | 53026
33 | Standard | Signal analyser 6000ex antenna analyser | Bird | Signal analyser | No | 094300250
34 | Standard | TSG95 PAL/NTSC Signal Generator | Tektronix | Signal Generator | No | B031802
35 | Standard | N1996A CSA Spectrum analyser | Agilent | Spectrum analyser | No | MY47053176
36 | Standard | Stopwatch | Fisher Scientific | Stopwatch | No | 72556722
37 | UKAS | ML600 Dual Syringe Pump Assembly | Hamilton | Syringe Pump | No | ML600DF5336
38 | Standard | Coherent Thermopile PM150-50C | Coherent | Thermopile | No | 1237D08R
39 | Standard | 4696481 torque driver | Gedore | Torque driver | No | 6CJ014689
40 | Standard | Vernier caliper | Mitutoyo | Vernier caliper | No | 7063981
41 | Standard | 9100 Absorption Wattmeter | Racal-Dana | Wattmeter | No | 064520
42 | UKAS | 20g S/steel Cylindrical Weight | Troemnor | Weights | No | 1000094171
Total of the Tendered Prices