## Requirements
Guidance for completion - When inserting additional rows in the requirements table below (Starting at row 16), please ensure that you drag the formulas from Column A down from the row above into the newly inserted row. - Do not delete the top and bottom rows of the requirements table (Starting Row 16 and finishing Row 48). Only insert rows between these points and do not add any lines after these points. - Hide row 5 if lots arent applicable
| User Requirement Specification | CPI Tender Reference & Title:- | 2225 | Provision of Automation Solutions to Support Existing Well-Plate Robotic Platform
Lot # and Title:-
| The evalution team will consider bidders combined responses below and give a single overall score based on the adjacent rating in column C, of which the total Quality element score of this sheet will equate to value in cell F6 | Scoring Criteria 0 = no response/answer not relevant to requirement 1 = limited response to requirements 2 = less than adequate, filfils some of the basic requirements 3 = adequate response, fulfils all basic requirements 4 = good response, fulfils all requirements to a high standard 5 = excellent response, fulfils requirements to an exceptionally high standard |  | The total percentage available which will contribute towards the Quality scoring element of this tender | TBD%
USER REQUIREMENT |  |  |  | TENDERER RESPONSE
Requirement Codes |  |  |  | Guidance
M | Mandatory. (This must be the minimum requirement for the usage for the equipment, any further performance requirements above the minimum, must be marked as desirable) |  |  | Tenderers must provide responses within the following columns; 1. Column F - please provide details of your equipment functionality in relation to CPI requirements specified in column E 2. Column G - please confirm if your product complies with CPI's functionality requirements specified in Column E, by providing a Yes (Y) or No (N) response |  | Y
O | Optional requirement which may be quoted for and an assessment made by CPI prior to purchase |  |  |  |  | N
D | Desirable, but not necessary - if this can be supplied. Tenderer should suggest alternative if appropriate
# | Parameter | Requirement | Requirement (M/O/D) -see codes | Answer or Details with regards to meeting the Requirement | Complies? (Y/N) | N
Range of Use
M1 | CPI are seeking to add to their current automated well-plate formatting robotic platform and wish to appoint a supplier for additional automation tools, engineering modifications to the platforms, training, maintenance, service and repair and purchase of specialist consumables. | All tools, modifications and consumables must be fully compatible with the existing robotic platform. | M |  |  | 1 | 0 | 0
M2 |  | The ability to supply nuclease-free consumables compatible with robot components is essential. Consumables could include, but are not limited to, liquid dispense tips, well plates, adhesive sealing films - details available upon request. | M |  |  | 2 | 0 | 0
M3 |  | Please provide pricing (for example) for (i) 10 boxes of 96 x 250 microlitre sterile pipette tips (unfiltered and filtered) compatible with a CyBio FeliX liquid dispenser; (ii) 1 case of 96 well plates and (iii) adhesive sealant roll compatible with an Agilent PlateLoc Thermal Microplate Sealer (Model 01867-202) | M |  |  | 3 | 0 | 0
D1 |  | The ability to design custom solutions to integrate new labware types into existing capabilities. | D |  |  | 3 | 0 | 1
M |  | The ability to amend existing software packages to integrate with new tools and 3rd party DOE, data analytics and modelling software (e.g. data exporting into Excel or JMP) is essential. | M
0 | General Needs |  |  |  |  | 4 | 0 | 1
M5 | Versatility | All components should be fully configurable within the platform environment - i.e. new labwares/plates can be integrated into existing software. | M |  |  | 5 | 0 | 1
M6 |  | Please provide example pricing and prediction of timescale for adding a new well-plate types to existing software capability. | M |  |  | 6 | 0 | 1
M7 | Safety | Any auxillary services or tools requiring an electrical supply must be fitted with a British 3 pin plug, or suitable connections to allow hook up to the robot's integrated 3-phase power supply | M |  |  | 7 | 0 | 1
M8 |  | Any modifications to the platforms must not interfere with current safety interlock mechanisms. | M |  |  | 8 | 0 | 1
M9 |  | All components must be of appropriate materials of construction for their intended use (agreed at time of order). | M |  |  | 9 | 0 | 1
M10 |  | All components shoud be of suitable dimensions for use within the robot platform (specified at time of order). | M |  |  | 10 | 0 | 1
0 | Software and Connectivity |  |  |  |  | 10 | 0 | 1
M11 | Ease of Use | The software should be easy to operate. The workflow construction and any data data processing should be straight forward to operate by someone of graduate scientist capability. | M |  |  | 11 | 0 | 1
M12 |  | All components should be supplied complete, including computer with control software if applicable | M |  |  | 12 | 0 | 1
0 | Regulatory, Support and Warranties |  |  |  |  | 12 | 0 | 1
M13 | Regulatory and warranty | All components must be suitably CE marked. | M |  |  | 13 | 0 | 1
M14 |  | All components should come with a minimum of 1 year warranty, and options for service/maintenance contracts. | M |  |  | 14 | 0 | 1
M17 |  | Any accessories / modifications provided should not compromise any existing warranty from the original manufacturer (details available on request) | M |  |  | 17 | 0 | 1
M16 | Maintenance and Support | Vendor must be able to provide maintainence and service support packagages for future robot platform needs. | M |  |  | 16 | 0 | 1
M17 |  | Sales, service, calibration and applications support directly from the instrument manufacturer. | M |  |  | 17 | 0 | 1
M18 |  | Please provide pricing (as example) for hourly rates for both on-site engineering support and for telephone/virtual workflow development assistance. | M |  |  | 18 | 0 | 1
M19 |  | The appointed vendor must be able to provide training in instrument maintanence, and hardware/software operation, including advanced features | M |  |  | 19 | 0 | 1
M | Repairs and Relocations | The appointed vendor must be able to support relocation and recommissioning of the well-plate robotic platform to a new lab - time to be agreed between CPI and appointed vendor | M
M21 |  | Supplier should provide indicative lead times for parts and installation & and for repair of existing items | M |  |  | 21 | 0 | 1
Note on F7: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: CHANGE THIS IN ACCORDANCE WITH THE TENDER DOC
Head Office: CPI, Wilton Centre, Wilton, Redcar, Cleveland, TS10 4RF, UNITED KINGDOM
Tel: +44 (0)1642 455 340 Email: info@uk-cpi.com Web: www.uk-cpi.com