| Item Ref | Description | Qty | Unit | Rate | £ |
| --- | --- | --- | --- | --- | --- |
|  | SCHEDULE OF WORKS This specification must be read in conjunction with and National Museums Liverpool drawings. |  |  |  |  |
|  | CONTRACT Contractor to note that the Fit Out package will be executed under the JCT Intermediate Building Contract 2011 (with contractor design). Contractor must allow for pricing of Preliminary document and provide priced summary along with their priced schedule of works upon request from the Contract Administrator. Preliminaries must be broken down into the relevant sections and not provided as a lump sum. Contract currently under review with NML solicitors therefore to follow under separate cover. |  |  |  |  |
|  | SPECIALIST SUPPLIERS The following suppliers will be delivering a range of works onsite during the fit out phase; - HVAC contractors – positioning of air vents in the walling structures to be discussed with contractors. - Display case manufacturer - Graphic print installation |  |  |  |  |
|  | GENERALLY Contractor to be principal contractor with responsibility for site management during fit out works. This to include supply of mess facilities as per preliminaries. It is the responsibility of the contractor to visit site and ensure that they have included for all works necessary to complete the works whether or not specifically referred to in the Schedule of Works. The contractor is to include in rates for all tools and equipment required for proper execution and completion of the works. The contractor is to check all measurements on site prior to commencing manufacture or installation of any elements of the project. Measurements described in the specification may be found to be incorrect, albeit every effort has been taken to ensure they are reasonable accurate. |  |  |  |  |
|  | SITE ESTABLISHMENT/SEGREGATION Contractor to allow for suitable out of hours working (not 24 hour) to enable materials to be moved up to or removed from the gallery. Materials to be moved up to or from the gallery space via the goods lift. Contractor to ensure that access/egress to site from ground floor to 2nd floor is kept clear at all times from debris and not used for storage of material or equipment. Contractor to provide suitable dust protection measures to prevent migration of dust from the site area. To allow for sealing around all final exit doors from the site area, openings and doors into service voids, high level openings, any other areas likely to be affected by works. Contractor to allow for thorough cleaning of site area on daily basis to prevent build up of dust, debris etc and to prevent migration of dust to other areas of the building and exhibition areas including the goods lift. Contractor to provide suitable floor protection to cover the existing flooring from dust, dirt and impact damage for the full duration of the contract. This to take into consideration types of equipment, weights, wheels, to be used during installation, routes through gallery etc. Contractor to provide suitable protection for any walls, corners, glass cases and other exhibition fittings which may be at risk of damage during fit out works. Contractor to be responsible for covering smoke heads at start of the day before commencement of work, and removal of covers at end of the day before leaving site. Details of entry into the building have been provided in the appendix which contractors should take note of and adhere to. Discussion will take place with NML Gallery Services and Estates Department should any changes to this be required. |  |  |  |  |
|  | PRODUCTION AND INSTALLATION OF NEW SETWORKS Production and installation of set works New set works to be co-ordinated to interface with 29 existing display cases and air vents as per drawings. Please provided itemised costs for the following (please refer to the drawings/ issue sheet provided) NML05 – NML10 Dividing walls 01 – 06 NML 11 – NML 12 Ceiling 01- 02 NML 13 Structure01 NML 14 – NML 17 Plinths 01 – 04 NML 18 to NML 27 Case cladding 01 – 07 NML 25 -27 Geo Wall NML 28 – 46 Mausoleum construction and coffin |  |  |  |  |
|  | CONTINGENCY SUM Allow for a contingency sum of £10,000 for any unforeseen works that may be found to be required once works are underway. This sum will be expended or deducted at discretion of Client/CA. |  |  |  |  |
|  | TOTAL |  |  |  | £ |