## Sheet1
Biomass Costing Sheet
Boiler Service and Flue cleaning costs will be in line with specification below on columns F and G
Site | Numbers | Boiler Type | Building Height | Flue system cleaning requirement per year | Boiler servicing requirement per year | Flue Cleaning cost per year | Boiler service cost per year
York Street | 1 | Froling 500kw | 7 floors | two times per year | four times per year
Mottram Street | 2 | Froling 500kw | 16 floors | two times per year | four times per year
Lancashire Hill | 1 | Froling 1000kw | 22 floors | two times per year | four times per year
Heaton | 1 | Froling 500kw | 11 floors | two times per year | four times per year
Hollywood | 1 | Froling 500kw | 16 floors | three times per year | four times per year
Hollow end | 2 | Froling 500kw | 11 floors | two times per year | four times per year
Voewood | 1 | Froling 200kw | 11 floors | two times per year | four times per year
Total
Hourly Rates | Price per hour
8am - 5pm
5pm - 8am
Weekends
Minimum time on Job
Maximum travel time
Scenario question
Cost inclusive of travel time, parts and labour |  | Call out at 10am on a Friday morning for Mottram tower Stockport, an engineer is required to attend site for a boiler locked out in fault. On arrival, the heat ignition device is found to be faulty at the rear of the boiler and will require a new element (Froling TM500) please provide a cost for the full works to be completed including travel time, parts and all labour associated with the repair. Please give comments in the box provided on the costing sheet to explain your processes and timescales.
Comments on how this process would be actioned