## Basement
LaB_649_SC
Horniman Museum Window Redecoration and repair schedule. Basement floor | [8 empty] | V01 05.08.2021
Window Number | Level | Name | Aprox window size | Description | Accessibility | Preparation + Redecoration | Condition Notes | Anticipated frame repair requirements | Replacement glass
B.01.NA | B | Unknown | Unknown | Unknown | Internally inaccessible | Yes | Not surveyed with others - unknown | TBC | TBC

## GF
LaB_649_SC
Horniman Museum Window Redecoration and repair schedule. Ground floor | [10 empty] | V01 05.08.2021
Window Number | TYPE | Approx Width | Approx Height | Level | Name | Description | Accessibility | Preparation + Redecoration | Condition Notes | Anticipated frame repair requirements | Replacement glass
G.01 | D | 2450 | 1200 | G | xxx | Unknown | Non accessible for survey | Yes | Unknown - not surveyed | TBC | TBC
G.02 | D | 2450 | 1200 | G | Aquarium Coral Area 01 | 12 pane tilting window in 3 panels of 4 made of timber | Internally inaccessible | Yes | Internally inaccessible, timber appears largely rotten | Partial sill replacement *
G.03 | D | 2450 | 1200 | G | Aquarium Coral Area 02 | 12 pane tilting window in 3 panels of 4 made of timber | Internally inaccessible | Yes | Internally inaccessible, timber appears largely rotten | Partial sill replacement *
G.04 | D | 2450 | 1200 | G | Aquarium Coral Area 03 | 12 pane tilting window in 3 panels of 4 made of timber | Internally inaccessible | Yes | Internally inaccessible, timber appears largely rotten | Partial sill replacement *
G.05 | D | 2450 | 1200 | G | Aquarium Coral Area 04 | 12 pane tilting window in 3 panels of 4 made of timber | Difficult to access, only visible at a distance | Yes | Internally inaccessible, timber appears largely rotten | Partial sill replacement *
G.06 | D | 2450 | 1200 | G | Aquarium Plant Room 01 | 12 pane tilting window in 3 panels of 4 made of timber | Difficult to access | Yes | Internally inaccessible, timber appears largely rotten | Partial sill replacement *
G.07 | B | 1250 | 2050 | G | Head of Security Office |  | Internally and externally accessible | Yes | No visibe signs of rotting timber | Local fill of smaller cracks**
Row not used - see below
G.09 | B | 1250 | 2050 | G | Security Reception 01 | 12 pane sash window in 2 panels of 6 made of timber | Internally and externally accessible | Yes | Paint cracks reveal partially rotten timber sill | Epoxy repair ***
G.10 | B | 1250 | 2050 | G | Security Reception 02 | 12 pane sash window in 2 panels of 6 made of timber | Internally and externally accessible | Yes | Paint cracks reveal largely rotten timber sill | Partial sill replacement * | Replace 1 broken pane
G.11 | B | 1250 | 2050 | G | Security Reception 03 | 12 pane sash window in 2 panels of 6 made of timber | Internally and externally accessible | Yes | Paint cracks reveal largely rotten timber sill | Partial sill replacement *
G.12 | N | 1000 | 2000 | G | Clocktower South Window 01 | 15 pane window made of timber | Intenally accessible at height, aluminium tower to access externally | Yes | Unknown - not surveyed | TBC | TBC
G.13 | N | 1000 | 2000 | G | Clocktower South Window 02 | 15 pane window made of timber | Intenally accessible at height, aluminium tower to access externally | Yes | Unknown - not surveyed | TBC | TBC
G.14 | T |  |  | G | Reception Doors | 2 folding timber doors | Internally and externally accessible | Yes | Re-staining required | Local fill of smaller cracks**
G.15 | T |  |  | G | Window Above Reception Doors | Semicircular window, 8 panels | Externally accessible, at high level | Yes | Local cracking of paintwork | Local fill of smaller cracks**
G.16 | U |  |  | G | External Display Board | Timber frame display board | Externally accessible | Yes | Re-staining requierd | Local fill of smaller cracks**
G.17 | W |  |  | G | External Doors 01 | 2 hinged doors, 15 pane circular window in each | Externally accessible | Yes | Re-staining requierd | Local fill of smaller cracks**
G.18 | W |  |  | G | External Doors 02 | 2 hinged doors, 15 pane circular window in each | Externally accessible | Yes | Re-staining requierd | Local fill of smaller cracks**
G.08 |  |  |  | G | Aquarium Office Roof |  | Externally accessible | Yes | Timber soffit rotten. | Replace timber soffit and lay new roofing felt and dressings
[8 empty] | * | Sill badly rotten on external face. Assume replacement of entire front (external) face of sill, to be pieced in below line of sash. See written specification for details.
[8 empty] | ** | Smaller areas of sill timber rotten adjacent to frame. Cut out soft timber, treat adjacent timber with consolidation sealant, use two pack expoxy filler to replace removed timber.
[8 empty] | *** | Timber appears in reasonable condition. Local fill of smaller cracks prior to redecoration.
[8 empty] | TBC | Window not accessible at time of survey. See tender documents for pricing assumptions to be used.

## 1F
LaB_649_SC
Horniman Museum Window Redecoration and repair schedule. First floor | [10 empty] | V01 05.08.2021
Window Number | TYPE | Approx Width | Approx Height | Level | Name | Description | Accessibility | Preparation + Redecoration | Condition Notes | Anticipated frame repair requirements | Replacement Glass
1.01.NA | D | 2450 | 1200 | 1 |  |  | Intenally inaccessible - blocked off | Yes | Unknown - internally inaccessible | TBC | TBC
1.02.NA | D | 2450 | 1200 | 1 |  |  | Intenally inaccessible - blocked off | Yes | Unknown - internally inaccessible | TBC | TBC
1.03.NA | D | 2450 | 1200 | 1 |  |  | Intenally inaccessible - blocked off | Yes | Unknown - internally inaccessible | TBC | TBC
1.04.NA | D | 2450 | 1200 | 1 |  |  | Intenally inaccessible - blocked off | Yes | Unknown - internally inaccessible | TBC | TBC
1.05.NA | D | 2450 | 1200 | 1 |  |  | Intenally inaccessible - blocked off | Yes | Unknown - internally inaccessible | TBC | TBC
1.06.NA | D | 2450 | 1200 | 1 |  |  | Intenally inaccessible - blocked off | Yes | Unknown - internally inaccessible | TBC | TBC
1.07.NA | D | 2450 | 1200 | 1 |  |  | Intenally inaccessible - blocked off | Yes | Unknown - internally inaccessible | TBC | TBC
1.08.NA | D | 2450 | 1200 | 1 |  |  | Intenally inaccessible - blocked off | Yes | Unknown - internally inaccessible | TBC | TBC
1.09 | G | 900 | 1200 | 1 | Cupboard | 4 pane sash window in 2 panels of 2 made of timber | Difficult to access internally | Yes | Difficult to access internally | TBC | TBC
1.10 | G | 900 | 1200 | 1 | Plant Room (North Hall Cleaning Cupboard) | 4 pane sash window in 2 panels of 2 made of timber | Difficult to access internally | Yes | Difficult to access internally | TBC | TBC
1.11.NA | D | 2450 | 1200 | 1 | Nature Base 01 | 12 pane sash window in 3 panels of 4 made of timber | Internally inaccessible, images mounted to inside of windows | Yes | Internally inaccessible, images mounted to inside of windows | TBC | TBC
1.12.NA | D | 2450 | 1200 | 1 | Nature Base 02 | 12 pane sash window in 3 panels of 4 made of timber | Internally inaccessible, images mounted to inside of windows | Yes | Internally inaccessible, images mounted to inside of windows | TBC | TBC
1.13.NA | D | 2450 | 1200 | 1 | Nature Base 03 | 12 pane sash window in 3 panels of 4 made of timber | Internally inaccessible, images mounted to inside of windows | Yes | Internally inaccessible, images mounted to inside of windows | TBC | TBC
1.14 | E | 2450 | 1850 | 1 | Office 01 | 24 pane sash window in 3 panels of 8 made of timber | Internally accessible | Yes | Paint cracks reveal largely rotten timber sill | Partial sill replacement *
1.15 | D | 2450 | 1200 | 1 | Office 02 | 12 pane sash window in 3 panels of 4 made of timber | Internally accessible | Yes | Paint cracks reveal partially rotten timber sill | Epoxy repair *** | 2 Broken panes
1.16 | C | 1250 | 1800 | 1 | Office 03 | 12 pane sash window in 2 panels of 6, painted shut upper made of timber | Internally accessible | Yes | Paint cracks reveal partially rotten timber sill | Epoxy repair ***
1.17 | C | 1250 | 1800 | 1 | Office 04 | 12 pane sash window in 2 panels of 6, painted shut upper made of timber | Internally accessible | Yes | No visibe signs of rotting timber | Local fill of smaller cracks**
1.18 | C | 1250 | 1800 | 1 | Office 05 | 12 pane sash window in 2 panels of 6 made of timber | Internally accessible | Yes | No visibe signs of rotting timber | Local fill of smaller cracks**
1.19 | C | 1250 | 1800 | 1 | Office 06 | 12 pane sash window in 2 panels of 6 made of timber | Internally accessible | Yes | Paint cracks reveal partially rotten timber | Epoxy repair ***
1.20 | C | 1250 | 1800 | 1 | Office 07 | 12 pane sash window made of timber | Internally accessible | Yes | Paint cracks reveal largely rotten timber sill | Partial sill replacement *
1.21 | H | 1200 | 1450 | 1 | Bathroom | 12 pane sash window in 2 panels of 6 made of timber | Internally accessible | Yes | No visibe signs of rotting timber | Local fill of smaller cracks**
1.22 | H | 1200 | 1450 | 1 | Kitchen |  | Internally accessible | Yes | No visibe signs of rotting timber | Local fill of smaller cracks**
1.23 | A | 1250 | 1450 | 1 | Office 08 | 9 pane sash window made of timber | Internally accessible | Yes | No visibe signs of rotting timber | Local fill of smaller cracks**
1.24 | A | 1250 | 1450 | 1 | Office 09 | 9 pane sash window made of timber | Internally accessible | Yes | Paint cracks reveal partially rotten timber | Epoxy repair ***
1.25 | F | 900 | 1400 | 1 | Clocktower 01 | 8 pane sash window in 2 panels made of timber | Access only by internal ladder | Yes | No visibe signs of rotting timber | Local fill of smaller cracks**
1.26 | F | 900 | 1400 | 1 | Clocktower 02 | 8 pane sash window in 2 panels made of timber | Internally inaccessible, assume window 1.25 condition | Yes | Unknown | TBC | TBC
1.27 | F | 900 | 1400 | 1 | Clocktower 03 | 8 pane sash window in 2 panels made of timber | Internally inaccessible, assume window 1.25 condition | Yes | Unknown | TBC | TBC
1.28 | J | 900 | DIA | 1 | Clocktower 04 | 9 pane circular window made of timber | Internally accessible | Yes | Cracked timber visible | Local fill of smaller cracks**
1.29 |  |  |  | 1 | Handling Collection 01 |  | Difficult to access internally due to height, externally inaccessible | NA | No visibe signs of rotting timber | Exclude from refurb due to inaccessibility | NA
1.30 |  |  |  | 1 | Handling Collection 02 |  | Difficult to access internally due to height, externally inaccessible | NA | Paint cracks reveal partially rotten timber sill | Exclude from refurb due to inaccessibility | NA
1.31 |  |  |  | 1 | Handling Collection 03 |  | Difficult to access internally due to height, externally inaccessible | NA | Paint cracks reveal partially rotten timber sill | Exclude from refurb due to inaccessibility | NA
1.32 |  |  |  | 1 | Handling Collection 04 |  | Internally and externally inaccessible | NA | Internally and externally inaccessible | Exclude from refurb due to inaccessibility | NA
1.33 | S | 2300 | 1400 | 1 | Handling Collection 05 |  | Externally Accessible | Yes | Paint cracks reveal largely rotten timber exterior | Partial sill replacement *
1.34 | S | 2300 | 1400 | 1 | Handling Collection 06 |  | Externally Accessible | Yes | Paint cracks reveal partially rotten timber exterior | Partial sill replacement *
1.35 | S | 2300 | 1400 | 1 | Handling Collection 07 |  | Externally Accessible | Yes | No visibe signs of rotting timber | Local fill of smaller cracks**
1.36 | S | 2300 | 1400 | 1 | Handling Collection 08 |  | Externally Accessible | Yes | Paint cracks reveal partially rotten timber exterior | Partial sill replacement *
1.37 | S | 2300 | 1400 | 1 | Handling Collection 09 |  | Externally Accessible | Yes | Paint cracks reveal partially rotten timber exterior | Partial sill replacement *
[8 empty] | * | Sill badly rotten on external face. Assume replacement of entire front (external) face of sill, to be pieced in below line of sash. See written specification for details.
[8 empty] | ** | Smaller areas of sill timber rotten adjacent to frame. Cut out soft timber, treat adjacent timber with consolidation sealant, use two pack expoxy filler to replace removed timber.
[8 empty] | *** | Timber appears in reasonable condition. Local fill of smaller cracks prior to redecoration.
[8 empty] | TBC | Window not accessible at time of survey. See tender documents for pricing assumptions to be used.
Items in red text excluded from this phase of work

## 2F
LaB_649_SC
Horniman Museum Window Redecoration and repair schedule. Second floor | [11 empty] | V01 05.08.2021
Window Number | TYPE | Approx Width | Approx Height | Level | Name | Description | Accessibility | Preparation + Redecoration | Condition Notes | Anticipated frame repair requirements | Additional Requirements | Replacement Glass
2.01 | K | 600 | 1050 | 2 | Office 01 |  | Difficult to access due to height | Yes | Unknown | TBC |  | TBC
2.02 | K | 600 | 1050 | 2 | Office 02 |  | Difficult to access due to height | Yes | Unknown | TBC |  | TBC
2.03 | D | 2450 | 1200 | 2 | Office 03 | 12 pane sash window in 3 panels of 4 made of timber | Internally accessible | Yes | Paint cracks reveal largely rotten timber sill | Partial sill replacement *
2.04 | D | 2450 | 1200 | 2 | Office 04 | 12 pane sash window in 3 panels of 4 made of timber | Internally accessible | Yes | Paint cracks reveal partially rotten timber sill, cracked sash timber | Epoxy repair ***
2.05 | D | 2450 | 1200 | 2 | Office 05 | 12 pane sash window in 3 panels of 4 made of timber | Difficult to access side windows that do not open | Yes | No visibe signs of rotting timber sill, cracked sash timber | Replace bottom rail ****
2.06 | E | 2450 | 1850 | 2 | Office 06 | 12 pane sash window in 3 panels of 4, painted shut upper made of timber | Internally accessible | Yes | Paint cracks reveal largely rotten timber sill | Partial sill replacement *
2.07 | D | 2450 | 1200 | 2 | Natural History 01 | 12 pane casement window in 3 panels of 4 made of timber | Difficult to access | Yes | Paint cracks reveal partially rotten timber sill | Epoxy repair *** | Fly screen to be installed
2.08 | D | 2450 | 1200 | 2 | Natural History 02 | 12 pane casement window in 3 panels of 4 made of timber | Difficult to access | Yes | Paint cracks reveal partially rotten timber sill | Epoxy repair *** | Fly screen to be installed
2.09 | D | 2450 | 1200 | 2 | Natural History Office | 12 pane casement window in 3 panels of 4 made of timber | Difficult to access | Yes | Paint cracks reveal partially rotten timber sill, cracked frame timber | Epoxy repair ***
2.10 | D | 2450 | 1200 | 2 | Natural History 03 | 12 pane casement window in 3 panels of 4 made of timber | Largely inaccessible due to blind location | Yes | Largely inaccessible due to blind location | TBC | Fly screen to be installed | TBC
2.11 | D | 2450 | 1200 | 2 | Natural History 04 | 12 pane casement window in 3 panels of 4 made of timber | Partially accessible | Yes | No visibe signs of rotting timber, largely inaccessible | Local fill of smaller cracks** | Fly screen to be installed
2.12 | X |  |  | 2 | External Timber Door | Timber Door | Externally accessible | Yes | Largely rotten timber, door to be replaced | Replace entire door | Existing fly screen to be retained
2.13 | Z | 400 | 1275 | 2 | Natural History 05 | 2 pane sash window made of timber | Internally accessible | Yes | Paint cracks reveal largely rotten timber | Partial sill replacement * | Fly screen to be installed
[8 empty] | * | Sill badly rotten on external face. Assume replacement of entire front (external) face of sill, to be pieced in below line of sash. See written specification for details.
[8 empty] | ** | Smaller areas of sill timber rotten adjacent to frame. Cut out soft timber, treat adjacent timber with consolidation sealant, use two pack expoxy filler to replace removed timber. |  |  | GF
[8 empty] | *** | Timber appears in reasonable condition. Local fill of smaller cracks prior to redecoration. |  |  | FF
[8 empty] | **** | Sill in reasonable condition. Local fill of smaller cracks prior to redecoration. Bottom rail of lower sash largely rotten. Full replacement of bottom rail using scarfed-joints necessary. See written specification for details. |  |  | SF
[8 empty] | TBC | Window not accessible at time of survey. See tender documents for pricing assumptions to be used. |  |  | TOTALS
TENDER DOC ALLOWANCE

## Roof
LaB_649_SC
Horniman Museum Window Redecoration and repair schedule. North Hall Roof | [6 empty] | V01 05.08.2021 | V01 05.08.2021
Window Number | Level | Name | Size | Description | Accessibility | Condition, repair and redecoration
R.01 | R | Dormer 01 | Not surveyed | Timber, paired louvre doors within timber frame set within dorma roof | Lanyard and harness | East facing paired timber doors including inner frame and louvres very rotten and require refabrication to match original profiles. Outer frame to be retained and repaired. See written specification for details and working method. Measured survey of individual louvre doors and shop drawings will need to prepared by the contractor for architect approval. West facing paired louvre doors are less decayed and to be repaired using resin filler where necessary, prepared and redecorated. Should more substantive timber repair on the west facing doors be neccessary, the condition and extent of repair should be reviewed and agreed with the architect prior to carrying out the works. Should outer frames of louvre door require more substantive repair beyond resin filling, this should also be reviewed and agreed with the achitect prior to carrying out the works.
R.02 | R | Dormer 02 | Not surveyed | Timber, paired louvre doors within timber frame set within dorma roof | Lanyard and harness | As R.01 above.
R.03 | R | Dormer 03 | Not surveyed | Timber, paired louvre doors within timber frame set within dorma roof | Lanyard and harness | As R.01 above.