## Price list
PRICE LIST
Item No. | Doc Ref. | Part | Description | Fixed Price | Variable Price | Comments
1 | 2 | P&M | Mobilisation to site, all H&S compliance, risk assessments, Method Statements etc.. Barrier fencing, compound & facilities, personnel induction. All on-going specific requirements of working within The Regents Park, submission of O&M Manuals. CDM Compliance as Principal Contractor | 0 | NA | Particular reference must be made for conditions specific to working within Regents Park
2 | 5.1.5 | 1 | Provide on-site power for drilling stage | 0 | N/A |  | NOTE: please provide a price in each of the yellow higlighted cells
3 | 5.1.5 | 1 | Excavate trial hole | 0 | N/A
4 | 5.1.5 | 1 | Drill hole/s for temporary casing/s & finishing | 0 | N/A | Temporary casings and retained upper strata casings to be included withn the fixed price lump sum
5 | 5.1.5 | 1 | Verticality check at all stages | 0 | N/A
6 | 5.1.5 | 1 | Installation of 219mm OD steel casing into top of Chalk & grouting of annulus | 0 | N/A | Based on 69m depth of casing +/- 5%
7 | 5.1.5 | 1 | Installation of 219mm OD steel casing into top of Chalk & grouting of annulus | N/A | 0 | Variable rate based on per linear metre
8 | 5.1.5 | 1 | Open hole at 200mm ∅ to 30m Chalk penetration | 0 | N/A | Based on 30m penetration +/- 5%
9 | 5.1.5 | 1 | Open hole at 200mm ∅ to 30m Chalk penetration | N/A | 0 | Variable rate based on per linear metre
10 | 5.1.5 | 1 | Flange top on casing below ground level | 0 | N/A
11 | 5.1.5 | 1 | Safe back fill of hole with Type 1 | 0 | N/A
12 | 5.1.5 | 1 | Removal of drilling slurries and all wastes in this stage off site | 0 | N/A | Settlement tanks installation in lieu of pits and all other containment is within Mobilisation
13 | 5.2 | 2 | Air lifting (pre-acid) | 0 | N/A | Based on set up and 5 hrs
14 | 5.2 | 2 | Air lifting | N/A | 0 | Variable rate based on hours required beyond 5 hrs
15 | 5.2 | 2 | Acidisation | 0 | N/A | Based on 5m³ and 12 hours
16 | 5.2 | 2 | Acidisation | N/A | 0 | Based on additional acid per cubic metre
17 | 5.2 | 2 | Acidisation | N/A | 0 | Based on additional operation time per hour
18 | 5.2 | 2 | Removal of acid to licenced disposal point | 0 | N/A | Based on residue from 5m³
19 | 5.2 | 2 | Removal of acid to licenced disposal point | N/A | 0 | Based on specified tanker size over and above initial lump sum for 5m³
20 | 5.2 | 2 | Air lifting (post acid) | 0 | N/A | Based on set up and 5 hrs
21 | 5.2 | 2 | Air lifting | N/A | 0 | Variable rate based on hours required beyond 5 hrs
22 | 5.3.1 | 3 | Borehole pump and well head installation excluding valves/meters etc.. | 0 | N/A
23 | 5.3.1 | 3 | Completion of chamber works including installation of all motorised valves, water meters, ducting to PH etc. | 0 | N/A
24 | 5.3.2 | 3 | Connection to new power supply within building north of Chester Road | 0 | N/A
25 | 5.3.2 | 3 | Trenching and laying all power cabling and ducting to pump house (excluding road and path crossings) based on 180m | 0 | N/A | Based on 180m
26 | 5.3.2 | 3 | Trenching and laying all power cabling and ducting to pump house (excluding road and path crossings) | N/A | 0 | Rate for more or less trenching 180m plus/minus 10% only
27 | 5.3.2 | 3 | One major road crossing of Chester Road | 0 | N/A
28 | 5.3.2 | 3 | Three major path crossings | 0 | N/A
29 | 5.3.2 | 3 | Rate for additional or fewer path crossings | N/A | 0
30 | 5.3.2 | 3 | Preparatory works in pump house to provide power termination for onward use | 0 | N/A
31 | 5.3.3 | 3 | Installation and commissioning of control panel | 0 | N/A
32 | 5.3.4 | 4 | Permanent pipe work and ducting in Marylebone Green between PH and hydrant - all installation to 190m | 0 | N/A | Includes flexiduct, 90mm for lake and 90mm for hydrant at 1.2m
33 | 5.3.4 | 4 | Permanent pipe work and ducting in Marylebone Green between PH and hydrant - all installation to 190m | N/A | 0 | Variable rate based on more or less than 190m of this type (plus or minus 10%)
34 | 5.3.4 | 4 | Permanent pipe work and ducting in Marylebone Green between Hydrant and end of 1.2m deep section - all installation to 140m | 0 | N/A | Includes flexiduct and 90mm for lake only at 1.2m
35 | 5.3.4 | 4 | Permanent pipe work and ducting in Marylebone Green between Hydrant and end of 1.2m deep section - all installation to 140m | N/A | 0 | Variable rate based on more or less than 140m of this type (plus or minus 10%)
36 | 5.3.4 | 4 | Permanent pipe work and ducting in Marylebone Green between end of 1.2m deep section and cascade - all installation to 90m | 0 | N/A | Includes flexiduct and 90mm for lake only at 1.2m
37 | 5.3.4 | 4 | Permanent pipe work and ducting in Marylebone Green between end of 1.2m deep section and cascade - all installation to 90m | N/A | 0 | Variable rate based on more or less than 140m of this type (plus or minus 10%)
38 | 5.3.5 | 4 | Connection of 90mm hydrant line into existing below ground irrigation discharge line | 0 | N/A
39 | 5.3.5 | 4 | Connection of 90mm borehole to Tank supply to the tank | 0 | N/A
40 | 5.4.1 | 5 | Test pumping - Observation hole monitoring | 0 | N/A | Based on 2 No. observation hole installations
41 | 5.4.1 | 5 | Test pumping - Observation hole monitoring | N/A | 0 | Variable rate for greater or fewer observation hole set ups
42 | 5.4.2 | 5 | Installation and set up of Royal Parks free-issue Hydro-Logic Frog data logger system | 0 | N/A
43 | 5.4.3 | 5 | Calibration test | 0 | N/A
44 | 5.4.4 | 5 | Step test | 0 | N/A
45 | 5.4.5 | 5 | Constant rate test (48 hour) | 0 | N/A
46 | 5.4.5 | 5 | Constant rate test | N/A | 0 | Price for additional days (per day) if required
47 | 5.4.6 | 5 | Receipt of observation borehole data, plus data from Royal Parks free-issued Hydro-Logic system, plus data from The (other) Regents Park borehole logging system, and analysis | 0 | N/A
48 | 5.4.7 | 5 | Geophysical monitoring | 0 | N/A
49 | 5.4.8 | 5 | Water chemistry analysis | 0 | N/A
|  |  | Engineer's contingency for variations only | 5000 | N/A
Total price exclusive of VAT |  |  |  | 5000