Specification appendix

Ground Floor

Entrance area

As per the brief the imagery below shows the unit in current state and a unit close by with the glazing option we are seeking.

Existing area;

Door in the close position

Width of door is 4.15m

Aspired glazing look;

Glazing within free standing frame to allow more natural light into the unit.

Width 4.15m

Height Standard double doors with no over glazing as shown.

Retractable seal for inclement days

Ablutions area

As per the brief, the imagery below shows the space available for 2 enclosed toilet units. Note the services are located just behind this wall.

Height 1.80m

Width 1.60m

Length 2.70m

Breakout area

As per the brief, the imagery below shows the area available to install the flooring, kitchen units, sink and space for a standard size fridge unit.

Kitchen and breakout area

Clear traffic Way

Bar Area

Simulation Areas;

Area 1 – Children’s Play Area

As per the brief, the imagery below shows the position and space available to have the low walls installed.

Area 2 – Bathroom and Cubicle Toilet

As per the brief, the imagery below shows the position and space available to have the low walls installed. Not the cubicle will sit under the stairs to maximise the space available.

Bath

Basin

Toilet cubicle

Low wall partition

Low wall to view into the Toilet cubicle

Area 3 – Roadway

Area 4 – Roadway

For both of these areas, just lighting needs to be installed.

Area 5 – Construction

Just power installed in this unit (low and central) and lighting described.

Double power socket

Area 6 – Bedroom

As per the brief, the imagery below shows the position and space available to have the low walls installed

Double power socket

Area 7 – Lounge

As per the brief, the imagery below shows the position and space available to have the low walls installed

Double power socket

Area 8 - Bar

As per the brief, the imagery below shows the position and space available.

Cut out

Area 9 Working at Heights

As per the brief, the imagery below shows the position and space.

Cut outs

Traffic way

First Floor

Archive and Storage

Training Space 1

Archive access from the upper front office.

Archive and storage

Heating