Proposed Active Circuit : Western Road Recreation Ground

**Check List of proposed work..itemised details with estimated quantities**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Item No:** | **Description**  **For All-in Rate** | **Estimated Quantity** | **Indicative**  **Unit Rate £** | **Total**  **£** | **NOTES** |
| **0** | Contractor’s Preliminaries  Eg: Compound, Security & Safety of Site, etc | ITEM |  |  | Inclusive of : |
| **1** | Cross Section of Standard Construction .Concrete Edgings  A-B-C,E-F-G & J-K | **317 m** | /metre run |  | Sketch I refers |
| **2** | Cross Section of No Dig Construction  G-H-I-J | **191 m** | /metre run |  | Sketch II refers |
| **3** | Circular Exercise Area | ***Defer to a later Phase, & link with outdoor Gym*** | | | |
| **4** | Cross Section of Widening Existing Path : 1.1 to 2.0 m Standard  Inclusive of all work: K-A | **30m** | Sum  Per item 4 |  | Sketch III-a refers with  40mm AC 10 Surf  oversurfacing |
| **5** | Cross Section of Widening Existing Path : 1.5 to 2.0 m Standard  Inclusive of all work: C-D | **19 m** | Sum  Per item 5 |  | Sketch III-b refers with  40mm AC 10 Surf  oversurfacing |
| **6** | Widening of existing pedestrian access from gate, as detailed in Schedule @ **Gate to B** | **12m** | Sum  Per item 6 |  | Inclusive of all work & oversurface with 40mm AC 10 Surf. |

Sheet 1 of 3

Proposed Active Circuit : Western Road Recreation Ground Sheet 2 of 3

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Item No:** | **Description for all-in Rate** | **Total Quantity** | **Indicative**  **Unit Rate £** | **Total £** | **NOTES** |
| **7** | Section B-C : Preparatory Work  Break up and cart away existing concrete path 1.1 m wide x say 100mm thick with 40mm bitmac surfacing & pc edgings both sides. | **27 m** | /metre run |  | Add this metre rate to that for construction of the Standard path, allowing a reduction for 100mm less excavation depth |
| **8** | **Section D – E**  Existing concrete hardstanding | ***Hardstanding to remain as existing, agreed with Cricket Club 24/1*** | | | |
| **9** | **Section E-F: Preparatory work:**  Break up and cart away existing concrete path (including 32 metres of pc slabs 900x 600mm) & in-situ 900 m wide x say 100mm thick. | **98 m** | /metre run |  | Add this metre rate to that for construction of the Standard path, allowing a reduction for 100mm less excavation depth |
| **10** | Import topsoil to make good against new construction | **Say 50**  **cu .m** | / cu.m |  | Additional free from  shallower excavation for the No-Dig sections |
| **11** | Spread topsoil avge 40mm  deep & apply grass seed, making good against new construction . | **Est’d. 1350 sq.m** | / sq.m |  | Including side slopes against No-Dig sections |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Item No:** | **Description for all-in Rate** | **Total Quantity** | **Indicative**  **Unit Rate £** | **Total £** | **NOTES** |

Proposed Active Circuit : Western Road Recreation GroundSheet 3 of 3

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Item No:** | **Description for all-in Rate** | **Total Quantity** | **Indicative**  **Unit Rate £** | **Total £** | **NOTES** |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **12** | **Provisional Items :**  Break out and adjust inset Manhole covers & other Ironwork, nominally raising by say 75 mm, to match new adjoining levels :  a. 900x 650 cover & frame  b. 650 x600 Ditto  c. 675 x 450 Ditto  d. 7 No: 200 x200 SV/WO covers | **1**  **1**  **1**  **7** | / each.  / each.  / each.  / each. |  |  |

**Resulting Total : Items 0-2 & 4-7 & 9-12 = £………………….**

Schedule all as agreed by Hailsham Town Council on 29th January 2020

Refer also to Supplementary Check List Pricing for Installation of ductwork etc to ultimately serve the proposed Path Lighting System

17 Feb 2020