TENDER 701012373 – THE PROVISION OF TEMPORARY STRENGTH AND CONDITIONING CENTRES IN SUPPORT OF FIELD ARMY’S OPTIMISING HUMAN PERFORMANCE (OHP) PROGRAMME

MINIMUM TECHNICAL SPECIFICATIONS

Version 2

| Serial | Minimum Technical Specification |
| --- | --- |
| 1 | The workout area should have a shelter that allows training with protection from the rain and wind. |
| 2 | The training area should be a minimum of 30m x 20m. |
| 3 | Minimum height of 2.6m above all the floor area. |
| 4 | It should always have a solar-powered LED lighting with batteries for night-time use. The SCS cannot be connected to any mains power as this would subject this equipment-based solution to infrastructure policy. |
| 5 | It should come with a maintenance contract covering a period of 5 years |
| 6 | It should be delivered and set up on location. |
| 7 | It should come with relevant Health and Safety Certification |
| 8 | It should have strength and conditioning flooring for the whole training area. This should consist of Rubber impact tiles (minimum of 30mm deep) capable of managing the impact force from repeated weight impacts across the complete floor area. |
| 9 | It should have an expected lifespan of 15 years with a 5-year warranty |
| 10 | It should be closed at each end with garage style doors and a side door for access at both ends. |
| 11 | It should have internal access to the ISO container for either equipment storage or set up, which can also be secured |
| 12 | It must comply with BS EN 1991-1-3:2003 or equivalent for snow loading |
| 13 | It must comply with BS EN 1991-1-4:2005 or equivalent for wind loading |
| 14 | The galvanised structural steel must comply with BS4360 or EN 100025. Other weatherproof metals can be used, like aluminium, for the structure. |
| 15 | It must be fire rated to British or European standards |
|  | Each gym should be filled with the following equipment: |
| 16 | Hypertrophy rig / wings to facilitate 8 people conducting heaves / squats at any one time. |
| 17 | 16 Olympic lifting bars and collars |
| 18 | 8 x Full sets of Olympic discs & suitable storage trays (A full set is - 2 x 2.5kg, 5kg, 10kg, 15kg, 20kg, 25Kg) |
| 19 | 4 x Full sets of various weighted dumbbells & holders. (A full set is - 2 x 2.5kg, 5kg, 7.5kg, 10kg, 12.5kg, 15kg, 17.5kg, 20kg, 22.5kg, 25kg, 27.5kg, 30kg, 32.5kg, 35kg, 37.5kg, 40kg) |
| 20 | 8 x Free weight training benches. |
| 21 | 4 x Full sets of various weighted Kettle-bells & holders. (A full set is - 1 x 8kg, 12kg, 16kg, 20kg, 24kg, 28kg, 30kg, 32kg, 36kg) |
| 22 | 8 x Full sets of various resistant bands. |
| 23 | 4 x Full sets of various weighted Training Bags & holders. (a full set is - 1 x 10kg, 15kg, 20kg, 25kg, 30kg, 35kg, 40kg, 45kg, 50kg) |
| 24 | 4 x Concept 2 Rowers |
| 25 | 4 x Ski-Ergs. |
| 26 | 4 x Air-Bikes. |
| 27 | 4 Sets of various weighted Med-balls & holders. (A full set is - 1 x 4kg, 5kg, 7kg, 8kg, 10kg) |
| 28 | 8 x Plyo jump-boxes. |
| 29 | 8 x squat stations either built into the rig via adjustable J-Pegs or stand-alone squat stands. |
| 30 | 2-year warranty on all equipment. |