## 01-30-9 - PROVISIONAL SUMS
Item | Description | Qty | Unit | Rate | Total
|  |  |  | £ | £
| PROVISIONAL SUMS |  |  |  |  | 14
| INCLUDE THE FOLLOWING DEFINED PROVISIONAL SUMS |  |  |  |  | 14.020
| Works generally |  |  |  |  | 14.020.010
A | timber perimeter skirt and sleepers |  | Item |  | 2000 | 14.020.015
B | supply of ironmongery to internal doors |  | Item |  | 250 | 14.020.020
C | supply and fix roller blinds to windows |  | Item |  | 1200 | 14.020.025
D | supply and fix hatch to Office/Kitchen |  | Item |  | 500 | 14.020.030
E | supply and fix roof access door/hatch |  | Item |  | 400 | 14.020.032
F | supply and fix Changing Places sanitaryware, hoist and fittings |  | Item |  | 20000 | 14.020.035
G | supply and fix Kitchen fittings and equipment |  | Item |  | 20000 | 14.020.040
H | supply and fix stainless steel modular shelving in Store Room |  | Item |  | 1500 | 14.020.045
J | constructing recycling Store |  | Item |  | 1500 | 14.020.050
K | extending terrace on North Elevation |  | Item |  | 750 | 14.020.050
L | bird/bat/bee boxes |  | Item |  | 300 | 14.020.055
| To Collection |  |  |  | 48400
PAGE 3 / 1
Total
£
Collection From
| 3/1 |  |  |  | 48400
| 9 - PROVISIONAL SUMS Carried to Summary |  |  |  | 48400

## 02-BILL 03 - PROVISIONAL SUMS A
Item | Description | Qty | Unit | Rate | Total
|  |  |  | £ | £
Collection From
| 9 - PROVISIONAL SUMS |  |  |  | 48400
| BILL 03 - PROVISIONAL SUMS AND DAYWORK Carried to Summary |  |  |  | 48400

## 03-02-1.1 - SUBSTRUCTURE
Item | Description | Qty | Unit | Rate | Total
|  |  |  | £ | £
| SUBSTRUCTURE |  |  |  |  | 01
| GROUND FLOOR CONSTRUCTION |  |  |  |  | 01.040
| Excavation |  |  |  |  | 01.040.010
A | topsoil | 81 | m³ | 0 | 0 | 01.040.010.002
B | reduce levels | 191 | m³ | 0 | 0 | 01.040.010.005
C | deposit topsoil on site; not exceeding 100 m distant;
| compacting | 81 | m³ | 0 | 0 | 01.040.010.017
D | deposit excavated material on site; not exceeding 100 m
| distant; compacting | 191 | m³ | 0 | 0 | 01.040.010.018
E | level and compact surfaces of excavations | 269 | m² | 0 | 0 | 01.040.010.022
F | grading surfaces of excavations to slope; compacting | 102 | m² | 0 | 0 | 01.040.010.029
| Imported hardcore; compacting in 150 thick layers |  |  |  |  | 01.040.020
G | filling to make up levels | 40 | m³ | 0 | 0 | 01.040.020.025
H | levellling and compacting surfaces of hardcore | 269 | m² | 0 | 0 | 01.040.020.030
| Terram Geotextile permeable membrane |  |  |  |  | 01.040.022
J | laid on hardcore; weighting down | 269 | m² | 0 | 0 | 01.040.022.035
Contractor Designed Jackpad system; 360 x 360 x 80 recycled
plastic Jackpad 400 support block; 450 x 450 x 50 recycled plastic
incremental packers; painted steel adjuster; as MPA Drwgs
| 23291/010/C02 & /030/C02 |  |  |  |  | 01.040.025
K | setting in position on hardcore; adjusting to required height;
| connecting to joists; proof tested 60kN - SWL 48kN | 52 | Nr | 0 | 0 | 01.040.025.025
| Treated sawn softwood; Grade C24 |  |  |  |  | 01.040.026
L | 47 x 200; floor joists | 197 | m | 0 | 0 | 01.040.026.020
M | 2 Nr. 75 x 225; floor joists | 78 | m | 0 | 0 | 01.040.026.030
| Contractor Designed engineered timber JJI joists |  |  |  |  | 01.040.028
N | 300 deep | 197 | m | 0 | 0 | 01.040.028.022
| Glulam beams; laminated timber beams; Glulam Ltd. |  |  |  |  | 01.040.030
P | 140 x 270; ref. GL30h | 93 | m | 0 | 0 | 01.040.030.020
Lewis metal deck; Reppel Ltd; fixing in accordance with
| manufacturer's instructions |  |  |  |  | 01.040.032
Q | 16 profile height; floors; over 300 wide | 112 | m² | 0 | 0 | 01.040.032.030
| To Collection |  |  |  | 0
PAGE 3 / 4
Item | Description | Qty | Unit | Rate | Total
|  |  |  | £ | £
Wrought softwood deck boards; 140 wide boards, with 10 gaps;
| fixing with passivated deck screws |  |  |  |  | 01.040.038
A | 28 thick; floors; over 300 wide | 64 | m² | 0 | 0 | 01.040.038.030
| Galvanised steel accessories |  |  |  |  | 01.040.040
B | joist hangers; single; nail over; 47 x 200 | 197 | Nr | 0 | 0 | 01.040.040.020
C | joist hangers; single; nail over; 47 x 300 | 58 | Nr | 0 | 0 | 01.040.040.022
D | joist hangers; single; nail over; 150 x 225 | 4 | Nr | 0 | 0 | 01.040.040.025
E | joist hangers; single; nail over; 150 x 275 | 1 | Nr | 0 | 0 | 01.040.040.027
F | equal angles; 150 x 150 x 10 | 64 | Nr | 0 | 0 | 01.040.040.030
G | M12 x 230 long Grade 4.6 bolts, nuts x 1, 50 x 50 washers x 1 | 100 | Nr | 0 | 0 | 01.040.040.035
H | M12 x 240 long Grade 4.6 bolts, nuts x 1, 50 x 50 washers x 1 | 78 | Nr | 0 | 0 | 01.040.040.040
| Panelvent sheathing board; Panel Agency Ltd. |  |  |  |  | 01.040.044
J | 12 thick; horizontal; to soffits | 131 | m² | 0 | 0 | 01.040.044.040
K | 12 thick;vertical; to walls | 20 | m² | 0 | 0 | 01.040.044.045
| Blown insulation; Warmcel; PYC Group |  |  |  |  | 01.040.047
L | 300 thick; between rafters | 151 | m² | 0 | 0 | 01.040.047.015
| Sundries |  |  |  |  | 01.040.050
M | rodent mesh | 151 | m² | 0 | 0 | 01.040.050.035
| To Collection |  |  |  | 0
PAGE 3 / 5
Total
£
Collection From
| 3/4 |  |  |  | 0
| 3/5 |  |  |  | 0
| 1.1 - SUBSTRUCTURE Carried to Summary |  |  |  | 0

## 04-4-2.1 - FRAME
Item | Description | Qty | Unit | Rate | Total
|  |  |  | £ | £
| SUPERSTRUCTRE |  |  |  |  | 02
| FRAME |  |  |  |  | 02.010
Contractor Designed timber frame; including external walls,
forming openings, lintels, Glulam beams, roof structure, plywood
sheathing, internal walls, posts; straps, clips and hangers; as Kast
Drwgs 2311/4/0101/B, /0102/B, /0103/B, /0201/C, /0202/C,
/0203/C, /0204/C, /0301/A, /0302/A, /0303/A, /0304/A and
| Specification and MPA Drwgs 23291/020/C01 & /030/C02 |  |  |  |  | 02.010.050
A | complete timber frame |  | Item |  | 0 | 02.010.050.010
B | ring beam at base of walls; 45 x 300 LVL top and bottom
| plates; 3 Nr. 50 x 200 treated sawn softwood C24 blockings | 47 | m | 0 | 0 | 02.010.050.015
| To Collection |  |  |  | 0
PAGE 3 / 7
Total
£
Collection From
| 3/7 |  |  |  | 0
| 2.1 - FRAME Carried to Summary |  |  |  | 0

## 05-4-2.2 - UPPER FLOORS
Item | Description | Qty | Unit | Rate | Total
|  |  |  | £ | £
| SUPERSTRUCTRE |  |  |  |  | 02
| UPPER FLOORS |  |  |  |  | 02.020
| Treated sawn softwood; Grade C24 |  |  |  |  | 02.020.026
A | 47 x 200; floor joists | 35 | m | 0 | 0 | 02.020.026.020
B | 47 x 200; wall bearer; fixing with coach screws | 7 | m | 0 | 0 | 02.020.026.020
| OSB; BS EN 300: 2006; fixing with screws |  |  |  |  | 02.020.030
C | 18 thick; to floors; over 300 wide | 13 | m² | 0 | 0 | 02.020.030.010
| Galvanised steel accessories |  |  |  |  | 02.030.035
D | joist hangers; single; nail over; 47 x 200 | 20 | Nr | 0 | 0 | 02.030.035.028
| To Collection |  |  |  | 0
PAGE 3 / 9
Total
£
Collection From
| 3/9 |  |  |  | 0
| 2.2 - UPPER FLOORS Carried to Summary |  |  |  | 0

## 06-4-2.3 - ROOF
Item | Description | Qty | Unit | Rate | Total
|  |  |  | £ | £
| SUPERSTRUCTRE |  |  |  |  | 02
| ROOF |  |  |  |  | 02.030
Corrugated powder coated steel roof sheeting; Cladco, colour
Goosewing Grey; 25 x 25 treated sawn softwood battens fixed
through insulation (measured separately) with Heco-Topix 316
stainless steel screws, Ampack Ampatop Aero breather
membrane; 25 x 50 treated sawn softwood counter battens fixed
with galvanised ring shank nails; fixing in accordance with
| manufacturer's instructions |  |  |  |  | 02.030.002
A | 35 degree pitch; to timber | 174 | m² | 0 | 0 | 02.030.002.015
B | eaves filler and trim | 35 | m | 0 | 0 | 02.030.002.020
C | verge flashing; Plastisol PVC | 20 | m | 0 | 0 | 02.030.002.025
D | ridge flashing; Plastisol PVC ventilated dry ridge system | 17 | m | 0 | 0 | 02.030.002.030
Polycarbonate roof sheeting; Clear Amber Corrapol Stormproof
High Profile; fixing with Corrapol stainless steel screws and
| washers |  |  |  |  | 02.030.003
E | 5 degree pitch; to timber | 65 | m² | 0 | 0 | 02.030.003.020
F | eaves filler and trim | 33 | m | 0 | 0 | 02.030.003.022
G | verge flashing | 5 | m | 0 | 0 | 02.030.003.025
H | ridge flashing | 7 | m | 0 | 0 | 02.030.003.030
J | top wall flashing | 29 | m | 0 | 0 | 02.030.003.035
| Treated sawn softwood; Grade C16 |  |  |  |  | 02.030.010
K | 38 x 89 battens; at 400 centres | 134 | m² | 0 | 0 | 02.030.010.022
| Treated sawn softwood; Grade C24 |  |  |  |  | 02.030.012
L | 50 x 150; wall plate; fixing to timber with coach screws at 400
| centres | 29 | m | 0 | 0 | 02.030.012.010
M | 63 x 150; flat roof joists | 126 | m | 0 | 0 | 02.030.012.015
N | 3 Nr. 50 x 200; post; M12 bolts at 400 centres, nuts x 1,
| washers x 2 | 24 | m | 0 | 0 | 02.030.012.021
P | 3 Nr. 75 x 300; eaves beam; M12 bolts at 400 centres, nuts x 1,
| washers x 2 | 33 | m | 0 | 0 | 02.030.012.025
| British Larch; fixing with stainless steel ring shank nails |  |  |  |  | 02.030.017
Q | 20 x 65 fascia | 68 | m | 0 | 0 | 02.030.017.028
| To Collection |  |  |  | 0
PAGE 3 / 11
Item | Description | Qty | Unit | Rate | Total
|  |  |  | £ | £
Air tight sheathing; Smartly Propassiv; Medite; fixing with stainless
| steel screws; taping joints with Tescon Vana tape |  |  |  |  | 02.030.020
A | 12.5 thick; sloping ceilings; over 300 wide | 134 | m² | 0 | 0 | 02.030.020.020
| Galvanised steel accessories |  |  |  |  | 02.030.035
B | joist hangers; single; nail over; 63 x 150 | 110 | Nr | 0 | 0 | 02.030.035.028
C | concealed post base; Simpson CPT88Z; bolting to timber post
| and timber base | 11 | Nr | 0 | 0 | 02.030.035.065
Wood-fibre insulated sheathing; Pavatex Isolair tongued and
| grooved boards; fixing through timber battens |  |  |  |  | 02.030.040
D | 60 thick; to timber | 134 | m² | 0 | 0 | 02.030.040.020
| Blown insulation; Warmcel; PYC Group |  |  |  |  | 02.030.047
E | 300 thick; between rafters | 174 | m² | 0 | 0 | 02.030.047.015
| Compacfoam thermal break; Compac Ltd |  |  |  |  | 02.030.053
F | 50 x 150; between timbers | 29 | m | 0 | 0 | 02.030.053.025
Lindab Majestic galvanised steel rainwater pipes and fittings;
| fixing in accordance with manufacturer's instructions |  |  |  |  | 02.030.075
G | 100 diameter | 20 | m | 0 | 0 | 02.030.075.015
H | Extra over; connections to gutter | 8 | Nr | 0 | 0 | 02.030.075.017
J | Extra over; shoe | 8 | Nr | 0 | 0 | 02.030.075.020
K | Extra over; bend | 8 | Nr | 0 | 0 | 02.030.075.025
Lindab Majestic galvanised steel gutters and fittings; fixing in
| accordance with manufacturer's instructions |  |  |  |  | 02.030.080
L | 150 diameter; half round | 68 | m | 0 | 0 | 02.030.080.020
M | Extra over; stop ends | 6 | Nr | 0 | 0 | 02.030.080.025
N | Extra over; running outlet | 8 | Nr | 0 | 0 | 02.030.080.030
P | Extra over; angles | 2 | Nr | 0 | 0 | 02.030.080.035
| To Collection |  |  |  | 0
PAGE 3 / 12
Total
£
Collection From
| 3/11 |  |  |  | 0
| 3/12 |  |  |  | 0
| 2.3 - ROOF Carried to Summary |  |  |  | 0

## 07-4-2.5 - EXTERNAL WALLS
Item | Description | Qty | Unit | Rate | Total
|  |  |  | £ | £
| SUPERSTRUCTRE |  |  |  |  | 02
| EXTERNAL WALLS |  |  |  |  | 02.050
| Treated sawn softwood; Grade C16; painted black |  |  |  |  | 02.050.010
A | 45 x 45 counter battens; at 600 centres; fixing with 316 Grade
| stainless steel screws | 118 | m² | 0 | 0 | 02.050.010.020
B | 45 x 45 battens; at 600 centres; fixing through wood-fibre
| insulation with Heco-Topix 316 Grade stainless steel screws | 118 | m² | 0 | 0 | 02.050.010.022
Timber cladding; British Larch; 20 x 65 square edge, with 10 mm
gaps between boards; random lengths; fixing with stainless steel
| ring shank nails |  |  |  |  | 02.050.060
C | over 300 wide; vertical; to timber | 119 | m² | 0 | 0 | 02.050.060.020
D | not exceeding 300 wide; vertical; to timber | 50 | m | 0 | 0 | 02.050.060.020
| Aluminium cladding accessories; powder coated black |  |  |  |  | 02.050.061
E | drip flashing; at top of cladding | 54 | m | 0 | 0 | 02.050.061.035
F | drip flashing; at heads of openings | 22 | m | 0 | 0 | 02.050.061.035
| Stainless steel cladding accessories |  |  |  |  | 02.050.062
G | insect mesh; at base of cladding | 42 | m | 0 | 0 | 02.050.062.035
Wood-fibre insulated sheathing; Pavatex Isolair tongued and
| grooved boards; fixing through timber battens |  |  |  |  | 02.050.090
H | 60 thick; to timber | 118 | m² | 0 | 0 | 02.050.090.020
| Blown insulation; Warmcel; PYC Group |  |  |  |  | 02.050.100
J | 300 thick; between studs | 113 | m² | 0 | 0 | 02.050.100.015
Breather membrane; Amatop RF black, UV durable; fixing with
| stainless steel large head nails |  |  |  |  | 02.050.105
K | vertical; to timber | 128 | m² | 0 | 0 | 02.050.105.020
| Sundries; rodent mesh |  |  |  |  | 02.050.110
L | vertical; to timber | 128 | m² | 0 | 0 | 02.050.110.025
Fire retardent; HR Prof; Fire Retardent UK Ltd; to achieve Euro
| Class 0 spread of flame; external |  |  |  |  | 02.050.130
M | timber walls; open jointed; over 300 girth | 28 | m² | 0 | 0 | 02.050.130.030
| To Collection |  |  |  | 0
PAGE 3 / 14
Total
£
Collection From
| 3/14 |  |  |  | 0
| 2.5 - EXTERNAL WALLS Carried to Summary |  |  |  | 0

## 08-4-2.6 - WINDOWS AND EXTERNAL
Item | Description | Qty | Unit | Rate | Total
|  |  |  | £ | £
| SUPERSTRUCTRE |  |  |  |  | 02
| WINDOWS AND EXTERNAL DOORS |  |  |  |  | 02.060
Exterior grade plywood; WBP bonded; BS EN 314-2: 1993; fixing
| with screws |  |  |  |  | 02.060.003
A | window board; 22 x 260 | 11 | m | 0 | 0 | 02.060.003.025
B | window packers; 18 x 260 | 12 | m | 0 | 0 | 02.060.003.025
| Treated wrought softwood |  |  |  |  | 02.060.008
C | window board; 22 x 260 | 11 | m | 0 | 0 | 02.060.008.030
Pro Clima Extoseal cavity tray; turning up 150 at ends and 50 down
| at front |  |  |  |  | 02.060.010
D | 375 girth; to suit 800 structural opening | 1 | Nr | 0 | 0 | 02.060.010.015
E | 375 girth; to suit 1175 structural opening | 2 | Nr | 0 | 0 | 02.060.010.020
F | 375 girth; to suit 1775 structural opening | 5 | Nr | 0 | 0 | 02.060.010.025
G | 375 girth; to suit 1925 structural opening | 1 | Nr | 0 | 0 | 02.060.010.030
H | 375 girth; to suit 5200 structural opening | 1 | Nr | 0 | 0 | 02.060.010.035
| Tescon Vanna airtightness tape; silicone road and bed |  |  |  |  | 02.060.015
J | sealing between Propassiv board and window/door; around
| openings | 50 | m | 0 | 0 | 02.060.015.020
Composite windows; polyester powder coated Aluminium/timber;
Rationel Auraplus; triple glazed; extended cills; as Kast Drwg 2311
| -4-3201/A |  |  |  |  | 02.060.030
K | to suit 800 x 1200 structural opening; side hung | 1 | Nr | 0 | 0 | 02.060.030.015
L | to suit 1775 x 1200 structural opening; top hung | 5 | Nr | 0 | 0 | 02.060.030.020
Composite doors and frames; polyester powder coated
Aluminium/timber; Rationel Auraplus; triple glazed; extended
| thresholds; as Kast Drwg 2311-4-3201/A |  |  |  |  | 02.060.035
M | to suit 1175 x 2100 structural opening; side hung; solid door
| (no glazing) | 1 | Nr | 0 | 0 | 02.060.035.020
N | to suit 1175 x 2100 structural opening; side hung; 2XG door | 1 | Nr | 0 | 0 | 02.060.035.025
P | to suit 1925 x 2108 structural opening; side hung; fully glazed,
| with fixed sidelight | 1 | Nr | 0 | 0 | 02.060.035.030
Q | to suit 5200 x 2100 structural opening; sliding doors; fully
| glazed, sliding doors x 2, fixed sidelights x 2 | 1 | Nr | 0 | 0 | 02.060.035.035
| To Collection |  |  |  | 0
PAGE 3 / 16
Item | Description | Qty | Unit | Rate | Total
|  |  |  | £ | £
| One coat varnish; carried out on site before fixing members |  |  |  |  | 02.060.205
A | window boards; not exceeding 300 girth | 11 | m | 0 | 0 | 02.060.205.020
One coat wood knot and resin blocking varnish; three coats varnish
| full gloss finish |  |  |  |  | 02.060.230
B | window boards; not exceeding 300 girth | 11 | m | 0 | 0 | 02.060.230.030
| To Collection |  |  |  | 0
PAGE 3 / 17
Total
£
Collection From
| 3/16 |  |  |  | 0
| 3/17 |  |  |  | 0
| 2.6 - WINDOWS AND EXTERNAL DOORS Carried to Summary |  |  |  | 0

## 09-4-2.7 - INTERNAL WALLS AND P
Item | Description | Qty | Unit | Rate | Total
|  |  |  | £ | £
| SUPERSTRUCTRE |  |  |  |  | 02
| INTERNAL WALLS AND PARTITIONS |  |  |  |  | 02.070
| Blown insulation; Warmcel; PYC Group |  |  |  |  | 02.070.100
A | 300 thick; between studs | 25 | m² | 0 | 0 | 02.070.100.015
| Insulation; Rockwool acoustic mineral wool; butt joints |  |  |  |  | 02.070.136
B | 50 thick; between studs | 58 | m² | 0 | 0 | 02.070.136.035
| To Collection |  |  |  | 0
PAGE 3 / 19
Total
£
Collection From
| 3/19 |  |  |  | 0
| 2.7 - INTERNAL WALLS AND PARTITIONS Carried to Summary |  |  |  | 0

## 10-4-2.8 - INTERNAL DOORS
Item | Description | Qty | Unit | Rate | Total
|  |  |  | £ | £
| SUPERSTRUCTRE |  |  |  |  | 02
| INTERNAL DOORS |  |  |  |  | 02.080
| Flush doors; plywood faced with hardwood lippings; solid core |  |  |  |  | 02.080.030
A | 900 x 2040 x 44 thick | 1 | Nr | 0 | 0 | 02.080.030.020
B | 1000 x 2040 x 44 thick | 1 | Nr | 0 | 0 | 02.080.030.020
| Wrought softwood |  |  |  |  | 02.080.190
C | 32 x 125 lining | 10 | m | 0 | 0 | 02.080.190.050
D | 15 x 25 stops | 10 | m | 0 | 0 | 02.080.190.090
E | 25 x 75 architrave; chamfered | 21 | m | 0 | 0 | 02.080.190.097
| Fix only ironmongery |  |  |  |  | 02.080.225
F | butt hinges; 100 mm | 6 | Nr | 0 | 0 | 02.080.225.055
G | pair of lever latch handles | 1 | Nr | 0 | 0 | 02.080.225.057
H | pair of lever lock handles | 1 | Nr | 0 | 0 | 02.080.225.060
J | bathroom knob turn | 1 | Nr | 0 | 0 | 02.080.225.062
K | mortice latch | 1 | Nr | 0 | 0 | 02.080.225.065
L | mortice lock; 3 lever | 1 | Nr | 0 | 0 | 02.080.225.065
M | door stop | 1 | Nr | 0 | 0 | 02.080.225.090
| One coat varnish; carried out on site before fixing members |  |  |  |  | 02.080.250
N | linings; not exceeding 300 girth | 10 | m | 0 | 0 | 02.080.250.020
| Three coats varnish full gloss finish |  |  |  |  | 02.080.258
P | flush doors; over 300 girth | 8 | m² | 0 | 0 | 02.080.258.035
One coat wood knot and resin blocking varnish; three coats
| varnish full gloss finish |  |  |  |  | 02.080.260
Q | linings; over 300 girth | 4 | m² | 0 | 0 | 02.080.260.025
| To Collection |  |  |  | 0
PAGE 3 / 21
Total
£
Collection From
| 3/21 |  |  |  | 0
| 2.8 - INTERNAL DOORS Carried to Summary |  |  |  | 0

## 11-4-3.1 - WALL FINISHES
Item | Description | Qty | Unit | Rate | Total
|  |  |  | £ | £
| INTERNAL FINISHES |  |  |  |  | 03
| WALL FINSHES |  |  |  |  | 03.010
| Treated sawn softwood |  |  |  |  | 03.010.005
A | 25 x 50; battens; at 400 centres | 103 | m² | 0 | 0 | 03.010.005.025
B | 25 x 50; battens; at 400 centres; not exceeding 300 wide | 50 | m | 0 | 0 | 03.010.005.030
Air tight sheathing; Smartly Propassiv; Medite; fixing with stainless
| steel screws; taping joints with Tescon Vana tape |  |  |  |  | 03.010.020
C | 12.5 thick; walls; over 300 wide | 103 | m² | 0 | 0 | 03.010.020.020
D | 12.5 thick; walls; 260 wide | 50 | m | 0 | 0 | 03.010.020.025
| Fire retardent OSB; Medite Smartply; fixing with screws |  |  |  |  | 03.010.030
E | 12 thick; to walls; over 300 wide | 237 | m² | 0 | 0 | 03.010.030.020
F | 12 thick; to walls; 260 wide | 50 | m | 0 | 0 | 03.010.030.020
| Altro Whiterock; fixing with adhesive; sealed joints |  |  |  |  | 03.010.035
G | 2.5 thick; to walls; over 300 wide | 32 | m² | 0 | 0 | 03.010.035.025
| To Collection |  |  |  | 0
PAGE 3 / 23
Total
£
Collection From
| 3/23 |  |  |  | 0
| 3.1 - WALL FINISHES Carried to Summary |  |  |  | 0

## 12-4-3.2 - FLOOR FINISHES
Item | Description | Qty | Unit | Rate | Total
|  |  |  | £ | £
| INTERNAL FINISHES |  |  |  |  | 03
| FLOOR SCREEDS |  |  |  |  | 03.010
Liquid Proprietary self smoothing levelling screed with
incorporated underfloor heating system (underfloor heating
| measured elsewhere); Gyvlon Screed Thermio+ |  |  |  |  | 03.010.075
A | 50 - 66 thick; to profiled metal deck; over 300 wide; horizontal | 112 | m² | 0 | 0 | 03.010.075.045
| FLOOR FINISHES |  |  |  |  | 03.020
Sheet Marmoluem; Forbo Marmoleum; fixing with Forbo
recommended adhesive; welded seams; all in accordance with
| manufacturer's instructions |  |  |  |  | 03.020.070
B | 2 thick; over 300 wide; horizontal | 92 | m² | 0 | 0 | 03.020.070.040
C | 2 thick; 150 high; skirtings; cove former, ref. QCF35, capping
| trim, ref. QT200 | 13 | m | 0 | 0 | 03.020.070.045
D | Extra over; ends | 2 | Nr | 0 | 0 | 03.020.070.048
E | Extra over; internal preformed angles | 4 | Nr | 0 | 0 | 03.020.070.050
| Coir matting; fixing with adhesive |  |  |  |  | 03.020.074
F | 17 thick; over 300 wide; horizontal | 13 | m² | 0 | 0 | 03.020.074.050
| To Collection |  |  |  | 0
PAGE 3 / 25
Total
£
Collection From
| 3/25 |  |  |  | 0
| 3.2 - FLOOR FINISHES Carried to Summary |  |  |  | 0

## 13-4-3.3 - CEILING FINISHES
Item | Description | Qty | Unit | Rate | Total
|  |  |  | £ | £
| INTERNAL FINISHES |  |  |  |  | 03
| CEILING FINISHES |  |  |  |  | 03.030
Plasterboard; fixing with screws; joints scrimmed and filled with
| plaster |  |  |  |  | 03.030.033
A | 12.5 thick; ceilings; to timber; over 300 wide | 13 | m² | 0 | 0 | 03.030.033.020
Heradesign acoustic panel; 1200 x 600 cement-bonded wood wool
panels; 2.0mm wood wool fine finish; fixing with manufacturer's
| approved screws; Knauf Ceiling Solutions |  |  |  |  | 03.030.040
B | 25 thick; ceilings; to timber; over 300 wide | 134 | m² | 0 | 0 | 03.030.040.020
| Board finish plaster; steel trowelled finish |  |  |  |  | 03.030.060
C | 5 thick; ceilings; to plasterboard; over 300 wide | 13 | m² | 0 | 0 | 03.030.060.015
| Emulsion paint; mist coat and two full coats |  |  |  |  | 03.030.090
D | plaster ceilings; over 300 girth | 13 | m² | 0 | 0 | 03.030.090.020
| To Collection |  |  |  | 0
PAGE 3 / 27
Total
£
Collection From
| 3/27 |  |  |  | 0
| 3.3 - CEILING FINISHES Carried to Summary |  |  |  | 0

## 14-4-4.1 - FITTINGS, FURNISHING
Item | Description | Qty | Unit | Rate | Total
|  |  |  | £ | £
| FITTINGS, FURNISHINGS AND EQUIPMENT |  |  |  |  | 04
| GENERAL FITTINGS, FURNISHINGS AND EQUIPMENT |  |  |  |  | 04.010
| General Fittings |  |  |  |  | 04.010.010
A | 700 x 800 folding timber/Aluminium loft ladder, complete with
| handrail | 1 | Nr | 0 | 0 | 04.010.010.030
| To Collection |  |  |  | 0
PAGE 3 / 29
Total
£
Collection From
| 3/29 |  |  |  | 0
| 4.1 - FITTINGS, FURNISHING AND EQUIPMENT Carried to Summary |  |  |  | 0

## 15-4-5 - SERVICES
Item | Description | Qty | Unit | Rate | Total
|  |  |  | £ | £
| SERVICES |  |  |  |  | 05
| PLUMBING AND MECHANICAL INSTALLATIONS |  |  |  |  | 05.020
Contractor to allow here for the installation of all plumbing and
| mechanical installations |  |  |  |  | 05.020.010
A | above ground drainage |  | Item |  | 0 | 05.020.010.010
B | hot and cold water installations |  | Item |  | 0 | 05.020.010.015
C | underfloor heating |  | Item |  | 0 | 05.020.010.015
D | pipework, controls and valves |  | Item |  | 0 | 05.020.010.020
E | MVHR |  | Item |  | 0 | 05.020.010.025
F | fittings and equipment |  | Item |  | 0 | 05.020.010.027
G | thermal insulation |  | Item |  | 0 | 05.020.010.030
H | testing and commissioning |  | Item |  | 0 | 05.020.010.035
J | record drawings, manuals and Client training |  | Item |  | 0 | 05.020.010.040
K | system maintenance during Defects Liability Period |  | Item |  | 0 | 05.020.010.045
L | all other items required |  | Item |  | 0 | 05.020.010.050
| ELECTRICAL INSTALLATIONS |  |  |  |  | 05.025
Contractor to allow here for the installation of all electrical
| installations |  |  |  |  | 05.025.015
M | mains distribution |  | Item |  | 0 | 05.025.015.010
N | structured wiring installation |  | Item |  | 0 | 05.025.015.012
P | mechanical services wiring installation |  | Item |  | 0 | 05.025.015.014
Q | small power |  | Item |  | 0 | 05.025.015.015
R | lighting layout and fittings |  | Item |  | 0 | 05.025.015.020
S | electric vehicle charging point |  | Item |  | 0 | 05.025.015.030
T | external lighting |  | Item |  | 0 | 05.025.015.035
U | solar PV and battery storage |  | Item |  | 0 | 05.025.015.040
V | testing and commissioning |  | Item |  | 0 | 05.025.015.050
W | record drawings, manuals and Client training |  | Item |  | 0 | 05.025.015.055
X | system maintenance during Defects Liability Period |  | Item |  | 0 | 05.025.015.060
Y | all other items required |  | Item |  | 0 | 05.025.015.065
| To Collection |  |  |  | 0
PAGE 3 / 31
Item | Description | Qty | Unit | Rate | Total
|  |  |  | £ | £
| BUILDERS WORK IN CONNECTION |  |  |  |  | 05.030
Allow for all builders work, including but not limited to, casings,
| ducts, chases, holes, sleeves, mortices, fireproofing and the like |  |  |  |  | 05.030.020
A | plumbing and mechanical installations |  | Item |  | 0 | 05.030.020.015
B | electrical installations |  | Item |  | 0 | 05.030.020.020
| To Collection |  |  |  | 0
PAGE 3 / 32
Total
£
Collection From
| 3/31 |  |  |  | 0
| 3/32 |  |  |  | 0
| 5 - SERVICES Carried to Summary |  |  |  | 0

## 16-BILL 04 - PROPOSED BUILDING
Item | Description | Qty | Unit | Rate | Total
|  |  |  | £ | £
Collection From
| 1.1 - SUBSTRUCTURE |  |  |  | 0
| 2.1 - FRAME |  |  |  | 0
| 2.2 - UPPER FLOORS |  |  |  | 0
| 2.3 - ROOF |  |  |  | 0
| 2.5 - EXTERNAL WALLS |  |  |  | 0
| 2.6 - WINDOWS AND EXTERNAL DOORS |  |  |  | 0
| 2.7 - INTERNAL WALLS AND PARTITIONS |  |  |  | 0
| 2.8 - INTERNAL DOORS |  |  |  | 0
| 3.1 - WALL FINISHES |  |  |  | 0
| 3.2 - FLOOR FINISHES |  |  |  | 0
| 3.3 - CEILING FINISHES |  |  |  | 0
| 4.1 - FITTINGS, FURNISHING AND EQUIPMENT |  |  |  | 0
| 5 - SERVICES |  |  |  | 0
| BILL 04 - PROPOSED BUILDING Carried to Summary |  |  |  | 0

## 17-18-8.1 - SITE PREPARATION WO
Item | Description | Qty | Unit | Rate | Total
|  |  |  | £ | £
| EXTERNAL WORKS |  |  |  |  | 08
| SITE PREPARATION WORKS |  |  |  |  | 08.010
| Preparatory Groundworks |  |  |  |  | 08.010.020
A | site clearance, including relocating earth mound |  | Item |  | 0 | 08.010.020.005
B | excavate to reduce levels | 60 | m³ | 0 | 0 | 08.010.020.010
C | deposit excavated material on site; not exceeding 100 m
| distant; compacting | 60 | m³ | 0 | 0 | 08.010.020.015
D | level and compact surfaces of excavations | 240 | m² | 0 | 0 | 08.010.020.020
| Imported hardcore; compacting in 150 thick layers |  |  |  |  | 08.010.030
E | filling to make up levels | 36 | m³ | 0 | 0 | 08.010.030.025
F | levellling and compacting surfaces of hardcore | 240 | m² | 0 | 0 | 08.010.030.030
| Terram Geotextile permeable membrane |  |  |  |  | 08.010.035
G | laid on hardcore | 180 | m² | 0 | 0 | 08.010.035.035
| To Collection |  |  |  | 0
PAGE 3 / 35
Total
£
Collection From
| 3/35 |  |  |  | 0
| 8.1 - SITE PREPARATION WORKS Carried to Summary |  |  |  | 0

## 18-5-8.2 - ROADS, PATHS, PAVING
Item | Description | Qty | Unit | Rate | Total
|  |  |  | £ | £
| ROADS, PATHS AND PAVINGS |  |  |  |  | 08.020
A | self-binding compacted gravel; Contec; silver grey, 6mm to
| dust; rolling | 180 | m² | 0 | 0 | 08.020.010.030
| To Collection |  |  |  | 0
PAGE 3 / 37
Total
£
Collection From
| 3/37 |  |  |  | 0
| 8.2 - ROADS, PATHS, PAVINGS AND SURFACINGS Carried to Summary |  |  |  | 0

## 19-BILL 05 - SITE WORKS
Item | Description | Qty | Unit | Rate | Total
|  |  |  | £ | £
Collection From
| 8.1 - SITE PREPARATION WORKS |  |  |  | 0
| 8.2 - ROADS, PATHS, PAVINGS AND SURFACINGS |  |  |  | 0
| BILL 05 - SITE WORKS Carried to Summary |  |  |  | 0

## 20-23-8.6 - EXTERNAL DRAINAGE
Item | Description | Qty | Unit | Rate | Total
|  |  |  | £ | £
| EXTERNAL WORKS |  |  |  |  | 08
| SURFACE WATER DRAINAGE |  |  |  |  | 08.060
Excavating drainage trenches; for pipes not exceeding 100
diameter; earthwork support; compacting excavations; filling
above 400 thick beds and coverings with selected excavated
| material; disposing of surplus excavated material on site |  |  |  |  | 08.060.010
A | average 500 deep | 6 | m | 0 | 0 | 08.060.010.008
B | average 750 deep | 25 | m | 0 | 0 | 08.060.010.010
C | average 1000 deep | 4 | m | 0 | 0 | 08.060.010.015
Excavating drainage trenches; for pipes not exceeding 100
diameter; earthwork support; compacting excavations; filling
above 400 thick beds and coverings with imported hardcore;
| disposing of surplus excavated material on site |  |  |  |  | 08.060.015
D | average 750 deep | 17 | m | 0 | 0 | 08.060.015.013
E | average 1000 deep | 13 | m | 0 | 0 | 08.060.015.018
F | average 1250 deep | 7 | m | 0 | 0 | 08.060.015.023
| Granular material; 10 mm pea gravel |  |  |  |  | 08.060.020
G | 400 x 400 bed and surround; to 100 diameter pipe | 72 | m | 0 | 0 | 08.060.020.018
| uPVC pipes and fittings; ring seal joints |  |  |  |  | 08.060.025
H | 100 diameter | 72 | m | 0 | 0 | 08.060.025.023
J | Extra; bends | 22 | Nr | 0 | 0 | 08.060.025.028
K | Extra; connection to PPIC | 16 | Nr | 0 | 0 | 08.060.025.033
L | Extra; connection to rainwater harvesting tank | 2 | Nr | 0 | 0 | 08.060.025.038
uPVC accessories; bedding and surrounding in minimum 150 thick
| concrete, Grade ST4 |  |  |  |  | 08.060.030
M | trapped rainwater gully, complete with grating; 100 diameter
| outlet | 4 | Nr | 0 | 0 | 08.060.030.028
| SURFACE WATER MANHOLES |  |  |  |  | 08.065
Polypropylene inspection chambers; excavating; earthwork
support; compacting excavations; 150 thick Grade ST4 concrete
bed and collar; surrounding chambers with 150 thick granular
material; disposing of surplus excavated material off site; cutting
| chambers to required height |  |  |  |  | 08.065.015
N | 475 diameter; maximum 600 deep | 2 | Nr | 0 | 0 | 08.065.015.013
| To Collection |  |  |  | 0
PAGE 3 / 40
Item | Description | Qty | Unit | Rate | Total
|  |  |  | £ | £
A | 475 diameter; 600 - 1000 deep | 3 | Nr | 0 | 0 | 08.065.015.018
B | 475 diameter, with silt trap; 1000 deep | 1 | Nr | 0 | 0 | 08.065.015.023
Cast iron accessories; bedding and jointing in cement/sand (1:3)
| mortar |  |  |  |  | 08.065.020
C | 475 diameter manhole cover and frame; light duty | 3 | Nr | 0 | 0 | 08.065.020.018
D | 475 diameter manhole cover and frame; medium duty | 3 | Nr | 0 | 0 | 08.065.020.023
| SURFACE WATER SOAKAWAYS |  |  |  |  | 08.070
Modular infiltration units; excavating; earthwork support;
compacting excavations; 150 thick granular bed and surround;
disposing of surplus excavated material off site; modular units;
| geotextile membrane lining |  |  |  |  | 08.070.020
E | 2000 x 2000 x 1200 deep; overall excavation 2190 deep | 1 | Nr | 0 | 0 | 08.070.020.018
| SURFACE WATER RAINWATER HARVESTING TANK |  |  |  |  | 08.075
Preformed tank; Graf Platin XL; earthwork support; compacting
excavations; bed and surround; disposing of surplus excavated
material off site; all installed in accordance with manufacturers
| instructions |  |  |  |  | 08.075.025
F | 10,000 litre; overall excavation 2760 to base | 1 | Nr | 0 | 0 | 08.075.025.023
| FOUL WATER DRAINAGE |  |  |  |  | 08.085
Excavating drainage trenches; for pipes not exceeding 100
diameter; earthwork support; compacting excavations; filling
above 400 thick beds and coverings with selected excavated
| material; disposing of surplus excavated material on site |  |  |  |  | 08.085.015
G | average 750 deep | 19 | m | 0 | 0 | 08.085.015.018
Excavating drainage trenches; for pipes not exceeding 100
diameter; earthwork support; compacting excavations; filling
above 400 thick beds and coverings with imported hardcore;
| disposing of surplus excavated material on site |  |  |  |  | 08.085.017
H | average 1000 deep | 12 | m | 0 | 0 | 08.085.017.023
J | average 1250 deep | 1 | m | 0 | 0 | 08.085.017.028
K | average 2000 deep | 6 | m | 0 | 0 | 08.085.017.033
| Granular material; 10 mm pea gravel |  |  |  |  | 08.085.022
L | 400 x 400 bed and surround; to 100 diameter pipe | 37 | m | 0 | 0 | 08.085.022.023
| To Collection |  |  |  | 0
PAGE 3 / 41
Item | Description | Qty | Unit | Rate | Total
|  |  |  | £ | £
| uPVC pipes and fittings; ring seal joints |  |  |  |  | 08.085.027
A | 100 diameter | 37 | m | 0 | 0 | 08.085.027.028
B | Extra; bends | 11 | Nr | 0 | 0 | 08.085.027.033
C | Extra; connection to PPIC | 6 | Nr | 0 | 0 | 08.085.027.038
D | Extra; connection to septic tank | 2 | Nr | 0 | 0 | 08.085.027.043
uPVC accessories; bedding and surrounding in minimum 150 thick
| concrete, Grade ST4 |  |  |  |  | 08.085.035
E | soil pipe connection; 100 diameter; rest bend; vertical pipe;
| adaptor | 2 | Nr | 0 | 0 | 08.085.035.033
| FOUL WATER MANHOLES |  |  |  |  | 08.090
Polypropylene inspection chambers; excavating; earthwork
support; compacting excavations; 150 thick Grade ST4 concrete
bed and collar; surrounding chambers with 150 thick granular
material; disposing of surplus excavated material off site; cutting
| chambers to required height |  |  |  |  | 08.090.020
F | 475 diameter; 600 - 1000 deep | 2 | Nr | 0 | 0 | 08.090.020.023
G | 475 diameter; 1250 deep | 2 | Nr | 0 | 0 | 08.090.020.028
Cast iron accessories; bedding and jointing in cement/sand (1:3)
| mortar |  |  |  |  | 08.090.025
H | 475 diameter manhole cover and frame; medium duty | 4 | Nr | 0 | 0 | 08.090.025.028
| SEPTIC TANK |  |  |  |  | 08.100
Septic tank; Clearwater shallow dig; earthwork support;
compacting excavations; bed and surround; disposing of surplus
excavated material off site; all installed in accordance with
| manufacturers instructions |  |  |  |  | 08.100.030
J | 3,000 litre; overall excavation 1700 to base | 1 | Nr | 0 | 0 | 08.100.030.028
| FOUL DRAINAGE FIELD |  |  |  |  | 08.105
Excavating drainage field; for pipes not exceeding 100 diameter;
earthwork support; compacting excavations; filling above 1150
thick beds and coverings with imported hardcore; disposing of
| surplus excavated material on site |  |  |  |  | 08.105.035
K | 900 wide x 2050 deep; geotextile membrane; 700 thick
medium/coarse sand bed; 450 thick 20 - 50 clean stone bed
| and surround to 100 diameter pipe; geotextile membrane | 50 | m | 0 | 0 | 08.105.035.033
| To Collection |  |  |  | 0
PAGE 3 / 42
Item | Description | Qty | Unit | Rate | Total
|  |  |  | £ | £
| END OF WORK CLASSIFIED IN GROUPS |  |  |  |  | 08.110
| Testing drainage runs and manholes |  |  |  |  | 08.110.040
A | as the work proceeds |  | Item |  | 0 | 08.110.040.038
B | on completion by water |  | Item |  | 0 | 08.110.040.043
| To Collection |  |  |  | 0
PAGE 3 / 43
Total
£
Collection From
| 3/40 |  |  |  | 0
| 3/41 |  |  |  | 0
| 3/42 |  |  |  | 0
| 3/43 |  |  |  | 0
| 8.6 - EXTERNAL DRAINAGE Carried to Summary |  |  |  | 0

## 21-BILL 06 - DRAINAGE
Total
£
Collection From
8.6 - EXTERNAL DRAINAGE | 0
BILL 06 - DRAINAGE Carried to Summary | 0

## 22-Summary
Total
£
Collection from:-
BILL 03 - PROVISIONAL SUMS AND DAYWORK | 48400
BILL 04 - PROPOSED BUILDING | 0
BILL 05 - SITE WORKS | 0
BILL 06 - DRAINAGE | 0
To General Summary | 48400