Introduction and summary of requirements

The UK’s energy system is undergoing a significant transformation in order to decarbonise to meet our legally binding Net Zero target by 2050. To integrate large volumes of intermittent renewables and low carbon heat and transport onto the system, we need high levels of flexibility - including through storing energy, delaying when it is consumed (demand side response) and interconnectors to other countries. This project should provide modelling on the role of long duration (ranging from above 4 hours to interseasonal storage) electricity storage within a Net Zero system. The work will be expected to model the potential need and associated system benefits of deploying varying amounts and types of long duration electricity storage in the energy system to help meet Net Zero at lowest cost. It should estimate the full range of benefits that these technologies can provide as well as the impacts of deploying these technologies in the system at different points in time and finally, how long duration storage interacts with other technologies.

Background of the requirement

Flexibility is the shifting, in time or location, of energy consumption or generation to balance supply and demand. Traditionally, fossil fuels have provided the majority of flexibility to the system; to achieve net zero by 2050 low carbon sources of flexibility will need to deploy rapidly to replace these.

Electricity storage will play a key role in providing this flexibility, it allows us to maximise the use of intermittent renewables, balance the system at lower cost and defer or avoid the need for costly network upgrades. Storage can be deployed at a variety of scales and provide storage over different periods of time. We recognise that long duration storage (across days, weeks and months) could help to reduce the cost of meeting net zero by storing excess low carbon generation for longer periods of time – helping to manage variation in generation such as extended periods of low wind. The precise technical parameters of storage that will be required on the system in the future are uncertain, but for the basis of this project we are considering long duration storage to mean technologies that can store and discharge energy for over 4 hours, and up to days, weeks and months.

Our internal modelling demonstrates the value of system flexibility in a decarbonised power sector. Our analysis suggests that a smart and more flexible energy system could save the UK up to £12bn per year (in 2012 prices) by 2050 in a system with 5g/kWh emissions intensity (no hydrogen scenario). This modelling did not explicitly include long duration storage, although we did model the impact of using low-carbon hydrogen for electricity generation. This showed that moderate levels of low-carbon hydrogen could replace unabated gas-fired generation and reduce the requirement for new nuclear and gas CCUS in low carbon systems, we expect that long-duration storage would have similar effects.

However, our standard electricity supply model (the Dynamic Dispatch Model (DDM)) is currently only able to model shorter duration storage (storage that shifts energy within a day to meet daily peaks). We are unable to quantify the value of deploying long duration storage technologies in order to understand how much of this type of storage may provide system benefits between now and 2050 as well as what durations of storage are optimal.  Qualitative evidence suggests that long duration storage as a source of flexibility could:

- replace fossil-fuelled sources of flexibility including gas turbines and reciprocating engines and reduce the need for additional peaking generation by shifting excess supply from peak to off-peak, as well as managing low demand on the system;

- reduce the need for additional low carbon generation by better utilising existing sources of renewable generation;

- support network constraint management, and reduce the volume and cost of network reinforcements by shifting supply from congested to uncongested periods;

- provide storage over different durations – intra-day, inter-day and inter-seasonal, e.g. helping to balance the system across longer periods of lower generation (e.g. periods of low wind) or higher demand (e.g. colder periods when heating demand rises); and

- provide stability services, including inertia, frequency response and voltage.

Aims and objectives

The objective of the research is to quantitatively answer the main and sub research questions (outlined below) using a model of the electricity market that can capture long duration storage solutions.

Main Research Question

What is the impact of long duration storage on system costs as we transition to a decarbonised power sector?

Sub questions:

- What are the main drivers of the requirement for long duration storage?

- How much long duration storage (GW and GWh) is required to minimise system cost at a given level of emission intensity or total emissions? This should be broken down for each type of storage, including an understanding of how increasing one type of storage affects the requirement for others.

- What are the relative benefits of different long duration storage technologies? (e.g. different storage technologies, electrolysis and hydrogen use in power)

- What is the impact of long duration storage on other technology types? (e.g. impact on generating technologies and short duration flexibility)

- Is there a ‘low regrets’ amount of long duration storage that should be deployed in the power sector, that provides value in the majority of scenarios?

- How much electricity demand is likely to be met by long duration storage under a range of credible scenarios?

- How does the system impact of long duration storage change over time, including 2030, 2035, 2040, 2045, 2050? (i.e. when is long duration storage needed?)

- What operating regime (e.g. frequency of cycling, services provision) for long duration technologies provides most system benefits?

We would also welcome suggestions from suppliers on further research questions that are relevant to long duration storage that the project could consider.  These would be discussed and agreed at the initiation phase of the project.

Methodology

This project needs to assess the role of long-duration storage electricity storage within a Net Zero system, and quantify the system benefits. The work will be expected to model the potential need and associated system benefits of deploying varying amounts and types of long duration electricity storage (including but not limited to: Pumped Hydro, Compressed Air, Liquid Air, Flow Batteries, thermal batteries, Power-X-power and hydrogen that is sector coupled) in the energy system to help meet Net Zero at lowest cost. It should estimate the full range of benefits that these technologies can provide as well as the impacts of deploying long duration technology in the system at different points in time. Finally, we expect this project to consider how long duration storage interacts with other technologies in the system, for example, an assessment of whether long duration storage decreases the need for short-duration flexibility, and what impact it has on other generating technologies including the use of hydrogen.

Characteristics of Model

The research questions should be addressed via an existing model, an adaptation of an existing model or the development of a new model that can explore the relationship between electricity system costs and an array of different long duration storage technologies and operating regimes. The model must have the following characteristics:

- It must cover Great Britain.

- It must be capable of modelling how both dispatch and investment decisions are taken. With dispatch decisions being modelled at least as granularly as hourly.

- It must take into account the variation of sun and wind throughout the day and the year including the occurrence of extreme weather events.

- It must be capable of incorporating a range of generation, storage technologies.

- It must be capable of modelling for power system operability requirements such as balancing, reserve and inertia, and how different technologies contribute to these requirements.

- It must be capable of forecasting the electricity system into the future and taking electricity demand as an input.

- It must be flexible enough to test a variety of different electricity sector scenarios and different potential long duration storage technologies.

We are also interested in the role long duration storage could play in mitigating network constraints. However, we are aware that this requires complex modelling that may be not possible in all modelling suites. Bidders should state whether modelling of network constraints is possible, or whether a proxy for these impacts can be included.

The model must also be capable of hydrogen both as a fuel used in its own right and as a method of long duration storage. The modelling approach should be able to represent the production and use of hydrogen in both the power sector and other areas of the economy. We do not expect a comprehensive model of a hydrogen market, but the modelling approach should be able to assess the value of i) a power-X-power ‘closed loop’ storage within the power sector, ii) the use of electrolysis to produce hydrogen that is then used outside the power sector, and, iii) hydrogen produced outside the power sector that is subsequently used for power generation. The value of hydrogen used in other sectors should be able to be compared to or offset against electricity system costs.

Core Scenarios and Sensitivity Tests

A set of core scenarios will need to be created that will need to be aligned with an array of BEIS data and assumptions. The details of these will be provided along with an agreed emissions target upon award, during the project initiation phase. They will include assumptions on demand levels and profiles, generation technology costs, generation deployment range, fuel prices, interconnector capacities and the ability of demand to shift throughout the day in response to prices. Exactly how these assumptions will be incorporated into the core scenarios must be agreed with BEIS during the initiation phase.

A set of sensitivity tests must then be carried out around this core scenario, in order to answer the research questions. Some sensitivity tests must demonstrate how different combinations of different long duration storage technologies and regimes impact upon system cost. Some of the sensitivity tests must demonstrate how these results depend on assumed forecast characteristics of the electricity including demand profiles, fuel prices, the deployment of short duration storage technologies (such as batteries) and demand side response (including the role of thermal storage in other sectors) as well as the price of hydrogen, which is dependent on the supply and demand of hydrogen across the economy. The details of the sensitivity tests must be agreed with BEIS during the initiation phase.

Answering the Research Questions

Answers to the research questions based on running the model with the sensitivity tests should then be investigated and documented. Answers to the research questions should take into account the range of sensitivities. All questions should be answered over a time horizon up to 2050.

One main document should be produced that is suitable for publication that highlights the key findings of the research and an overview of the methodology. This could be in written text form or as a slide-pack. In addition, further documents should be produced that explain any detailed methodology and outputs not included in the main report – these will be used for HMG internal purposes. The contractor should then respond to at least two rounds of comments from BEIS on the final documents, and should ensure that either comments are taken into account in the document or an explanation is given as to why the comments should not be.

# Outputs Required

The following outputs are required to be delivered to BEIS:

- Inception meeting outputs which set out the agreed approach, modelling assumptions and timelines.

- Interim reports that summarise the initial findings of the core scenario. Any interim reports should be provided to BEIS for review and comments, before being finalised.

- The final publishable report, using a BEIS standard template, that answers the research questions based on the running of the core scenario and the sensitivity test. Plans for at least two rounds of comments must be made as described in the methodology section.

- Further reports that explain the methodology used, including the full methodology of the model used, the detail of the outputs and any caveats not explained in the main report.

- Detailed outputs from the model in spreadsheets or comma separated value (csv) format as well as all of the model inputs and assumption that are used.

- All code and spreadsheets that are developed specifically for this project and that do not constitute part of a pre-existing model. These should be accompanied by documents explaining their use and workings if that is not intuitive.

- Project closure reporting documentation. Further guidance will be provided by BEIS, and will form the basis of the evaluation of the project. This will include the Quality Assurance log (see section “Quality Assurance”).

# Ownership and Publication

BEIS is committed to openness and transparency. Project outputs should be accessible, non-disclosive and suitable for publication and further use. The exceptions to this are where:

  - The intellectual property rights to an output (or part of an output) are owned by someone other than the contractor. Contractors should state in their tender if this is the case and indicate whether the third party copy righted materials can be redacted.

  - Data is commercial in confidence.

  - A non-anonymised dataset if required for the project.

  - Apart from the main report which may be published by BEIS, the outputs are internal documents only for BEIS – e.g. project updates and the research plan.

Where there are useful insights that are viewed to be disclosive: such as outlier analysis or analysis with small numbers, BEIS would like to see outputs prior to drafting of final versions.

Unless otherwise stated in your tender, all outputs from a research project will be assumed to be owned by BEIS. The outputs, raw data and tools developed in the research will be transferred to BEIS at times agreed with BEIS and cannot therefore be used for contractors for purposes other than our work, without prior written agreement.

The terms and conditions require that BEIS retain the Intellectual Property (IP) apart from pre-existing IP in existing models and modules:

  - Where the contractor is using or building on top of existing IP, such as modules that interface with the model, or proprietary datasets, this must be explicitly stated in the tender response.

  - Where open source code or models are to be used within this model, please make clear under which license this open source software is released.

  - The contractor agrees that any wholly new models created for this project including any input and output processors get transferred to BEIS for use.

# Quality Assurance (QA)

This project must comply with the BEIS Code of Practice for Research (Annex B) and bidders must set out their approach to quality assurance in their response to this ITT, with a QA plan.

Sign-off for the quality assurance must be done by someone of sufficient seniority within the contractor organisation to be able take responsibility for the work done.  Acceptance of the work by BEIS will take this into consideration. BEIS reserves the right to refuse to sign off outputs, which do not meet the required standard specified in this invitation to tender.

All modelling inputs, outputs and methodology must be quality assured and documented. Contractors should include a quality assurance plan that they will apply to all of the research tasks and modelling. As part of the QA process, the contractor should ensure:

- A quality assurance plan is provided.

- Adhering to the QA requirements as specified by BEIS: https://www.gov.uk/government/collections/quality-assurance-tools-and-guidance-in-decc including a requirement that all code developed for the project meets appropriate standards of code best practice and is fully annotated and all spreadsheets developed meet standards of spreadsheet best practice.

- The QA log is filled during the project and submitted at project completion to demonstrate the QA undertaken and include the outputs of the QA

- When models are submitted to BEIS, during the project or at completion, they are be accompanied by confirmation by a senior (partner or equivalent) of the contracting organisation, that the assurance has taken place in accordance with approaches outlined in the QA plan agreed with BEIS.

Quality assurance will be checked by BEIS analysts who will also perform their own quality assurance model to check for compatibility against BEIS internal modelling.

Requirements for Final Report

The Contractor will be expected to produce a high-quality report that meets the following criteria -

General (minimum definition of quality):

- Research questions are answered clearly, in plain English

- Reports must use a BEIS template, and be clearly structured so that information presented in each section of each report is clear

- Connections between sections are clear

- Executive summaries are no more than two sides or three slides and set out the findings clearly and their relevance to BEIS policies

- All sections have clear introductions and conclusions (including findings being written concisely upfront in an executive summary)

- Methodology is clearly explained so others could repeat the work in future

- If using a written report the font should be Arial, size 12 and normal margins should be used.

Use of good quality English:

- Reports are thoroughly proof read and peer reviewed for writing quality

- No jargon is used, and all terms are defined and referenced clearly

- All acronyms are written out in full the first time that they are mentioned in each section of each report

- No grammar and phrasing errors are present

- No typos / typographical errors are included

- Concise and non-wordy sentences and paragraphs are used

- Reports are concise, and annexes are limited in length

Visualisations:

- All visualisations are labelled

- All axes are labelled, including with appropriate units

- Clear and appropriate use of visualisations (large enough size, data can be read clearly without reference to the raw data, and there aren’t  too many visualisations presented at once)

- All visualisations are clearly explained and discussed

- A range of different types of visualisations are used to present results in interesting and innovative ways

Data quality:

- Limitations in the research approach are clearly stated and justified

- Further research is outlined, to address the limitations of this research

- Where findings are stronger and more robust and where they are not is clearly stated

- Appropriate and consistent use of units

- All numerical units should include the range of uncertainty / error margin

Risk Management

Applicants must identify risks to the successful completion of the work, and their mitigation measures.

Risks identified by BEIS include:

- Meeting timelines: We expect bidders to explain how they will mitigate against delays to ensure that the project stays on track.

- Key Staff: Explanations for what happens if key staff become ill or unavailable.

- Modelling Issues: Explanations of what will happen if during the course of the runs issues are found with the model’s ability to test the research question or an error is found.

- Remote working due to Covid-19 measures: Explanations of how remote working impacts will be mitigated.

# Working Arrangements

The successful contractor will be expected to identify one named point of contract through whom all enquiries can be filtered. A BEIS project manager will be assigned to the project and will be the central point of contact.

In the case of the successful contractor being a consortium of partners, a lead partner must be nominated and the contract will be with this organisation. The lead partner will need to have a consortium agreement between the rest of the partners.

The supplier will be expected to attend regular progress update meetings with BEIS to discuss progress of the project as well as any emerging risks/issues. The frequency of these meetings will be at a minimum of once a month, the exact frequency will be agreed at the inception meeting.

Steering Group

BEIS will create an internal steering group who will be kept up to date with the progress of the project and be consulted on the approach to the modelling, key assumptions as well as any findings from the project. They will provide feedback to the supplier on the deliverables mentioned above.

# Data Protection

The Contractor will be compliant with the Data Protection Legislation, as defined in the terms and conditions applying to this Invitation to Tender. A guide to The UK General Data Protection Regulation published by the Information Commissioner’s Office can be found here.

# Skills and experience

BEIS would like you to demonstrate that you have the experience and capabilities to undertake the project. Your tender response should include a 2-page curriculum vitae of each proposed team members experience and capabilities.

Contractors should propose named members of the project team and include the tasks and responsibilities of each team member. This should be clearly linked to the work programme, indicating the grade/ seniority of staff and number of days allocated to specific tasks.

Contractors should identify the individual(s) who will be responsible for managing the project.

In addition, Contractors must also complete Declaration 4: Technical and Professional Ability. To note, the Department shall reserve the right to disqualify any bid from the procurement which is not fully completed, or does not include all of the fully completed documentation and declarations requested in this ITT.

# Consortium Bids

In the case of a consortium tender, only one submission covering all of the partners is required but consortia are advised to make clear the proposed role that each partner will play in performing the contract as per the requirements of the technical specification.  We expect the bidder to indicate who in the consortium will be the lead contact for this project, and the organisation and governance associated with the consortia.

Contractors must provide details as to how they will manage any sub-contractors and what percentage of the tendered activity (in terms of monetary value) will be sub-contracted.

If a consortium is not proposing to form a corporate entity, full details of alternative proposed arrangements should be provided in the Annex. However, please note the Department reserves the right to require a successful consortium to form a single legal entity in accordance with Regulation 28 of the Public Contracts Regulations 2006.

The Department recognises that arrangements in relation to consortia may (within limits) be subject to future change. Potential Providers should therefore respond in the light of the arrangements as currently envisaged. Potential Providers are reminded that any future proposed change in relation to consortia must be notified to the Department so that it can make a further assessment by applying the selection criteria to the new information provided.

# Budget

The budget for this project is up to £70,000 excluding VAT.

Contractors should provide a full and detailed breakdown of costs. This should include staff (and day rate) allocated to specific tasks.

Cost will be a criterion against which bids which will be assessed.

Payment schedules based on deliverables that will be agreed at the inception meeting, the final payment will not be made until all outputs have been delivered and approved by BEIS. Any payment conditions applicable to the prime contractor must also be replicated with sub-contractors.

The Department aims to pay all correctly submitted invoices as soon as possible with a target of 10 days from the date of receipt and within 30 days at the latest in line with standard terms and conditions of contract.

https://www.gov.uk/government/publications/modelling-2050-electricity-system-analysis