## Annex A
PLANT SCHEDULE at the UKATC dated 9 July 2014
| ﻿ | Location No. | 1
|  | Address: | UK Astronomy Technology Centre, EH9 3HJ
| Asset ID | Sub Loc. | Description | Freq | Type
| 1 | NEW FLEXURE LAB | Bow Shackle 1 | 6 | LA
| 4 | MAIN WORKSHOP | Bow Shackle 4 | 6 | LA
| 5 | MAIN WORKSHOP | Bow Shackle 5 | 6 | LA
| 7 | MAIN WORKSHOP | Bow Shackle 7 | 6 | LA
| 9 |  | Transmission Jack 7612610/01S (No. 2). | 12 | C
| 2161 |  | Electric Passenger Lift 95390 | 6 | L
| 4178 |  | Fork Lift Truck 4178-1-1. | 12 | C
| 8027 | MAIN WORKSHOP | Polyester Sling 8027 | 6 | LA
| 10000 |  | Electric Passenger Lift 14971 | 6 | L
| 10100 |  | Scissor Platform Hoist 10100 | 12 | C
| 12636 |  | Trolley (Runway) KC012636. | 12 | C
| 20444 |  | Fork Lift Truck 20444 | 12 | C
| 21045 |  | Pallet Truck 21045-1/1. | 12 | C
| 41648 | NEW FLEXURE LAB | Eyebolt 41648 | 6 | LA
| 41679 | NEW FLEXURE LAB | Eyebolt 41679 | 6 | LA
| 41795 | MAIN WORKSHOP | Bow Shackle 41795 | 6 | LA
| 50001 |  | Runway Beam 50001 | 12 | C
| 50002 |  | Trolley (Runway) BS7871. | 12 | C
| 50003 |  | Chain Block PL2573. | 12 | C
| 50005 |  | Chain Block | 12 | C
| 60000 |  | Fork Lift Truck 9859 | 12 | C
| 66883 |  | Portable Jib Crane 66883 | 12 | C
| 69376 |  | Portable Jib Crane 69376 | 12 | C
| 73830 | NEW FLEXURE LAB | Polyester Sling 73830 | 6 | LA
| 77166 |  | Portable Jib Crane 77166 | 12 | C
| 92096 |  | Polyester Sling 92096 | 6 | LA
| 92101 | NEW FLEXURE LAB | Fibre Rope Sling 92101 | 6 | LA
| 92113 |  | Polyester Sling 92113 | 6 | LA
| 100000 |  | Trolley (Runway) 2710 | 12 | C
| 660097 |  | Trolley Jack 660097 | 12 | C
| 822806 |  | Fork Lift Truck 822806 | 12 | C
| 909650 | NEW FLEXURE LAB | Polyester Sling 909650 | 6 | LA
| 911171 | NEW FLEXURE LAB | Polyester Sling 911171 | 6 | LA
| 1271622 | NEW FLEXURE LAB | Polyester Sling 1271622 | 6 | LA
| 1271623 |  | Polyester Sling 1271623 | 6 | LA
| 1271624 |  | Polyester Sling 1271624 | 6 | LA
| 1271625 | NEW FLEXURE LAB | Polyester Sling 1271625 | 6 | LA
| 1271626 | NEW FLEXURE LAB | Polyester Sling 1271626 | 6 | LA
| 1271627 | NEW FLEXURE LAB | Polyester Sling 1271627 | 6 | LA
| 1271628 | NEW FLEXURE LAB | Polyester Sling 1271628 | 6 | LA
| ﻿1271629 | NEW FLEXURE LAB | Polyester Sling 1271629 | 6 | LA
| 1271630 |  | Polyester Sling 1271630 | 6 | LA
| 1271631 | NEW FLEXURE LAB | Polyester Sling 1271631 | 6 | LA
| 1271632 | NEW FLEXURE LAB | Polyester Sling 1271632 | 6 | LA
| 1271633 | NEW FLEXURE LAB | Polyester Sling 1271633 | 6 | LA
| 62340014 | NEW FLEXURE LAB | Polyester Sling 62340014 | 6 | LA
| 62340016 | NEW FLEXURE LAB | Polyester Sling 62340016 | 6 | LA
| 62340185 | NEW FLEXURE LAB | Polyester Sling 62340185 | 6 | LA
| 181070398 | MAIN WORKSHOP | Polyester Sling 181070398 | 6 | LA
| 181070404 |  | Fibre Rope Sling 181070404 | 6 | LA
| 181070501 |  | Polyester Sling 181070501 | 6 | LA
| 194130303 |  | Fibre Rope Sling 194130303 | 6 | LA
| 194130311 |  | Fibre Rope Sling 194130311 | 6 | LA
| 194130314 |  | Fibre Rope Sling 194130314 | 6 | LA
| 194130327 |  | Fibre Rope Sling 194130327 | 6 | LA
| 292716258 | MAIN WORKSHOP | Polyester Sling 292716258 | 6 | LA
| 292716514 | MAIN WORKSHOP | Polyester Sling 292716514 | 6 | LA
| 05-426893 | NEW FLEXURE LAB | Polyester Sling 05-426893 | 6 | LA
| 06-622399 | MAIN WORKSHOP | Polyester Sling 06-622399 | 6 | LA
| 06-622403 |  | Fibre Rope Sling 06-622403 | 6 | LA
| ﻿10EYENUT | NEW FLEXURE LAB | Eyebolt 10 | 6 | LA
| 11EYENUT | NEW FLEXURE LAB | Eyebolt 11 | 6 | LA
| 12EYNUT | MAIN WORKSHOP | Eyebolt 12 | 6 | LA
| 16174/0082 | MAIN WORKSHOP | Webbing Sling 16174/0082 | 6 | LA
| 16174/0239 |  | Webbing Sling 16174/0239 | 6 | LA
| 1EYENUT | NEW FLEXURE LAB | Eyebolt 1 | 6 | LA
| 2EYENUT | NEW FLEXURE LAB | Eyebolt 2 | 6 | LA
| 3EYENUT | NEW FLEXURE LAB | Eyebolt 3 | 6 | LA
| 420/31 | NEW FLEXURE LAB | Eyebolt with Link 420/31 | 6 | LA
| 420/33 | NEW FLEXURE LAB | Eyebolt with Link 420/33 | 6 | LA
| 4EYENUT | NEW FLEXURE LAB | Eyebolt 4 | 6 | LA
| 5950/12 | NEW FLEXURE LAB | Safety Harness 5950/12 Load-Lok 2007 | 6 | LA
| 5950/23 | NEW FLEXURE LAB | Safety Harness 5950/23 Load-Loc 2007 | 6 | LA
| 5EYENUT | NEW FLEXURE LAB | Eyebolt 5 | 6 | LA
| 6EYENUT | NEW FLEXURE LAB | Eyebolt 6 | 6 | LA
| 71B | NEW FLEXURE LAB | Eyebolt 71B | 6 | LA
| 7EYENUT | NEW FLEXURE LAB | Eyebolt 71B | 6 | LA
| 8EYENUT | MAIN WORKSHOP | Eyebolt 8 | 6 | LA
| A1/12 | NEW FLEXURE LAB | Eyebolt A1/12 | 6 | LA
| A333614 | MAIN WORKSHOP | Eyebolt A333614 | 6 | LA
| ﻿A8707/1 | NEW FLEXURE LAB | Lifting Beam (Adjustable) A8707/1 | 6 | LA
| A8707/1A |  | Multi Item Lifting Accessories A8707/1A. | 6 | LA
| A8707/1B |  | Multi Item Lifting Accessories A8707/1B | 6 | LA
| ﻿AS/E/5197 | NEW FLEXURE LAB | Eyebolt AS/E/5197 | 6 | LA
| ASH2 | NEW FLEXURE LAB | Hook ASH2 | 6 | LA
| ASH3 | NEW FLEXURE LAB | Hiik ASH3 | 6 | LA
| ASH4 | NEW FLEXURE LAB | Hook ASH4 | 6 | LA
| CG/1 | MAIN WORKSHOP | D Shackle CG/1 | 6 | LA
| CRANE |  | Overhead Crane | 12 | C
| CRANE2 |  | Runway Beam | 12 | C
| FL1 |  | Runway Beam Plant FL1. | 12 | C
| H2X351M00265 |  | Fork Lift Truck H2X351M00265 | 12 | C
| KY50 |  | Bearing Press | 12 | C
| LLT03160 |  | D Shackle LLT03160 | 6 | LA
| LLT03165 |  | D Shackle LLT03165 | 6 | LA
| LLT03170 |  | D Shackle LLT03170 | 6 | LA
| LLT03175 |  | D Shackle LLT03175 | 6 | LA
| ﻿M12/1 |  | Eyebolt M12/1 | 6 | LA
| M12/10 | NEW FLEXURE LAB | Eyebolt M12/10 | 6 | LA
| M12/11 | NEW FLEXURE LAB | Eyebolt M12/11 | 6 | LA
| M12/12 |  | Eyebolt M12/12 | 6 | LA
| M12/13 | NEW FLEXURE LAB | Eyebolt M12/13 | 6 | LA
| M12/14 |  | Eyebolt M12/14 | 6 | LA
| M12/15 | NEW FLEXURE LAB | Eyebolt M12/15 | 6 | LA
| M12/16 | NEW FLEXURE LAB | Eyebolt M12/16 | 6 | LA
| M12/17 | NEW FLEXURE LAB | Eyebolt M12/17 | 6 | LA
| M12/4 | NEW FLEXURE LAB | Eyebolt M12/4 | 6 | LA
| M12/7 | NEW FLEXURE LAB | Eyebolt M12/7 | 6 | LA
| M16/1 | NEW FLEXURE LAB | Eyebolt M16/1 | 6 | LA
| M16/2 | NEW FLEXURE LAB | Eyebolt M16/2 | 6 | LA
| M16/3 | NEW FLEXURE LAB | Eyebolt M16/3 | 6 | LA
| M16/4 | NEW FLEXURE LAB | Eyebolt M16/4 | 6 | LA
| M16/5 | NEW FLEXURE LAB | Eyebolt M16/5 | 6 | LA
| M18/2 | NEW FLEXURE LAB | Eyebolt M18/2 | 6 | LA
| M18/3 | NEW FLEXURE LAB | Eyebolt M18/3 | 6 | LA
| M18/4 | NEW FLEXURE LAB | Eyebolt M18/4 | 6 | LA
| M18/5 | NEW FLEXURE LAB | Eyebolt M18/5 | 6 | LA
| ﻿M18A3/3 | NEW FLEXURE LAB | Eyebolt M18A3/3 | 6 | LA
| M20/1 |  | Eyebolt M20/1 | 6 | LA
| M20/2 |  | Eyebolt M20/2 | 6 | LA
| M20/5 | NEW FLEXURE LAB | Eyebolt M20/5 | 6 | LA
| S2/1 | MAIN WORKSHOP | D Shackle S2/1 | 6 | LA
| S2/4 | NEW FLEXURE LAB | D Shackle S2/4 | 6 | LA
| S31/2 | NEW FLEXURE LAB | D Shackle S31/2 | 6 | LA
| S31/5 | NEW FLEXURE LAB | D Shackle S31/5 | 6 | LA
| S31/6 | NEW FLEXURE LAB | D Shackle S31/6 | 6 | LA
| S3A/2 | NEW FLEXURE LAB | D Shackle S3A/2 | 6 | LA
| S3A/3 | NEW FLEXURE LAB | D Shackle S3A/3 | 6 | LA
| S3A/4 | MAIN WORKSHOP | D Shackle S3A/4 | 6 | LA
| S3A/7 | NEW FLEXURE LAB | D Shackle S3A/7 | 6 | LA
| S3A/8 | NEW FLEXURE LAB | D Shackle S3A/8 | 6 | LA
| S44 | MAIN WORKSHOP | D Shackle S44 | 6 | LA
| S441 |  | D Shackle S441 | 6 | LA
| S442 |  | D Shackle S442 | 6 | LA
| S443 |  | D Shackle S443 | 6 | LA
| S445 |  | D Shackle S445 | 6 | LA
| ﻿S446 |  | D Shackle S446 | 6 | LA
| T1 | MAIN WORKSHOP | Rigging Screw 1 | 6 | LA
| T2 | MAIN WORKSHOP | Rigging Screw 2 | 6 | LA
| T245089 |  | Polyester Sling T245089 | 6 | LA
| T245090 |  | Polyester Sling T245090 | 6 | LA
| T34064 |  | Webbing Sling t34064 | 6 | LA
| TIS1 |  | Runway Beam TIS1. | 12 | C
| TIS2 |  | Runway Beam TIS2. | 12 | C
| U238.1 | NEW FLEXURE LAB | Bow Shackle U238.1 | 6 | LA
| U238.2 | NEW FLEXURE LAB | Bow Shackle U238.2 | 6 | LA
| VGS1 | MAIN WORKSHOP | Bow Shackle VGS1 | 6 | LA
| VGS2 | MAIN WORKSHOP | Bow Shackle VGS2 | 6 | LA
| VGS3 | MAIN WORKSHOP | Bow Shackle VGS3 | 6 | LA
C=Crane; L=Lift; LA=Lifting Accessories;

## Annex B
Pressure Vessel SCHEDULE at the UKATC dated 9 July 2014
| ﻿ | Location No. | Workshiop
|  | Address: | UK Astronomy Technology Centre, EH9 3HJ
| Asset ID | Sub Loc. | Description
| PV1 | Crawford Building | 200 Ltr PV
| PV2 | Library Boiler Room | 300 Ltr PV
| PV3 | Worshop Plant Room | 330 Ltr PV
| PV4 | Quad Boiler Room | 200 Ltr PV
| PV5 | Pump House | Air Receiver
| PV6 | Workshop | 250 Ltr PV
| PV7 | Pump House | Air Receiver
| PV8 | Crawford Building | 330 Ltr Expansion Vessel
| PV9 | Crawford Building | 330 Ltr Expansion Vessel

## Annex C
LEV SCHEDULE at the UKATC dated 9 July 2014
| ﻿ | Location No. | Workshiop
|  | Address: | UK Astronomy Technology Centre, EH9 3HJ
| Asset ID | Sub Loc. | Description
| 1 | Workshop | Welder
| 2 | Workshop | Sander
| 3 | Workshop | Wood Waste Hood & Flex
| 4 | Workshop | Lathe Flexi Arm