## Sheet1
WHALEY BRIDGE MECHANICS INSTITUTE
ALTERATIONS TO FORM NEW DISABLED ACCESS AND FACILITIES
SCHEDULE OF WORKS
Note:
The following pages are a Schedule of Works to enable a breakdown of costs to be submitted for the
purpose of evaluation, monthly valuations and settlement of Final Account, the document is an
Excell document and is formulated through to the Summary
2024-09-13
Demolitions and general Alterations
Basement
A | Strip out existing Kitchen area and WC | Item
B | Remove door & frame | Item
C | Remove wall to storage room including door and frame and skirtings etc | Item
D | Take up and clear away all existing floor coverings to Community Room & WC | Item
E | Form new opening for Lift shaft in wall between Community Room and Library | Item
F | Form new opening adjacent to staircase / Community Room including all
| necessary lintels as detailed on Structural Drawings | Item
G | Remove existing staircase from basement to 1st floor and prepare for new | Item
H | Break out existing Community Room floor including base comprised of
| timber "railway" type sleepers and sub base (save sleepers for Client) | Item
J | Take out existing double external doors, frame and top section and cart away | Item
Ground Floor
K | Take down & remove from site existing male and female toilet cubicles | Item
L | Remove existing Male / Female dividing partition and doors | Item
M | Remove existing skirtings where affected by alterations | Item
N | Form new opening for Boiler and Hot Water cylinder - make good works disturbed | Item
P | Form new opening for Refuge area including lintels - make good works disturbed | Item
Q | Ditto from new kitchen to Accessible WC | Item
R | Remove door and frame from existing Kitchen | Item
S | Remove wall at existing Kitchen | Item
T | Remove wall including door and frame from Storage Room in area of WC | Item
First Floor
U | Remove door & frame to head of staircase | Item
V | Take down part of existing staircase wall at head and also to form new
| Store Room | Item
W | Remove boarding from proposed Kitchen window and make good | Item
X | Take down walls to existing Kitchen / Bar area | Item
Y | Remove all fittings and save Bar for adjustments and re-use at later date | Item
Z | Take out existing staircase | Item
AA | Take up and clear away all existing floor coverings and prepare for new | Item
| 1 Carried to Summary |  | £ | 0
New Works
Basement
A | Form new 1200mm wide blank opening adjacent to WC for lift access | Item
B | Ditto 1500mm wide from library to new Lift access | Item
C | Delta Tanking Membrane and insulation and metal studs to Community Room;
| Store and WC as detailed on drawings | Item
D | 72.5mm Celotex PL4060 plasterboard & skim to Community Room walls | Item
E | New window glazed screen & doors as described in Accoya primed in factory | Item
as detailed on drawing No 1866 BR10
F | 100mm Stud partitions to form New Store and access area to lift | Item
G | Form new double door cupboard to Community Room (doors meas seperately) | Item
H | Alter staircase to corridor to suit new raised floor levels | Item
J | Raise floor level to WC & corridor with 175mm x 50mm joists; 165mm Celotex
insulation XR4000 between joists; 500g Visqueen; 22mm External quality
plywood decking; 20mm thick insulation to all perimeters: all flooring to
| match Community Room level | Item
K | New floor to Community Room, Min 75mm Mot spread and levelled; 1200g
Visqueen dpm; 100mm Celotex GC4000 insulation ; 500g Visqueen; 150mm
| Concrete (C24) trowelled ; Insulation min 200mm x 25mm to perimeter | Item
L | 65mm Sand & cement screed to Community Room floor | Item
M | Alter existing blocked doorway including new window and painted as described | Item
N | Form new opening in existing 400mm thick wall with two Naylor lintels
type R6 size 145mm deep x 100mm wide as detailed and make good
| brickworks and plaster finish | Item
P | 826mm x 2040mm FD30s Door and frame, with architraves to match | Item
Q | Pair of 686mm x 1981mm doors, frame and architraves to new store area | Item
R | Alter drainage to suit position and style of new WC | Item
S | 100mm Stud partitions as described to form Store; Community Room, WC and
corridor adjacent to new lift including forming door openings and secure fixings
| to floor and ceilings; including insulation as shown | Item
T | Fit skirtings 215mm / 150mm Taurus or similar to match existing in Store,
| Community Room and where disturbed | Item
U | Supply and fit Polyflor Non slip vinyl flooring to toilet, stores, community room
| and corridors | Item
V | Supply and fit coved sit on skirting to all vinyl floored areas | Item
0
New Works - Basement (Cont'd)
A | Matwell frame size 5.00m x 1.00m to entrance in SAA finish with integral
| corded matting | Item
B | Apply one mist coat and two coats silk finish emulsion to all new walls,
existing walls & ceiling to Community Room, WC, corridor up to Library
Ground Floor
C | Reduce existing opening size in 400mm thick wall with new brick pier, toothed
into existing wall; provide and fit two Naylor R6 lintels size 145mm deep
| x 100mm wide; plaster to new brickwork and make good all works disturbed | Item
D | 100mm Stud partitions as described to form Refuge; Toilets; Stores; Kitchen and
Accessible WC including forming door openings and secure fixings
| to floor and ceilings; including insulation as shown | Item
E | Dry line plastered wall against void with insulated plasterboard & skim | Item
F | Provide and fit proprietory toilet cubicle (between walls - 2 No WC) with diverse
| doors opening as shown | Item
G | Provide and fit proprietory cubicle door and panel 1200mm wide to single WC | Item
H | Provide and fit proprietory IPS system to toilets, vanity units and wash hand basins | Item
J | 826mm x 2040mm FD30s Door and frame, with architraves to match to Toilet
| (2 No); Kitchen (2 No); Store adjacent to Lift | Item
K | Pair of 686mm x 1981mm doors, frame and architraves to new store area | Item
L | Ditto type FD30s to Cleaner's Store | Item
M | Vanity Unit approx 1900mm long with two bowls (2 No) | Item
N | Supply and fit low level WC to toilets (3 No) | Item
P | Ditto to Accessible toilet (1 No) | Item
Q | Supply and fit recessed wash hand basin to Vanity unit including taps, chain
| and waste (4 No) | Item
R | Supply and fit hand dryer (4 No) | Item
S | Supply and fit Disabled Wc with Doc NM pack | Item
T | Supply and fit wash basin including taps, chain and waste | Item
U | Supply and fit Cleaners sink with bucket grating | Item
V | Supply and fit 1200 long Sink base unit with single drainer, pillar taps, chain
| and waste | Item
W | Supply and fit 600mm long worktop on 50mm x 38mm bearers | Item
X | Provide and fit MF suspended ceiling system with resilient hangers to soffit of
Meeting Room including insulation for sound protection and plasterboard and
| skim finish; make good all works disturbed | Item
| 3 Carried to Summary |  |  | 0
New Works - Ground Floor (Cont'd)
A | Ditto to new toilet areas, refuge and stores | Item
B | Suspended integral ceiling grid with 600mm x 600mm ceiling tiles to Kitchen | Item
C | Ditto to Accessible WC | Item
D | Supply and fit skirtings 215mm or 150mmTaurus or similar to match existing in
| Store, Refuge areas and corridors and where disturbed | Item
E | Box in all exposed pipework, waste, soil pies etc | Item
F | Supply and fit Polyflor Non slip vinyl flooring to Kitchen, toilets, Accessible WC and
| Cleaners room, stores, refuge areas and corridors as shown | Item
G | Supply and fit coved sit on skirting to all vinyl floored areas | Item
H | 300mm high White glazed tile splashback in 150mm x150mm tiles to all Kitchen
| units, worktops | Item
J | Ditto to vanity Units | Item
K | White glazed 150mm x 150mm tiling to Accessible WC 1200mm high to all walls | Item
L | Silicone beading to all worktops and units at wall junctions | Item
M | Clean down, apply one mist coat and two coats silk finish emulsion to all
| existing walls and ceilings (Community Room, Store, WC, corridor up to Library) | Item
N | Ditto to all new partitions and wall boarding | Item
P | Ditto to all new plastered ceilings | Item
Q | Prepare, prime, two undecoats and one coat finish to all new and existing skirtings | Item
R | Ditto door casing, architraves and stops (Store, WC, Community Room) | Item
S | Ditto all new doors | Item
T | Paint new glazed screen & doors with three coats microporous paint as described | Item
U | Prepare, prime, two undecoats and one coat finish to all pipe boxings | Item
| 4 Carried to Summary |  |  | 0
New Works (Cont'd)
First Floor
A | 100mm Stud partitions as described to form Stores, Kitchen and Bar and
Accessible WC including forming door openings and secure fixings
| to floor and ceilings; including insulation as shown | Item
B | 826mm x 2040mm FD30s Door and frame, with architraves to match to Toilet
| (1 No); Kitchen (1 No); Store adjacent to Lift (1 No) Function Room (1 No) | Item
C | Pair of 686mm x 1981mm doors, frame and architraves to new store area | Item
D | Suspended integral ceiling grid with 600mm x 600mm ceiling tiles to Kitchen, | Item
Stores, Accessible WC and Bar area
E | White glazed 150mm x 150mm tiling to Accessible WC 1200mm high to all walls | Item
F | Supply and fit skirtings 215mm or 150mm Taurus or similar to match existing in
| Stores, Refuge areas and corridors and where disturbed | Item
G | Supply and fit Polyflor Non slip vinyl flooring to Kitchen, Accessible WC and
| Bar area as shown | Item
H | Supply and fit coved sit on skirting to all vinyl floored areas | Item
J | Supply and fit 1200 long Sink base unit, single drainer, pillar taps, chain & waste | Item
K | Supply and fit 600mm x 500mm Cupboard unit (2 No) | Item
L | Supply and fit 2400mm long worktop on 50mm x 38mm bearers | Item
M | Ditto 600mm long to floor cupboard | Item
N | Ditto 1800mm long to sink unit / floor cupboard | Item
P | 300mm high White glazed tile splashback in 150mm x150mm tiles to all Kitchen
| units, worktops | Item
Q | Tile behind cooker position floor to 300mm above worktops | Item
R | Tiling to Accessible WC to be 1200mm high to all walls | Item
S | Silicone beading to all worktops and units at wall junctions | Item
T | Re-use existing Bar and fit to new position including all necessary adjustments | Item
U | Supply and fit skirtings 215mm or 150mmTaurus or similar to match existing in
| corridors | Item
V | Supply and fit Polyflor Non slip vinyl flooring to Kitchen, Accessible WC, stores
| refuge areas and corridors as shown | Item
W | Supply and fit coved sit on skirting to all vinyl floored areas | Item
X | Clean down, apply one mist coat and two coats silk finish emulsion to all
| existing walls and ceilings (Community Room, Store, WC, corridor up to Library) | Item
Y | Ditto to all new partitions and wall boarding | Item
| 5 Carried to Summary |  |  | 0
New Works - First Floor (Cont'd)
A | Clean down, apply one mist coat and two coats silk finish emulsion to all
| new plastered ceilings | Item
B | Prepare, prime, two undecoats and one coat finish to all new and existing skirtings | Item
C | Ditto door casing, architraves and stops (Stores, Kitchen, WC, Function Room) | Item
D | Ditto all new doors | Item
E | Supply and fit Roller Shutter (Fire rated) to bar | Item
F | Box in all exposed pipework, waste, soil pies etc | Item
G | Prepare, prime, two undecoats and one coat finish to all pipe boxings | Item
H | Ease and adjust windows at mezzanine, new WC's kitchen & accessible WC | Item
J | Redecorate last with two undercoats, one coat gloss paint | Item
K | Polyflor non slip tiles to all staircase and nosings (gradus or similar) to match | Item
| 6 Carried to Summary |  |  | 0
New Platform Lift Installation
A | Provide clean dust proof hoarding around proposed opening in Library area; ensure
that all area kept dust free and clen after works, leaving access to the Library at
| all times | Item
B | Break through existing 400mm thick (min) wall to form new opening for lift
shaft in Basement between Community Room and Library, include for all lintels
| as shown and all necessary making good | Item
C | Excavate below floor level to form new Lift pit not exceeding 1500mm deep and
| clear away all surplus excavated material from site | Item
D | Concrete base and pit walls as shown including all necessary reinforcement and
| treat base and walls wiith Fosroc DP as indicated | Item
E | Carry out all necessary pumping, supports and underpinning as required | Item
F | Include for all necessary tanking - Fosroc Nitecote CM210 all details and
connections to Fosroc requirements; include dpm to floor to lap with lift
| waterproofing | Item
G | Cut through existing ground and first floors for new lift enclosure and include for
| all necessary pinning and ties | Item
H | Cut through existing ceiling at first floor level and include for all necessary
| trimmers and making good | Item
J | Make good opening at ground floor level after doors removed (see P 1) | Item
K | Build new Lift Shaft enclosure in Class B Engineering bricks as detailed, include
| for forming all necessary openings with lintels (Naylor) as described | Item
L | Include for all pinning, labours and packings required | Item
M | Provide 100mm x 50mm Rafters at 400mm centres to top of lift enclosure | Item
N | Wall plate straps to last to secure to lift shaft | Item
P | 22mm Plywood decking to rafters to form storage deck | Item
Q | 12.5mm Plasterboard & Skim for fire protection to soffit of lift shaft roof | Item
R | Form access top store area on top of lift shaft through studs walls | Item
S | Provide door casing and door overall size 726mm x 1000mm high | Item
T | Include for new enclosed platform lift as Sheridan details | Item
U | Allow for all necessary scaffolding to lift shaft and for attendance and scaffold
| as required by Lift Contractor | Item
| 7 Carried to Summary |  |  | 0
Sundry & External Works
A | Include for patress to wall in WC for Baby Changing Unit
B | Supply and fit Stainless Steel hand dryers
C | Include for new staircase from Ground to first floor as shown
D | Break up external concrete bed as shown and prepare for new pavings
E | Include for ACO drain to entrance glazed screen and connect to existing drainage
F | Lay precast concrete paving as shown to new entrance to Community Room
G | Carry out line marking as detailed
Items of Additional Works
H | The Contractor is to allow for any items shown on the drawings but
not detailed in the Work Schedule together with any further works that is
| felt necessary and is to detail this below | Item
| 8 Carried to Summary |  |  | 0
Specification Notes
A | Kitchen Units are: Howdens Bridgemere range
B | Wall tiling - white ceramic 150mm x 150mm
C | Vinyl flooring - Halsteads Non Slip Polyflor range
D | Internal doors - Flush; panelled as Schedule
E | Suspended ceiling tiles to be Armstrong Biobloc Acoustic tiles 600mm x 600mm
set in tegular grid without shadow batten
F | Sanitary ware to be Ideal Standard range - Anti Vandal
G | DOC M pack - Ideal Standard - stainless steel garb rails
H | Cleaners Sink with bucket grating - Armitage Shanks
J | WC Cubicles Bushboard - HiZone cubicle system with IPS panelling
K | Skirtings - 215mm or 150mm Taurus to match existing
L | All doors and works to be as detailed on Drawing No 1866.BR09 (Door Schedule)
M | Drained Waterproof system - Delta or similar
N | Tanking system - Fosroc Nitecote CM210
P | Platfrom Lift - Sheridan Lift Company Ltd - Specification attached
Q | Hand dryers - Dyson or similar stainless steel
R | Underfloor insulation - 165mm Celotex XR400 or similar
| 9 Carried to Summary |  |  | 0
Provisional Sums
A | Supply only Ironmongery |  |  | 1000
B | Add overheads & Profit |  | %
C | Electric Underfloor Heating System |  |  | 5000
D | Add overheads & Profit |  | %
E | Heating Alterations |  |  | 5000
F | Add overheads & Profit |  | %
G | Electrical Alterations including camera |  |  | 5000
H | Add overheads & Profit |  | %
J | Window repairs |  |  | 1500
K | Add overheads & Profit |  | %
L | Signage to building as required |  |  | 750
M | Add overheads & Profit |  | %
| Contingencies |  |  | 10000
| 10 Carried to Summary |  |  | 28250
Preliminaries Breakdown
11 Carried to Summary
SUMMARY
| Folio | 1 |  | 0
| Folio | 2 |  | 0
| Folio | 3 |  | 0
| Folio | 4 |  | 0
| Folio | 5 |  | 0
| Folio | 6 |  | 0
| Folio | 7 |  | 0
| Folio | 8 |  | 0
| Folio | 9 |  | 0
| Folio | 10 |  | 28250
| Folio | 11 |  | 0
| TOTAL CARRIED TO FORM OF TENDER |  |  | 28250
NB: Value Added Tax will be calculated by the Employer and notification given to Contractor
Do not add Value Added Tax on at this stage