## Supplier Completion Guide
The following aims to provide prospective suppliers with guidance on the completion of Annex B to Schedule 2; 1) Pricing is to be provided against each item where Calibration and/or Repair has been identified as being required - Standard pricing must be provided for all items within the Lot being quoted for. If this is not adhered to, the Bid will be considered non-compliant. 2) Greyed out cells do not require completion, as Calibration and/or Repair is not required for these items. These items are included for information as they are part of a higher assembly. Some comprising items may be required to carry out the calibration of the higher assembly. 3) CSORs (Calibration Statement of Work) have been provided in support of this Tender for pricing purposes only, as they are currently under review. 4) Where there is no CSOR listed in column M, there is no CSOR provided for that item.
Supplier Completion Guide
The following information aims to provide prospective suppliers with guidance on the completion of the pricing evaluation forms.
Pricing is to be provided against each item where Calibration or Repair has been identified as being required.
CSOR (Calibration Statement of Work) are provided for pricing purposes only as they are currently under review.
Where there is no CSOR listed in column M, there is no CSOR provided for that item
Each Lot will be evaluated on the totality of the prices provided against interested parties UKAS Accreditation their ability to complete the works In-House.
Questions | Guidance for Completion | Comments
Q1 | Provide pricing for a Standard Calibration to CSOR/British Standard or Manufactures specification (depending which is available) in accordance with the SoW. | Price is to be inclusive of collection and delivery fees from the authority’s nominated premises.
Q2 | Provide pricing for Repair & Standard Calibration CSOR/British Standard or Manufactures specification (depending which is available) in accordance with the SoW. | Price is to be inclusive of collection and delivery fees from the authority’s nominated premises.
Q3 | Provide response (In-House or Sub-Con) specifying whether your organisation has the capability to carry out the work at Q1 & Q2 In-House or you intend to utilise a Third party supplier.
Q4 | Please specify (Yes or No) whether the Laboratory your organisation intends to carry the works out in, covers this item under their UKAS Schedule of Calibration.
Q5 | If your response to Q3 was yes (i.e. you intend to Sub Contract the item to meet the requirements of Q1 & Q2), please specify company name and location. | Prices are to be inclusive of any handling fees along with collection and delivery costs to and from third party supplier.
Q6 | Provide pricing for UKAS Calibration. | Price is to be inclusive of collection and delivery fees from the authority’s nominated premises.
Q7 | Provide pricing for Repair & UKAS Calibration. | Price is to be inclusive of collection and delivery fees from the authority’s nominated premises.
Q8 | Provide response (In-House or Sub-Con) specifying whether your organisation has the capability to carry out the work at Q6 & Q7 In-House or you intend to utilise a Third party supplier.
Q9 | Please specify (Yes or No) whether the Laboratory your organisation intends to carry the works out in, covers this item under their UKAS Schedule of Calibration.
Q10 | If your response to Q8 was yes (i.e. you intend to Sub Contract the item to meet the requirements of Q6 & Q7), please specify company name and location. | Prices are to be inclusive of any handling fees along with collection and delivery costs to and from third party supplier.

## Fibre Optics & Optical Equipmen
SUB SET | LINE No. | DMC | NSN (FULL 13 NO SPACES) | PART No. | DESCRIPTION | GROUP | COMPRISING ITEM | SPECIAL CONDITIONS (EMC, ITAR ,ATEX) | CAL PERIOD MONTHS | OEM | CALIBRATION | REPAIR | CSOR | CSOR / OEM VERSION | CALIBRATION STANDARD REQUIRED | COMMENTS | Q1 Std Calibration Price | Q2 Std Repair & Calibration price | Q3 Service provided In-House or Sub-Con | Q4 Item covered under Schedule of UKAS Accreditation by the LAB carrying out the Work. | Q5 If service is provided at Sub-Con please specify supplier detail | Q6 UKAS Calibration Price | Q7 UKAS Repair and Calibration Price | Q8 Service provided In-House or Sub-Con | Q9 Item covered under Schedule of UKAS Accreditation by the LAB carrying out the Work. | Q10 If service is provided at Sub-Con please specify supplier detail.
E05 | 1 | W115 | 6625992608181 | TK-RAF-010 | FIBRE OPTIC TEST SET | FIBRE OPTICS | MAIN ASSY | N | 12 | EXFO | YES | YES | 0346E | 2 | STD | COMPRISES 3 ITEMS. UKAS NOT TECHNICALLY POSSIBLE ON LED SOURCE.
E05 | 2 | W115 | 6625993788055 | FPM-300 | METER NOISE LEVEL | FIBRE OPTICS | 6625992608181 | N | 12 | EXFO | YES | YES | 0346E | 2 | STD
E05 | 3 | W115 | 6625992775742 | FLS-300-23BL | LIGHT SOURCE | FIBRE OPTICS | 6625992608181 | N | 12 | EXFO | YES | YES | 0346E | 2 | STD
E05 | 4 | W115 | 6625993928571 | FLS-300-12D | LIGHT SOURCE | FIBRE OPTICS | 6625992608181 | N | 12 | EXFO | YES | YES | 0346E | 2 | STD
E05 | 5 | Z4 | 6625992872260 | FOA-22 | FC ADAPTOR POWER METER | FIBRE OPTICS | 6625992608181 | N | CNR | EXFO | NO | YES | - | - | -
E05 | 6 | Z4 | 6625995513257 | FOA-32 | ADAPTOR POWER METER | FIBRE OPTICS | 6625992608181 | N | CNR | EXFO | NO | YES | - | - | -
E05 | 7 | W115 | 5935219122691 | FOA-16 | ADAPTER CABLE CLAMP TO CONNECTOR | FIBRE OPTICS | 6625992608181 | N | CNR | EXFO | NO | YES | - | - | -
E05 | 8 | W115 | 6130219116153 | GP-30U | AC MAINS ADAPTOR | FIBRE OPTICS | 6625992608181 | N | CNR | EXFO | NO | YES | - | - | -
E05 | 9 | W115 | 6625993868110 | GP-15-2 | CARRY CASE | FIBRE OPTICS | 6625992608181 | N | CNR | EXFO | NO | YES | - | - | -
E05 | 10 | W115 | 6625997519046 | TJ-D-32-32 | PATCHCORD ST TO ST | FIBRE OPTICS | 6625992608181 | N | CNR | EXFO | NO | YES | - | - | -
E05 | 11 | W115 | 6625998525883 | TJ-D-32-50 | PATCHCORD | FIBRE OPTICS | 6625992608181 | N | CNR | EXFO | NO | YES | - | - | -
E05 | 12 | W115 | 6625993612858 | TJ-D-32-16 | PATCHCORD | FIBRE OPTICS | 6625992608181 | N | CNR | EXFO | NO | YES | - | - | -
E05 | 13 | W115 | 6625995513258 | TJ-D-50-50 | PATCHCORD | FIBRE OPTICS | 6625992608181 | N | CNR | EXFO | NO | YES | - | - | -
E05 | 14 | W115 | 6625995513259 | TJ-B-50-50 | PATCHCORD | FIBRE OPTICS | 6625992608181 | N | CNR | EXFO | NO | YES | - | - | -
E05 | 15 | W115 | 6625995513260 | TJ-D-16-16 | PATCHCORD | FIBRE OPTICS | 6625992608181 | N | CNR | EXFO | NO | YES | - | - | -
E05 | 16 | W115 | 6625991846049 | RAC-32 | ADAPTOR | FIBRE OPTICS | 6625992608181 | N | CNR | EXFO | NO | YES | - | - | -
E05 | 17 | W115 | 6625999741389 | RAC-16 | ADAPTOR | FIBRE OPTICS | 6625992608181 | N | CNR | EXFO | NO | YES | - | - | -
E05 | 18 | W115 | 6625992755173 | RAC-50 | ADAPTOR | FIBRE OPTICS | 6625992608181 | N | CNR | EXFO | NO | YES | - | - | -
E05 | 19 | W115 | 6625995517581 | FTB-200 | UNIVERSAL TEST SYSM MAINFRAME | FIBRE OPTICS | MAIN ASSY | N | 12 | EXFO | YES | YES | - | - | UKAS
E05 | 20 | W115 | 6625995022889 | TK-200-SP-PM3-SK6 | OTDR | FIBRE OPTICS | 6625995517581 | N | 12 | EXFO | YES | YES | - | - | UKAS
E05 | 21 | W115 | 6625996674799 | FTB-7200D-12CD-EI-EUI-90-23B-EI-EUI-89 | OTDR MODULE | FIBRE OPTICS | 6625995517581 | N | 12 | EXFO | YES | YES | - | - | STD
E05 | 22 | Z4 | 6060997902924 | EUI-89 | FC CONNECTOR | FIBRE OPTICS | 6625995517581 | N | CNR | EXFO | NO | NO | - | - | -
E05 | 23 | Z4 | 6060993527190 | EUI-90 | ST CONNECTOR | FIBRE OPTICS | 6625995517581 | N | CNR | EXFO | NO | NO | - | - | -
E05 | 24 | Z4 | 6060995556396 | EUI-91 | SC CONNECTOR | FIBRE OPTICS | 6625995517581 | N | CNR | EXFO | NO | NO | - | - | -
E05 | 25 | Z4 | 6060998582010 | RAC-FC-LC | FC/UPC TO LC/UPC ADAPTOR | FIBRE OPTICS | 6625995517581 | N | CNR | EXFO | NO | NO | - | - | -
E05 | 26 | Z4 | 6625995513257 | FOA-32 | ST CONNECTOR ADAPTOR | FIBRE OPTICS | 6625995517581 | N | CNR | EXFO | NO | YES | - | - | -
E05 | 27 | Z4 | 6060997542091 | FOA-54 | SC ADAPTOR FOR METER | FIBRE OPTICS | 6625995517581 | N | CNR | EXFO | NO | NO | - | - | -
E05 | 28 | Z4 | 6060999906952 | FOA-98 | LC ADAPTOR FOR METER | FIBRE OPTICS | 6625995517581 | N | CNR | EXFO | NO | NO | - | - | -
E05 | 29 | Z4 | 6060996134589 | GP-1008 | VFL ADAPTOR | FIBRE OPTICS | 6625995517581 | N | CNR | EXFO | NO | NO | - | - | -
E05 | 30 | Z4 | 6060991514434 | GP-2084 | DRY SUIT FOR FTB-200 | FIBRE OPTICS | 6625995517581 | N | CNR | EXFO | NO | NO | - | - | -
E05 | 31 | Z4 | 7025995175724 | GP-2015 | COMPACT FLASH MEMORY CARD | FIBRE OPTICS | 6625995517581 | N | CNR | EXFO | NO | NO | - | - | -
E05 | 32 | Z4 | 6130994911410 | GP-2021-U | POWER SUPPLY CHARGER | FIBRE OPTICS | 6625995517581 | N | CNR | EXFO | NO | NO | - | - | -
E05 | 33 | Z4 | 8145993921180 | GP-10-070 | RIGID CARRY CASE FOR FTB-200 | FIBRE OPTICS | 6625995517581 | N | CNR | EXFO | NO | NO | - | - | -
E05 | 34 | Z4 | 6625992872260 | FOA-22 | FC ADAPTOR FOR METER | FIBRE OPTICS | 6625995517581 | N | CNR | EXFO | NO | YES | - | - | -
E05 | 35 | W115 | 5995997234358 | 3881/01818 | INTERFACE CABLE | FIBRE OPTICS | N | N | 12 | BAE | YES | YES | - | - | STD | BELIEVED TO BE CABLE FROM PR1980 TO PC, CALIBRATION NOT POSSIBLE, FUNCTIONAL CHECK OFFERED
E05 | 36 | W115 | 6625010487990 | J6503 | PROBE LUMINANCE | FIBRE OPTICS | N | N | 12 | TEKTRONIX | YES | YES | - | - | STD | OBSOLETE, NO REPAIRS POSSIBLE (TEKTRONIX HAVE NO PARTS/INFORMATION, THEY SEND THESE UNITS TO OTC FOR CALIBRATION)
E05 | 37 | W115 | 5860996478535 | A77-500 | LASER ENERGY METER | FIBRE OPTICS | N | N | 12 | GEC | YES | YES | - | - | STD
E05 | 38 | W115 | 6695170565159 | LS100 | METER ILLUMINATION INTENSITY | FIBRE OPTICS | N | N | 12 | MINOLTA | YES | YES | - | - | UKAS
E05 | 39 | W115 | 6650997916978 | PR-1980A CPCD | PHOTOMETER CONTROL CONSOLE | FIBRE OPTICS | MAIN ASSY | N | 12 | BAE | YES | YES | - | - | UKAS | LINE 40, 41 AND 42 ARE A SET WHICH MUST ARRIVE TOGETHER. OBSOLETE PRODUCT, NO SUPPORT FROM MANUFACTURER
E05 | 40 | 10S | 6695013938096 | 1908-OP | OPTICAL HEAD | FIBRE OPTICS | 6650997916978 | N | 12 | BAE SYSTEMS | YES | NO | - | - | UKAS | LINE 40, 41 AND 42 ARE A SET WHICH MUST ARRIVE TOGETHER. OBSOLETE PRODUCT, NO SUPPORT FROM MANUFACTURER
E05 | 41 | W116 | 6625012958915 | PR-1908A-CD | CONTROL CONSOLE | FIBRE OPTICS | 6650997916978 | N | CNR | BAE SYSTEMS | NO | YES | - | - | - | LINE 40, 41 AND 42 ARE A SET WHICH MUST ARRIVE TOGETHER. OBSOLETE PRODUCT, NO SUPPORT FROM MANUFACTURER
E05 | 42 | W115 | 5895994765714 | FOVC 2002 | FIBRE OPTICS VOICE COMMUNICATION SYSTEM | FIBRE OPTICS | MAIN ASSY | N | 12 | DM SYSTEMS AND TEST LIMITED | YES | YES | - | - | STD
E05 | 43 | Z4 | 5895992442532 | HD1 | MODEM + CASE | FIBRE OPTICS | 5985994765714 | N | CNR | DM SYSTEMS AND TEST LIMITED | NO | NO | - | - | -
E05 | 44 | Z4 | 6020999327475 | 902556-A2 | MULTIMODE CABLE | FIBRE OPTICS | 5985994765714 | N | CNR | DM SYSTEMS AND TEST LIMITED | NO | NO | - | - | -
E05 | 45 | W115 | 6030998538236 | 902555-A1 | TRANSMIT AND RECEIVE UNIT | FIBRE OPTICS | 5985994765714 | N | CNR | DM SYSTEMS AND TEST LIMITED | NO | YES | - | - | -
E05 | 46 | W115 | 6625991511941 | TFS2020MM | FIBRE OPTIC TEST SET | FIBRE OPTICS | N | N | 12 | TEKTRONIX UK LTD | YES | YES | - | - | STD
E05 | 47 | W115 | 6625994998730 | TFS2020MM | FIBRE OPTIC TEST SET | FIBRE OPTICS | N | N | 12 | MOD | YES | YES | - | - | STD
E05 | 48 | W115 | 6625014553364 | MTS5200 | MEDIA TEST SET | FIBRE OPTICS | N | N | 12 | WAVETEK | YES | YES | - | - | UKAS | UKAS ONLY IF MODULE INSIDE IS UKAS
E05 | 49 | W115 | 6625997441382 | TFP 2A/A2 | OPTICAL TIME DOMAIN REFLECTOMETER | FIBRE OPTICS | MAIN ASSY | N | 12 | TEKTRONIX | YES | YES | - | - | UKAS | UKAS ONLY IF MODULE INSIDE IS UKAS
E05 | 50 | W115 | 6625997020793 | TFP2A/A2 | MAIN FRAME TDS | FIBRE OPTICS | 6625997441382 | N | 12 | TEKTRONIX | YES | YES | - | - | UKAS | UKAS ONLY IF MODULE INSIDE IS UKAS
E05 | 51 | W115 | 6070013673900 | N/K | PLUG IN UNIT MULTIMODE 850/1300NM | FIBRE OPTICS | 6625997441382 | N | 12 | TEKTRONIX | YES | YES | - | - | STD
E05 | 52 | W115 | 6070997669730 | FG1300 | PLUG IN UNIT SINGLEMODE 1300NM | FIBRE OPTICS | 6625997441382 | N | 12 | TEKTRONIX | YES | YES | - | - | STD
E05 | 53 | Z4 | 6625992344253 | 200-3566-00 | COVER FRONT PANEL | FIBRE OPTICS | 6625997441382 | N | CNR | TEKTRONIX | NO | YES | - | - | -
E05 | 54 | O224 | 5995012895697 | 161-0104-07 | MAINS CABLE | FIBRE OPTICS | 6625997441382 | N | CNR | TEKTRONIX | NO | YES | - | - | -
E05 | 55 | Z4 | 6625990563687 | TO-A-01-33-33-15X | LEAD PATCH MULTIMODE 50/125 MICRON ST-ST 15 M 1G | FIBRE OPTICS | 6625997441382 | N | CNR | TEKTRONIX | NO | YES | - | - | -
E05 | 56 | Z4 | 6625994521990 | TO-A-01-33-33-15 | LEAD PATCH SINGLEMODE 50/125 MICRON ST-SMA 15 M 1G | FIBRE OPTICS | 6625997441382 | N | CNR | TEKTRONIX | NO | YES | - | - | -
E05 | 57 | Z4 | 6625996628879 | TO-D-53-53-15X | LEAD PATCH SINGLEMODE 8/125 MICRON FCPC-FCPC 15 M 1G | FIBRE OPTICS | 6625997441382 | N | CNR | TEKTRONIX | NO | YES | - | - | -
E05 | 58 | Z4 | 8145998079722 | HT2804 REF. SD2 1041 | CASE HARD | FIBRE OPTICS | 6625997441382 | N | CNR | TEKTRONIX | NO | YES | - | - | -
E05 | 59 | Z4 | 6625997225025 | 386-5950-00 | MODULE SPACER MULTIPLE PLUG IN | FIBRE OPTICS | 6625997441382 | N | CNR | TEKTRONIX | NO | YES | - | - | -
E05 | 60 | Z4 | 6625993015241 | Opt 14 & 17 | INSERT PLUG BLANK OPTICAL PORT | FIBRE OPTICS | 6625997441382 | N | CNR | TEKTRONIX | NO | YES | - | - | -
E05 | 61 | Z4 | 9145990524794 | N/K | CASE TRANSIT HARD SHELL | FIBRE OPTICS | 6625997441382 | N | CNR | TEKTRONIX | NO | YES | - | - | -
E05 | 62 | Z4 | 8145993015242 | N/K | CASE CARRYING SOFT | FIBRE OPTICS | 6625997441382 | N | CNR | TEKTRONIX | NO | YES | - | - | -
E05 | 63 | W115 | 6650015132644 | 257A | OPTICAL POWER METER | FIBRE OPTICS | N | N | 12 | GREENLEE TEXTRON INC.!DBA GREENLEE TEXTRON TEMPO OPERATION!DIV TEMPO OPERATIONS | YES | YES | - | - | STD
E05 | 64 | W115 | 5895015521416 | DTX-SMF2 | SINGLE MODE FIBRE MODULE (SET OF 2) | FIBRE OPTICS | MAIN ASSY | N | 12 | FLUKE | YES | YES | - | - | STD | COST OF REPAIR FOR QTY 1 IS £1518
E05 | 65 | - | NIV | NFK3-DPLX-SC | DUPLEX SINGLEMODE TEST REFERENCE CORDS (QTY 2 SET OF 2) | FIBRE OPTICS | 5895015521416 | N | CNR | FLUKE | NO | NO | - | - | -
E05 | 66 | - | NIV | NFA-SC | SC TEST ADAPTORS FOR DTX-SFM2 MODULES (QTY 1 SET OF 2) | FIBRE OPTICS | 5895015521416 | N | CNR | FLUKE | NO | NO | - | - | -
E05 | 67 | W115 | 6650014600330 | 555B | OPTICAL POWER METER | FIBRE OPTICS | N | N | 12 | GREENLEE TEXTRON INC.!DBA GREENLEE TEXTRON TEMPO OPERATION!DIV TEMPO OPERATIONS | YES | YES | - | - | STD
E05 | 68 | W115 | 6625991688476 | T410/6 | LIVE FIBRE IDENTIFIER | FIBRE OPTICS | N | N | 12 | MOD | YES | YES | - | - | STD
E05 | 69 | W115 | 6625991476347 | CTAMTS5100E+2HEADS | OPTICAL REFLECTOMETER+2MODULES | FIBRE OPTICS | MAIN ASSY | N | 12 | ACTERNA | YES | YES | 0144E | 1 | STD
E05 | 70 | W115 | 6625145210747 | 5023MM | MULTIMODE MODULE | FIBRE OPTICS | 6625991476347 | N | 12 | ACTERNA | YES | YES | - | - | STD
E05 | 71 | Z4 | 6625995736209 | 5026DR | SINGLEMODE MODULE OTDR | FIBRE OPTICS | 6625991476347 | N | 12 | ACTERNA | YES | YES | - | - | STD
E05 | 72 | W115 | 6625995736207 | MTS5100 | OPTICAL TIME DOMAIN REFLECTOMETER | FIBRE OPTICS | 6625991476347 | N | 12 | ACTERNA | YES | YES | - | - | UKAS | UKAS ONLY IF MODULE INSIDE IS UKAS
E05 | 73 | Z4 | 8460145210750 | 5005 | CARRYING CASE | FIBRE OPTICS | 6625991476347 | N | CNR | ACTERNA | NO | NO | - | - | -
E05 | 74 | - | NIV | 5003 | MAINS ADAPTOR | FIBRE OPTICS | 6625991476347 | N | CNR | ACTERNA | NO | NO | - | - | -
E05 | 75 | W115 | 6625015712300 | DTX-OTDR-QMOD | DTX COMPACT OTDR MODULE | FIBRE OPTICS | N | N | 12 | FLUKE | YES | YES | - | - | STD
E05 | 76 | W115 | 6650016009293 | AF-OLK51-MM | TEST SET OPTICAL POWER | FIBRE OPTICS | N | N | 12 | ADVANCED FIBER SOLUTIONS INC | YES | YES | 0093E | 1 | STD
E05 | 77 | W115 | 6625015291966 | DTX-SFM | SINGLEMODE FIBER MODULE (SET OF 2) | FIBRE OPTICS | N | N | 12 | FLUKE | YES | YES | 0048E | 1 | STD | COST OF REPAIR FOR QTY 1 IS £1518
E05 | 78 | Z4 | 6625011234097 | 11XE | FIBRE OPTIC POWER METER | FIBRE OPTICS | N | N | 12 | 3M COMPANY DBA 3M DIV GOVERNMENT MARKETS | YES | YES | - | - | STD
E05 | 79 | W115 | 4940998183623 | 35PL00/002 | LASER ENERGY METER | FIBRE OPTICS | N | N | 12 | G E C COMPUTER SERVICES LIMITED | YES | YES | - | - | STD
E05 | 80 | W115 | 5895015521417 | DTX-MFM2 | MULTIMODE FIBRE MODULE (SET OF 2) | FIBRE OPTICS | N | N | 12 | FLUKE | YES | YES | - | - | STD | COST OF REPAIR FOR QTY 1 IS £1855
E05 | 81 | W115 | 6625015291967 | DTX-MFM | MULTIMODE FIBRE MODULE (SET OF 2) | FIBRE OPTICS | N | N | 12 | FLUKE | YES | YES | 0045E | 1 | STD | COST OF REPAIR FOR QTY 1 IS £1855
E05 | 82 | W115 | 6070997931549 | OLS 510 | FIBRE OPTIC LIGHT SOURCE | FIBRE OPTICS | MAIN ASSY | N | 12 | AVO MEGGER INSTRUMENTS LTD | YES | YES | 0422E | 2 | STD
E05 | 83 | 3V7 | 6070997983273 | 6250-079 | ADAPTOR SMA 9MM | FIBRE OPTICS | 6070997931549 | N | CNR | AVO MEGGER INSTRUMENTS LTD | NO | NO | - | - | -
E05 | 84 | Z4 | 6070997979180 | 6240-047 | CARRYING CASE | FIBRE OPTICS | 6070997931549 | N | CNR | AVO MEGGER INSTRUMENTS LTD | NO | NO | - | - | -
E05 | 85 | W115 | 6625990604201 | 56240-300 | FAULT LOCATOR | FIBRE OPTICS | N | N | 12 | AEROFLEX | YES | YES | - | - | STD | PRICE AMENDED AT AMDT 12
E05 | 86 | - | NIV | FTK200 | FIBRE TEST KIT | FIBRE OPTICS | N | N | 12 | FLUKE | YES | NO | - | - | STD
E05 | 87 | - | NIV | MW0973J | OTDR MODULE | FIBRE OPTICS | N | N | 12 | ANRITSU | YES | NO | - | - | STD
E05 | 88 | - | NIV | 7500 | 7500 OTDR & 788M MODULE & 742S MODULE | FIBRE OPTICS | N | N | 12 | PK TECHNOLOGY | YES | NO | - | - | STD
E05 | 89 | - | NIV | 41S | FUSION SPLICER | FIBRE OPTICS | N | N | 12 | SUMITOMO | YES | NO | - | - | STD
E05 | 90 | - | NIV | MINI-OTDR2000 | OTDR (WITH SINGLE & MULTIMODE MODULES) | FIBRE OPTICS | N | N | 12 | 3M | YES | NO | - | - | STD
E05 | 91 | - | NIV | FIBERCAT KIT | OPTICAL LOSS MEASURING SET | FIBRE OPTICS | N | N | 12 | DATACOM TEXTRON | YES | NO | - | - | STD
E05 | 92 | - | NIV | M200-QUAD | OTDR | FIBRE OPTICS | N | N | 12 | NOYES | YES | NO | - | - | UKAS
E05 | 93 | - | NIVDSG/0384 | FTK1000 | FIBRE OPTIC KIT | FIBRE OPTICS | N | N | 12 | FLUKE | YES | NO | - | - | STD
E05 | 94 | - | 6625251443292 | MW9070B | OPTICAL TIME DOMAIN REFLECTOMETER OTDR | FIBRE OPTICS | N | N | 12 | ANRITSU | YES | NO | - | - | UKAS | UKAS ONLY IF MODULE INSIDE IS UKAS
E05 | 95 | - | NIV | MV0972 | OTDR MODULE | FIBRE OPTICS | N | N | 12 | ANRITSU | YES | NO | - | - | STD
E05 | 96 | - | MMMMINI-OTDR2000 | 2000 | MINI-OTDR | FIBRE OPTICS | N | N | 12 | 3M | YES | NO | - | - | UKAS
E05 | 97 | - | MMMMINI-OTDR2000 | E6009A | MULTIMODE | FIBRE OPTICS | N | N | 12 | 3M | YES | NO | - | - | STD | UKAS NOT TECHNICALLY POSSIBLE, NO NATIONAL STANDARD AVAILABLE
E05 | 98 | - | MMMMINI-OTDR2000 | E6004A | SINGLE-MODE | FIBRE OPTICS | N | N | 12 | 3M | YES | NO | - | - | STD
E05 | 99 | - | NIVDSG/0384 | SimpliFiber Pro | OPTICAL POWER METER | FIBRE OPTICS | N | N | 12 | FLUKE NETWORKS | YES | NO | - | - | STD
E05 | 100 | Z4 | 6625990232542 | OFR 10A | OPTICAL REFLECTOMETER | FIBRE OPTICS | N | N | 12 | STC | YES | NO | - | - | STD
E05 | 101 | - | NIV | 850/1300 | SIMPLIFIBER SOURCE | FIBRE OPTICS | N | N | 12 | FLUKE NETWORKS | YES | NO | 0055E | 3 | STD
E05 | 102 | - | NIVDSG/0643 | M 850 | FIBRE OPTIC LIGHT SOURCE | FIBRE OPTICS | N | N | 12 | FIBRE OPTIC ENGINEERING LTD | YES | NO | - | - | STD
E05 | 103 | - | NIV | MW0972B | OTDR MODULE | FIBRE OPTICS | N | N | 12 | ANRITSU | YES | NO | 0055E | 3 | STD
E05 | 104 | - | NIVDSG/0643 | L850 | FIBRE OPTIC LIGHT SOURCE | FIBRE OPTICS | N | N | 12 | FIBRE OPTIC ENGINEERING LTD | YES | NO | - | - | STD
E05 | 105 | - | NIVDSG/0311 | M 850-4 | FIBRE OPTIC POWER METER | FIBRE OPTICS | N | N | 12 | FIBRE OPTIC ENGINEERING LTD | YES | NO | - | - | STD
E05 | 106 | 51PA | 6650997721758 | G104 | FIBRE OPTIC MICROSCOPE | FIBRE OPTICS | N | N | 12 | PRIORSPEC | YES | NO | - | - | STD
E05 | 107 | - | NIV | PKT7500 | OTDR | FIBRE OPTICS | N | N | 12 | PK TECHNOLOGY | YES | NO | - | - | UKAS | UKAS ONLY IF MODULE INSIDE IS UKAS
E05 | 108 | - | NIV | PKT742S | OTDR MODULE | FIBRE OPTICS | N | N | 12 | PK TECHNOLOGY | YES | NO | - | - | STD
E05 | 109 | - | NIVDEC/0229 | C840A | C840 QUAD CERTIFICATION TESTER | FIBRE OPTICS | N | N | 12 | NOYES FIBRE SYSTEMS | YES | NO | - | - | STD | UKAS FOR LASER SOURCES AND POWER METER, TRACEABLE CALIBRATION FOR LED SOURCES AND VFL
E05 | 110 | TKTL | 6080991544612 | S9024 | INSTALLATION KIT FIBRE OPTIC | FIBRE OPTICS | MAIN ASSY | N | 12 | FURAKAWA ELECTRIC EUROPE | YES | YES | - | - | STD | FIRST REPAIR & CAL VIA TDS
E05 | 111 | - | NIV | S178A | FUSION SPLICER LEVEL 1 | FIBRE OPTICS | 6080991544612 | N | 12 | FURAKAWA ELECTRIC EUROPE | YES | YES | - | - | STD
E05 | 112 | - | NIV | S178A | FUSION SPLICER LEVEL 2 | FIBRE OPTICS | 6080991544612 | N | 12 | FURAKAWA ELECTRIC EUROPE | YES | YES | - | - | STD
E05 | 113 | - | NIV | S178A | FUSION SPLICER LEVEL 3 | FIBRE OPTICS | 6080991544612 | N | 12 | FURAKAWA ELECTRIC EUROPE | YES | YES | - | - | STD
E05 | 114 | - | NIV | S326 | CUTTER / FIBRE CLEAVER LEVEL 1 | FIBRE OPTICS | 6080991544612 | N | 12 | FURAKAWA ELECTRIC EUROPE | YES | YES | - | - | STD
E05 | 115 | - | NIV | S326 | CUTTER / FIBRE CLEAVER LEVEL 2 | FIBRE OPTICS | 6080991544612 | N | 12 | FURAKAWA ELECTRIC EUROPE | YES | YES | - | - | STD
E05 | 116 | - | NIV | S326 | CUTTER / FIBRE CLEAVER LEVEL 3 | FIBRE OPTICS | 6080991544612 | N | 12 | FURAKAWA ELECTRIC EUROPE | YES | YES | - | - | STD
E05 | 117 | W115 | 6625994718493 | 514 | OTDR & OPTICAL PROBE TEST SET | FIBRE OPTICS | N | N | 12 | EXFO | YES | YES | - | - | STD
E05 | 118 | - | NIVDSG/0084 | 2956-0411-01 | OPTICAL 850/1300 SOURCE | FIBRE OPTICS | N | N | 12 | FLUKE | YES | NO | - | - | STD | NO NATIONAL STANDARD AVAILABLE FOR LED SOURCES SO NO UKAS POSSIBLE
E05 | 119 | 26AST | 6650014740249 | FT820A | FIBRE OPTIC TEST KIT | FIBRE OPTICS | N | N | 12 | BLACK BOX | YES | NO | - | - | STD | NO NATIONAL STANDARD AVAILABLE FOR LED SOURCES SO NO UKAS POSSIBLE
E05 | 120 | A854 | 6030991556106 | SLS 21A-00 | LASER LIGHT SOURCE | FIBRE OPTICS | N | N | 12 | SHINEWAY TECHNOLOGIES | YES | NO | - | - | STD
E05 | 121 | A854 | 6625016075703 | PM100D | METER OPTICAL POWER | FIBRE OPTICS | N | N | 12 | THORLABS INC. | YES | NO | - | - | STD | MUST BE SUPPLIED WITH ITEM BELOW
E05 | 122 | A856 | 6625016709922 | S154C | POWER SUPPLY OPTICAL | FIBRE OPTICS | N | N | 12 | THORLABS INC. | YES | NO | - | - | STD | MUST BE SUPPLIED WITH ITEM ABOVE
E05 | 123 | W115 | 6625992381462 | 1TS2PRO-IF/MOD | NETWORK ANALYSER KIT | FIBRE OPTICS | MAIN ASSY | N | 12 | FLUKE | YES | YES | 0161E | 1 | STD | FOR CAL: THIS KIT MAY ACTUALLY INCLUDE THE LINE BELOW SO THE TWO PRICES WILL NEED TO BE COMBINED
E05 | 124 | W115 | 6625994988546 | DSP-FTK | FIBRE OPTIC TEST KIT | FIBRE OPTICS | 6625992381462 | N | 12 | FLUKE | YES | YES | 0178E | 1 | STD | FOR REPAIR: PRODUCT IS 20 YEARS OLD, NO SUPPORT FROM OEM, BEST EFFORTS INVESTIGATION BY OTC
E05 | 125 | - | NIVDEC/0923 | M210E | OTDR KIT (2 PARTS) | FIBRE OPTICS | OTDR LAUNCH CABLE | N/A | 12 | AFL | YES | NO | - | - | STD
E05 | 126 | W115 | 6625015293891 | FLUDTX1200 | DTX CABLE ANALYSER | FIBRE OPTICS | MAIN ASSY | N | 12 | FLUKE | YES | YES | 0593E | 1 | STD
E05 | 127 | W115 | 6625015293548 | DTX 1200 | CABLE ANALYSER SET (QTY 1) | FIBRE OPTICS | 6625015293891 | N | 12 | FLUKE | YES | YES | 0593E | 1 | STD
E05 | 128 | Z4 | 6625015291962 | DTX-PLA001 | ADAPTOR LINK QTY 2) | FIBRE OPTICS | 6625015293891 | N | CNR | FLUKE | NO | NO | - | - | -
E05 | 129 | Z4 | 6625015291961 | DTX-1200SR | SMART REMOTE (QTY 1) | FIBRE OPTICS | 6625015293891 | N | 12 | FLUKE | YES | NO | - | - | STD
E05 | 130 | Z4 | 6625015291963 | DTX-CHA001 | CHANNEL ADAPTOR (QTY 2) | FIBRE OPTICS | 6625015293891 | N | CNR | FLUKE | NO | NO | - | - | -
E05 | 131 | Z4 | 6625015291964 | DSP-PM06 | ADAPTER MICROCIRCUIT PROGRAMMER (QTY 2) | FIBRE OPTICS | 6625015293891 | N | CNR | FLUKE | NO | NO | - | - | -
E05 | 132 | W115 | 6625015294417 | DTX-TSET HEADSET | HEADSET ELECTRICAL (QTY 2) | FIBRE OPTICS | 6625015293891 | N | CNR | FLUKE | NO | YES | - | - | -
E05 | 133 | W115 | 6625015294415 | DTX-ACUM | POWER SUPPLY PLUS MAINS CABLE (QTY 2 OF 2) | FIBRE OPTICS | 6625015293891 | N | CNR | FLUKE | NO | YES | - | - | -
E05 | 134 | W115 | 6625015294416 | DTX-USB | ADAPTER CABLE BREAKOUT (QTY 1) | FIBRE OPTICS | 6625015293891 | N | CNR | FLUKE | NO | YES | - | - | -
E05 | 135 | Z4 | 6145015291965 | DTX-SER | ADAPTOR CABLE (QTY 1) | FIBRE OPTICS | 6625015293891 | N | CNR | FLUKE | NO | NO | - | - | -
E05 | 136 | - | NIV | DTX-CASE | SOFT CASE AND CASE STRAP (QTY 1) | FIBRE OPTICS | 6625015293891 | N | CNR | FLUKE | NO | NO | - | - | -
E05 | 137 | - | NIV | DTX-STRP | CARRY STRAPS FOR ANALYSER AND SMART REMOTE (QTY 1) | FIBRE OPTICS | 6625015293891 | N | CNR | FLUKE | NO | NO | - | - | -
E05 | 138 | - | NIV | DTX1800 | CABLE ANALYSER SET | FIBRE OPTICS | N | N | 12 | FLUKE | YES | NO | 0055E | 3 | STD
E05 | 139 | - | NIVDEC/0471 | DSX-5000 | CABLE ANALYSER | FIBRE OPTICS | N | N | 12 | FLUKE | YES | NO | - | - | STD
E05 | 140 | W115 | 6625015098751 | FLUDSP-4300 | CAT6 CABLE TESTER | FIBRE OPTICS | N | N | 12 | FLUKE | YES | NO | 0536E | 3 | UKAS | CALIBRATION PERFORMED ACROSS FULL RANGE
M10 | 1 | W115 | 6625014696013 | MOLJ4-05 | PYRO PROBE | OPTICAL | N | N | 12 | MOLEECTRON DETECTOR INC | YES | YES | - | - | STD | POTENTIALLY OBSOLETE UNIT, NO METER REPAIRS AT COHERENT
M10 | 2 | W116 | 4920996280736 | 1630-2TE | TEST SET DISPLAY INTENSITY | OPTICAL | N | N | 12 | SMITHS INDUSTRIES | YES | YES | - | - | STD
M10 | 3 | W116 | 6635998000464 | PR 1980A | PHOTOMETER SET | OPTICAL | N | N | 12 | PHOTO RESEARCH INC | YES | YES | - | - | UKAS | NO SUPPORT, BEST EFFORTS REPAIRS
M10 | 4 | W116 | 6650992128573 | MODEL R550 | OPTICAL PROFILE PROJECTOR | OPTICAL | N | N | 12 | BATY INTERNATIONAL LIMITED | YES | YES | - | - | UKAS
M10 | 5 | W116 | 6695991396694 | DA10/L | LIGHT METER | OPTICAL | N | N | 12 | MEGATRON | YES | YES | 0084M | 1 | UKAS
M10 | 6 | W116 | 6625999677300 | EVQ357170AA | GENERAL PURPOSE IMAGE INTENSIFIER TUBE TEST SET | OPTICAL | MAIN ASSY | N | 12 | MARCONI | YES | YES | - | - | STD
M10 | 7 | 3V7 | 6625997689565 | EVQ357137AA | CLIP | OPTICAL | 6625999677300 | N | CNR | MARCONI | NO | NO | - | - | -
M10 | 8 | 3V7 | 6625997689558 | EVQ357187AA | CONNECTOR ASSEMBLY ELECTRICAL | OPTICAL | 6625999677300 | N | CNR | MARCONI | NO | NO | - | - | -
M10 | 9 | 3V7 | 6625999677308 | EVQ357062AA | HOUSING | OPTICAL | 6625999677300 | N | CNR | MARCONI | NO | NO | - | - | -
M10 | 10 | 3V7 | 6625999677309 | EVQ357045AA | HOUSING | OPTICAL | 6625999677300 | N | CNR | MARCONI | NO | NO | - | - | -
M10 | 11 | 3V7 | 6625997689583 | EVQ357193AA | LAMP ASSEMBLY | OPTICAL | 6625999677300 | N | CNR | MARCONI | NO | NO | - | - | -
M10 | 12 | 3V7 | 6625999677303 | EVQ357050AA | HOUSING | OPTICAL | 6625999677300 | N | CNR | MARCONI | NO | NO | - | - | -
M10 | 13 | 3V7 | 6625997689562 | EVQ357163AA | EYESHIELD | OPTICAL | 6625999677300 | N | CNR | MARCONI | NO | NO | - | - | -
M10 | 14 | 3V7 | 6625997689556 | EVQ357185AA | CONTACT ASSEMBLY | OPTICAL | 6625999677300 | N | CNR | MARCONI | NO | NO | - | - | -
M10 | 15 | 3V7 | 5999997689554 | EVQ357189AA | CONTACT ASSEMBLY | OPTICAL | 6625999677300 | N | CNR | MARCONI | NO | NO | - | - | -
M10 | 16 | 3V7 | 6150997689584 | EVQ357194AA | CABLE ASSEMBLY | OPTICAL | 6625999677300 | N | CNR | MARCONI | NO | NO | - | - | -
M10 | 17 | 3V7 | 5999997689553 | EVQ357183AA | CONTACT ASSEMBLY | OPTICAL | 6625999677300 | N | CNR | MARCONI | NO | NO | - | - | -
M10 | 19 | W115 | 6695010487990 | TEKJ6503 | LUMINANCE PROBE | OPTICAL | N | N | 12 | TEKTRONIX | YES | YES | - | - | UKAS | NO REPAIR SUPPORT FROM TEKTRONIX, THEY SEND UNITS FOR CALIBRATION TO OTC
M10 | 20 | 3V7 | 1240990521282 | 142-24 | REFLECTOR | OPTICAL | N | N | 12 | TAYLOR HOBSON LTD | YES | NO | - | - | UKAS
M10 | 21 | W115 | 6110996021577 | MOLJ100/0730 | DETECTOR HEAD | OPTICAL | N | N | 12 | SELEX GALILEO LIMITED | YES | YES | - | - | STD | POTENTIALLY OBSOLETE UNIT, NO METER REPAIRS AT COHERENT
M10 | 22 | W115 | 6625996287480 | GEHSERIESG | LASER ENERGY MONITOR | OPTICAL | N | N | 12 | G E C LABORATORIES LIMITED | YES | YES | - | - | STD
M10 | 23 | W115 | 6630997011338 | MIOCS-100 | CHROMA METER | OPTICAL | N | N | 12 | THALES | YES | YES | - | - | UKAS
M10 | 24 | W115 | 6695011570433 | TEKJ16 | PHOTOMETER/RADIOMETER | OPTICAL | N | N | 12 | TEKTRONIX | YES | YES | - | - | UKAS | NO REPAIR SUPPORT FROM TEKTRONIX, THEY SEND UNITS FOR CALIBRATION TO OTC
M10 | 25 | W115 | 6625014696014 | MOLJ3-09 | PYRO PROBE | OPTICAL | N | N | 12 | MOLECTRON | YES | YES | - | - | STD | LINES 26 AND 27 COMBINED INTO ONE PRICE FOR KIT, NO REPAIR PRICING WITHOUT SERIAL NUMBERS
M10 | 26 | W115 | 6625014696433 | MOLPM10V1 | ABSORBTION PROBE 10W | OPTICAL | N | N | 12 | MOLECTRON | YES | YES | - | - | STD
M10 | 27 | W116 | 1240996663879 | 903 212 | LEICA GLPS SET | OPTICAL | MAIN ASSY | N | 12 | ANGLO SWISS OPTICAL CO LIMITED | YES | YES | - | - | STD
M10 | 28 | 3V7 | 1240993225702 | 710 113 | CONTAINER FOR THEODOLITE & ACCESSORIES | OPTICAL | 1240996663879 | N | CNR | ANGLO SWISS OPTICAL CO LIMITED | NO | NO | - | - | -
M10 | 29 | 3V7 | 5920992543143 | 703 052 | SPARE FUSE (01A) | OPTICAL | 1240996663879 | N | CNR | ANGLO SWISS OPTICAL CO LIMITED | NO | NO | - | - | -
M10 | 30 | 3V7 | 5920992798695 | 703 056 | SPARE FUSE (10A) | OPTICAL | 1240996663879 | N | CNR | ANGLO SWISS OPTICAL CO LIMITED | NO | NO | - | - | -
M10 | 31 | 3V7 | 5920999951091 | 703 053 | SPARE FUSE (2A) | OPTICAL | 1240996663879 | N | CNR | ANGLO SWISS OPTICAL CO LIMITED | NO | NO | - | - | -
M10 | 32 | W116 | 6130999751135 | 724 535 | SEV22_2 POWER CONTAINER | OPTICAL | 1240996663879 | N | CNR | ANGLO SWISS OPTICAL CO LIMITED | NO | YES | - | - | -
M10 | 33 | 3V7 | 6150995817039 | 431 638 | SEV23 1 POWER CABLE | OPTICAL | 1240996663879 | N | CNR | ANGLO SWISS OPTICAL CO LIMITED | NO | NO | - | - | -
M10 | 34 | 3V7 | 6240996764988 | 703 051 | SPARE BULBS FOR S219 | OPTICAL | 1240996663879 | N | CNR | ANGLO SWISS OPTICAL CO LIMITED | NO | NO | - | - | -
M10 | 35 | 3V7 | 6640997778915 | 703 545 | LENS TISSUES | OPTICAL | 1240996663879 | N | CNR | ANGLO SWISS OPTICAL CO LIMITED | NO | NO | - | - | -
M10 | 36 | 3V7 | 7920993632438 | 701 042 | LENS BRUSH W CASE | OPTICAL | 1240996663879 | N | CNR | ANGLO SWISS OPTICAL CO LIMITED | NO | NO | - | - | -
M10 | 37 | 3V7 | 8145997387430 | 710 114 | SVP262 1 GYRO CONTAINER | OPTICAL | 1240996663879 | N | CNR | ANGLO SWISS OPTICAL CO LIMITED | NO | NO | - | - | -
M10 | 38 | W116 | 1290999655099 | D3926-83900 | TEST SET GUN | OPTICAL | N | N | 12 | GEC MARCONI | YES | YES | - | - | STD
M10 | 39 | W116 | 6650999724325 | 112/782 | COLLIMATOR THIN LINE | OPTICAL | N | N | 12 | TAYLOR HOBSON | YES | YES | - | - | UKAS
M10 | 40 | W116 | 6680996368851 | 1222A | STROBOSCOPIC TORCH | OPTICAL | N | N | 12 | BRANSON ULTRASONICS | YES | YES | - | - | UKAS
M10 | 41 | W116 | 6660999608059 | SM1 | THEODLITE BALLOON MK3 OR 4 | OPTICAL | N | N | 12 | HALL & WATTS | YES | YES | - | - | STD | ADDITIONAL CHARGES RAISED BY THE OEM ARE TO BE ACCOUNTED FOR ON TDS CALIBRATION PRICE HELD BY OEM FOR 12 MONTHS.
M10 | 43 | W116 | 5855014759370 | HOFNVG103 | NVIS INSPECTION SCOPE | OPTICAL | N | N | 12 | HOFFMAN ENGINEERING | YES | YES | - | - | STD
M10 | 44 | 10MR | 4920996594661 | SLC10-403 | LASER PROJECTOR | OPTICAL | N | N | 12 | SCIENTIFICA-COOK LTD | YES | NO | - | - | STD
M10 | 45 | L129 | 4933999809052 | LM308TK (L129A1) | GAUGE KIT (STTE FOR SHARPSHOOTER) | OPTICAL | N | N | 12 | LEWIS MACHINE & TOOL CO. | YES | NO | - | - | STD
M10 | 46 | 12G | 6635990001273 | CAZACHSENHOHE4328MM | TOOLMAKERS MICROSCOPE | OPTICAL | N | N | 12 |  | YES | NO | - | - | STD
M10 | 47 | 4XD | 6635991826171 | UV1 | ULTRAVIOLET LAMP INSP KIT | OPTICAL | N | N | 12 | ADVANCED NDT LTD | YES | NO | - | - | UKAS
M10 | 48 | - | NIVN IV 35/4491 | ILM350 (RS203-013) | LIGHT METER DIGITAL | OPTICAL | N | N | 12 | ISO TECH | YES | NO | - | - | UKAS
M10 | 49 | - | NIVN IV 35/6727 | DL5 | LIGHT METER | OPTICAL | N | N | 12 |  | YES | NO | - | - | UKAS
M10 | 50 | - | NIVN IV 35/6728 | EA2 | LIGHT METER | OPTICAL | N | N | 12 |  | YES | NO | - | - | UKAS
M10 | 51 | - | NIVN IV 35/7005 | Phocheck | PHOTOIONISATION DETECTOR | OPTICAL | N | N | 12 |  | YES | NO | - | - | STD | BASED ON THIS LIMITED INFORMATION, CANNOT FIND ANY INFORMATION ON THIS PRODUCT
M10 | 52 | - | NIVN IV 35/7124 | 545 | LIGHT METER | OPTICAL | N | N | 12 |  | YES | NO | - | - | UKAS
M10 | 53 | - | NIVN IV DSG0230 | 1332A | DIGITAL LUX METER | OPTICAL | N | N | 12 | TESA | YES | NO | - | - | UKAS
M10 | 54 | - | NIV | 93421 | DIGITAL LUX METER | OPTICAL | N | N | 12 | BEHA | YES | NO | 0024E | 6 | UKAS
M10 | 55 | - | NIV | 180-7133 | LIGHT METER | OPTICAL | N | N | 12 | RS COMPONENTS | YES | NO | 0024E | 6 | UKAS
M10 | 56 | - | NIVV IV DSG0517 | 500 | LUX METER | OPTICAL | N | N | 12 | TESTO | YES | NO | - | - | UKAS
M10 | 57 | 4XD | 6635993335227 | J-221 | LIGHT METER | OPTICAL | N | N | 12 | ULTRA VIOLET PRODUCTS LTD | YES | NO | 0083M | 1 | UKAS
M10 | 58 | 4XS | 6635993502424 | EPOCH600 | FLAW DETECTOR | OPTICAL | N | N | 12 | OLYMPUS | YES | NO | - | - | UKAS
M10 | 59 | 4XD | 6695994332606 | LEVYMKV1 | LIGHT METER | OPTICAL | N | N | 12 | ADVANCED NDT LTD | YES | NO | 0045M | 1 | UKAS
M10 | 60 | - | NIV/K15 | K15 | RADAR GUN | OPTICAL | N | N | 12 | COP RADAR | YES | NO | - | - | STD
M10 | 61 | - | NIV35/7016 | MUNI QUIP K-GP | SPEEDMETER | OPTICAL | N | N | 12 | TRIBAR INDUSTRIES | YES | NO | - | - | STD
M10 | 62 | - | NIV35/7247 | LP31 | MANUAL LEVELING ROTATING LASER | OPTICAL | N | N | 12 | SOKKIA | YES | NO | - | - | STD
M10 | 63 | - | NIV | TS1300A | OPTICAL TEST SET | OPTICAL | N | N | 12 | BLACK BOX NETWORK SERVICE | YES | NO | 0055E | 3 | STD
M10 | 64 | - | NIV | T-1M | ILLUMINANCE METER | OPTICAL | N | N | 12 | MINOLTA | YES | NO | 0055E | 3 | UKAS
M10 | 65 | - | NIV | KI3600GE | OPTICAL POWER METER | OPTICAL | N | N | 12 | KINGFISHER INTERNATIONAL | YES | NO | 0055E | 3 | STD
M10 | 66 | - | NIV | VF12 | 650 NM LIGHT SOURCE | OPTICAL | N | N | 12 | NOYES | YES | NO | 0055E | 3 | STD
M10 | 67 | TIRF | 5885992128765 | L203-5767 | PHOTOMETER | OPTICAL | N | N | 12 | MACAM | YES | NO | - | - | UKAS
M10 | 68 | - | NIV | 93421 | DIGITAL LUX METER | OPTICAL | N | N | 12 | BEHA | YES | NO | 0055E | 3 | UKAS
M10 | 69 | - | NIV | 7000SE | PHOTOMETER | OPTICAL | N | N | 12 | PALINTEST | YES | NO | 0055E | 3 | STD
M10 | 70 | - | NIV | MYF-1065 | DIGITAL LUX METER | OPTICAL | N | N | 12 | METRA | YES | NO | 0055E | 3 | UKAS
M10 | 71 | 3V7 | 6635993585920 | HE400-SR221 | LASER ENERGY METER | OPTICAL | N | N | 12 | GEC HIRST RESEARCH CENTRE | YES | NO | - | - | STD
M10 | 72 | W115 | 5860997477729 | A79-600 | LASER ENERGY METER | OPTICAL | N | N | 12 | GEC HIRST RESEARCH CENTRE | YES | YES | - | - | STD
M10 | 73 | W116 | 6635993560208 | HE400-SR221E | COMPARATOR,OPTICAL | OPTICAL | N | N | 12 | STARRETT L S CO LTD | YES | YES | - | - | STD | PRICED FOR ON SITE CAL. REPAIRS ARE COSTED ON A (PARTS+TIME) BASIS SO SUBJECT TO REVIEW ON ASSESSMENT
M10 | 74 | W10ESS | 6675991517365 | ELECTRONIC TOTAL STATION | SURVEYING SET, GENERAL | OPTICAL | MAIN ASSY | N | 12 | LEICA | YES | YES | - | - | STD | CAL PRICE ONLY IS REQUIRED - REPAIRS TO BE CARRIED OUT VIA TDS
M10 | 75 | W10ESS | 6675998854553 | TCRP1205+ R400 | TCRP 1205+ | OPTICAL | 6675991517365 | N | 12 | LEICA | YES | YES | - | - | STD | CAL PRICE ONLY IS REQUIRED - REPAIRS TO BE CARRIED OUT VIA TDS
M10 | 76 | W10ESS | 6675999370672 | CASE 2-RX1250TC CONTROLLER | ACCESSORY KIT, ELECTRONIC | OPTICAL | N | N | 12 | LEICA | YES | YES | - | - | STD | CAL PRICE ONLY IS REQUIRED - REPAIRS TO BE CARRIED OUT VIA TDS
M10 | 77 | W10ESS | 6675992125113 | CASE03 | CASE, SURVEYING INSTRUMENT - ROBOTIC ETS ACCESSORIES (COMPLETE) | OPTICAL | N | N | CNR | LEICA | NO | YES | - | - | STD | REPAIRS TO BE CARRIED OUT VIA TDS
M10 | 78 | W10ESS | 6675992508209 | CASE04 | CASE, SURVEYING INSTRUMENT - STANDARD ETS ACCESSORIES (COMPLETE) | OPTICAL | N | N | CNR | LEICA | NO | YES | - | - | STD | REPAIRS TO BE CARRIED OUT VIA TDS
M10 | 79 | W10ESS | 6675992135035 | CASE05 | CASE, SURVEYING INSTRUMENT - TRAVERSE SET ACCESSORIES (COMPLETE) | OPTICAL | N | N | 12 | LEICA | YES | YES | - | - | STD | CAL PRICE ONLY IS REQUIRED - REPAIRS TO BE CARRIED OUT VIA TDS
M10 | 80 | W10ESS | 6675998071345 | CASE06 | CASE, SURVEYING TRIPOD - GST05L TRIPOD & BAG | OPTICAL | N | N | CNR | LEICA | NO | YES | - | - | STD | REPAIRS TO BE CARRIED OUT VIA TDS
M10 | 81 | W10ESS | 6675997491104 | CASE07 | CASE, SURVEYING INSTRUMENT - VIVA 1200 GLOBAL NAVIGATION SATELLITE SYSTEM (COMPLETE) | OPTICAL | N | N | 12 | LEICA | YES | YES | - | - | STD | CAL PRICE ONLY IS REQUIRED - REPAIRS TO BE CARRIED OUT VIA TDS
M10 | 82 | W10ESS | 6675996018483 | CASE08 | CASE, SURVEYING INSTRUMENT - GNSS ACCESSORIES (COMPLETE) | OPTICAL | N | N | CNR | LEICA | NO | YES | - | - | STD | REPAIRS TO BE CARRIED OUT VIA TDS
M10 | 83 | W10ESS | 6675999612979 | CASE09 | CASE, SURVEYING TRIPOD - GNSS TRIPOD, ANTENNA & BAG (COMPLETE) | OPTICAL | N | N | 12 | LEICA | YES | YES | - | - | STD | CANNOT IDENTIFY EXACTLY WHAT THIS PRODUCT IS AND WHETHER IT IS CALIBRATABLE. RECOMMEND TDS FOR THE FIRST ONE RECEIVEDCAL PRICE ONLY IS REQUIRED - REPAIRS TO BE CARRIED OUT VIA TDS
M10 | 84 | W10ESS | 6675997263614 | 768539 | LEVEL, SURVEYING | OPTICAL | N | N | 12 | LEICA | YES | YES | - | - | STD | CAL PRICE ONLY IS REQUIRED - REPAIRS TO BE CARRIED OUT VIA TDS
M10 | 85 | W10ESS | 6675991519496 | 764555 | INDICATOR, DISTANCE | OPTICAL | N | N | 12 | LEICA | YES | YES | - | - | STD | CAL PRICE ONLY IS REQUIRED - REPAIRS TO BE CARRIED OUT VIA TDS
M10 | 86 | W10ESS | 6675993414211 | 667310 | ROD, LEVEL | OPTICAL | N | N | CNR | LEICA | NO | YES | - | - | STD
M10 | 87 | W10ESS | 6675992125130 | 667319 | BIPOD, SURVEYING | OPTICAL | N | N | CNR | LEICA | NO | YES | - | - | STD | REPAIRS TO BE CARRIED OUT VIA TDS
M10 | 88 | W10ESS | 6650991315404 | 641982 | LEVEL, OPTICAL, AUTOMATIC | OPTICAL | N | N | 12 | LEICA | YES | YES | - | - | STD | FUNCTIONAL TEST ONLY, NO RESULTS
M10 | 89 | W10ESS | 6675995533333 | 6002636 | LEVEL KIT | OPTICAL | MAIN ASSY | N | 12 | LEICA | YES | YES | - | - | STD | CAL PRICE ONLY IS REQUIRED - REPAIRS TO BE CARRIED OUT VIA TDS
M10 | 90 | W10ESS | 6675992160468 | 762629 | LEVEL KIT | OPTICAL | 6675995533333 | N | 12 | LEICA | YES | YES | - | - | STD | CAL PRICE ONLY IS REQUIRED - REPAIRS TO BE CARRIED OUT VIA TDS
M10 | 91 | W10ESS | 6675991520540 | 6002638 | LEVEL, SURVEYING | OPTICAL | MAIN ASSY | N | 12 | LEICA | YES | YES | - | - | STD | CAL PRICE ONLY IS REQUIRED - REPAIRS TO BE CARRIED OUT VIA TDS
M10 | 92 | W10ESS | 6675992261400 | 762631 | LEVEL, SURVEYING | OPTICAL | 6675991520540 | N | 12 | LEICA | YES | YES | - | - | STD | CAL PRICE ONLY IS REQUIRED - REPAIRS TO BE CARRIED OUT VIA TDS
M10 | 93 | W116 | 6650999131135 | A1-069 112-536 | TELESCOPE,MICRO ALGNMNT | OPTICAL | N | N | 12 | RANK TAYLOR HOBSON | YES | YES | 0003M | 1 | UKAS | UKAS AS STANDARD BY TAYLOR HOBSON
M10 | 94 | W116 | 6680992588907 | DT-315 | STROBOSCOPE | OPTICAL | N | N | 12 | SHIMPO | YES | YES | - | - | STD
M10 | 95 | - | NIVDEC/0233 | LUX-1335 | LIGHT METER | OPTICAL | N | N | 12 | ISO TECH | YES | NO | - | - | UKAS | OTC DOES ALL LIGHTMETER CAL AS UKAS
M10 | 96 | W116 | 6695123623279 | 5032C | LUXMETER | OPTICAL | N | N | 12 | GOSSEN | YES | NO | - | - | UKAS | OTC DOES ALL LIGHTMETER CAL AS UKAS
M10 | 97 | - | NIVDEC/0278 | LT300 | LIGHT METER | OPTICAL | N | N | 12 | EXTECH INSTRUMENTS | YES | NO | - | - | UKAS | OTC DOES ALL LIGHTMETER CAL AS UKAS
M10 | 98 | W116 | 6650012017591 | 142-13 | AUTOCOLLIMATOR | OPTICAL | N | N | 12 | RANK TAYLOR HOBSON | YES | YES | - | - | UKAS | UKAS AS STANDARD BY TAYLOR HOBSON
M10 | 99 | W10ESS | 6675123701630 | TPS1200 | THEODOLITE,SURVEYING | OPTICAL | N | N | 12 | LEICA GEOSYSTEMS LTD | YES | YES | - | - | STD | CAL PRICE ONLY IS REQUIRED - REPAIRS TO BE CARRIED OUT VIA TDS
M10 | 100 | - | NIVDEC/0539 | LX-1010B | DIGITAL LUX METER | OPTICAL | N | N | 12 | FREELOGX | YES | NO | - | - | UKAS | OTC DOES ALL LIGHTMETER CAL AS UKAS
M10 | 101 | - | NIVDEC/0431 | 540 | LIGHT INTENSITY METER | OPTICAL | N | N | 12 | TESTO | YES | NO | - | - | UKAS | OTC DOES ALL LIGHTMETER CAL AS UKAS
M10 | 102 | W10ESS | 6675991518992 | 752847 | CONTROLLER | OPTICAL | N | N | 12 | LEICA | YES | YES | - | - | STD | CAL PRICE ONLY IS REQUIRED - REPAIRS TO BE CARRIED OUT VIA TDS
M10 | 103 | - | NIVDSG/0056 | MYF-1065 | DIGITAL LUX METER | OPTICAL | N | N | 12 | METROTEST | YES | NO | - | - | STD
M10 | 104 | - | NIVDEC/0779 | SR1 | RADAR SPEED GUN | OPTICAL | - | N | 12 | SPEEDAR | YES | NO | - | - | STD | CALIBRATION PERFORMED ACROSS FULL SPECIFIED RANGE
Note on E22: Author: OTC Amendment 2 - Pt No Change