|  |
| --- |
| PART 2: SPECIFICATION OF WORKSStIves-ITT-00011-24Market House Refurbishment and Associated Works |

Scott & Company 3 Lemon Villas Truro TR1 2NX

CGH/8187 Tel: 01872 263939

October 2024 Fax: 01872 262299

**GENERAL CONDITIONS AND PRELIMS AND DETAILS FOR**

**THE PRE-CONSTRUCTION INFORMATION PACK FOR WORK TO BE UNDERTAKEN AT**

**Building Name:** Market House, St Ives

**Project:** Repair and improvement works

**Client: Contact Name:** St Ives Town Council C/O Charlotte Tomlinson The Guildhall

Street-An-Pol St Ives

TR26 2DS

**Address:** charlotte.tomlinson@stives-tc.gov.uk

**Tel No:** 01736 797840

**Surveyors:** Christopher G Hunter B Sc (Hons) MScCHE MRICS Scott & Company

3 Lemon Villas Truro TR1 2NX

**Tel No**: 01872 263939

**Planning Permission: Obtained LAPP Ref No:**

~~Applicable~~/~~N~~ot Applicable

**Date:** …………………………………

**Conditions** Yes/No

**Discharged:** 1, 2, 3, 4, 5, 6, 7, 8, 9, 10

**LBC: Obtained LALBC Ref No:**

Applicable/~~Not Applicable~~ Yes/No PA24/01083 / PA24/07257

**Date:** ………………………………….

**Conditions** Yes/No

**Discharged:** 1, 2, 3, 4, 5, 6, 7, 8, 9 10

**Building Regs: Obtained LABrgs Ref No:**

Applicable/~~Not Applicable~~ Ongoing

**Date:** …………………………………

**Conditions** Yes/No

**Discharged:** 1, 2, 3, 4, 5, 6, 7, 8, 9, 10

**Builder to supply samples** Yes/~~No~~

**Building Listing Grade:** ~~I II\*~~ II **Conservation Area** Yes~~/No~~

**Scheduled ancient monument in or nearby**

NA

**CDM Form F10 Preliminary Complete ** **Sent to HSE ** **Building\*:** ~~Domestic,~~ Commercial, ~~Ecclesiastical, Industrial, Retail, Ruin~~

X

**Will be\*:** Vacant ~~Occupied~~

~~Intermittently used during project~~

**Environment\*\*:** ~~Historic Garden~~

~~Living Church Yard~~ ~~Bats~~

~~Owls~~

~~Rare Plants~~

~~Scheduled Ancient Monument~~ Urban~~/Heavily populated / visited~~ ~~Archaeologically Sensitive~~

**Licences obtained/** ~~Bats~~

**required for\*\*:** ~~Nesting Birds~~ ~~Owls~~

**Health & Safety File: Obtained**

~~Available~~/Not Available Yes/No

**Asbestos Register: Obtained Survey Required**

~~Available/~~Not Available Yes/No Yes/No

**Archaeologist:** ~~Yes~~/No Name: …………………………….

Contact: ……………………………..

**Steeplejack needed:** ~~Yes~~/No Name: ……………………………..

Contact: ……………………………..

**\* Delete where inappropriate**

**\*\*Highlight where relevant**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **1.00****1.01****1.02****1.03****1.04****1.05****1.06****1.07****1.08****1.09****1.10** | **CONTRACT CONDITIONS****Type of Contract:** JCT Minor Works Building Contract 2024 The contract will be executed under hand / as a deed**Employer**The following is to be hereinafter referred to as the Employer: St Ives Town CouncilC/O Charlotte TomlinsonThe Guildhall Street-An-Pol St IvesTR26 2DScharlotte.tomlinson@stives-tc.gov.uk**Surveyor**Christopher G Hunter BSc (Hons) MScCHE MRICS whose address/registered office is:Scott & Company, 3 Lemon Villas Truro TR1 2NX(01872 263939)**Form of Agreement and Conditions**The Agreement and Conditions will be the Joint Contract Tribunal Agreement for Minor Works Building Contract 2024 (MW 2024) with all relevant additions and revisions thereafter.Recitals, Articles and Conditions are hereinafter listed and subject to deletions, insertions and amendments as indicated:**Recitals**First Recital – Project Description:The employer wishes to have the following Works carried out:Repair and Improvements atMarket House, Market Place St Ives |  |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **1.11****1.12****1.13****1.14****1.15****1.16****1.17****1.18****1.19****1.20****1.21****1.22****1.23****1.24****1.25****1.26****1.27** | Second Recital – Contract Documents:The contract drawings listed in the specification and numbered below:S: 1005-02B, 22-0394-001/002, 2306-075-XX100-A/101 A/102 Ahereinafter called the contract drawings and/or a specification\* ~~or~~ ~~work schedules\*~~.\*Delete the words work schedulesThe priced specification will be annexed to the contract. Third recital – Priced Documents:\*delete the words contract specification / work schedules / schedule of rates as appropriate.Fourth recital – Status of Employer under CIS and Finance Act 2004Fifth recital – Status of project in relation to Construction (Design and Management) Regulations 2015 (the ‘CDM Regulations’)Sixth recital – Framework Agreement where applicable Seventh recital – Supplemental provisions**Articles**Article 1 – Contractor’s ObligationsContractor’s obligations – The contractor shall carry out and complete works in accordance with the Contract DocumentsArticle 2 – Contract SumThe agreed contract sum will be inserted when the contracts are drawn.Article 3 – Collaborative WorkingArticle 4 – Architect / Contract AdministratorThe Contract Administrator is the said Scott & Company (Cornwall) Limited of 3 Lemon Villas, Truro, TR1 2NXArticle 5 - CDM Regulations Principal Designer and Principal ContractorUnder CDM 2015 the principal designer is to be Scott and Company with the assistance of:TBC |  |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **1.28****1.29****1.30****1.31****1.32****1.33****1.34** | The Principal Contractor is the contractor or if other insert below:Article 6 – Building Regulations – Principal Designer and Principal ContractorThe principal designer is the architect / contract administrator or: The principal contractor is the contractor or:Article 7 – Adjudication Article 8 – Arbitration Article 9 - Legal Proceedings |  |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **1.35****1.36****1.37****1.38****1.39****1.40****1.41****1.42****1.43****1.44****1.45****1.46****1.47****1.48****1.49****1.50****1.51****1.52****1.53** | **Contract Particulars**Particulars to be filled in / amended as per the notes below. Items in italics are to be deleted as necessary.Fourth Recital and the JCT Fluctuations Option (paragraphs 1.1, 1.2, 1.5, 1.6, 2.1 and 2.2)Base Date – insert date 10 days before receipt of tender from winning contractorFourth Recital and clause 4.2The employer *~~is~~ / is not* a contractor (delete is / is not) Fifth Recital - CDM RegulationsThe project *is/~~is not~~* notifiable \* (delete is / is not) Sixth Recital – framework agreement (if applicable)If a framework agreement applies the start date, title and parties should be entered into contract when it is drawn up.Framework agreement *~~applies~~ / does not apply* (delete as appropriate).Seventh Recital and schedule 3 – Supplemental Provisions:* Health and Safety **applies**
* Cost savings and value improvements **applies**
* Performance indicators and monitoring **applies**

Article 8 – ArbitrationArticle 8 and Schedule 1 (Arbitration) *apply/~~do not apply~~* (delete as appropriate)1.6.2 Addresses for service of notices by parties ~~To be as per the agreement or as detailed below:~~ Employer:Employer email: Contractor:Contractor email: |  |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **1.54****1.55****1.56****1.57****1.58****1.59****1.60****1.61****1.62****1.63****1.64****1.65****1.66****1.67** | 2.2 - Date for Commencement of Work to be inserted:2.2 - Date for completion to be inserted:2.8 - Liquidated damagesat the rate of £500 per week2.10 – Rectification Period (Snagging / Retention Period):*~~Three~~* / *Six ~~/ twelve~~* months from the date of practical completion(delete as appropriate)4.3 - Interim PaymentsThe first valuation date is one month after commencement and then monthly thereafter.4.4 – Payments due prior to practical completion:Requests for payment will be reduced to 95 per cent unless otherwise stated, which equates to a 5 per cent retention throughout the contract.Enter rate: 95 per cent4.4 - Payments due on or after practical completion:The percentage of the total amount to be paid to the contractor will stand at 97.5 per cent unless otherwise stated and agreed.Enter rate: 97.5 per cent4.4 and 4.9 Fluctuations Provision -Unless another provision or entry, the JCT Fluctuations Option applies:* JCT Fluctuations Option applies
* No fluctuations provision applies
* The following fluctuation provision applies

o 4.9.1 - Supply of Documentation:Supply of documentation for computation of amount to be finally certified (The period is three months unless a different period is stated) - Enter period: Three months |  |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **1.68****1.69****1.70****1.71****1.72****1.73****1.74****1.75****1.76****1.77****1.78****1.79****1.80****1.81****1.82****1.83** | * 1. - Contractor’s public liability insurance:

Injury to persons or property - insurance cover (for any one occurrence or series of occurrences arising out of one event).Enter required amount of cover: £2,000,000.5.4, 5.5 and 5.6 – Insurance of the works etc. (alternative provisions):* 1. ~~– works by contractor in Joint Names applies (new buildings~~ ~~only)~~

or* 1. – works and existing structure insurance by the employer in joint names applies

or* 1. ~~- works and existing structures insurance by other means applies~~

\*Delete whichever is not appropriate.5.4 & 5.5 – Percentage to cover professional fees:A percentage to cover professional fees (if no other percentage is stated it shall be 15 per cent)15%5.6 - insurance arrangements are set out in the following documents if 5.6 is applicable:6.2.3.2 – Services of Notices by Email Clause 6.2.3.2 *applies / does not apply* Employer’s email:Contractor’s email:7.1 Notification and negotiation of disputes Employer’s nominee:Contractor’s nominee: |  |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **1.84****1.85****1.86****1.87****1.88****1.89****1.90** | 7.3 – Adjudication:Name of adjudicator:OrDelete all nominating parties, except The Royal Institute of Chartered SurveyorsSchedule 1 (Paragraph 2.1) – Arbitration:Delete all appointers except The Royal Institute of Chartered Surveyors**Attestation**The agreement should be executed by both the Employer and the Contractor either under hand or as a deed. |  |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **2.00****2.01****2.02****2.03****2.04****2.05****2.06****2.07****2.08****2.09****2.10****2.11****2.12** | **MANAGEMENT & ADMINISTRATION (Standard provision – not all points will apply)****Generally**Contractors to provide on and off site management and administration between main contractor, surveyor, sub contractors, consultants and relevant statutory authorities. Include for establishment charges, overhead costs and profits.**Liaison**The contractor is to liaise with the police, local authority and other relevant bodies, or parties concerned as may be required to satisfactorily complete the contract.**Conditions Specific to Contract**Any special conditions appertaining to this contract have been included in the general clauses of this specification, within the Prelims and specifically within Sections 4 & 5 onward, to which reference should be made.**Materials – British Standards**All materials are to be of the specified quality. Where the quality is not specified, it shall be of the best available quality. Samples shall be provided to the surveyor for approval and agreement prior to ordering. Workmanship or materials with current British Standards, Agréement Certificate or Industry agreed Codes of Practice shall be complied with unless otherwise stated. All supply of materials, unless otherwise specifically agreed or specified, must be from suppliers who have complied with British Standards in the manufacture and use of materials and have current Agréement or equivalent European certification. Copies of such certification shall be provided upon request.**Proprietary Articles**Where a proprietary or trade fittings or materials are specified, they are to be stored, assembled, fixed or used in strict accordance with the manufacturer’s instructions. If there is any incompatibility between materials as specified which comes to light following consultation with suppliers, the contractor shall advise the surveyor before use and/or ordering**Variation Orders**Variation Orders, contract instructions, or AIs shall be issued, as appropriate, to direct any necessary changes, additions or omissions to the contract, expenditure of contingency sums, PC or PS items without prejudice to the intent of the contract. The contractor shall produce full costed details of expenditure under Variations withrelevant fully dated time sheets and supporting suppliers’ invoices. |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **2.13****2.14****2.15****2.16****2.17****2.18****2.19****2.20****2.21****2.22****2.23** | **Daywork**Where authority is given for work to be executed on a daywork basis original vouchers giving full particulars of hours worked, names of craftsmen and labourers, rates of wages paid, description of work executed, materials and plant used must be forwarded to the surveyor no later than the end of the month following in which the works have been executed. The daywork sheets must be numbered in sequence and signed off by the foreman. Payment is not due until agreed by the surveyor.**Foreman**The contractor shall at all times keep a trained and competent supervising employee on site and on larger jobs is expected to have a foreman. Smaller contracts should be provided with a part-time foreman. Any instructions given to either supervising employees, who should be nominated by the contractor at the beginning of the contract, shall be deemed to have been given to the contractor, whether verbally or in writing.**CDM Notices**Details within these Preliminaries confirm contractual information as required under the CDM Regulations, 2015. The contractor must ensure that after appointment he/she is in receipt of the HSE Form F10 issued by the CDM Adviser.In addition, the contractor shall comply with his/her duties and requirements under the CDM regulations.**Building Regulation Notices**The contractor shall request from the surveyor relevant Building Cards or Notices with the due references, and shall be fully responsible for advising the Building Control Officers of commencement and requesting stage inspections as required. The contractor must obtain the Completion Certificate.**Discharge of Conditions (LBC, PP, Bldg Regs, Faculty & Archaeology)**The Preliminary information of the contract detailed above confirms the statutory approval status. The surveyor will be responsible for discharging any conditions. The contractor may be asked to supply certain materials for approval by the Conservation and Planning Officer. Trial pits or opening up may be required to satisfy the Building Control Officer. Allowance for archaeological attendance may be required. Copies of any relevant faculty or Listed Building consent approval forms will be provided by the surveyor and may be required to enable zero rating for VAT purposes of any specified work. All associated costs in connection with this should be included in the Preliminaries. |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **2.24****2.25****2.26****2.27****2.28****2.29****2.30****2.31****2.32****2.33** | **Licences**The contractor shall be responsible for obtaining and payment of any necessary licences in connection with dangerous structures, wild life, the use of chemicals, tipping, waste disposal, road crossings, scaffolding and statutory connection charges. Costs in connection with any other licences deemed necessary to complete the work as specified should also be included within the costings.**Infrastructure Charges**Where the contract involves new connections to or adaptions of existing services where infrastructure charges are to be levied by any of the statutory bodies, service suppliers or highways, these charges shall be included within the tender figure. Relevant connection charges for Services over and above infra structure charges shall also be included for. This may have to be in the name of the Client. Adjustment to the accounts will be made as appropriate, having allowed for such costs in the tender.**Services**Where electricity, gas, water oil or drainage is required where none exists, the contractor shall be responsible for any temporary connections, service charges and fees in connection with the use of the same. Where existing services are present, these should be fully tested and checked for compliance with current Regulations, but may be used economically by the contractors on site, subject to final ratification of the client. Upon completion any services used shall be reinstated, serviced, cleaned and left in an orderly fashion for safe use by the client upon completion.***Please Note - an electricity supply must be maintained at all times to the ground floor retail units.*****Electric**Electrical work must be carried out by an approved member of the National Inspection Council for Electrical Installations – Installation Contracting and must conform to the latest editions of the IEE Regulations and local electric supply company. If, on small works, electrics are executed, following agreement with the contract administrator by a contractor who is not registered, this work must be certified separately by a registered contractor as being compliant at the full cost to the contractor. An unregistered electrician will only be permitted following agreement by the contract administrator. His work must be independently certified.**Plumbing Work**Work on gas appliances can only be executed by a Gas Safe registered plumber. All other work must be executed by a fully registered and competent plumber who has current practice certificates. The plumber must be registered to undertake connection work to the mains water supply by South West Water, or their equivalent. No additional costs for such compliance and certification will be borne by the contract. |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **2.34****2.35****2.36****2.37****2.38****2.39****2.40****2.41****2.42** | **Protection**The contractor is responsible for the full protection of all electrical fittings, plant, pipe organs, historic fabric, glass, planting and landscaping, paths, roads, footpaths and fences, drains and other existing services throughout the period of contract. Proposals for protection shall be included within the tender, and agreed with the surveyor. Costs for protection shall be allowed within the Preliminary section. Upon completion include for carefully removing any protection and making good and reinstating as required.**Lighting**The contractor shall provide adequate lighting to allow the project to be executed safely at both high and low level. Full lighting should be provided around the site for security and safety.Scaffolding should be fully lit with warning lights where next to footpaths or roadways. For buildings that remain in occupation during the works the contractor is to allow for temporary lighting where the existing lighting, external or internal, is obscured by scaffolding or other elements necessary to undertake the works. A proposal for lighting should be developed and agreed with the contract administrator prior to installation. All wired lighting should be installed by NIC EIC accredited electricians in full accordance with all relevant codes of practice, regulations and standards. For tendering purposes the contractor is to allow for low energy fluorescent strip lights. Light levels should be sufficient to enable continued safe use of the building.**Fences and Cordoning Off**The contractor will be required to comply with the requirements of the insurance company and ensure that the base of the scaffolding is suitably cordoned off and protected to stop miscreants climbing up the same and gaining access to the site or building. Where possible the perimeter of the site shall be fully cordoned off. All excavations and trenches shall be suitably cordoned off and marked.**Notices**The contractor shall fix notices around the site to advise the public of the danger of the construction site. Details shall include the need to wear hard hats and suitable protection, details in connection with restricted access and signing in, details in connection with contact numbers. All notices shall incorporate standard approved symbols which shall comply with current Health and Safety Legislation and Codes of Practice.The signs should also say “No Smoking or naked flames in uncontrolled areas”. |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **2.43****2.44****2.45****2.46****2.47** | **Shoring and Strutting**All opening out of the masonry shall be fully supported and strutted. Where leaning or dangerous walls require buttressing, this shall be designed by a structural engineer, who shall be engaged and paid for by the client following discussion with the surveyor unless the weakness has arisen following work incorrectly executed by the contractor. Trenching or excavation of pits shall only be undertaken following the development of an appropriate risk assessment which has been issued to and approved by the CDM Adviser and the Contract Administrator. All propping and shoring work shall be undertaken with the support of a detailed method statement prepared by the contractor.The contractor shall provide and maintain during the execution of the works all shoring, strutting, needling and other supports and shall take all other precautions necessary to preserve the stability of the building, both new and existing, together with all other property which may be endangered or affected by the work.The contractor shall also protect all the same against damage and/or settlement and no part of these protected measures shall be taken down or removed until all risk of damage and/or settlement is passed.All shoring and strutting should be undertaken in accordance with all necessary codes of practice and British Standards including but not exclusively: *CP 2004:1972. Code of practice for foundations, BS 6031:1981. Code of practice for earthworks, BS EN 14653- 1:2005. Manually operated hydraulic shoring systems for groundwork support. Product specifications* |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **2.48****2.49****2.50****2.51****2.52** | **Scaffold**Full scaffolding in accordance with the Work at Height Regulations 2005, BS EN 12811-1: 2003 and NASC Guideline TG20.08 should be employed throughout the building works. Include for hoists, protection zones to lift materials from ground level. No material should be carried up ladders. All ladders should be fixed at top and bottom. Access points between lifts shall be provided with adequate space and handrails. Scaffold shall be provided with full kick boards all round and safety rails. The scaffolding should be checked weekly and a register of that checking kept for inspection by the contract administrator. Monthly inspections by the scaffolders should be put in hand. All scaffolding shall be provided with plastic end caps where the poles abut masonry.Mechanical fixings of masonry shall only be put in hand in agreed places following consultation with the contract administrator.Should adjustments be required because scaffolding is considered not to be in compliance, these costs will not be borne by the contract.Where a scaffolding roof structure is required full engineering supporting details must be provided to confirm the loading. The proposal must be discussed and agreed with the contract administrator prior to execution. The scaffolding shall not rest on any ridge line, roof structure, parapet or masonry without a full and detailed assessment and agreement confirming loadings andcompetence. The main contractor must check the scaffolders’ insurance before execution of work and throughout the period scaffolding is on site. Copies shall be provided to the Contract Administrator. The scaffold roof must be formed from a rigid material. ‘Shrink wrap’ plastic coverings will not be acceptable under normal circumstances. All scaffolding must be designed to accommodate the high winds experienced in the County, which can regularly exceed 80mph on exposed sites.The base of the scaffolding should be fully cordoned off with corrugated sheeting to at least two lifts to stop miscreants climbing up the scaffolding. All scaffolding lifts where masonry, pointing, cleaning or conservation works are being put in hand should be provided with netting all round to stop debris falling to the ground or causing damage to the public. Where buildings have existing lightning conductor systems the scaffolding must be connected to the lightning conductor by the retained steeplejack and the earthing tested to ensure compliance to the scaffolding and the main building. A Certificate must be provided to the Contract Administrator.At the end of the working day all ladders and other access routes must be immobilised. |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **2.53****2.54****2.55****2.56****2.57****2.58****2.59****2.60****2.61****2.62****2.63** | **Temporary Building**Provide, erect and maintain any temporary weatherproof lock up sheds, offices, mess rooms or other temporary buildings in compliance with CDM Regulations 2015 that may be required for the performance of this contract. Keep in a clean and sanitary condition. Alter, shift and adapt from time to time as necessary. The location of all such temporary buildings to be agreed between the Contract Administrator, Client and Contractor prior to erection.**Temporary Sanitary Accommodation**Neither the contractor or any of his sub contractors to use existing sanitary accommodation or washing facilities without prior consent, unless they are located within the confines of his working area. If none exists within his working area, and has not been provided by the client, he is to provide, erect and maintain suitable sanitary accommodation and washing facilities. All in compliance with CDM Regulations 2015.Re-locate and reinstate as necessary for the execution of the contract.**Telephone**Under no circumstances is the contractor or his sub contractors to be allowed to use the existing telephone facilities on the site. The contractor and his sub contractors are to make their own arrangements, and must either bring in a new land line if the reception for mobile phones is variable or provide mobiles. It is essential at all times to have telephone communication with the site for Health and Safety and administration reasons. The contractor shall include for an Answer phone facility.**First Aid and Emergency**The contractor must undertake a risk assessment to determine the first aid requirements and ensure that a responsible person is provided on site, who is trained in First Aid. The site shall have within it a fully equipped First Aid box to *BS 8599-1:2011*, which should be kept clean and up to date throughout the contract period. In addition, the contractor must maintain an accident book registering all accidents, injuries or other events that require medical attention.A list must be maintained of all emergency contact telephone numbers and addresses.**Noise**The contractor is to keep the noise on the site as low as can be practicably obtained. Use mufflers and acoustic enclosures if necessary. Use electric power tools and plant wherever possiblewith suitable circuit protection. |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **2.64****2.65****2.66****2.67****2.68****2.69****2.70****2.71****2.72****2.73****2.74** | Unless otherwise agreed, radios or other similar devices are not to be permitted on site. To comply with BS 5228 Code of Practice for Noise Control on Demolition and Construction Sites. Ascertain the local authority’s requirements in this respect. Engage a“considerate contractor’s construction site policy”.**Headphones**In the interests of safety on site the use of headphones to IPods, walkmans, radios or mobile phones should not be used.**Nuisance Generally**Prevent smoke, dust, fumes, spillage, pollution of waterways and any other forms of nuisance. Do not dump any waste in other than authorised tipping areas or skips. Comply with all reasonable requests from the public and adjoining occupiers. No burning of material is to be permitted on site. Should rats or other vermin become prevalent during the contract, take suitable action in liaison with the local authority to eradicate the same.**Waste Management Plan**The principal contractor will compile and implement a waste management plan in relation to the disposal of all waste, excavation and other relevant elements in accordance with the Waste Management Regulations 2007. If the project cost is expected to exceed £300,000 then a site waste management plan will be compiled in accordance with the Site Waste Management Plan Regulations 2008**Traffic Management**The principal contractor will compile and implement a suitably adequate Traffic Management Plan to maintain the Health, Safety and Welfare of all persons affected by his activities.**Weather Protection**The contractor shall provide all necessary protection to the building works. No work shall be executed prior to impending frost. Where frost does arise a suitable arrangement should be made for bringing in gentle heating equipment and for sheeting down and protecting vulnerable external elements. All work should stop when the temperature drops below 3oC. Where the wind chill factor goes below this, whilst the ambient air temperature is above 3oC the area worked upon must be fully protected with plastic sheeting to control the ambient air temperature within the working area. |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **2.75****2.76****2.77****2.78****2.79****2.80****2.81****2.82****2.83** | All parts of the structure should be fully protected against rain whilst being worked upon, and for at least one week after completion, or until the fabric has suitably dried/cured. In excessively hot weather, all mortar work shall be fully damped down, misted with a spray mister and protected with damp hessian cloths in front of the pointing or mortar work. Work should stop in excessively adverse conditions. Where excessively hot temperatures are experienced or where there are drying winds, or where temperatures exceed 20oC, the area worked on should be hung with damp hessian cloths, which must be kept damp throughout the daytime and left saturated at night. The walling should be provided with a mist spray to keep the wall damp but not running.**Drying Out**The contractor is permitted to use gentle heat for drying out of internal accommodation during less clement months. By separate arrangement, if there is existing heating within the building, the existing plant may be used subject to the payment of fuel costs.The interior of buildings must be kept well vented whilst also being secure.**Testing**The contractor is to allow for costs to providing energy and attendance required for testing the plumbing and engineering installations and making all necessary arrangements with the appropriate authorities for the installation of meters and to be responsible for all costs until the meters are handed over.**Cleaning**Throughout the contract the site is to be kept clean and tidy. Rubbish is to be removed. No debris is to accumulate to cause either a Health or Safety hazard, nor fire risk. The site should be kept fully clean and, as far as practicable, dust free when decorators are on site.Upon completion all surfaces are to be cleaned down. The glass is to be fully polished inside and out throughout the working area.Any sanitaryware, fittings, tiling, marble and sheet flooring shall be fully cleaned down, washed and polished as appropriate. Any plant with filters within it, which has been used during the term of the contract shall be serviced and the filters cleaned.The contractor in addition is to sweep all flues, clean all gutters, pipes and sanitary fittings, flush drains and remove all rubbish and debris arising from the contract work. |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **2.84****2.85****2.86****2.87****2.88****2.89****2.90****2.91****2.92****2.93****2.94****2.95** | **Handover**Upon completion the contract administrator will issue a practical or partial completion certificate, where necessary highlighting work still to be completed. This will signify the commencement of the defects liability period. The contractor is to hand over at that stage, all keys, locks, security equipment, codes, operating manuals and details of any on-going licences or contracts, enabling the building to be used fully as intended.The contractor must leave the work secure against unauthorised entry.**Health and Safety, Operation and Maintenance Files**At practical completion of the project, the contractor is to compile with relevant sub contractors, a complete set of marked up working drawings, detailing services as fitted, utilising drawings provided for the tender.In addition full operation and maintenance manuals shall be provided detailing all matters in connection with maintenance, warranties, contracts, service requirements and Health and Safety. This document shall be passed directly to the CDM Adviser / Principal Designer, whose duty it is to complete a Health and Safety File and issue this to the client.**Visit the Site**The contractor is to visit the site before submitting his tender in order that he may obtain information as to the means of access and acquaint himself with the nature of the site. The contractor is to make himself thoroughly conversant with the nature of the work to be carried out and must allow in his tender for checking all dimensions and levels where necessary for the proper completion of the Works.**Incidental Work Costs**The contractor is to include for any incidental items which are necessary to complete the Works to the true intent and meaning of the Contract specification and Contract Drawings.**Credits**All scrap building materials removed from the site shall become the property of the contractor unless otherwise specified and he is to make allowance for this when making up his tender. |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **2.96****2.97****2.98** | **Historic Fabric and Archaeology**It is a categorical requirement of the contract that should any historic fabric, stone, lead, slate, timbers or buried archaeology, either above or below ground, be found that the surveyor should be informed immediately and direction sought. Where materials are removed which are marked with dates, names, references or symbols, these must be suitably recorded and set aside for thesurveyor’s directions for retention on site. In this context we are specifically considering marks on historic lead, stone, and glass either above or below ground.Similarly, should any roofing timbers or surfaces come to light that have limewash or other decorative schemes upon them, these should be similarly recorded and notice given to the surveyor.None of these items, in whatever format, shall be disturbed or damaged without prior notification and direction from the surveyor. |  |  |

|  |  |
| --- | --- |
| **3.00****3.01****3.02****3.03****3.04****3.05****3.06****3.07****3.08****3.09****3.10****3.11****3.12** | **LABOUR AND WELFARE****Insurances**Provide liability insurance and all other insurances for work people required by the National Insurance Acts and other relevant Acts,Regulations and Agreements in order to properly fulfil all contractor’s duties as an employer.Undertake, and where relevant, insure in the employer’s and jointly in the employer’s name contract works as required by the JCT Contract. Evidence of insurances to be provided by the contractor.**Safety, Health and Welfare**The contractor is to prepare the Construction Phase Health and Safety plan incorporating all necessary risk assessments and method statements and other information and submit to the CDM Adviser / Principle designer. Provide everything necessary for the safety, health and welfare of all persons on site at all times in compliance with the relevant Acts, Regulations and Bye Laws, with specific reference to the CDM Regulations.**Safety Equipment**Provide hard hats, gloves and masks for all operatives and protective clothing and footwear. Spare hard hats are to be provided on site for visitors.**Harnesses**Suitable protection and, if necessary, harnesses and training in the use of, should be provided for all operatives where identified by risk assessments and method statements and in accordance with the Work at Height Regulations 2005.Where contractors are working over open areas on high roofs or platforms without protection below, suitable fall protection must be provided.**Lifting**The contractor shall provide suitable equipment for lifting in accordance with the Provision and Use of Work Equipment Regulations 1998 (PUWER) and the Lifting Operations and Lifting Equipment Regulations 1998 (LOLER). All bagged and other material shall be suitably sized to comply with current EEC legislation. Lifting equipment should be provided on site, including, where necessary, hoists. |

|  |  |
| --- | --- |
| **3.13****3.14****3.15****3.16****3.17****3.18****3.19****3.20****3.21****3.22****3.23****3.24****3.25****3.26** | **Medical Training**All sites shall have an operative who has had suitable medical training in First Aid. Ideally this operative should be responsible for the First Aid equipment, notices and emergency procedures.**Smoking**No smoking is permitted on site.**Blow Lamps and Hot Works**Where blow lamps are used for plumbing, this should be completed no less than two hours before the end of the working day. All operatives should have suitable fire fighting equipment provided.Upon completion of the day all work areas should be checked thoroughly before closing down. Nor fires are permitted on site.Hot works permits are necessary for any and all hot works whereapplicable in line with the employer’s insurance requirements. This is especially the case for ecclesiastical buildings, buildings owned by The National Trust and English Heritage.The default position is that hot works are not acceptable on the building without a permit. A work station can be erected no closer than 6m from the building to undertake hotworks however.**Chemicals**All noxious chemicals or materials shall be stored in a secured pound or lock-up shed. Work with such materials must comply with the current COSHH Regulations.**Storage**All materials should be fully stored safely on site to enable easy access, loading and usage and to limit manual lifting. Full details of proposals for lifting of equipment to high levels should be included within the Construction Phase Health and Safety plan.**Protection (Ref also 2.34 and 2.43)**Full protection shall be provided to the working areas, excavations and trenching and working areas shall be so marked to avoid the risk of inadvertently falling within the same. All excavation should be shored where safe access is required for working within. Any areas where work is being executed over roof areas or above structures in which the general public will have access shall be fully protected to reduce the risk of objects falling through the same.Any scaffolding over a regularly used accessway shall be fully sheeted below and around to form a plywood boxed accessway for the full depth of the scaffolding up to the access door, with a raked projecting canopy beyond the scaffolding to afford furtherprotection, all as agreed with the contract administrator on site. |

|  |  |
| --- | --- |
| **3.27****3.28****3.29****3.30****3.31****3.32****3.33****3.34****3.35****3.36****3.37****3.38****3.39** | **Visitors**Visitors shall only be permitted on site by prior arrangement. All visitors must sign in and out of the working area and must be accompanied at all times. All visitors should be provided with suitable safety hats and equipment. Unless suitably trained they shall be kept well away from all working areas, excavations and moving plant.**Security**Safeguard the works from theft, vandalism or other damage by persons. Ensure that the security of adjacent property is not lessened due to the works activities. Prevent work people from trespassing upon adjacent properties.**Overtime**Give notice of proposed overtime in order that the site security and/or supervision can be arranged and clients informed where relevant.**WELFARE**The contractor shall provide a rest area with washing facilities in accordance with the CDM Regulations 2015. Sanitation should be provided and adequately cleansed according to use.A list should be displayed in the rest area indicating all emergency contact numbers for minor and serious emergencies being:1. Local Hospital
2. Accident and Emergency
3. Fire
4. Police
5. Health & Safety Executive

A book shall be kept on site in which a full record of incidents should be notified of the impending work and special access arrangements that may be required in an emergency.**Continuing Liaison**The principal contractor and sub-contractor’s Health & Safety Plans are to be submitted to the CDM Adviser / Principal Designer in order that these may be considered prior to work being put in hand.In the event of design changes being required due to site difficulties, the CDM Adviser / Principal Designer is to be notified immediately in order that the Health & Safety implications can be ascertained and pre-construction information pack can revised. |

|  |  |
| --- | --- |
| **3.40** | **Tenderer’s Obligations**1. All tenderers should note that, if appointed, they will be required to fulfill the role of Principal Contractor under the Construction (Design and Management) Regulations 2015 and by submitting a tender confirm their willingness to take that role.
2. In order to assess the suitability of the

tenderer as a Principal Contractor, his responses to the CDM Questionnaire contained within the appendix to the Pre- construction Phase CDM Information pack **must be submitted with the tender**.1. Tenderers should note that their key tasks as a Principal Contractor during the construction phase will be:
	1. To develop and implement his Health & Safety Plan.
	2. To be reasonably satisfied that when arranging for a subcontractor to carry out construction work, they are competent and have made adequate provision for Health & Safety.
	3. To obtain and check risk assessments and method statements from sub-contractors.
	4. To ensure the co-ordination and co- operation of contractors (particularly under the Management of Health & Safety at Work Regulations 1992).
	5. To ensure training for Health & Safety is carried out.
	6. To have appropriate communication between contractors on site for Health and Safety.
	7. To make arrangements for discussing Health & Safety matters with people on site.
	8. To allow only authorised people on site.
	9. To display notification details.
	10. To monitor Health & Safety performance.
 |

|  |  |  |  |
| --- | --- | --- | --- |
|  | k. To pass all technical, trade, safety and servicing information, along with as built drawings suitably marked up showing cable runs, service pipes, hazards and safety issues for the future maintenance and well being of both occupants, contractors and users of the building to the CDM Adviser in the form of a suitablymarked, indexed and bound file. It is a specific obligation of the principal contractor to collect and collate such information and hand it over atpractical completion for assessment and approval by the CDM Adviser. Two copies of the fileshould be provided. The file should also detail personnel, subcontractors, suppliers, agents and merchants through whom material or serviceshave been obtained. All as detailed within the ‘Information Pack’ The retention will not be released until the file is complete and handed over.1. The appointed tenderer is required to acquaint himself with all aspects of the CDM Regulations whether or not specifically highlighted here and ensure compliance with all aspects and co-operation with the

CDM Adviser at all stages and co- ordination with all other parties as may be appropriate.1. The tenderer must allow for all costs that may be incurred in complying with this section and in complying with all aspects of the CDM Regulations.
 |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **4.00****4.01****4.02****4.03****4.04****4.05****4.06****4.07****4.08****4.09****4.10** | **STANDARDS AND WORKMANSHIP (not all of the below apply)**Detailed below are some guide standards which should be utilised for the purposes of tendering unless otherwise specifically specified within the documents.These cover areas of work as anticipated or potential work which may arise during the contract and should be referred to if instructions are given beyond the scope of the work as tendered. Inclusion of items detailed below does not infer that work specific to the use of these materials will be instructed.The following Schedule of Works are given as a guide to the detailed scope of the works to be executed.The Contractor should allow in his prices for the full extent of the work shown on the drawings and other documents issued with this Specification or implied by the descriptions which follow.No claims will be entertained by the Contractor’s failure to appreciate the full scope of the works and price accordingly.The terms “provide”, “lay” and “fix” are deemed to mean supplying the materials and laying and fixing. “Fix only” in relation to materials so supplied shall be deemed to include taking delivery, unloading, storing, moving to position and fixing as required.The Contractor will be responsible for estimating his own quantities for the work to be carried out and he will be required to submit a Schedule of Rates if his tender is being considered for acceptance.Where provisional quantities are given, the Contractor is required to price these items by including both a unit rate and extending the amount; these amounts will be adjusted during the running of the contract.All works included hereinafter are to be carried out strictly in accordance with the manufacturer’s instructions. Should theContractor wish to use alternative products then he must obtain prior approval from the Contract Administrator that the product is at least equal to the product referred to in this Specification.Where materials, goods or workmanship are described in this Specification as being subject to the Contract Administrator approval the Contractor is to submit to the Contract Administrator any samples and/or other evidence of the suitability of the materials or goods as the Contract Administrator may require. |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **4.11****4.12****4.13****4.14****4.15****4.16****4.17****4.18****4.19****4.20****4.21** | Where and to the extent that materials, goods and workmanship are fully specified in this Specification they are to be suitable for the purposes of the Works as stated or reasonable to be inferred from the Contract documents, in accordance with good building practice and standards normal within the particular trade, including the relevant provisions of the current BSI documents and Building Regulations.All materials used, shall, unless otherwise described, be new, sound and of a quality not less than that required by the appropriate British Standard.The Contractor shall locate and mark all services affected by the works including all liaison with any Statutory Authority where necessary.The Contractor shall ensure that all site staff are aware of the sites that have special ecological significance.The Contractor shall ensure that all site staff responsible for supervising and controlling the works are experienced in the type of work and that all plant and equipment used is of a suitable type and standard for the location and type of operation.**MORTAR MIXES**Mortar mixes are for bedding of stone and masonry will be either a lime mortar being 1 part of lime putty to 3 parts of sound selected approved aggregate. For the purpose of tendering the contractor shall include within his costings for the addition of gauged selected brick dust to act as a pozzolan. This should only be used if instructed on site. Full proportions will be given subject to colouring and sampling.An alternative, subject to instructions on site, is for the use of an hydraulic lime mortar, being St Astier and obtained from the Cornish Lime Company, Brims Park, Old Callywith Road, Bodmin PL31 2DZ, telephone 01208 79779, mixed 1part of lime to 2½ parts of sand, utilising an approved selected aggregate as below.**POINTING MIX**An approved pointing mix will be selected for the external stonework to comply with the general requirements of mortar analysis as detailed below, where two options are put forward.1. The pointing mix shall be a lime mortar with aggregate. The aggregate shall be a mix of locally sourced materials with Option A being 1 part of lime putty to 3 parts of sound selected approved aggregate. Again for tendering purposes include for gauging with pozzolan as above only as specifically directed by the Surveyor. The contractor must include for mature lime (minimum 3 months). |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **4.22****4.23****4.24****4.25****4.26****4.27** | This is to be well cut and worked either by hand or with a roller mixer to work in the aggregate/sand to form the coarse stuff. The pointing mix of mortar should stand for a minimum of 7 days under cover prior to use to rest and mature. For the purpose of the tender the contractor shall allow for 4 no samples of pointing panels of pointing to each different wall surface and masonry area to be prepared and inspected by the Surveyor and, where relevant, English Heritage for approval. Maximum number of 12 samples should be allowed in total of approximate size of half a square metre.2. The Alternative B mortar to be used is a hydraulic lime and mortar utilising the NHL2 St Astier unless otherwise directed. The mortar is to be obtained from the Cornish Lime Company. The lime is to be mixed with approved aggregate as detailed above and below.For the purpose of tendering only, and subject to selection on site, the contractor shall allow for the mortar to be a mix of CLS25 (subject to availability). Again the sand mixes and the blended sands are available from the Cornish Lime Company, Brims Park, Old Callywith Road, Bodmin PL31 2DZ, telephone 01208 79779.When undertaking the pointing all joints should be raked out to a depth of at least 40 mm or the equivalent of 1½ times the width of the mortar joint whichever is the greater. All loose material shall be brushed out and joints should be flushed out with water and then damped down prior to re-pointing with a mist sprayer. The pointing should be kept well off the face of the stonework which should be kept clean at all times. Pointing should be undertaken with a flexible steel pointing iron to enable sufficient spring to push the mortar into the open joints to exclusion. The finished mortar pointing shall be flush with the stonework and weather the jointing of the stones. No proud, strapped, recessed, or bucket handled joints are to be entertained. Upon completion all mortar joints should be marginally proud and then beaten/brushed back subject to the mortar utilised. Ensure that an adequate ram into the joint is achieved along with some exposure of the base aggregate. No brushing marks or smearing shall be entertained.The lime putty mortar (Mix A) shall be beaten back with a churn brush at the end of the day and then re-beaten the following day subject to drying and assessment. If the mortar takes a long time to carbonate or dry because of inclement conditions, a further beating back may be needed to ram the mortar into the joint and overcome any problems of hairline shrinkage cracks between the mortar and its stonework.The hydraulic mortar (Mortar B) will require pushing into the joint and brushing fairly soon after application. No further beating or ramming should be allowed after the initial set, which will be fairly rapid compared to the lime putty. This will only break down the bond and will not achieve an adequate key. |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **4.28****4.29****4.30****4.31****4.32****4.33** | When hacking out and preparing joints for re-pointing in the designated areas, the Contractor must undertake all work by hand. It is imperative that no disc cutters are allowed on site. These are not controllable and will damage the adjacent stones and bedding. The arrases and leading edges of all stonework must be respected and must not be damaged by the hacking out exercise. Only loose pointing should be removed off the face of the stone. It is likely that some of the stonework may have more resilient mortar attached to it. A full assessment with the Contract Administrator will be required. Where bed joints kiss or are so tight that to rake out the pointing would cause damage, this would not be expected to be undertaken. Again, full consultation with the Contract Administrator will be required.All mortar will require full protection against inclement conditions. Dry stonework should be mist sprayed before commencement and then in excessively dry, windy or hot conditions, the mortar will require spraying to slow down the carbonation. A mist spray should be used. Protection from drying winds and hot sun will be needed and provided by hanging damp hessian cloths in front of the areas that have been worked upon. Where winds are strong and accelerate drying, additional windbreak sheeting must be allowed for within the tender price and scaffolding costs.Where excessively inclement wind and rain or cold is experienced, the mortar must be fully protected from outwash or wetting.Lime mortar and lime water run off will affect the pH of surrounding stones and will kill lichens and mosses. Unless otherwise directed, these must be worked round and must not be scraped off or removed from the masonry.Hydraulic lime mortar must generally be used within two hours of mixing. Large batches for bedding or pointing should not generally be pre-made or stored on site. The mortar should not be knocked up for re-use if it starts to mature and go off. The mortar must be fully protected after mixing and batching and kept out of excessive weather conditions, wet or sunshine or excessive drying winds.We would note that hydraulic lime mortar has a different setting time dependent upon the ambient temperature and prevailing weather conditions. On occasions in the warmer summer months, hydraulic mortar will obtain an initial set as rapidly as a cement mortar. However, in colder, wetter situations the set may take in excess of one or two days. The mix therefore needs to be very carefully managed and its setting time needs to be monitored. The residual moisture in the core of the wall into which the pointing is to be placed will also affect the setting time. This has to be factored into calculations that time of use, preparation and dressing and finishing. |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **4.34****4.35****4.36****4.37****4.38****4.39****4.40****4.41****4.42****4.43****4.44** | When raking out the joints, large voids may be found, either within the core of the wall, or following the removal of ivy or other plant growth. These voids will need to be packed out to exclusion utilizing shard stones and gallets with the approved lime mortar, fully packing in the voids up to the pointing face.Where large stones abut with large mortar joints at the uneven angles of uncut, undressed stone, it could be necessary to pack out the mortar joints, both to increase the life of the pointing, and to add strength with shard stones and gallets. These should be taken from a stockpile of small stones gleaned from the site. They should be bedded in the horizontal alignment and not bedded at an angle or in the vertical. They should be cut to fit in with the void, and pointed in as they are laid.The pointing exercise with the large voids should allow for, where they exist, a two stage packing and pointing exercise.Pockets, recesses, ledges, etc, as existing and constructed for the purpose of the function of the building should be retained.**AGGREGATES**All aggregate that is approved shall be stored in a dry area fully sheeted and shall not be wet, or saturated or contaminated by ground waters, salts or agricultural effluent while stored for use.Unless otherwise directed the approved sand and aggregate blends shall be obtained from the Cornish Lime Company, Brims Park, Old Callywith Road, Bodmin PL31 2DZ, telephone 01208 79779 using proven approved sand blends to mix with.The contractor is at liberty to put forward alternatives after tendering and subject to detailed approval by the Contract Administrator**WALL PLASTER (LIME BASED ONLY)**Generally all specified lime wall plastering shall be undertaken following full raking out of all mortar and bed joints to ensure a sound key. All loose, friable and dry material shall be removed and all joints and backing shall be mist sprayed or flushed out to reduce the suction of the base against the plaster.The mortar mix for the wall plaster should either be Mix A, being a lime putty one part of lime putty as above to 3 parts of approved aggregate, or a NHL2 hydraulic lime of 2½ to 1. Allow for a minimum of 3 no coats unless otherwise stated with an additional coat for deep dubbing out on uneven work, damaged or make up is required to be attended to, again subject to instructions on site. |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **4.45****4.46****4.47****4.48****4.49****4.50****4.51****4.52****4.53****4.54** | The mortar mix for the wall plaster shall, where wholesale re- plastering is being instructed, be formed from hydraulic lime mortar, being NHL3.5 one part of lime 2½ parts of sand using CLS25. The Contractor is to apply a thrown/hurled first coat onto the wall, having undertaken the preparation to provide an initial bond. Thereafter allow for applying 1 no dubbing out first coat and 2 no further coats, nominally between 8mm and 10mm in thickness. Allow for deep dubbing out in addition for uneven work. Any loose stonework consolidation is to be executed as a separate exercise as detailed separately. Allow for damping down between coats to provide adequate bond. Full protection from the weather must be provided at all times especially where weather extremes are expected. Successive coats should be bonded following the cross keying principles using a devil float to improve the bond.**CEILING PLASTER (LIME PUTTY BASED ONLY)**All specified ceiling plaster should be applied to hazel or oak lath and shall be a 3 coat system with the first coat being 9mm of one part lime putty to 3 parts sand with hair added at the rate of 7 Kg per m3 being fine alkali resistant goat’s hair or similar approved. The first coat shall be cross keyed and the second coat apply being 6 mm of 1:3 hair reinforced coating followed by a final setting coat of 5 mm being 3 parts lime putty to 2 parts fine sand.Full protections will be required subject to prevailing weather conditions. The surfaces to be re-coated should be damped down to reduce suction. Allow the use of a mist sprayer.**LATHS**Laths shall be hazel or chestnut riven laths being a nominal 38 x 10 mm positioned to allow a nominal 10 mm gap for the plaster key.The laths shall be fixed with stainless steel 25 mm jagged shanked nails to the ceiling rafters or studs.All nail fixings to the timbers shall be of stainless steel. Any lap of the sheets should not be positioned so to preclude the squeezing of the first coat of plaster through the laths to enable the bond to be maintained. No loose or unsecured edges will be permitted.Where these exist they must be supported on noggins and studwork and should be included within the tenderer’s costings.**LIME**Lime Mortar A or putty used on site should be fully slaked mature lime putty in excess of three months in age and must be supplied by the Cornish Lime Company unless otherwise agreed in writing.Hydraulic lime must be from fresh sources/purchases having been obtained specifically for the project and not taken from old stock. The bags must be stored on pallets, lifted away from the damp, but off the ground. They must be protected from damp and weatherand stored in suitable containers to protect them from damage |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **4.55****4.56****4.57****4.58****4.59****4.60****4.61****4.62****4.63****4.64****4.65****4.66** | All plasters and mortars shall be mixed with the aggregate to form a coarse stuff and laid to prove for a period of 7 days prior to applications (subject to weather conditions).Mortar B. Hydraulic lime mortars shall be made from St Astier hydraulic lime mixed as 2½ parts of sand/aggregate to one part of lime and, unless otherwise instructed, NHL2 should be utilised.**AIR ENTRAINERS, WATERPROOFERS, COLOURANTS, SALT INHIBITORS**The Contractor is not permitted to use any modern liquid soap or chemical air entrainers, plasticizers, salt inhibitors or colourants in any of the mortar mixes, unless specifically instructed or agreed on site with the Contract Administrator.**GAUGING**No gauging of mortars shall be permitted nor mixing with cement unless specifically agreed in writing with the surveyor. Tendering as detailed above shall allow only for a brick dust pozzolan, again subject to selection and gauging and sampling.**LIMEWASH**All limewash shall be mixed from 3 months slaked lime putty and should be cut and mixed to a milky consistency. All areas for limewashing should be damped down prior to the application for the limewash for a period of no less than 24 hours being left between coats. Unless otherwise stated 7 no coats shall be tendered for.Where pigmentation is required to achieve a specific colour as selected by the client natural pigments will be utilised and sufficient limewash should be mixed to make sure that the room is coated in one mix application to ensure colour continuity.**TIMBER**All softwood utilised within the project shall be top quality slow grown heart wood from sustainable European growers. No African, Asian or Middle & South American imported timber will be permitted without specific consent. All softwood will be pressure impregnated preserved with a permethrin preservative. All timber applications shall be environmentally sound and approved by English Nature and shall not be harmful to bats. All cut ends of joinery shall be treated with a preservative prior to insertion within the building or within joinery repairs. Timber must be FSC or PEFC certified with appropriate Chain of Custody paperwork.Timber used for decking of the lead bays should be prepared, cut and laid in accordance with the carpentry section. Details concerning the treatment of the timber or otherwise are contained within this section. |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **4.67****4.68****4.69****4.70****4.71****4.72****4.73****4.74****4.75****4.76****4.77****4.78****4.79****4.80** | Oak utilised within the project shall be English Oak at least 4 years felled. The oak shall have been properly cut and stacked for through flow ventilation prior to being cut to size. Any oak brought to the site shall either be stacked and weighted on site or placed within the main structure immediately to overcome the problems of dimensional instability. All new oak to be sawn.**MASONRY****Granite**Any granite utilised within the project will have to be approved by the Surveyor within the quarry prior to any extraction or cutting of granite to ensure a true and satisfactory match to the existing composition and colour of the granite in form and texture.**Killas**Any work on the Killas salt stone should, where possible, incorporate salvaged stone laid on its natural bed cut by hand. Stone will have to be approved and selected by the Surveyor in the quarry.**Pentewan Style Stone**Any making up of deficiencies of Pentewan style stone for crenelations and dress details will have to be approved by the Surveyor following suitable sourcing.**Slate Slabs**Any slate slabs utilised within the project will have to be approved by the Surveyor from samples or from within the quarry prior to ordering. The finished texture will have to be agreed for the situation and location and colour approved.**Samples**The Surveyor will expect to have presentation of 6 no samples of stone from different sources for the granite, killas, Pentewan and Slate stone for selection or other as selected.**PLAQUES**The contractor is to include within his costings at completion to fix to the masonry / woodwork in an agreed position at the west end of the building (if so requested) sponsors and / or funders plaques being no more than three in number requiring no more than four screws per plaque with the plaque size being no greater than 300x200mm. The plaque will be supplied by the client. Final fixing positions and methodology to be agreed between client and surveyor. |  |  |

|  |  |
| --- | --- |
| **5.00****5.01****5.02****5.03****5.04****5.05** | **SCOPE OF WORKS**The contractor is invited to tender for work at Market House, St Ives for St Ives Town Council. The building is located in Market Square just to the west of St Ia Parish Church. The building is listed grade II and the cobbles to the east are also separately listed grade II. There is no site parking and the road runs tight to the building on all sides.The work will involve:* High level repairs and maintenance works
* Localised repointing works
* Repairs to windows
* Improved accessibility including new lift
* New accessible lavatory
* Improved staircase to first floor
* Structural work and fit out for archive use of first floor and north east unit.

There is no on site or on street parking to the building. Parking will need to be within public car parks subject to final agreement. Note deliveries and scaffolding required are going to be very restricted due to the location.Please note that Scott and Company (Cornwall) Ltd will be the principal designer in terms of CDM 2015.***Please note the following historic features - gaol wall, panelling, gas lighting, judges chair and benches and other detail to be retained and protected. Existing first floor boarding to main room to be protected.*** |

|  |  |
| --- | --- |
| **6.00****6.01****6.02****6.03****6.04****6.05****6.06****6.07****6.08****6.09****6.10** | **SITE SET-UP AND SCAFFOLDING****Site Set-up**The contractor is to allow for all necessary welfare, administration and storage facilities. The location of these facilities is subject to final confirmation at the pre-contract meeting and will need to be located away from the site due to limited access. It may be possible to locate welfare on nearby land owned by St Ives Town Council.**Scaffolding**Allow for scaffolding as required to working areas.Scaffolding should be installed in compliance with the standards section of this specification and in line with all relevant and current British and European Standards and Codes of Practice that apply.All ladder and access around the scaffolding shall be removed at the end of every working day, or made unusable as agreed by the surveyor and the insurers. Min 3m tall hoarding boards shall be fixed around the base of the scaffolding to stop miscreants rising up this onto the roof area. Continual access around the Chapel must be maintained, unless prior arrangements have been made to block off access routes temporarily. If this is permitted full notification and signs must be provided.All scaffolding must be suitably marked, secured and protected. All working platforms should be provided with kick boards. All necessary working and protective lighting must be provided. All scaffolding should have plastic end caps where poles are resting against the masonry.Suitable security fencing must be provided to cordon off all working and storage areas, along with suitable protection and signage and lighting as appropriate for any skips which should be kept to an absolute minimum and should not be retained on site when not being used.The scaffolder must be contracted by the contractor to check all scaffolding on a weekly basis to ensure that the scaffolding is safe and has not been adversely affected by loading or building works.Note scaffolding will have to accommodate the close proximity of the road and a narrow lower lift to accommodate vehicle access may be necessary. To facilitate this fixing into the mortar joints is permissible if this would be advantageous. |

|  |  |
| --- | --- |
| **6.11****6.12** | **Propping and Temporary Supports**Allow for all temporary works to support floors / walls / ceilings as required as a result of the removal works. Note the contractor will need to develop a method statement (supported with structural engineer details / calculations where necessary) for any temporary works. |

|  |  |  |  |
| --- | --- | --- | --- |
| **7.00****7.01****7.02****7.03****7.04****7.05****7.06****7.07****7.08****7.09****7.10****7.11****7.12****7.13** | **STRIPPING AND DEMOLITION****Asbestos**Allow for safe removal of any and all asbestos identified in the refurbishment survey. For tender purpose allow a provisional sum of £2,500 to cover.**Stairs**Allow for removing the existing stairs entirely and disposing of off site.**Partitions**Allow for removing the following partitions:1. Northern section of spine walling below existing stairs
2. Small store room to northwest corner below stair
3. Store walls to middle unit east side
4. First floor walling to lavatories and utility room.

**Openings**Allow for cutting through to form access door into new accessible lavatory – 1000mm structural opening allowing for 900mm min clear opening.Remove existing door from office to main roof on first floor. Retain historic door closer for re-use.**Lavatories**Allow for removing all sanitary ware, tiling and pipework. Remove soil and vent pipe. Dispose of off site.**Pointing**Allow for raking out to loose / damaged mortar. Final areas to be determined, but for tendering allow a provisional allowance of 20m2 of raking out. Allow for raking out by hand in line with standards section of the specification – clause 4.25 above. | **£2,500** |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **8.00****8.01****8.02****8.03****8.04****8.05****8.06****8.07****8.08****8.09****8.10** | **GROUND WORKS AND SERVICES****Foundations**Allow for removing flooring as required and breaking up concrete to facilitate provision of new foundations for structural walls to the northeast and northwest units. See RGC Substructure plans.The contractor is to allow for the excavation and formation of strip foundations as shown.Make good slab around as shown and detailed on the structural plans.**Foul Drainage**New accessible lavatory to connect into existing foul drain room from existing lavatory.Allow for extending below ground pipework (if required) nominal 600mm to new lavatory position. Allow for 100mm UPVC pipework embedded into concrete. If pipes are already running to west allow for connecting in and blocking off pipework to west. Make good to slab surrounding.Allow for the provision of a new stub-stack with air admittance valve within the lavatory at the head of the run.**Lift Pit**Allow for tendering for removing slab below lift. Take down to original sub-base. Allow for making good and then allow nominal 75mm reinforced screed to form base for lift. |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **9.00****9.01****9.02****9.03****9.04****9.05****9.06****9.07****9.08****9.09****9.10****9.11****9.12****9.13** | **EXTERNAL REPAIR WORKS****Roof**Allow for accessing and removing all moss from the roof slopes. Note this is a scantle slate roof and care must be taken not to dislodge slates and mortar.Subject to final confirmation the contractor is to allow for re- fixing nominal 50no loose / slipped / damaged slates. Re- secure with NHL3.5 lime to match existing and clip with stainless steel clips. Replacement slates should be second hand Cornish slates.Allow for accessing and re-pointing ridges (re-bed where necessary). Allow for pointing / bedding in with NHL3.5 hydraulic lime mortar.**Louvred Roof Vent**Allow for carefully sanding down all timberwork to the high level louvre. Pending high level assessment and for tendering, allow for replacing all 24no louvres. Approx size 950mm long, 25mm thick and 75mm deep. Allow for new square section iroko replacements. Secure to framework to same angle as existing.Allow for splice / scarf repairs to the base of two frame uprights. Allow for splicing in hardwood 75x75mm posts to match. Allow nominal 200mm. See SPAB guidelines below on timber repairs.Allow for decorating the louvre vent to all painted surfaces with aluminium primer, undercoat and two top coats of Dulux Weathershield or similar high performance oil based gloss.**Pointing**Allow for localised pointing to the 20m2 raked out. Allow for using NHL3.5 mortar with CLS28 sand ration 2.5:1 sand to lime. Point in line with the details in the standards section. Joints to be flush and well beaten back to draw out the course aggregate.**Windows and Doors**Allow for stripping down all windows and external doors to bare timber to enable full assessment of condition to be undertaken. Allow for removing putty.See reference note below indicating window and door numbering: |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
|  |  |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **9.14****9.15****9.16****9.17****9.18****9.19****9.20****9.21****9.22****9.23****9.24****9.25****9.26****9.27****9.28****9.29****9.30****9.31****9.32** | Allow for the following provisional works to openings. Subject to confirmation and agreement on site. Cost for tendering only. See SPAB guidelines below for standard repair methodology.All windows and doors should be decorated with 2no undercoat and 2no top coats of Dulux Weathershield high performance oil based gloss paint. New timber should be treated with aluminium primer.All sash windows should be made to have at least one sash operational.*Ground Floor – all windows fixed C20 large pane casements*W1, W2, W3 W5, W6, W7, W8, W9Modern large fixed single pane single glazed casements. Allow for filling to repair damage to base, re-putty and decorate.W4Rot evident to cill and jambs to sides of frame. Allow for replacing cill and 250mm of jambs. Allow for filling, puttying and decoration.*First Floor – all sliding vertical sash windows*1W1Allow for re-puttying and decoration. 1W2Allow for replacing cill. Re-putty and decorate. 1W3Cracked pane to lower right (from outside) – replace with heritage single glazed pane. Allow for replacing cill. Re- putty and decorate.1W4Allow for re-puttying and decoration. 1W5Allow for scarf repairs to box frame base – nominal 250mm each side. Re-putty and decorate. |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **9.33****9.34****9.35****9.36****9.37****9.38****9.39****9.40****9.41****9.42****9.43****9.44****9.45****9.46****9.47****9.48****9.49****9.50****9.51****9.52****9.53** | 1W6Allow for scarf repairs to box frame base – nominal 250mm each side. Re-putty and decorate.1W7Allow for new cill and meeting rail. Re-putty and decorate. 1W8Re-putty and decorate.*Doors*D1, D2Timber frame single glazed ‘french’ doors into retail unit. Glazed upper and panelled lower section. Re-decorate.D3Single to northwest retail unit with fixed door into central unit alongside. Allow for minor filling to base. Re-decorate.D4Timber frame single glazed ‘french’ doors into retail unit. Glazed upper and solid lower panel. Rot to base of frame on left side as viewed from outside. Allow for nominal 400mm scarf repairs to this side. Re-decorate.D5Outward opening solid vertical panelled door to main stairwell. Some minor rot to base of frame that will need filling. Re-decorate.D6Replacement single glazed (4 panes per leaf) ‘french’ door. Sound. Allow for re-decoration.D7Single door with fixed side panel. Single glazed upper with solid lower. Sound. Re-decorate.D8Timber frame single glazed ‘french’ doors into retail unit. Glazed upper and panelled lower section. Sound. Allow for re-decoration. |  |  |



|  |  |  |  |
| --- | --- | --- | --- |
|  |  |  |  |



|  |  |  |  |
| --- | --- | --- | --- |
|  |  |  |  |



|  |  |  |  |
| --- | --- | --- | --- |
|  |  |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **9.54****9.55****9.56****9.57** | **Rainwater Goods**Allow for accessing and taking down all gutters and downpipes. These should be checked and sanded down. Allow for repairing any defects and painting with 2no coats of Hammerite or similar top quality metal paint in black to match existing. Re-hang and coat inside of gutters with a layer of bitumen. For tendering allow a provisional sum of£800 to cover any significant repair / replacement necessary.**Fascias**Allow for accessing all fascias and scrape back to bare timber. Any rot should be attended to as necessary. For tendering allow a provisional sum of £750 for repairs. Allow for 2no undercoats and 2no top coats of Dulux Weathershield or similar oil based gloss paint. | **£800****£750** |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **10.00****10.01****10.02****10.03****10.04****10.05****10.06****10.07****10.08****10.09****10.10****10.11****10.12** | **CARPENTRY AND STEELWORK****First Floor**Allow for removing joists where the steel racking support frame will be located. Joists to be cut and re-hung onto the web of the steelwork with timber packers as required. See structural plan 101 (ground floor plan).Allow for removing joists to lift shaft. Allow for trimming around supporting off load bearing studwork wall. Allow for triple 195x72 C24 joists as per structural drawings. Bear onto walling ledge as per existing.Allow for trimming to new stairs opening with triple 195x72 C24 joists.**Partitions**All new internal partitions are to be formed from timber studwork.Structural studwork wall to lift to be formed from 95x44mm C16 studs at 400mm centres with 9mm OSB sheathing. 4no studs to be formed below lift trimming beam ends as per engineer details. Allow for filling between the studs with Rockwool sound deadening quilt. Allow for lining outer face of wall onto the OSB with two layers of 12.5mm fire check plasterboard. Skim.Partition walls beyond the structural founded wall under the stairs and along the west side of stairs and to the lavatory and store to be formed from 95x44mm C16 studs at 400mm nominal centres. Allow for filling between the studs with Rockwool sound deadening quilt. Line both sides with 9mm OSB sheathing to allow for fixings / shelving etc. Line externally with two layers of 12.5mm fire check plasterboard and skim.Provide double studs as required to sides and over openings.**Steelwork**Allow for steel framework within the first floor for racking support as shown on engineer’s drawings. Secure to foundations as shown.Frame comprised of 203x203x60 UC beams with 100x10 S275 flat section steels on 152x152x24UC columns. |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **10.13****10.14****10.15****10.16****10.17****10.18****10.19****10.20****10.21****10.22****10.23****10.24** | **Ceilings**Allow for 100x50mm C16 timbers between the steel beams on the lower face at 400mm centres. Pack with timber into the web. These are to run west to east inside the steel frame within the first floor. Line with 2no layers of 12.5mm fire check plasterboard to form ceiling to room below. Skim.Allow for lining ceiling below stairs with 2no layers 12.5mm fire check plasterboard. Allow for suitable bearers below stairs to from sloping ceiling.Where ceilings disturbed to lift shaft allow for lining with12.5mm fire check plasterboard.Allow for making good to damaged upper walling above gallery over stairs. Allow for patching in new plasterboard to nominal 1m2. Skim.Allow for provision of bespoke trap hatch to landing to replace existing defective hatch. Size to match existing opening. For tendering allow a provisional sum of £2,000 to cover.Allow for plaster repairs to main hall ceiling rose. Final details and extent to be determined with high level access. For tendering allow a provisional sum of £2,000 to cover.**Archive Lobby**Allow for removing vertical timber boarding from walling within ground floor lobby. Allow for applying 1no layer of12.5mm Aquapanel cement board to existing wall surfaces to create fire barrier. Re-fix vertical boarding to reinstate and secure directly to Aquapanel. This upgrades the fire protection in the escape lobby.Allow for the provision of a temp ramp to allow access for wheelchairs. Ramp to be provided over granite steps leading from floor level down onto the road. Allow a provisional sum of £900 to cover.**Boxing**The contractor is to allow for boxing to all exposed sanitary, electrical and ventilation pipe, wire and duct runs. This is to be kept to the absolute minimum. Boxing is to be formed from 50x50mm softwood studs and lined with 9.5mm plasterboard. Allow for tender purposes the provision of 10m run of boxing. Allow for attendance on site with plumber and electrician to identify exact requirement subject to approval by the surveyor. | **£2,000****£2,000****£900** |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **10.25** | Allow for boxing in steel columns to northwest unit. Allow for 50x50mm bearers into the web and line with 2no layers of 12.5mm fire check plasterboard. Skim. Ensure fully sealed to ceiling and floor. |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **11.00****11.01****11.02****11.03** | **LIFT**Allow for tendering for the provision of a Stannah Midilift PL. Size 1485x1530mm, or equivalent model. Anodised aluminium structure. Shell model. Lift to be fully enclosed with full or part glazed doors on ground and first floors. Doors to open on opposite sides. Outer colour to panels to be confirmed.Include for supply, installation and standard 2 year service provision post installation.Rise from GFL to FFL 3.01m. |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **12.00****12.01****12.02****12.03****12.04****12.05****12.06****12.07****12.08****12.09****12.10****12.11** | **JOINERY****Stairs**The contractor is to allow for the provision of a new oak staircase with 16no 188mm risers with intermediate landing. Stair to be provided with 41mm square section oak balusters on both sides leading to a 70x50mm solid oak handrail set 900mm above stair level. 90x90mm square section newels to be provided at base and head of stairs and at change of direction on landing.**Doors**Allow for new door between archive lift lobby and main hall. Door to be Doors of Distinction Mendip glazed oak fire door (44mm). Door to be 838x1981mm. Allow for widening opening to allow for new door and make good to existing partitioning. Door to open into the main hall. Allow for stainless steel fire rated hinges, stainless steel push plate on lobby side, stainless steel kick plates to both sides and stainless steel 350mm D handle on main hall side. Allow for Dorma TS73EMF hold open electromagnetic door closer standard fix with freeswing arm.Lavatory door to be Doors of Distinction Belize FD30 926x2040mm 44mm thick pre-finished oak door. Allow for 3no stainless steel hinges. Allow for accessible lavatory lock with thumb turn. Allow for Satin chrome ‘Corvus’ handles to both sides.Store door to be Doors of Distinction Belize FD30 838x1981mm 44mm thick pre-finished oak door. Allow for 3no stainless steel hinges, 2no ‘Corvus’ handles and Euro lock cylinder.Allow for re-hanging existing door from lift lobby to stair well so it opens out into the stairwell.Allow for repairs as required to the double doors into the main hall. For tendering allow a provisional sum of £850 to deal with repairs necessary. Allow for the provision of 2no Dorma TS73EMF hold open electromagnetic door closer standard fix with freeswing arm.Allow for re-fitting historic door closer from existing lift lobby door onto door into archive store area.**Main Hall**Allow for repairs and re-fixing to dado panelling and other detailing within the main hall. Final provision to be agreed on site. For tendering allow a provisional sum of £5,000 tocover. | **£5,000** |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **12.12****12.13****12.14****12.15****12.16****12.17** | **General Repairs and Upgrades**Allow a provisional sum of £3,500 to cover repairs and overhauling other joinery elements on first floor.**Skirtings and Architraves**Allow for the provision of 25x75mm softwood torus architrave to all door openings.Allow for the provision of 25x175mm softwood torus skirting boards to all areas.Subject to confirmation. | **£3,500** |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **13.00****13.01****13.02****13.03****13.04****13.05****13.06** | **PLASTER****Plasterboard**Allow for Gypsum skim to all plasterboard wall and ceiling surfaces having taped all joints and corners.**Existing Wall Surfaces**Allow for patch repairs to plaster surfaces on first floor, namely damaged plaster in lift lobby room and main hall. Allow for nominal 25m2 areas of re-plastering.Allow for 3 coat lime system using NHL2 lime. Allow for deep dubbing scratch coat onto wetted surface taken back to bare stonework. Allow further base coat both with coarse sand and fibreglass hair to reinforce. Allow for final fine sand NHL2 plaster coat to finish.Subject to confirmation. |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **14.00****14.01****14.02****14.03****14.04****14.05****14.06****14.07****14.08****14.09** | **PLUMBING**The main contractor is to allow for attendance on the plumber.**Pipework**Where possible all pipework should be in copper and should be suitably lagged and insulated.**Sanitary Ware**All sanitary fittings are to be agreed and items finalised and are for tendering purposes only.Allow for cold connections to all basins, water heaters and WCs.Allow for 75mm deep sealed traps to all waste points. 100mm pipes to be provided for the WCs and 50mm pipes to the basins.Allow for Armitage Shanks Doc M Close Coupled pack to disabled lavatory. This will include all grab and hand rails. Install in full accordance with details.Allow for the provision of a Heatrae Sadia Handy 3 over basin. |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **15.00****15.01****15.02****15.03****15.04****15.05****15.06****15.07****15.08****15.09****15.10** | **ELECTRICS**All electrical work is to be undertaken by a NICEIC registered contractor and all work should be done in full accordance with the current IEE Regulations and current codes of practice and recommendations. All wiring should be concealed. All wiring should be fully circuit protected.An assessment of existing fittings is necessary and any rectification works should be undertaken alongside new provision. For tendering allow a provisional sum of £2,000 to cover repairs necessary.The main contractor is to allow for attendance on the electrician and the electrician is to make the contractor fully aware of all chases, boxing and enclosures etc that are required in good time.Note wiring can be surface mounted pending location – to be agreed on site.The main control boxes and circuit breakers for the extension are to be located in the plant room next door. Allow for bringing in supply from the existing building, but provide separate consumer unit for the new extension.The contractor is to allow for all work as detailed in the schedule below.All switches and sockets to be positioned at heights between 450mm and 1200mm above floor level. All lighting units and switches as detailed below are subject to final decisions with the client.For the purposes of tendering the contractor is to price for MK Logic range fittings. All light fittings are subject to finalisation. Any alterations to these standards will be detailed. All light fittings must be of the type that provides an average efficacy of not less than 40 lumens / circuit-watt.Any external lights will be PIR lights designed to come on only when required or will otherwise be provided with fittings of not less than 40 lumens / circuit-watt. All spot lights to be LED spot lights.Allow for category L1 fire alarm system with all necessary detectors and break glass points etc. Design in full accordance with BS5839.Allow for emergency lighting system with emergency running man points as required. | **£2,000** |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **15.11****15.12****15.13****15.14****15.15****15.16****15.17****15.18****15.19****15.20** | Allow for the supply and fitting of the following with all necessary back box fittings and wiring circuits to the rooms as indicated and as shown on plan. The smoke and heat detectors are to be interlinked mains units. Add for wiring and connection required for each fitting. All subject to final confirmation on site and in addition to existing fittings:Archive Lobby:* 2no LED surface mounted light fittings
* PIR sensor to lights
* 4no double plug sockets
* Electrical connection and controls for lift

Landing:* 2no LED surface mounted light fittings
* 2no PIR sensor
* 4no 13 amp sockets

Lift Lobby:* 2no LED surface mounted light fittings
* 2no PIR sensor
* 4no 13amp sockets

Main Hall:* 10no 13 amp double sockets
* Allow a provisional sum of £5,000 to cover wire mounted spot lights to illuminate work areas.
* Allow bank of 4no switches by double doors.

Disabled Lavatory:* 1no LED surface mounted round fitting with emergency light integral
* 1no PIR sensor
* 1no disabled call system with external sounder and two pull cords
* 1no 6 litre per second extractor fan with isolator

Store:* 1no pendant light
* 1no light switch

Northwest Retail Unit:* 2no surface mounted LED lights
* 1no light switch

**Wifi**Allow for the provision of router and wifi throughout the archive rooms with repeaters as necessary. Existing retail units not to be included. | **£5,000** |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **15.21****15.22** | **Heating**Allow for new electric heating. Allow for Ecostrad Allerton iQ WiFi Horizontal Double Column Electric Radiators. For tendering allow for the following provision to rooms as indicated. Subject to power provision to the building. Final positions to be agreed:* Main Hall - 4no 1500W 1190x600mm
* Archive store - 1no 600W 1190x600mm
* Lift lobby - 1no 1500W 1190x600mm
* Archive lobby - 1no 1500W 1190x600mm
* Lavatory – 1no 600W 601x600mm
 |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **16.00****16.01****16.02****16.03****16.04****16.05****16.06****16.07** | **DECORATION**Allow for decoration to external joinery elements as previously described with 2no undercoats and 2no top coats of Dulux Weathershield oil based gloss.For the benefit of tendering all internal faces of externally walling to be painted with Beeck Maxil Pro interior mineral based paint. Allow for suitable base coat / etching layer as required and 2no top coats of Maxil Pro. Colour to be agreed.All retained plastered partitions to be decorated with 2no coats of Dulux matt emulsion. Colour to be determined.All new plasterboard surfaces to be decorated with mist coat and 2no coats of Dulux matt emulsion.Oak staircase, doors, gaol fittings and dado panelling and fittings in the main hall to be coated with 2no coats of Osmo Polyx oil.All existing surfaces are to be fully prepared. Any existing paper is to be removed and walls made good.Rainwater goods decorated as per above. |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **17.00****17.01****17.02** | **FLOOR FINISHES**To the lavatory the contractor is to allow for Altro Walkway 20 flooring. Allow for skirting upstand behind Respatex as necessary. Install in full accordance with manufacturer's instructions. Subject to confirmation.To the archive lobby, landing, main hall, archive store, lift lobby and northwest retail unit the contractor is to allow a provisional sum of £75/m2 for new floor, which is to be determined. |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **18.00****18.01****18.02****18.03** | **COMPLETION**Upon completion the contractor is to clean out all low level gullies and rod the same to ensure that they are free flowing and operating satisfactorily. All debris shall be removed from the site and the paths should be raked, swept or cleaned as appropriate. Any builders’ debris shall be removed from site.On completion all window openings adjacent to the work on the main body of the building shall be completely cleaned down of any debris and dust.The site is to be left clean and tidy, both internally and externally to the full satisfaction of the surveyor. |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
|  | **SUMMARY SHEET** |  |  |
| 1. | Preliminaries |  |  |
| 2. | Management and Administration |  |  |
| 3. | Labour and Welfare |  |  |
| 4. | Standards |  |  |
| 5. | Scope of Works |  |  |
| 6. | Site Set-up and Scaffolding |  |  |
| 7. | Stripping and Demolition |  |  |
| 8. | Ground Works and Services |  |  |
| 9. | External Repair Works |  |  |
| 10. | Carpentry and Steelwork |  |  |
| 11. | Lift |  |  |
| 12. | Joinery |  |  |
| 13. | Plaster |  |  |
| 14. | Plumbing |  |  |
| 15. | Electrics |  |  |
| 16. | Decoration |  |  |
| 17. | Floor Finishes |  |  |
| 18. | Completion |  |  |
|  |  |  |  |
|  | **Total** |  |  |
|  | **Contingencies @ 10%** |  |  |
|  | **GRAND TOTAL** |  |  |

**Daywork Rates: Tradesmen:**

**Labourers:**

**Lead Plumber:**

**Percentage Costs on: Materials:**

**Labour: Percentage Costs for Prelims:**

Company: …………………………………………………………………………………….

Address: ………………………………………………………………………………………

………………………………………………………………………………………

Signed …………………………………………

CGH/8187