## Version Control
Amend No | Revision No | Amendments | Initials | Date
0 | 0 | Tender Issue | SOS | 2020-10-21

## Guidance
Guidance
Worksheet reference | S.No | Description
General | 1 | Supplier to complete required information in the following tabs:
Schedule B
Fee
| 2 | Supplier to complete and submit this schedule (any supporting information as required) in accordance with the requirements set out in the Instructions for Tenderers.
| 3 | Tenderers should build up from first principle individual rates and lump sums using the detailed resource schedule Lump Sum Resource Schedule - table 9.6 and Schedule of Rate Resource Schedule - table 9.7 or their estimating software. Where estimating software is used it must follow the requirements and include the same level of detail as identified in Table 9.6 and Table 9.7. The lump sums / rates from the Resource Schedules should be used to price Schedule A, Schedule B and Schedule C. The lump sums / rates entered in the Schedules A, Schedule B and Schedule C must factually correspond with the respective buildup in Tables 9.6 and 9.7.
Schedule B | 1 | Complete cells in this colour (colour as in Cell D10 of this worksheet) and unlocked cells only, please do not leave any cells blank, enter a value or 0 (Zero) or information as applicable.
| 2 | Please do not attempt to type in the locked cells
| 3 | Please do not attempt to unlock the worksheet or workbook
| 4 | For all items please complete the output column with the quantity relevant to the unit of measure in column G. e.g. 2,000 m2 ( unit in column G) per shift, or 10 no ( unit in column G) per hour, 50 m3 per hour.
| 5 | The full form of the abbreviations used in column G are as below: no = number, m = linear metre, km = kilometre, m2 = metres square, m3 = metres cube.
Fee | 1 | Enter a percentage in relevant cells as applicable (The fee percentages are to cover for all costs for which there are no cost components in the schedule of cost components.)
| 2 | For non-relevant cells please enter 0 (Zero)
| 3 | Complete cells in this colour only ( as in Cell D19 of this worksheet), please do not leave any cells blank, enter a value or 0 (Zero)
| 4 | Please do not attempt to type in the locked cells
| 5 | Please do not attempt to unlock the worksheet or workbook

## Schedule - B
Maintenance and Response Contract
Scope reference | Schedule Reference Number |  | Services Provided |  |  | Price List Schedule B
|  |  | Asset Type | Sub Asset Type | Item | Unit | Rate | Output (Unit per shift / hour) | People £ | People £ | People £ | Equipment £ | Plant & Materials £ |  | Charges £ | Credit £ | Fee £
[9 empty] | Staff (Office) | Staff(Site) | Labour |  | Plant £ | Materials £
| 4 |  | Deliver Maintenance Solutions (Cyclic Activities)
18.3.1 | 4.2 |  | 400 - Road Restraint System | Road restraint system, and all barrier systems (excluding concrete barriers)
|  | 4.2.1 |  |  | Check all Road Restraint System | m | Enter value from column J to column Q | [9 empty] | 0
|  | 4.2.2 |  | Tighten or replace screws and bolts and re-tension Road Restraint System requiring re-tensioning.
|  | 4.2.2.1 |  |  | RRS - Tensioned Corrugated Beam (includes barrier length, transitions and Terminals) | m | Enter value from column J to column Q | [9 empty] | 0
|  | 4.2.2.2 |  |  | RRS - Wire Rope Safety Barrier (includes barrier length, transitions and Terminals) | m | Enter value from column J to column Q | [9 empty] | 0
|  | 4.2.3 |  | Arrester beds | Treatment of weeds, remove scattered aggregate from carriageway and reprofile gravel bed | m2 | Enter value from column J to column Q | [9 empty] | 0
18.4.1 | 4.3 |  | 0500 - Drainage and Service Ducts | Drainage
|  | 4.3.1 | 500 - Drainage and Service Ducts | Gullies
|  | 4.3.1.1 |  |  | Gully Emptying, including clearing aprons, covers and obstructions | no | Enter value from column J to column Q | [9 empty] | 0
|  | 4.3.1.2 |  |  | Clear gully aprons, covers and obstructions | no | Enter value from column J to column Q | [9 empty] | 0
|  | 4.3.2 | 500 - Drainage and Service Ducts | Linear drainage systems
|  | 4.3.2.1 |  |  | Clearing, rodding, low pressure / high volume jetting and proving Combined Kerb and Drainage System | m | Enter value from column J to column Q | [9 empty] | 0
|  | 4.3.2.2 |  |  | Clearing, rodding, jetting and proving Linear Drainage Channels (slot drains) | m | Enter value from column J to column Q | [9 empty] | 0
|  | 4.3.2.3 |  |  | Remove debris, obstructions and sweep formed concrete drainage channel (concrete 'V' channel) | m | Enter value from column J to column Q | [9 empty] | 0
|  | 4.3.3 | 500 - Drainage and Service Ducts | Grips and counterfort drains
|  | 4.3.3.1 |  |  | Clear weed/vegetation growth and debris, clear, recut drainage Grip inlet and non piped drainage Grip | no. | Enter value from column J to column Q | [9 empty] | 0
|  | 4.3.3.2 |  |  | Clear weed/vegetation growth and debris clearing, rodding, jetting and proving of drainage Grip inlet and piped drainage Grip | no. | Enter value from column J to column Q | [9 empty] | 0
|  | 4.3.3.3 |  |  | Clear weed/vegetation growth and debris, clear, recut Counterfort drains | no. | Enter value from column J to column Q | [9 empty] | 0
|  | 4.3.4 | 500 - Drainage and Service Ducts | Catch Pits | Clear weed / vegetation growth around frames, clear, empty silt and debris from Catch Pits | no. | Enter value from column J to column Q | [9 empty] | 0
|  | 4.3.5 | 500 - Drainage and Service Ducts | Ditches | Clear ditches by removing all material that could impair operation (weed / vegetation growth, silt, debris/rubbish, or eroded banks where present that impede flow and impair operation) | m | Enter value from column J to column Q | [9 empty] | 0
|  | 4.3.6 | 500 - Drainage and Service Ducts | Outfalls, including infiltration tanks/stilling basins and/or settlement ponds | Clear outfalls by removing all material that could impair operation (Headwalls, Pipe outfall) | no. | Enter value from column J to column Q | [9 empty] | 0
|  | 4.3.7 | 500 - Drainage and Service Ducts | Interceptors | Clear weed / vegetation growth, around frames, clear, empty trapped material from Interceptors | no. | Enter value from column J to column Q | [9 empty] | 0
|  | 4.3.8 | 500 - Drainage and Service Ducts | Manholes | Clear manholes by removing all material that could impair operation (overgrown vegetation / weed, silt, debris / rubbish) | no. | Enter value from column J to column Q | [9 empty] | 0
|  | 4.3.9 | 500 - Drainage and Service Ducts | Culverts | De-silt and remove all material that could impair operation (silt, weed / vegetation growth, debris / rubbish, eroded bank material restricting the free flow of water through the culvert) | no. | Enter value from column J to column Q | [9 empty] | 0
|  | 4.3.10 | NOT USED
|  | 4.3.11 | 500 - Drainage and Service Ducts | Filter drains
|  | 4.3.11.1 |  |  | Edge scrape, clear weed / vegetation growth, cut back to remove build up of material from edge of carriage way through to filter material (Filter Drain and Combined carrier and Filter drain) that could impair operation | m | Enter value from column J to column Q | [9 empty] | 0
|  | 4.3.11.2 |  |  | Weed spray along Filter Drain and Combined carrier and Filter drain | m | Enter value from column J to column Q | [9 empty] | 0
|  | 4.3.12 | 500 - Drainage and Service Ducts | Balancing / attenuation ponds | Cycle isolation valves | no. | Enter value from column J to column Q | [9 empty] | 0
|  | 4.3.13 | 500 - Drainage and Service Ducts | Ancillary items (PCDs, siphons, trash screens, penstocks) | Clear all material that could impair operation and ensure fit for operation | no. | Enter value from column J to column Q | [9 empty] | 0
|  | 4.3.14 | 500 - Drainage and Service Ducts | Swales
|  | 4.3.14.1 |  |  | Clear weed / vegetation growth, remove any litter, debris and sediment that could impair operation | m2 | Enter value from column J to column Q | [9 empty] | 0
|  | 4.3.14.2 |  |  | Undertake a grass cut of the swale to maintain the grass sward between 100mm and 200mm in height | m2 | Enter value from column J to column Q | [9 empty] | 0
|  | 4.3.15 | 500 - Drainage and Service Ducts | Basins
|  | 4.3.15.1 |  |  | Clear weed / vegetation growth, remove any litter, debris and sediment that could impair operation | m2 | Enter value from column J to column Q | [9 empty] | 0
|  | 4.3.15.2 |  |  | Undertake a grass cut of the grassed areas of the basin to maintain the grass sward between 100mm and 200mm in height | m2 | Enter value from column J to column Q | [9 empty] | 0
|  | 4.3.16 | 500 - Drainage and Service Ducts | Grassed surface water channel
|  | 4.3.16.1 |  |  | Undertake a grass cut of all areas of the grassed surface water drainage system to maintain the grass sward at a maximum of 75mm in height | m2 | Enter value from column J to column Q | [9 empty] | 0
|  | 4.3.16.2 |  |  | Clear weed / vegetation growth, remove any litter, debris and sediment that could impair operation prior to grass cutting | m2 | Enter value from column J to column Q | [9 empty] | 0
|  | 4.3.17 | 500 - Drainage and Service Ducts | Reservoir pavements for drainage attenuation (with pervious surface) | Cleaning (high pressure rotating water jets and powerful suction to recover disturbed silt) reservoir pavements for drainage attenuation (with pervious surface) | m2 | Enter value from column J to column Q | [9 empty] | 0
|  | 4.3.18 | 500 - Drainage and Service Ducts | Wetlands for drainage purposes (Wetlands for habitat are covered in Asset type 3000) | Remove accumulated silt in wetlands (drainage purposes) that could impair operation | m2 | Enter value from column J to column Q | [9 empty] | 0
18.7.1 | 4.4 |  | 1200 - Traffic Signs and Road Markings
|  | 4.4.1 | 1200 - Traffic Signs and Road Markings | Traffic Signs
|  | 4.4.1.1 |  |  | Clean all traffic sign faces and reference numbers areas less than 5m2 | no. | Enter value from column J to column Q | [9 empty] | 0
|  | 4.4.1.2 |  |  | Clean all traffic sign faces and reference numbers areas greater than or equal to 5m2 | no. | Enter value from column J to column Q | [9 empty] | 0
|  | 4.4.1.3 |  |  | Clean all traffic sign faces and reference numbers of all Gantry Signs | no. | Enter value from column J to column Q | [9 empty] | 0
|  | 4.4.2 | 1200 - Traffic Signs and Road Markings | Marker Posts | Clean all marker post faces and reference numbers | no. | Enter value from column J to column Q | [9 empty] | 0
|  | 4.4.3 | 1200 - Traffic Signs and Road Markings | Bollards | Clean all illuminated and non illuminated(retroflective) bollards | no. | Enter value from column J to column Q | [9 empty] | 0
18.8.1 | 4.5 |  | 1300 - Lighting | Lighting
|  | 4.5.1 | 1300 - Lighting | SWITCHED Lamps (PL-L, PL-S, SOX) | Bulk lamp clean and change | no. | Enter value from column J to column Q | [9 empty] | 0
|  | 4.5.2 | 1300 - Lighting | UNSWITCHED Lamps (PL-L, PL-S, SOX) | Bulk lamp clean and change | no. | Enter value from column J to column Q | [9 empty] | 0
|  | 4.5.3 | 1300 - Lighting | SWITCHED lamps (CDM-T, CDO, SON/T, CPO, MCF/U, MBF/U) | Bulk lamp clean and change | no. | Enter value from column J to column Q | [9 empty] | 0
|  | 4.5.4 | 1300 - Lighting | Unswitched Lamps (CDM-T, CDO, SON/T, CPO, MCF/U, MBF/U) | Bulk lamp clean and change | no. | Enter value from column J to column Q | [9 empty] | 0
|  | 4.5.5 | 1300 - Lighting | SWITCHED lamps (GLS) | Bulk lamp clean and change | no. | Enter value from column J to column Q | [9 empty] | 0
|  | 4.5.6 | 1300 - Lighting | UNSWITCHED lamps (GLS) | Bulk lamp clean and change | no. | Enter value from column J to column Q | [9 empty] | 0
|  | 4.5.7 | 1300 - Lighting | LED for road lighting | Bulk clean | no. | Enter value from column J to column Q | [9 empty] | 0
|  | 4.5.8 | 1300 - Lighting | LED for illuminated signs and bollards | Clean translucent surfaces | no. | Enter value from column J to column Q | [9 empty] | 0
|  | 4.5.9 | 1300 - Lighting | Network cabling and electrical components including feeder pillars | Electrical testing | no. | Enter value from column J to column Q | [9 empty] | 0
|  | 4.5.10 | 1300 - Lighting | Lighting columns (<20m in height) | Structural testing from 15 years old | no. | Enter value from column J to column Q | [9 empty] | 0
18.9.2 | 4.6 |  | 1500 - Roadside technology
|  | 4.6.1 | 1500 - Roadside technology | CCTV HSM cameras, including but not limited to camera housing and associated cabling
|  | 4.6.1.1 |  |  | Re-fill washer fluid bottles in Hard Shoulder camera cabinet and clean camera housing front screen using wash/wipe system | no. | Enter value from column J to column Q | [9 empty] | 0
|  | 4.6.1.2 |  |  | Manual clean camera housing front screen if wash/wipe system is not installed | no. | Enter value from column J to column Q | [9 empty] | 0
|  | 4.6.2 | 1500 - Roadside technology | CCTV mast ancillary equipment, Including but not limited to associated cabling, winch systems, pan/tilt/zoom mechanisms and mountings associated with ANPR cameras and CCTV (PTZ and fixed AID) cameras
|  | 4.6.2.1 |  |  | Inspection of mast ropes and winch mechanism and the condition thereof | no. | Enter value from column J to column Q | [9 empty] | 0
|  | 4.6.2.2 |  |  | Greasing of winch assembly to manufacturers recommendations | no. | Enter value from column J to column Q | [9 empty] | 0
|  | 4.6.2.3 |  |  | Check mast breaking system | no. | Enter value from column J to column Q | [9 empty] | 0
|  | 4.6.3 | 1500 - Roadside technology | APTR Telephones | Clean telephone internally and externally | no. | Enter value from column J to column Q | [9 empty] | 0
|  | 4.6.4 | 1500 - Roadside technology | Emergency Roadside Telephone (ERT) | Clean telephone internally and externally | no. | Enter value from column J to column Q | [9 empty] | 0
|  | 4.6.5 | 1500 - Roadside technology | Environmental Sensor Stations (ESS) | Test and calibrate sites pre-winter season and mid-winter season | no. | Enter value from column J to column Q | [9 empty] | 0
|  | 4.6.6 | 1500 - Roadside technology | Meteorological sites | Clean fog sensors | no. | Enter value from column J to column Q | [9 empty] | 0
|  | 4.6.7 | 1500 - Roadside technology | Fixed Text Message Signs | Check, clean and grease motor assemblies | no. | Enter value from column J to column Q | [9 empty] | 0
|  | 4.6.8 | 1500 - Roadside technology | Remotely Operated Temporary Traffic Management Signs
|  | 4.6.8.1 |  |  | Change Batteries | no. | Enter value from column J to column Q | [9 empty] | 0
|  | 4.6.8.2 |  |  | Inspect and clean battery connectors | no. | Enter value from column J to column Q | [9 empty] | 0
|  | 4.6.8.3 |  |  | Clean sign face | no. | Enter value from column J to column Q | [9 empty] | 0
|  | 4.6.9 | 1500 - Roadside technology | Midas outstations and detectors | Optimisation of MIDAS detectors (loops and radar) in accordance with MCH 2584 [Ref 11.N] | no. | Enter value from column J to column Q | [9 empty] | 0
|  | 4.6.10 | 1500 - Roadside technology | Road Traffic Signals (RAG)
|  | 4.6.10.1 |  |  | Check alignment and condition of site and operation of any rotating tactile devices | no. | Enter value from column J to column Q | [9 empty] | 0
|  | 4.6.10.2 |  |  | Inspection and test in accordance with TD 101 [Ref 43.N] | no. | Enter value from column J to column Q | [9 empty] | 0
|  | 4.6.11 | 1500 - Roadside technology | Ramp Metering Traffic Light Signals | Check alignment and condition of site | no. | Enter value from column J to column Q | [9 empty] | 0
|  | 4.6.12 | 1500 - Roadside technology | Electrical supplies, components and distribution cables
|  | 4.6.12.1 |  |  | Inspection and Test network in accordance with BS7671 | no. | Enter value from column J to column Q | [9 empty] | 0
|  | 4.6.12.2 |  |  | RCD operation and visual inspection of cable terminations | no. | Enter value from column J to column Q | [9 empty] | 0
|  | 4.6.13 | 1500 - Roadside technology | CCTV PTZ cameras
|  | 4.6.13.1 |  |  | Clean camera lens | no. | Enter value from column J to column Q | [9 empty] | 0
|  | 4.6.13.2 |  |  | Check camera functionality | no. | Enter value from column J to column Q | [9 empty] | 0
|  | 4.6.13.3 |  |  | Check data and power supply cables | no. | Enter value from column J to column Q | [9 empty] | 0
18.11.1 | 4.7 |  | 2200 - Tunnels
|  | 4.7.1 | 2200 - Tunnels | Tunnel surfaces | Remove toxic, corrosive and flammable deposits and maintain light reflectance | m2 | Enter value from column J to column Q | [9 empty] | 0
|  | 4.7.2 | 2200 - Tunnels | Electrical components | Electrical testing | no. | Enter value from column J to column Q | [9 empty] | 0
|  | 4.7.3 | 2200 - Tunnels | PTZ Cameras
|  | 4.7.3.1 |  |  | Clean camera lens | no. | Enter value from column J to column Q | [9 empty] | 0
|  | 4.7.3.2 |  |  | Check camera functionality | no. | Enter value from column J to column Q | [9 empty] | 0
|  | 4.7.3.3 |  |  | Check data and power supply cables | no. | Enter value from column J to column Q | [9 empty] | 0
18.12.1 | 4.8 |  | 3000 - Landscape and ecology
|  | 4.8.1 | 3000 - Landscape and ecology | Hedgerows (General) | Trim hedgerows, maintain and preserve clear carriageway width, sight lines and stopping distance, including junctions, access points, curves and bends | m | Enter value from column J to column Q | [9 empty] | 0
|  | 4.8.2 | 3000 - Landscape and ecology | Woodland | Thin/ coppice | m2 | Enter value from column J to column Q | [9 empty] | 0
|  | 4.8.3 | 3000 - Landscape and ecology | Grass and vegetation
|  | 4.8.3.1 |  |  | Maintain and preserve sight lines and stopping distance, including junctions, access points, curves, bends and central reserve. | m2 | Enter value from column J to column Q | [9 empty] | 0
|  | 4.8.3.2 |  |  | Maintain and preserve CCTV camera operational visibility splays | no. | Enter value from column J to column Q | [9 empty] | 0
|  | 4.8.3.3 |  |  | Maintain and preserve road users visibility of road traffic signs and signals | no. | Enter value from column J to column Q | [9 empty] | 0
|  | 4.8.4 | 3000 - Landscape and ecology | Grass and vegetation
|  | 4.8.4.1 |  |  | Ensure illumination / lumination from lighting is not obscured. | no. | Enter value from column J to column Q | [9 empty] | 0
|  | 4.8.4.2 |  |  | Remove obstructions and / or maintain vegetation to facilitate safe access for inspection and maintenance of feeder pillars and technology equipment | no. | Enter value from column J to column Q | [9 empty] | 0
|  | 4.8.4.3 |  |  | Remove obstructions and maintain vegetation to provide safe access to an use of footways, cycle tracks, bridleways, footpaths and paved pedestrian areas | m2 | Enter value from column J to column Q | [9 empty] | 0
|  | 4.8.5 | 3000 - Landscape and ecology | Grass and vegetation
|  | 4.8.5.1 |  |  | Undertake amenity cut of amenity grass areas, including gate way features, village verges and special landscape features | m2 | Enter value from column J to column Q | [9 empty] | 0
|  | 4.8.5.2 |  |  | Undertake 2m wide swathe cut of all highway verges to ensure strip remains unobstructed by vegetation throughout the year (in addition to visibility splay maintenance) | m | Enter value from column J to column Q | [9 empty] | 0
|  | 4.8.5.3 |  |  | Grass cut the central reserve | m2 | Enter value from column J to column Q | [9 empty] | 0
|  | 4.8.6 | 3000 - Landscape and ecology | Grass and vegetation
|  | 4.8.6.1 |  |  | Remove obstructions and/or maintain vegetation to facilitate safe use of customer facilities. This includes but not limited to emergency roadside telephones and emergency refuge areas. | no. | Enter value from column J to column Q | [9 empty] | 0
|  | 4.8.6.2 |  |  | Remove vegetation affecting the stability, integrity or operation of structures or other affected property assets. | no. | Enter value from column J to column Q | [9 empty] | 0
|  | 4.8.7 | 3000 - Landscape and ecology | Injurious weeds | Maintain affected property to control the spread or increase of identified instances of injurious weeds | m2 | Enter value from column J to column Q | [9 empty] | 0
|  | 4.8.8 | 3000 - Landscape and ecology | Invasive plant species | Maintain affected property to control the spread or increase of identified instances of invasive plant species | m2 | Enter value from column J to column Q | [9 empty] | 0
|  | 4.8.9 | 3000 - Landscape and ecology | Grassland (Open Grassland) | Maintain habitat integrity, including removal of scrub encroachment | m2 | Enter value from column J to column Q | [9 empty] | 0
|  | 4.8.10 | 3000 - Landscape and ecology | Heath and moorland | Maintain habitat integrity, including removal of scrub encroachment and tree saplings throughout | m2 | Enter value from column J to column Q | [9 empty] | 0
|  | 4.8.11 | 3000 - Landscape and ecology | Conservation grassland / wildflower grassland | Maintain habitat integrity, including removal of scrub encroachment and undesirable weed species | m2 | Enter value from column J to column Q | [9 empty] | 0
|  | 4.8.12 | 3000 - Landscape and ecology | Rock scree | Removal of scrub encroachment | m2 | Enter value from column J to column Q | [9 empty] | 0
|  | 4.8.13 | 3000 - Landscape and ecology | Shrubs (General) | Maintain habitat integrity, including removal of scrub encroachment | m2 | Enter value from column J to column Q | [9 empty] | 0
|  | 4.8.14 | 3000 - Landscape and ecology | Shrubs (Ornamental) | Maintain design requirements / amenity function | m2 | Enter value from column J to column Q | [9 empty] | 0
|  | 4.8.15 | 3000 - Landscape and ecology | Woodlands and trees, including veteran trees | Maintain habitat integrity, including removal of scrub encroachment | m2 | Enter value from column J to column Q | [9 empty] | 0
|  | 4.8.16 | 3000 - Landscape and ecology | Hedgerows (Habitat) | Maintain habitat integrity, including removal of undesirable species | m2 | Enter value from column J to column Q | [9 empty] | 0
|  | 4.8.17 | 3000 - Landscape and ecology | Wildlife structures and tunnels | Remove all material that could impair operation | no | Enter value from column J to column Q | [9 empty] | 0
18.14.1 | 4.9 |  | 4000 - Sweeping and Cleaning | Sweeping and Cleaning
|  | 4.9.1 |  | Running lanes | Full sweep | m2 | Enter value from column J to column Q | [9 empty] | 0
|  | 4.9.2 |  | Paved non-running areas | Full sweep | m2 | Enter value from column J to column Q | [9 empty] | 0
|  | 4.9.3 |  | Carriageway, paved verges and paved central reservations of motorways and APTRs | Litter pick to maintain to grade A | m2 | Enter value from column J to column Q | [9 empty] | 0
|  | 4.9.4 |  | Motorway and APTR roundabouts and lay-bys, approach and slip roads | Litter pick to maintain to grade A | m2 | Enter value from column J to column Q | [9 empty] | 0
|  | 4.9.5 |  | Verges, non-paved central reservations and amenity grass areas, including gate way features, village verges and special landscape features | Litter pick to maintain to grade A | m2 | Enter value from column J to column Q | [9 empty] | 0
|  | 4.9.6 |  | All other parts of the Affected Property (non-paved, excluding amenity areas) | Litter pick to maintain to grade B | m2 | Enter value from column J to column Q | [9 empty] | 0
|  | 4.9.7 |  | Amenity areas | Litter pick to maintain to grade A | m2 | Enter value from column J to column Q | [9 empty] | 0
|  | 4.9.8 |  | Toilet blocks | Clean and maintain toilet blocks | no. | Enter value from column J to column Q | [9 empty] | 0

## Fee
Fee Percentage buildup
Item | Constituent of Fee | Fee Percentage
1 | Profit
2 | Franchises, Royalties, Licences
3 | Accounting, Auditing and Payroll, Business Development, Procurement and other support services( ex:, general and head office management and administration)
4 | Research and Development
5 | Publicity, Marketing, Sales, Exhibitions
6 | Entertainment
7 | Rents, Rates, Leases, Services and Servicing of Premises, Stationery, Telephones, Telex, FAX, Postage charges
8 | IT / Computing
9 | Asset Depreciation
10 | Insurance Premiums
11 | The amount of any excess borne by the Contractor in respect of any claims under Employer’s Liability and Professional Indemnity Insurances
12 | Finance and Interest Charges
13 | Severance
14 | Bonuses & Incentives
15 | Personnel / HR Services
16 | Quality Assurance
17 | Health and Safety
18 | Training
19 | Supply Chain
20 | Legal Costs
21 | Environmental and Sustainability
22 | Management and non-chargeable Directors
23 | Adjustment for non-recoverable hours - (An adjustment for non-recoverable hours provides for the Tenderer to make adjustment for staff who are forecast to bill less than that total working hours per annum.)
24 | Other non-recoverable costs - (Other non-recoverable costs - these should include any costs that the Tenderer will incur that are not included in the Overheads Build Up)
25 | Other - Total (please use rows below to specify others(if any) that are not covered above) | 0%
i
ii
iii
iv
v
vi
vii
viii
ix
x
Total Fee % (The fee in cell C38 is applied to all works; the fees in cell C38 should be the same as the fees in Schedule A and Schedule C) |  | 0%