## Sheet1
APPENDIX A - Schedule of Equipment and Services
Part No | Description | Qty | Current Service support SLA
HP Core
JG782A | HP FF 12508E AC Switch Chassis | 2 | 24x7 care pack for the HP12500 core and H5900 service switches – Support Plus 24
JF429A | HP 12500 2000W AC Power Supply | 12 | Telephone support covering troubleshooting, configuration guidance and usage assistance.
JC665A | HP X421 Chassis Universal Rck Mntg Kit | 2 | SLA remote response of 2 hours
JG802A | HP FF 12500E MPU | 4 | 4 hour response to site with hardware support if HP are unable to resolve remotely.
JG798A | HP FF 12508E Fabric Mod | 16 | 24/7 call triage through Freedom and Escalation Support
JG792A | HP FF 12500 40p 1/10GbE SFP+ FD Mod | 4 | The HP5500 Edge Switches are on lifetime warranty only, which is a standard offering by default on the hardware. (In simple terms if it breaks you can send back to HP for a replacement though this includes no configuration/application or resource based support.) This will also cover software updates.
JD092B | HP X130 10G SFP+ LC SR Transceiver | 62
JD094B | HP X130 10G SFP+ LC LR Transceiver | 34
HP IMC Software
JG747AAE | HP IMC Std SW Plat w/ 50 Nodes E-LTU | 1 | 24x7 care pack for the Network Software Support
JG749AAE | HP IMC Std and Ent Add 50-node E-LTU | 3 | Telephone support covering software troubleshooting
JG750AAE | HP IMC NTA SW Mod w/ 5-node E-LTU | 1 | SLA remote response of 2 hours
| Server switches (top of rack) |  | see above (HP Core support section)
JG510A | HP 5900AF-48G-4XG-2QSFP+ Switch | 12
JC680A | HP 58x0AF 650W AC Power Supply | 24
JC683A | HP 58x0AF Frt(ports)-Bck(pwr) Fan Tray | 24
| HP switches - other |  | see above (HP Core support section)
JE066A | HP 5120-24G EI Switch | 10
JE067A | HP 5120-48G EI Switch | 9
| HP Edge switches |  | see above (HP Core support section)
JD375A | HP 5500-48G EI Switch | 27
JD368B | HP 5500/5120 2-port 10GbE SFP+ Module | 11
JD094B | HP X130 10G SFP+ LC LR Transceiver | 16
JD360B | HP 5500 2-port 10GbE Local Connect Module | 8
JD377A | HP 5500-24G EI Switch | 24
JG241A | HP 5500-24G-PoE+ EI Switch with 2 Intferace Slots | 17
JD368B | HP 5500/5120 2-port 10GbE SFP+ Module | 12
JD094B | HP X130 10G SFP+ LC LR Transceiver | 22
JD360B | HP 5500 2-port 10GbE Local Connect Module | 2
JD368B | HP 5500/5120 2-port 10GbE SFP+ Module | 14
JD094B | HP X130 10G SFP+ LC LR Transceiver | 17
JD360B | HP 5500 2-port 10GbE Local Connect Module | 22
JD368B | HP 5500/5120 2-port 10GbE SFP+ Module | 15
JD094B | HP X130 10G SFP+ LC LR Transceiver | 21
JD360B | HP 5500 2-port 10GbE Local Connect Module | 5
JG240A | HP 5500-48G-PoE+ EI Switch | 17 | Enterprise Break-Fix / maintenance- NBD onsite fix
| Fortinet |  | FortiCare 24x7 Comprehensive Support Standard - Essentially this is a 24x7 telephone support service direct with Fortinet - 1 hour response from technical teams
FG800C | Fortinet FG-800C | 2 | This includes advanced exchange hardware replacement (RMA) – Next Business Day for parts.
FG3700D | Fortinet FG-3700D | 2 | Doesn’t include configuration/application on site support in a failure
FAZ-200B-025 | Fortinet Analyser | 1 | None of the additional options have been scoped.
F5
F5-BIG-ADC-4000S-AS*4 | BIG-IP 4000s Application Delivery Controller Application Security (16 GB Memory, Local Traffic Manager, Application Security Manager, Max SSL, Max Compression) | 4 | F5 Standard support for BIG-IP (10x5 M–F, 8am–6pm).
F5-BIG-ADC-4000S-AS*4 | BIG-IP 4000s ApplicationDelivery Controller Application Security (16 GB Memory,Local Traffic Manager, Application Security Manager, Max SSL, Max Compression) | 4 | Next-Business-Day Hardware Replacement Service (RMA) for BIG-IP.
F5-ADD-BIG-AM-4000 | BIG-IP Application Acceleration Manager Module for 4200v/4000s | 2 | F5 Standard support for BIG-IP (10x5 M–F, 8am–6pm).
Checkpoint
CPAP-SG12200-Tradein | 12200 Next Generation Firewall Appliance (includes 1 year IPS HA licence) and 8GB memory | 2 | Collaborative Enterprise Support Standard & 24x7 Support 4-2-0.5 Response (Premium) - Essentially a 30 minute response on Critical incidents, 2 hour on severity 2, and 4 hours for all regular calls. Access to major releases, upgrades and hot-fixes. This includes advanced exchange hardware replacement (RMA) in the event of a failure
B4F46V2 | Forcepoint V5000 G4 Appliance | 1 | Forcepoint essential support. Next business day.
ASA firewall
ASA5540-BUN-K9 - S/N - JMX1228L1N4 | ASA5540 Appliance W/SW | 2 | 24 x 7 x 4 Engineer and Part
ASA5540-K8 - S/N - JMX1435L0YX | ASA5540 Appliance with SW, HA, 4GE+1FE, DES | 2 | 25 x 7 x 4 Engineer and Part
Juniper
0242062010000034, 0242012011000007 | Juniper SA5000FIPS | 2 | Juniper J-Care support - 24 x 7 x 365 software support
DRI LAN - Cisco
3750 | Cisco 3750 switch | 6 | the 3750s are supported with our on-site spares
N55-M160L3 | Cisco Nexus switch | 1 | Cisco Smartnet 5 x years - Nov 2012 to 2017
N2K-C2232-TM-10GE | Cisco Nexus fabric extender | 2 | Mon - Fri 08:00 to 17:00 NBD replacement parts with on-site engineer.
ASA 5585-X | Cisco ASA Firewall with SSP 40 | 1 | Software support, patches and upgrades
Web Switches - Cisco
SAL15077BTU | Catalyst Chass+FanTray+Sup720-10G; IP BaseONLY l. VSS | 1 | 24 x 7 x 4 Engineer and Part
| Cisco CAT6000-VSS720 IOS IP BASE SSH LAN ONLY | 1
| Bootflash for SUP720-64MB-RP | 1
| Catalyst 6500 Compact Flash Memory 1GB | 1
SNI1447BM5D | 4000W AC PowerSupply, International (cable included) | 1
SNI1447BM6K | 4000W AC PowerSupply, International (cable included) | 1
SAL150672SG | Catalyst 6500 Supervisor 720 with 2 10GbE ports | 1
SAL1442WYS7 | SP adapter for SUP720 and SUP720-10G | 1
DCH1502004H | Catalyst 6506-E Chassis Fan Tray | 1
| Catalyst 6000 Blank Line Card Slot Cover | 5
SAL150567K8 | Catalyst 6500 Multilayer Switch Feature Card (MSFC) III | 1
SAL150774JV | Catalyst 6500 Sup 720-10G Policy Feature Card 3C | 1
SAL15077BX6 | Catalyst Chass+FanTray+Sup720-10G; IP BaseONLY l. VSS | 1 | 24 x 7 x 4 Engineer and Part
| Cisco CAT6000-VSS720 IOS IP BASE SSH LAN ONLY | 1
| Bootflash for SUP720-64MB-RP | 1
| Catalyst 6500 Compact Flash Memory 1GB | 1
SNI1447BM5J | 4000W AC PowerSupply, International (cable luded) | 1
SNI1443BMC5 | 4000W AC PowerSupply, International (cable luded) | 1
SAL15077ARP | Catalyst 6500 Supervisor 720 with 2 10GbE ports | 1
SAL1442WYH9 | SP adapter for SUP720 and SUP720-10G | 1
DCH1502007M | Catalyst 6506-E Chassis Fan Tray | 1
| Catalyst 6000 Blank Line Card Slot Cover | 5
SAL15013ZXB | Catalyst 6500 Multilayer Switch Feature Card (MSFC) III | 1
SAL15045FZZ | Catalyst 6500 Sup 720-10G Policy Feature Card 3C | 1
SAL15045J13 | Cat6500 48-port 10/100/1000 GE Mod: fabric enabled, RJ-45 | 1 | 24 x 7 x 4 Engineer and Part
| Catalyst 6500 256MB DDR, xCEF720 (67xx interface, DFC3A) | 1
SAL15034ZMX | Catalyst 6500 Central Fwd Card for WS-X67xx modules | 1
SAL15045J0J | Cat6500 48-port 10/100/1000 GE Mod: fabric enabled, RJ-45 | 1
| Catalyst 6500 256MB DDR, xCEF720 (67xx interface, DFC3A) | 1
SAL1317NUQ5 | Catalyst 6500 Central Fwd Card for WS-X67xx modules | 1
WS-C3750X-24T-S C3KX-NM-10G MM SFP+ SFP-10G-SR SM SFP+ SFP-10G-LR | 3750 48-port switch, including 1 x 10G module C3KX-NM-10G, 1 x MM SFP+ SFP-10G-SR and 1 x SM SFP+ SFP-10G-LR | 10 | 24 x 7 x 4 Engineer and Part
WS-C3750X-24T-S C3KX-NM-10G MM SFP+ SFP-10G-SR SM SFP+ SFP-10G-LR | 3750 24-port switch, including 1 x 10G module C3KX-NM-10G, 1 x MM SFP+ SFP-10G-SR and 1 x SM SFP+ SFP-10G-LR | 2 | 24 x 7 x 4 Engineer and Part
Wireless Controllers (x 2) There are approximately 76 Wireless Access Points that are connected to these controllers. They are not covered by a support contract, but any failed devices are replaced by on-site spares owned by TNA.
AIR-CT5508-50-K9 | 5508 Series Controller for up to 150 APs | 1 | 24 x 7 x 4 Engineer and Part
AIR-PWR-CORD-UK | AIR Line Cord United Kingdom | 1
SWLC4400K9-32-ER | Cisco Unified WLAN Controller Emergency SW Release 3.2 | 1
SWLC4400K9-32 | Cisco Unified WLAN Controller SW Release 3.2 - MD | 1
AIR-CT5508-50-K9 | 5508 Series Controller for up to 150 APs | 1 | 24 x 7 x 4 Engineer and Part
AIR-PWR-CORD-UK | AIR Line Cord United Kingdom | 1
SWC5500K9-60 | Cisco Unified Wireless Controller SW Release 6.0 | 1
LIC-CT5508-50 | 50 AP Base license | 1
LIC-CT5508-BASE | Base Software License | 1

## serial Nos
Serial Number | Description | SubType
F5-qpwg-eiur | F5-BIG-ADC-4000S | Load Balancer
F5-vwkb-yukq | F5-BIG-ADC-4000S | Load Balancer
F5-jjsy-omku | F5-BIG-ADC-4000S + AAM | Load Balancer
F5-yxfw-feog | F5-BIG-ADC-4000S + AAM | Load Balancer
FL-2KB3R14600049 | FAZ-2000B | Analyser
FGT37D4614800089 | FG-3700D | Firewall
FGT37D4614800097 | FG-3700D | Firewall
FG800C3914800639 | FG-800C | Firewall
FG800C3914800838 | FG-800C | Firewall
CN47F6423Y | JC680A - HP58x0AF 650W PSU | Switch
CN47F6423Z | JC680A - HP58x0AF 650W PSU | Switch
CN47F64242 | JC680A - HP58x0AF 650W PSU | Switch
CN47F64272 | JC680A - HP58x0AF 650W PSU | Switch
CN47F6427B | JC680A - HP58x0AF 650W PSU | Switch
CN47F64280 | JC680A - HP58x0AF 650W PSU | Switch
CN47F64284 | JC680A - HP58x0AF 650W PSU | Switch
CN47F64287 | JC680A - HP58x0AF 650W PSU | Switch
CN47F64288 | JC680A - HP58x0AF 650W PSU | Switch
CN47F64289 | JC680A - HP58x0AF 650W PSU | Switch
CN47F6428B | JC680A - HP58x0AF 650W PSU | Switch
CN47F6428C | JC680A - HP58x0AF 650W PSU | Switch
CN47F6428H | JC680A - HP58x0AF 650W PSU | Switch
CN47F6428L | JC680A - HP58x0AF 650W PSU | Switch
CN47F6428M | JC680A - HP58x0AF 650W PSU | Switch
CN47F6428P | JC680A - HP58x0AF 650W PSU | Switch
CN47F6428T | JC680A - HP58x0AF 650W PSU | Switch
CN47F6428V | JC680A - HP58x0AF 650W PSU | Switch
CN47F6428X | JC680A - HP58x0AF 650W PSU | Switch
CN47F642VD | JC680A - HP58x0AF 650W PSU | Switch
CN47FDF1DM | JC683A - HP58x0AF Fan Tray | Switch
CN47FDF1DR | JC683A - HP58x0AF Fan Tray | Switch
CN47FDF1F5 | JC683A - HP58x0AF Fan Tray | Switch
CN47FDF1F9 | JC683A - HP58x0AF Fan Tray | Switch
CN47FDF1FK | JC683A - HP58x0AF Fan Tray | Switch
CN47FDF1G1 | JC683A - HP58x0AF Fan Tray | Switch
CN47FDF1G6 | JC683A - HP58x0AF Fan Tray | Switch
CN47FDF1GS | JC683A - HP58x0AF Fan Tray | Switch
CN47FDF1GV | JC683A - HP58x0AF Fan Tray | Switch
CN47FDF1H1 | JC683A - HP58x0AF Fan Tray | Switch
CN47FDF1H9 | JC683A - HP58x0AF Fan Tray | Switch
CN47FDF1HS | JC683A - HP58x0AF Fan Tray | Switch
CN47FDF1JL | JC683A - HP58x0AF Fan Tray | Switch
CN47FDF1MX | JC683A - HP58x0AF Fan Tray | Switch
CN47FDF1N1 | JC683A - HP58x0AF Fan Tray | Switch
CN47FDF1N7 | JC683A - HP58x0AF Fan Tray | Switch
CN47FDF1NC | JC683A - HP58x0AF Fan Tray | Switch
CN47FDF1R1 | JC683A - HP58x0AF Fan Tray | Switch
CN47FDF1SL | JC683A - HP58x0AF Fan Tray | Switch
CN47FDF1SS | JC683A - HP58x0AF Fan Tray | Switch
MY453DZ4J1 | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY453DZ4JK | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY453DZ4JP | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY453DZ4JR | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY45D3Z2VY | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY45D3Z2WD | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY45D3Z33J | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY45D3Z364 | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY45D3Z369 | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY45D3Z36G | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY45D3Z36H | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY45D3Z36Q | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY45D3Z42Q | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY45D3Z42X | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY45D3Z43M | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY45D3Z43X | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY45D3Z449 | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY45D3Z44F | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY45D3Z44M | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY45D3Z44T | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY45D3Z45J | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY45D3Z45N | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY45D3Z45X | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY45D3Z46V | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY45D3Z48K | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY45D3Z49F | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY45D3Z4JG | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY45D3Z4JL | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY45D3Z4JY | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY45D3Z4JZ | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY45D3Z4K0 | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY45D3Z4K1 | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY45D3Z4K3 | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY45D3Z4K4 | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY45D3Z4K5 | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY45D3Z4K6 | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY45D3Z4K7 | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY45D3Z4K9 | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY45D3Z4QK | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY45D3Z4V5 | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY45D3Z4V6 | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY45D3Z556 | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY45D3Z5SP | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY45D3Z5T9 | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY45D3Z5W7 | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY45D3Z5Y5 | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY45D3Z5Y8 | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY45D3Z5YH | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY45D3Z5YK | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY45D3Z621 | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY45D3Z62C | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY45D3Z63K | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY45D3Z63N | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY45D3Z63Q | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY45D3Z640 | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY45D3Z6W9 | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY45D3Z6WD | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY45D3Z7VH | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY46D3Z03R | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY46D3Z03S | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY46D3Z03Y | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY46D3Z045 | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY46D3Z04G | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY46D3Z0FW | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY46D3Z0FZ | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY46D3Z0G7 | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY46D3Z2VR | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY46D3Z2VS | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY46D3Z2VT | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY46D3Z2VV | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY46D3Z2VW | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY46D3Z2W0 | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY46D3Z2W4 | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY46D3Z2WB | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY46D3Z2WH | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY46D3Z2WL | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY46D3Z2WM | JD092B - HP X130 SFP+ LC 10G-SR | Switch
MY46D3Z365 | JD092B - HP X130 SFP+ LC 10G-SR | Switch
CN30GDD18P | JD094B - HP X130 SFP+ LC 10G-LR | Switch
MY3AD41JCX | JD094B - HP X130 SFP+ LC 10G-LR | Switch
MY3BD41J1L | JD094B - HP X130 SFP+ LC 10G-LR | Switch
MY3BD41J20 | JD094B - HP X130 SFP+ LC 10G-LR | Switch
MY3BD41J3S | JD094B - HP X130 SFP+ LC 10G-LR | Switch
MY3BD41J3T | JD094B - HP X130 SFP+ LC 10G-LR | Switch
MY3BD41J3Y | JD094B - HP X130 SFP+ LC 10G-LR | Switch
MY3BD41J40 | JD094B - HP X130 SFP+ LC 10G-LR | Switch
MY3BD41J41 | JD094B - HP X130 SFP+ LC 10G-LR | Switch
MY3BD41J42 | JD094B - HP X130 SFP+ LC 10G-LR | Switch
MY3BD41J47 | JD094B - HP X130 SFP+ LC 10G-LR | Switch
MY3BD41J4B | JD094B - HP X130 SFP+ LC 10G-LR | Switch
MY3BD41J4H | JD094B - HP X130 SFP+ LC 10G-LR | Switch
MY3BD41J4K | JD094B - HP X130 SFP+ LC 10G-LR | Switch
MY3BD41J59 | JD094B - HP X130 SFP+ LC 10G-LR | Switch
MY3BD41J5T | JD094B - HP X130 SFP+ LC 10G-LR | Switch
MY3BD41J5Z | JD094B - HP X130 SFP+ LC 10G-LR | Switch
MY3BD41J63 | JD094B - HP X130 SFP+ LC 10G-LR | Switch
MY3BD41J6G | JD094B - HP X130 SFP+ LC 10G-LR | Switch
MY3BD41J6H | JD094B - HP X130 SFP+ LC 10G-LR | Switch
MY3BD41J7G | JD094B - HP X130 SFP+ LC 10G-LR | Switch
MY3BD41J80 | JD094B - HP X130 SFP+ LC 10G-LR | Switch
MY3BD41J81 | JD094B - HP X130 SFP+ LC 10G-LR | Switch
MY3BD41J84 | JD094B - HP X130 SFP+ LC 10G-LR | Switch
MY3BD41J8L | JD094B - HP X130 SFP+ LC 10G-LR | Switch
MY3BD41JC4 | JD094B - HP X130 SFP+ LC 10G-LR | Switch
TH30G6M01P | JD094B - HP X130 SFP+ LC 10G-LR | Switch
TH30G6M0LN | JD094B - HP X130 SFP+ LC 10G-LR | Switch
TH30G6M167 | JD094B - HP X130 SFP+ LC 10G-LR | Switch
TH30G6M168 | JD094B - HP X130 SFP+ LC 10G-LR | Switch
TH30G6M16F | JD094B - HP X130 SFP+ LC 10G-LR | Switch
TH3AG6M0N6 | JD094B - HP X130 SFP+ LC 10G-LR | Switch
TH3AG6M0PW | JD094B - HP X130 SFP+ LC 10G-LR | Switch
TH3BG6M167 | JD094B - HP X130 SFP+ LC 10G-LR | Switch
CN46BYS011 | JE067A - HP5120-48G EI | Switch
CN46BYS030 | JE067A - HP5120-48G EI | Switch
CN46BYS034 | JE067A - HP5120-48G EI | Switch
CN46BYS04N | JE067A - HP5120-48G EI | Switch
CN43D380MV | JF429A - HP PSU 2000W (PSU1) | Switch
CN43D3819D | JF429A - HP PSU 2000W (PSU1) | Switch
CN43D380MK | JF429A - HP PSU 2000W (PSU2) | Switch
CN43D38149 | JF429A - HP PSU 2000W (PSU2) | Switch
CN43D380LZ | JF429A - HP PSU 2000W (PSU3) | Switch
CN43D380QZ | JF429A - HP PSU 2000W (PSU3) | Switch
CN43D380QS | JF429A - HP PSU 2000W (PSU4) | Switch
CN43D380RM | JF429A - HP PSU 2000W (PSU4) | Switch
CN43D381CD | JF429A - HP PSU 2000W (PSU5) | Switch
CN43D382JY | JF429A - HP PSU 2000W (PSU5) | Switch
CN43D3817W | JF429A - HP PSU 2000W (PSU6) | Switch
CN43D381D4 | JF429A - HP PSU 2000W (PSU6) | Switch
CN45FHF03X | JG326A - HP X240 40G DAC Cable 1m | Switch
CN45FHF05D | JG326A - HP X240 40G DAC Cable 1m | Switch
CN45FHF05L | JG326A - HP X240 40G DAC Cable 1m | Switch
CN45FHF07C | JG326A - HP X240 40G DAC Cable 1m | Switch
CN45FHH04P | JG328A - HP X240 40G DAC Cable 5m | Switch
CN45FHH06B | JG328A - HP X240 40G DAC Cable 5m | Switch
CN45FHH07K | JG328A - HP X240 40G DAC Cable 5m | Switch
CN45FHH09X | JG328A - HP X240 40G DAC Cable 5m | Switch
CN45FHH0BB | JG328A - HP X240 40G DAC Cable 5m | Switch
CN45FHH0CF | JG328A - HP X240 40G DAC Cable 5m | Switch
CN45FZL0FS | JG510A - HP5900AF-48G-4XG | Switch
CN46FZL001 | JG510A - HP5900AF-48G-4XG | Switch
CN46FZL011 | JG510A - HP5900AF-48G-4XG | Switch
CN46FZL03D | JG510A - HP5900AF-48G-4XG | Switch
CN46FZL06G | JG510A - HP5900AF-48G-4XG | Switch
CN46FZL09M | JG510A - HP5900AF-48G-4XG | Switch
CN46FZL0C5 | JG510A - HP5900AF-48G-4XG | Switch
CN46FZL0C6 | JG510A - HP5900AF-48G-4XG | Switch
CN46FZL0D7 | JG510A - HP5900AF-48G-4XG | Switch
CN46FZL0D8 | JG510A - HP5900AF-48G-4XG | Switch
CN41GBM002 | JG782A - HP12508E Switch Chassis | Switch
CN44GBM006 | JG782A - HP12508E Switch Chassis | Switch
CN44GBY010 | JG792A - HP 40-Port 10G (Slot 2) | Switch
CN44GBY01B | JG792A - HP 40-Port 10G (Slot 2) | Switch
CN44GBY01M | JG792A - HP 40-Port 10G (Slot 6) | Switch
CN44GBY01N | JG792A - HP 40-Port 10G (Slot 6) | Switch
CN41GC400P | JG798A - HP Fabric Module (Slot 10) | Switch
CN41GC402Q | JG798A - HP Fabric Module (Slot 10) | Switch
CN41GC400T | JG798A - HP Fabric Module (Slot 11) | Switch
CN41GC4037 | JG798A - HP Fabric Module (Slot 11) | Switch
CN41GC4029 | JG798A - HP Fabric Module (Slot 12) | Switch
CN41GC402P | JG798A - HP Fabric Module (Slot 12) | Switch
CN41GC401D | JG798A - HP Fabric Module (Slot 13) | Switch
CN41GC4030 | JG798A - HP Fabric Module (Slot 13) | Switch
CN3AGC400P | JG798A - HP Fabric Module (Slot 14) | Switch
CN41GC4027 | JG798A - HP Fabric Module (Slot 14) | Switch
CN3AGC4001 | JG798A - HP Fabric Module (Slot 15) | Switch
CN41GC4013 | JG798A - HP Fabric Module (Slot 15) | Switch
CN3AGC4003 | JG798A - HP Fabric Module (Slot 16) | Switch
CN41GC402R | JG798A - HP Fabric Module (Slot 16) | Switch
CN3AGC4007 | JG798A - HP Fabric Module (Slot 17) | Switch
CN3AGC4008 | JG798A - HP Fabric Module (Slot 17) | Switch
CN44GC8003 | JG802A - HP MPU (Slot 0) | Switch
CN44GC8004 | JG802A - HP MPU (Slot 0) | Switch
CN44GC800C | JG802A - HP MPU (Slot 1) | Switch
CN44GC800J | JG802A - HP MPU (Slot 1) | Switch
CN43GCC003 | JG805A - Fan Tray | Switch
CN43GCC00G | JG805A - Fan Tray | Switch
CN43GCC00R | JG805A - Fan Tray | Switch
CN48GCC007 | JG805A - Fan Tray | Switch
CN37F620WV | JG240A - 5500-48G-PoE+ EI Switch | Switch
CN30F620LV | JG240A - 5500-48G-PoE+ EI Switch | Switch
CN41F6201K | JG240A - 5500-48G-PoE+ EI Switch | Switch
CN37F620GT | JG240A - 5500-48G-PoE+ EI Switch | Switch
CN30F620D2 | JG240A - 5500-48G-PoE+ EI Switch | Switch
CN19F620Z8 | JG240A - 5500-48G-PoE+ EI Switch | Switch
CN25F620DK | JG240A - 5500-48G-PoE+ EI Switch | Switch
CN13D60055 | JG240A - 5500-48G-PoE+ EI Switch | Switch
CN44F6208B | JG240A - 5500-48G-PoE+ EI Switch | Switch
CN41F6200W | JG240A - 5500-48G-PoE+ EI Switch | Switch
CN37F620WC | JG240A - 5500-48G-PoE+ EI Switch | Switch
CN41F6200S | JG240A - 5500-48G-PoE+ EI Switch | Switch
CN46F620R8 | JG240A - 5500-48G-PoE+ EI Switch | Switch
CN30F620JV | JG240A - 5500-48G-PoE+ EI Switch | Switch
CN37F620W6 | JG240A - 5500-48G-PoE+ EI Switch | Switch
CN19F6211V | JG240A - 5500-48G-PoE+ EI Switch | Switch
CN25F6205B | JG240A - 5500-48G-PoE+ EI Switch | Switch