Specification for: Development of a roadmap for enabling low-carbon flexibility services to participate fully in the GB electricity markets towards 2030 and associated indicator framework to track progress

Tender Reference Number: EL/1016

Specification of Requirements

Invitation to Tender for Development of a roadmap for enabling low-carbon flexibility services to participate fully in the GB electricity markets towards 2030 and associated indicator framework to track progress

Tender Reference Number: EL/10/16

Deadline for Tender Responses: 12 pm on Friday 18 November.

Contents

1.	Preamble	3

2.	Background	3

3.	Aims and Objectives	6

4	Methodology	7

5	Outputs Required	11

6	Ownership and Publication	11

7	Quality Assurance	11

8	Timetable	12

9	Ethics	12

10	Working Arrangements	12

11	Skills and experience	13

12	Consortium Bids	13

13	Budget	13

14	Evaluation of Tenders	14

Criterion	14

Description	14

Weighting	14

# Preamble

The Committee on Climate Change (CCC) was set up as part of the Climate Change Act. CCC is an independent body tasked with providing advice to Government on climate change issues, and particularly the setting of carbon budgets, and the monitoring of progress towards meeting those budgets. CCC’s past reports are available here: http://www.theccc.org.uk/reports/.

# Background

### The Committee on Climate Change’s indicator framework

In our first (October 2009) progress report to Parliament, we developed our indicator framework for monitoring progress against carbon budgets. This framework sets out trajectories for delivery of measures to reduce GHG emissions, and includes a range of indicators:

- Headline indicators, such as economy- and sector-wide GHG emissions, GHG emissions intensity and energy demand;

- Implementation indicators for measures that reduce GHG emissions (e.g. additional low-carbon power generation capacity, roll-out of loft, cavity wall and solid wall insulation, take up of electric cars);

- Forward indicators to measure progress in advance of implementation (e.g. progress deploying power generation investments can be measured through progress through various pre-deployment phases, e.g. planning application, construction, etc.);

- Policy milestones for an appropriate framework enabling future implementation of measures.

Our indicators represent our best assessment of the technologies and behaviours required to meet the cost-effective path to the 2050 target and the fourth carbon budget, based on the latest evidence. However, it is important to acknowledge that there is inevitable uncertainty over the rates at which technologies will become available and their future costs, and at which behaviour change will be taken up. It is likely that new evidence will lead to a reassessment of these technologies and behaviours over time, and that we will revise our indicators, and include new indicators, accordingly. The indicators, therefore, are generally not prescriptive (it may be possible to meet near-term carbon budgets while underperforming in some indicators, provided the increase in emissions is offset by outperformance of other indicators) and not exhaustive (it is possible that some technologies that are not currently included in our indicator framework become more cost-effective than we originally envisaged).

We have periodically updated and revised our indicator framework to take account of the latest evidence on technology performance and cost. Our indicator framework now covers the first four carbon budget periods (2008-2027), and we are currently updating this to cover the fifth carbon budget period (2028-2032), to feed into publication of our 2017 Progress Report to Parliament. As part of this update, we intend to develop an indicator framework to monitor progress in enabling flexibility services to participate fully in the GB electricity markets.

### CCC power sector recommendations

The Committee have emphasised the importance of decarbonising the power sector to achieve the UK’s carbon targets. That reflects both that power is an important source of emissions and that low-carbon power can be used to decarbonise other sectors (e.g. via electric vehicles and heat pumps).

Given this analysis, we have recommended that the aim should be to reduce the carbon intensity of power generation from current levels of around 350 gCO2/kWh to around 100 gCO2/kWh in 2030 through investment in a portfolio of low-carbon technologies.

In particular, the aim should be to invest in cost-effective technologies (i.e. those able to meet electricity demand more cheaply over their lifetimes than unabated gas facing a rising carbon price), and in less-mature technologies with a view to these becoming cost-effective in the 2020s – both emerging technologies like offshore wind and technologies that are yet to be demonstrated like large-scale CCS.

### The need for low-carbon electricity system flexibility

Alongside roll-out of low-carbon power generation, there will need to be an increase in low-carbon electricity system flexibility if carbon objectives are to be met and costs minimised (Box 1).

Box 1 – the need for low-carbon electricity system flexibility

Electricity system demand and total generation must be balanced on a second-by-second (real time) basis in order to ensure electricity is available to end users as required, and to maintain system frequency within the narrow (±1%) limits of nominal system frequency (50Hz). Balancing the system therefore requires flexibility in generation or demand, such that either generation, demand or both can be increased or decreased as required. In the past, the dominant source of flexibility was through conventional fossil (gas and coal) generators that could be ramped up and down to match the demand profile, with a degree of demand response provided by large industrial consumers. Work carried out by Imperial College London for our 2015 report Power sector scenarios for the fifth carbon budget indicated that decarbonising electricity generation, though an increase in inflexible low-carbon generation (nuclear, wind, solar) and corresponding decrease in flexible conventional generation (fossil gas and coal), will require new sources of flexibility to balance supply and demand cost-effectively. This is due to the increase in system balancing requirements of high levels of intermittent generation. Balancing requirements include: - Back-up capacity requirements. As wind and solar are intermittent and do not reliably generate at times of peak demand, back-up capacity is required to ensure that generation and demand can be balanced. - Reserve requirements. Due to errors in forecasting the outputs of renewable generation, additional reserves must be scheduled to ensure that generation and demand can be balanced in the event of an underestimate in output. - System inertia. At present renewable generation does not contribute to the provision of system inertia. The increase in non-synchronous low-carbon generation (nuclear, wind, solar) and corresponding decrease in conventional synchronous generation (fossil gas and coal) will therefore reduce the level of system inertia. If these system balancing requirements are met by conventional generating plant, which must run part-loaded in order to be available when needed, overall conventional generation will increase, increasing GHG emissions and the proportion of renewable generation that must be curtailed. Decarbonising electricity generation will therefore require alternative sources of flexibility.

Sources of low-carbon electricity system flexibility include:

- demand-side response capable of providing primary and secondary frequency response, short term operating reserve, services for network congestion management services and security of supply;

- electricity storage technologies that can deliver ancillary services (e.g. reserve and response) thereby reducing the need for part-loaded plant, additional back-up generation and network infrastructure reinforcement;

- increased interconnection (e.g. with mainland Europe);

- flexible fossil generating technologies capable of operating as required (e.g. for peaking or balancing) rather than permanently part-loaded, i.e. with lower minimum stable generation and higher maximum potential ramp rate than conventional alternatives; and/or

- fossil generation with carbon capture and storage (CCS).

The optimal mix of flexibility technologies will depend on developments in their technical performance or cost, which are subject to considerable uncertainty. Therefore it would not be sensible now to set targets for deployment to 2032. Instead, Government should aim to ensure that flexibility services are able to participate fully in the GB electricity markets as necessary. Specifically:

- Markets for flexibility services should exist and be available to all relevant flexibility technologies.

- There should be a “level playing field” in the incentives for the provision of flexibility services, so that low-carbon technologies providing flexibility do not face lower remuneration, greater costs or otherwise less favourable conditions (e.g. contract length, bidding costs, etc.) than conventional generation technologies providing the same services.

- Incentives should appropriately reward low-carbon flexibility technologies relative to those that emit CO2 both during provision of the flexibility service, and also as a consequence of their availability (e.g. plant operating part-loaded to ensure availability). While most UK fossil generation incurs a carbon price through the EU ETS and the UK’s carbon price floor, the current carbon price is too low to be consistent with the UK’s 2050 target, and some generation (e.g. embedded generation) does not face a carbon price.

- Similarly, incentives should appropriately reward low-carbon flexibility technologies that provide a higher quality of flexibility service than do conventional generation technologies (e.g. electricity storage providing enhanced frequency response).

- Key emerging technologies should be developed, deployed and commercialised, potentially with a role for innovation support (support for research and development, demonstration and deployment).

It is generally accepted that low-carbon flexibility services are not able to participate fully in the GB electricity markets. This may be due to technical characteristics or current high costs of flexibility technologies, or the lack of a supportive policy framework.

### The potential from Demand-side response (DSR)

One of the greatest uncertainties regarding the possible evolution of the UK electricity system is the degree to which demand-side response could be used to manage electricity demand. In previous research, we have used consultants’ assumptions on the potential for demand-side response to manage electricity demand (see, for example, Imperial College and NERA Consulting (2015): Value of flexibility in a decarbonised grid and system externalities of low-carbon generation technologies). We are now looking to review the evidence on the potential for DSR and to update our assumptions for further work.

# Aims and Objectives

The aim of this project is to develop a roadmap and indicator framework for enabling low-carbon flexibility services to participate fully in the GB electricity markets towards 2030. A roadmap is a strategic plan that describes the technical, policy, legal, financial, market, and organisational conditions required to ensure the desired outcome, and the actions required to meet these outcomes. This roadmap will inform our recommendations to the Government on actions required to ensure that flexibility services are able to participate fully in the GB electricity markets in future. Emerging from the roadmap, the indicator framework will allow us to monitor Government progress in achieving this outcome. See Section 2 for more information on the Committee’s indicator framework.

The specific objectives are to:

- Characterise the flexibility technologies capable of providing flexibility services in the UK electricity system.

- Identify the full range of important barriers to deployment of flexibility services, and actions to address these barriers.

- Develop a roadmap for enabling low-carbon flexibility services to participate fully in the GB electricity markets towards 2030 and associated indicator framework to track progress.

- Develop a set of assumptions on the potential for Demand-Side Response (DSR).

# Methodology

In this section we set out an approach which we envisage would adequately meet our research requirements. Our approach involves a task corresponding to each of the project objectives set out in the preceding section. We describe these tasks in detail below:

Task 1: Characterise the flexibility technologies capable of providing flexibility services in the UK electricity system.

The list of flexibility technologies and flexibility services to be included within the project scope will be agreed on inception. Consultants should provide in their proposal an indicative list of the flexibility technologies and services they propose to consider (e.g. Box 2).

For the flexibility technologies and flexibility services defined in the project scope, consultants should set out clearly which services the technologies can and cannot in principle provide, explaining why certain technologies are not suitable to provide certain flexibility services.

Where information is available, consultants should set out current levels of deployment and use of these technologies in the UK and globally, and characterise their technical performance and cost. In doing so, consultants should:

- set out the technology’s development status (e.g. under development, demonstrated, early stage commercialisation, fully commercialised)

- select the most appropriate metric for characterising technical performance and cost to enable comparison across technologies (e.g. minimum stable generation, maximum potential ramp rate, £/MW, £/MWh)

- identify key uncertainties over current or potential future technical performance and cost of flexibility technologies

- identify target levels of technical performance and cost which would allow the technology to compete with conventional generation in the provision of flexibility services.

Box 2 - flexibility technologies and services

Low-carbon flexibility technologies include, but are not limited to: - flexible fossil generating technologies capable of operating as required (e.g. for peaking or balancing) rather than permanently part-loaded, i.e. with lower minimum stable generation and higher maximum potential ramp rate than conventional alternatives; - demand-side response capable of providing primary and secondary frequency response, short term operating reserve, services for network congestion management services and security of supply; - electricity storage technologies including bulk storage, distributed storage, fast storage (e.g. flywheels, supercapacitors) - interconnection Flexibility services include, but are not limited to: - contracting for generation or demand reduction in the wholesale market, and operating to provide the generation or demand reduction contracted; - balancing services, including ancillary services - deferral of investments in transmission and distribution network reinforcement - capacity - contribution to system inertia

Note: while renewables are not considered flexibility technologies, they are nevertheless in principle capable of providing some degree of flexibility services, e.g. system reserve and response, or system inertia with “synthetic” inertia. Provision of flexibility services by renewables should also be considered in Task 1 and subsequent tasks.

Task 2: Identify the full range of important barriers to deployment of flexibility services, and actions to address these barriers.

Consultants should identify and describe the technical, policy, legal, financial, market, and organisational conditions required to ensure that flexibility services are able to participate fully in the GB electricity markets in future.

We expect that the necessary conditions will include the existence of a functioning market for each flexibility service, in which each relevant flexibility technology is able to participate. A market for flexibility services is defined as an incentive mechanism that remunerates a flexibility technology for providing a flexibility service. Examples include the wholesale electricity market, markets for balancing services, and the capacity market. For each flexibility technology and each flexibility service (e.g. battery storage providing balancing services), this task should specify whether a market exists, and if so, set out details of this market (e.g. National Grid’s Enhanced Frequency Response services is open, and considered to be particularly suited, to battery storage).

Consultants should then identify and describe all relevant barriers to achievement of the conditions identified, and therefore to ensuring that flexibility services are able to participate fully in the GB electricity markets in future. Barriers identified in the literature include, but are not limited to:

- Missing markets

- Current technical performance and cost, and uncertainty around future technical performance and cost

- Lack of cost-reflecting charging, e.g.

  - imposition of transmission charges designed to recover a system cost to services (e.g. storage) that provide a system benefit

  - regulatory treatment of storage as both generation and consumption, such that charges (e.g. transmission charges) for stored electricity are incurred twice for the same electricity;

  - while most UK fossil generation incurs a carbon price through the EU ETS and the UK’s carbon price floor, the current carbon price is too low to be consistent with the UK’s 2050 target, and some generation (e.g. embedded generation) does not face a carbon price.

- Procurement practices for flexibility services that disadvantage low-carbon providers or new entrants due to e.g. lack of transparency, contract length, etc.

- Consumer resistance to new flexibility technologies

- Impact of flexibility services on complexity of electricity system operation

- Regulations preventing flexibility technologies from providing multiple (“layered”) flexibility services

For each barrier, consultants should then identify the action or actions needed to address the barrier and create the technical, policy, legal, financial, market, and organisational conditions to enable provision of flexibility services. Actions may include technology development and deployment; development of enabling infrastructure, regulations and standards, financing mechanisms, institutional framework or institutional capacity, supply chains; public engagement, etc.

Task 3: Develop a roadmap for enabling low-carbon flexibility services to participate fully in the GB electricity markets towards 2030 and associated indicator framework to track progress

As set out in Section 3 – aims and objectives , a roadmap is a strategic plan that describes the technical, policy, legal, financial, market, and organisational conditions required to ensure the desired outcome, and the actions required to meet these outcomes.

This roadmap should consider:

- The conditions, barriers and actions identified in Task 2, and the relative importance of each barrier. The roadmap should include a clear hierarchy of importance, and potentially exclude some actions that address barriers that are of lower importance.

- The actions required to address the barriers to deployment of flexibility services, as identified in Task 2, and the time taken to carry out these actions

- Any interdependencies between the conditions and actions that determine the sequence in which conditions should be achieved and actions carried out.

- The appropriate timing of each action, given the sequence in which actions should be carried out, and the time required to implement them, and dates by which targets and milestones should be achieved to ensure the desired outcome

- The agent(s) responsible for achieving targets and milestones implementing these actions, e.g. Government, industry, consumers

- Appropriate targets, for example targets for deployment of flexibility technology capacity to commercialise the technology and/or resolve key uncertainties relating to potential technical performance or cost.

- Milestones specifying delivery of key technical, policy, legal, financial, market, and organisational conditions

We envisage that the roadmap should include an indicative scenario characterising progress towards achieving a flexible electricity system, with a detailed timeline for the above factors, and clear actions and milestones. The purpose of this scenario is to identify indicators to monitor progress (see below), and not to set targets for deployment of flexibility technologies.

Finally, consultants should develop an indicator framework for electricity system flexibility to facilitate monitoring of progress towards enabling flexibility services to participate fully in the GB electricity markets by 2030. The indicator framework should be consistent with the CCC’s wider indicator framework, and implementation indicators, forward indicators and policy milestones. For example, indicators might include:

- Demand-side response: successful completion of trials; deployment of smart meters; reform of market arragements in markets for flexibility services; development of an aggregator market of sufficient size; size and value of contracts awarded

- Electricity storage: achievement of key battery technical characteristics and cost reductions; successful completion of trials; deployed storage capacity; size and value of contracts awarded

Where indicators relate to quantifiable information, consultants should specify the level of the indicator that is consistent with the roadmap.

Task 4: Develop a set of assumptions on the potential for Demand-Side Response (DSR)

We anticipate that Task 4 will take the form of a review and analysis of the research literature, though we would consider an alternative approach if appropriate.

Consultants should specify the sources of electricity demand that have the potential for management through demand-side response, for example:

- Charging of electric cars and vans

- Smart appliances (washing machines, dishwashers, tumble dryers)

- Industrial demand

- Commercial demand

Consultants should then review the research literature on the potential for demand-side response to manage each of these sources of demand. Consultants should set out, for each source of electricity demand:

- the maximum likely potential for management through demand-side response

- the conditions and actions necessary to realise this maximum potential

- the confidence with which this potential can be assumed to exist

- key uncertainties in the potential for management.

All tasks: stakeholder engagement

Consultants should consider how best to engage with the expert community across tasks 1-4 to ensure the relevant expertise is feeding into the project and to secure wider buy-in to project conclusions. Options include engaging stakeholders individually, or a stakeholder workshop mid-project.

# Outputs Required

The key deliverables for this project will be agreed at the project meeting but include a summary report, slides, supporting spreadsheets and minutes from project meetings.

# Ownership and Publication

The key deliverables will be handed over to the CCC, who may choose to publish these as supporting evidence on their website. Spreadsheets should be open access and unrestricted, to enable full QA of results and assumptions.

# Quality Assurance

This project must comply with the CCC – Quality Assurance of Evidence and Analysis guidance and bidders must set out their approach to quality assurance in their response to this ITT.

All research tasks and modelling must be quality assured and documented. Contractors should:

- Include a quality assurance (QA) plan that they will apply to all of the research tasks and modelling,

- Specify who will be responsible for quality assurance and ensure that this is done by individuals who were not directly involved in the research, analysis or model development,

- Provide QA log to demonstrate the QA undertaken, including who undertook the QA and the scope, type and level of QA that has been undertaken (e.g. a log entry only stating ‘the data was checked’ will not be sufficient)

Sign-off for the quality assurance must be done by someone of sufficient seniority within the contractor organisation to be able take responsibility for the work done.  Acceptance of the work by the CCC will take this into consideration. The CCC reserves the right to refuse to sign off outputs which do not meet the required standard specified in this invitation to tender.

The successful bidder will be responsible for any work supplied by sub-contractors and should therefore provide assurance that all work in the contract is undertaken in accordance with the quality assurance expectation agreed at the beginning of the project.

For primary research, contractors should be willing to facilitate CCC research staff to attend interviews or listen in to telephone surveys as part of the quality assurance process.

# Timetable

We envisage the following timetable:

| 18 Nov 2016 | Deadline for proposals |
| --- | --- |
| w/c 21 Nov | Interviews; consultants appointed |
| w/c 28 Nov | Inception meeting |
| w/c 09 Jan 2017 | Interim meeting |
| w/c 6 Feb | Final project meeting |
| 10-Feb | Draft final report |
| 24-Feb | Final report |

# Ethics

All applicants will need to identify and propose arrangements for initial scrutiny and on-going monitoring of ethical issues. The appropriate handling of ethical issues is part of the tender assessment exercise and proposals will be evaluated on this as part of the ‘addressing challenges and risks’ criterion.

We expect contractors to adhere to the following GSR Principals:

- Sound application and conduct of social research methods and appropriate dissemination and utilisation of findings

- Participation based on valid consent

- Enabling participation

- Avoidance of personal harm

- Non-disclosure of identity and personal information

# Working Arrangements

The successful contractor will be expected to identify one named point of contract through whom all enquiries can be filtered. A CCC project manager will be assigned to the project and will be the central point of contact.

The project will have a steering group, composed of CCC staff as well as a small number of wider stakeholders, e.g. representatives from BEIS and Ofgem. The steering group will be present at the inception, interim and final project meeting.

# Skills and experience

CCC would like you to demonstrate that you have the experience and capabilities to undertake the project. Your tender response should include a summary of each proposed team members experience and capabilities.

Contractors should propose named members of the project team, and include the tasks and responsibilities of each team member. This should be clearly linked to the work programme, indicating the grade/ seniority of staff and number of days allocated to specific tasks.

Contractors should identify the individual(s) who will be responsible for managing the project.

# Consortium Bids

In the case of a consortium tender, only one submission covering all of the partners is required but consortia are advised to make clear the proposed role that each partner will play in performing the contract as per the requirements of the technical specification.  We expect the bidder to indicate who in the consortium will be the lead contact for this project, and the organisation and governance associated with the consortia.

Contractors must provide details as to how they will manage any sub-contractors and what percentage of the tendered activity (in terms of monetary value) will be sub-contracted.

If a consortium is not proposing to form a corporate entity, full details of alternative proposed arrangements should be provided. However, please note CCC reserves the right to require a successful consortium to form a single legal entity in accordance with Regulation 28 of the Public Contracts Regulations 2006.

CCC recognises that arrangements in relation to consortia may (within limits) be subject to future change. Potential Providers should therefore respond in the light of the arrangements as currently envisaged. Potential Providers are reminded that any future proposed change in relation to consortia must be notified to CCC so that it can make a further assessment by applying the selection criteria to the new information provided.

# Budget

The budget for this project is £55,000 to £70,000 excluding VAT.

Contractors should provide a full and detailed breakdown of costs (including options where appropriate). This should include staff (and day rate) allocated to specific tasks.

Cost will be a criterion against which bids which will be assessed.

Payments will be linked to delivery of key milestones. The indicative milestones and phasing of payments can be adjusted and agreed with the contractor and Project Manager. Please advise in your tender response how this breakdown reflects your usual payment processes:

In submitting full tenders, contractors confirm in writing that the price offered will be held for a minimum of 60 calendar days from the date of submission. Any payment conditions applicable to the prime contractor must also be replicated with sub-contractors.

The Department aims to pay all correctly submitted invoices as soon as possible with a target of 10 days from the date of receipt and within 30 days at the latest in line with standard terms and conditions of contract.

# Evaluation of Tenders

Contractors are invited to submit full tenders of no more than 20 pages, excluding declarations and other supplementary documentation. Tenders will be evaluated by at least three CCC staff.

CCC will select the bidder that scores highest against the criteria and weighting listed below, see the ITT for further information.

EVALUATION CRITERIA AND SCORING METHODOLOGY

| #### Criterion | #### Description | #### Weighting |
| --- | --- | --- |
| 1 | RELEVANT EXPERIENCE / DEMONSTRATION OF CABABILITY | 15% |
| 2 | PROJECT TEAM – SKILLS AND KNOWLEDGE | 20% |
| 3 | UNDERSTANDING OF REQUIREMENTS | 10% |
| 4 | METHOD, ABILITY AND TECHNICAL CAPACITY | 30% |
| 5 | MANAGING YOUR RELATIONSHIP WITH THE CCC | 5% |
| 6 | QUALITY ASSURING THE SERVICES YOU PROVIDE | 20% |
|  |  | 100% |

Scoring Method

Tenders will be scored against each of the criteria above, according to the extent to which they meet the requirements of the tender. The meaning of each score is outlined in the table below.

The total score will be calculated by applying the weighting set against each criterion, outlined above; the maximum number of marks possible will be 100.  Should any contractor score 1 in any of the criteria, they will be excluded from the tender competition.

| Score | Description |
| --- | --- |
| 1 | Not Satisfactory: Proposal contains significant shortcomings and does not meet the required standard |
| 2 | Partially Satisfactory: Proposal partially meets the required standard, with one or more moderate weaknesses or gaps |
| 3 | Satisfactory: Proposal mostly meets the required standard, with one or more minor weaknesses or gaps. |
| 4 | Good: Proposal meets the required standard, with moderate levels of assurance |
| 5 | Excellent: Proposal fully meets the required standard with high levels of assurance |

Structure of Tenders

Contractors are strongly advised to structure their tender submissions to cover each of the criteria above and supply a price schedule specifying the daily rates (ex-VAT) you will charge for each level of your staff.

Evaluation for Interviews, if held

CCC reserves the right to award the contract based on applicants’ written evaluation only if one candidate emerges from the evaluation stage as significantly stronger than the others.

Should interviews go ahead, CCC will shortlist the top three suppliers with the highest marks from the written proposals. Interviews are provisionally expected to be held in the week commencing 21 November. If this date changes, CCC will notify applicants.

The areas to be covered in the interview, and markings allocated to each topic area will be sent to the shortlisted supplier prior to interview.

Further details of interviews will be sent to successful applicants on selection.

Feedback

Feedback will be given in the unsuccessful letters or emails.

All relevant balancing services should be identified. A list of balancing services is given in National Grid's monthly balancing services report: http://www2.nationalgrid.com/UK/Industry-information/Electricity-transmission-operational-data/Report-explorer/Services-Reports/