THE ASHGATE HOSPICE

Supply

Oxygen Supply – 2 X 2 MMP Calistra Automatic Manifold

Emergency 1 x 1 Standby Manifold (ESM)

Sited in the ground floor manifold room.

Alarms

Central/Plant Alarm – 1 Gas Shire Controls SDX15 alarm panel

Situated at the Nurse’s station and monitors both the manifold and the High/Low pressure on the O2 system in the ward area.

AVSU (Area Valve Service Unit)

An MMP manufactured singular wall mounted O2 AVSU

MPGS Schedule of Equipment and Terminal Units

| Ward Area - GEM 10 x 8 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |