Site Information

in relation to works for

Design and Build of a Glasshouse at Forest Research’s Northern Research Station (NRS)

Reference: CR2020/21/067

# Site Location

1.1	Address: Northern Research Station, Bush Estate, Roslin, Midlothian, EH25 9SY.

1.2	The site for the replacement glasshouses comprises an open area of hard standing with access to mains water, drainage, electricity and gas – although each of these would require connection to a new facility as required.

Proposed Location

Current Glasshouses

Water

Water

Water

Gas

# Access

## 2.1	Access and egress

2.1.1	NRS main entrance for vans and small vehicles.

2.1.2	All lorries and plant through double gates at side of nursery direct from the main road.

## 2.2	Traffic management

2.2.1	Contractor responsible for own, and in complying with any other traffic management being operated by others who may be working around the site.

## 2.3	Public access

2.3.1	Vehicular access for FR staff, their visitors and deliveries to NRS should not be restricted by the Contractor.

# Existing records and plans

  - Enclosed is an extract (‘civils structures’ section) from a draft report produced by the Client’s consultant, Pick Everard, which contains some information of relevance to the site.

# Site management

## 4.1	Welfare & accommodation

4.1.1	The Contractor is required to provide its own welfare facilities.

## 4.2	Working hours

4.2.1	Monday to Friday 0730 – 1700, unless otherwise agreed with the Client.

## 4.3.	Coordination with others

4.3.1	The works are part of a wider project at NRS and the Contractor will be required to coordinate its activities with others who may be working at NRS/near the site at the same time; the Client will advise if this is the case.

## 4.4	Utilities and services

4.4.1	Electricity and water supplies will be available to the Contractor for use free of charge.

## 4.5	Fencing and signage

4.5.1	 Contractor to provide standard signage and a barrier on the access road.

## 4.6	Waste management

4.6.1	The Contractor is responsible for management of all waste arising from the Contractor Providing the Works.

## 4.7	General storage

4.7.1	The Contractor will be designated space for a site compound/laydown area adjacent to the site.