Appendix A – SFG20 Asset Element List

| SFG20 Codes | Description | Single asset or as a system |
| --- | --- | --- |
| 01-03 | Thermal Actuators | Single |
| 01-04 | Pneumatic Actuators | Single |
| 01-05 | Hydraulic Actuators | Single |
| 01-06 | Motor Driven Actuators | Single |
| 01-07 | Power Fail - Motor Return Actuators | Single |
| 01-08 | Power Fail - Spring Return Actuator | Single |
| 02-02 | Air Pressure Relief Damper | Single |
| 03-01 | Air Handling Units - General | Single |
| 03-02 | Magnahelic Gauge Panel and Manometers | Single |
| 04-01 | Belt Drives | Single |
| 05-04 | Atmospheric Gas Burner - Condensing Boiler | Single |
| 05-21 | Electric Boilers | Single |
| 05-31 | Air to Water Heat Pump | Single |
| 05-34 | Packaged Steam Generators | Single |
| 05-43 | Wet Scrubber System | Single |
| 05-44 | Fabric Filter System | Single |
| 06-05 | Outstations | Single |
| 07-07 | Gas/Oil Burners - Dual Fuel | Single |
| 09-02 | Packaged Chiller Units | Single |
| 09-03 | Lithium Bromide/Water Absorption Chillers | Single |
| 09-04 | Gas Fired Absorption Chiller Up to 18kw Cooling Capacity | Single |
| 09-05 | Solar Thermal Absorption Chillers | Single |
| 10-01 | Cold Rooms | Single |
| 102-04 | Window Restrictors | Single |
| 11-02 | Emergency Voice Communication (EVC) Systems | Single |
| 11-03 | Intercom System | Single |
| 12-01 | Compressors Refrigeration - Reciprocal (Includes Hermetic, Semi-Hermetic and Open) | Single |
| 12-02 | Compressor - Screw | Single |
| 12-03 | Compressors Refrigeration - Centrifugal | Single |
| 12-04 | Compressor - Scroll | Single |
| 13-01 | Condenser - Water Cooled | Single |
| 13-02 | Condenser - Air Cooled | Single |
| 14-02 | Electrical Services (excluding Electrical Controllers and Pneumatic Relays) | Single |
| 14-03 | Lamps, Meters, Alarms etc | Single |
| 14-18 | Emergency Stop Buttons | Single |
| 14-19 | Access Control | Single |
| 14-20 | Emergency Assistance Alarm | Single |
| 14-21 | Instrument Control Panel | Single |
| 14-22 | Local Control Panel/Local Control Station (BMS) | Single |
| 14-23 | Motor Control Centre | Single |
| 14-24 | Water Leak Detection Systems | Single |
| 16-03 | Volume Control Dampers | Single |
| 16-03 | Fire/Smoke Dampers | Single |
| 16-04 | Ducting - Attenuators | Single |
| 16-05 | Ducting - Motorised Dampers | Single |
| 17-02 | Kitchen Extract/Ventilation System | Single |
| 18-02 | Hair Dryer | Single |
| 18-03 | Hand Dryer | Single |
| 18-07 | Motorised Curtain Closer | Single |
| 19-01 | Refrigeration Evaporators | Single |
| 20-03 | Centrifugal Fans | Single |
| 20-04 | Axial Fans | Single |
| 20-05 | Propeller Fans | Single |
| 20-06 | Mixed Flow Fans | Single |
| 20-07 | Bifurcated Fans | Single |
| 20-08 | Extract Fans - General | Single |
| 20-09 | Ammonia Extract Fan | Single |
| 20-10 | Hazardous Area Extract Fan | Single |
| 20-11 | Extract Fans - Twin Toilet | Single |
| 20-12 | Fans - Window or Wall Mounted | Single |
| 21-02 | Air Filters | Single |
| 22-01 | Fire Alarms and Associated Equipment | Single |
| 23-04 | Rising Fire Mains and Hydrants | Single |
| 23-05 | Gas Extinguishing Systems | Single |
| 23-17 | Fire Doors | Single |
| 24-01 | Flues (All Combustible Fuels) | Single |
| 24-02 | Flue Gas Oxygen Control | Single |
| 25-01 | Fountains Outdoor - Ornamental | Single |
| 25-03 | Bottled Water Cooler | Single |
| 25-04 | Point of Use Water Dispenser | Single |
| 26-01 | Grilles and Diffusers | Single |
| 26-02 | Louvres, Bird and Insect Screens | Single |
| 28-03 | Gas Radiant Tube Heaters | Single |
| 28-09 | Electric Heaters - Radiators, Tubular Heaters and Oil Filled Heaters | Single |
| 28-10 | Electric Overdoor Air Curtain/Heater | Single |
| 28-11 | LTHW Overdoor Air Curtain/Heater | Single |
| 29-01 | Heat Exchangers - Coils | Single |
| 29-02 | Electric/Air Heater | Single |
| 29-04 | Thermal Wheels - Rotary Heat Regenerators | Single |
| 29-05 | Run Around Heat Recovery Coils | Single |
| 29-06 | Plate Heat Exchangers | Single |
| 29-09 | Heat Recovery Units | Single |
| 30-02 | Cooling Towers - Precautions against Legionnaires Disease (Legionella Pneumophila) | Single |
| 30-03 | Dry Coolers | Single |
| 30-04 | Adiabatic Coolers | Single |
| 32-02 | Little Used Outlets | Single |
| 32-02 | Sentinel Outlets/Water Heaters Etc | Single |
| 32-05 | Hot Water Calorifiers - Heated by LTHW | Single |
| 32-09 | Hot Water Cylinders | Single |
| 32-10 | Unvented Hot Water Systems | Single |
| 32-11 | Thermal Storage Cylinder (Individual Dwellings for DHWS) | Single |
| 32-12 | Expansion Vessels | Single |
| 32-13 | Direct Fired Water Heaters | Single |
| 32-14 | Instantaneous Electric Water Heaters (Non Drinks Type) | Single |
| 32-15 | Packaged Electric Water Heaters - Cistern Type (Non Drinks) | Single |
| 32-16 | Vented Hot Water Systems | Single |
| 33-01 | Humidifiers - Cold Water Evaporator, Drum Type | Single |
| 33-02 | Humidifiers - Direct Steam Injection Type | Single |
| 33-03 | Humidifiers - Electrode Boiler | Single |
| 33-04 | Humidifiers - Compressed Air Type | Single |
| 33-05 | Humidifiers - Ultrasonic | Single |
| 33-06 | Humidifiers - Resistance Heater Type | Single |
| 33-08 | Humidifiers - Spray | Single |
| 33-09 | Humidifiers - Spirax Sarco Direct Steam Injection Type | Single |
| 33-10 | Humidifiers - Steam Humidifier (VAPAC Type) | Single |
| 34-01 | Ice Making Machines | Single |
| 36-04 | External Lighting including Illuminated Signs | Single |
| 37-01 | Emergency Lighting - Self Contained | Single |
| 38-01 | Lightning Conductor and Earth | Single |
| 38-02 | Lightning Conductors in Hazardous Areas | Single |
| 39-01 | Motors - Drive Elements | Single |
| 40-03 | Trace Heating - Electrical | Single |
| 40-08 | Air Compressors and Receivers | Single |
| 40-09 | Air Compressors Compressed Air Dryers | Single |
| 40-13 | Gas Safety Shut-off Valve (GSSV) | Single |
| 40-15 | Pressure Reducing Valves (Steam) | Single |
| 40-16 | Water Buffer/Surge Tanks | Single |
| 40-18 | Boiler Water Deaerator | Single |
| 40-21 | Side Stream Filtration Units | Single |
| 40-22 | Solenoid Gas/Oil Shut-off (Safety) Valves | Single |
| 40-24 | Chilled and Condenser Water Systems | Single |
| 40-25 | Pressurisation Units - Chilled Water, Condenser Water and LTHW Types | Single |
| 40-26 | Air Dirt Separators | Single |
| 40-29 | Flow Meter | Single |
| 40-30 | Heat Meter | Single |
| 43-02 | Power Generation - Stand-by Generator | Single |
| 43-03 | Batteries - Lead Acid - Unsealed | Single |
| 43-04 | Battery Charging Equipment | Single |
| 43-05 | Uninterruptible Power Supplies | Single |
| 43-08 | Combined Heat and Power (CHP) - Gaseous Fuel Engine | Single |
| 44-05 | Power Distribution Unit (PDU) | Single |
| 44-06 | Earthing | Single |
| 44-07 | Distribution Boards | Single |
| 44-10 | Isolators/Starters/Fuse Switches | Single |
| 44-12 | Busbar System | Single |
| 44-13 | LV Air Circuit Breakers | Single |
| 44-14 | LV Battery Tripping Units | Single |
| 44-17 | 110V Wall Mounted Transformers | Single |
| 44-18 | Contactors | Single |
| 44-19 | Digital Bus Power Supply | Single |
| 44-20 | Feeder Pillar | Single |
| 44-21 | Neutral Earth Panel | Single |
| 44-22 | Power Filter (LV Active) | Single |
| 45-01 | Pumps - General | Single |
| 45-03 | Centrifugal Pumps | Single |
| 45-04 | Pressurisation Pumps | Single |
| 45-06 | Secondary Hot Water Circulating Pumps | Single |
| 45-07 | Sewage or Drainage Pumps Submersible | Single |
| 45-10 | Sump Pumps and Extended Shaft Sump Pumps | Single |
| 45-12 | Water Booster Pumps | Single |
| 45-14 | Condensate Pumps | Single |
| 45-16 | Twin Set Pumps | Single |
| 46-01 | Refrigerant Distribution System | System |
| 47-01 | Room Air Conditioners (ACS??) | Single |
| 48-02 | Macerators | Single |
| 48-05 | Sanitary Waste Water Plumbing and Drains | System |
| 49-01 | Intruder Alarms | Single |
| 49-02 | Closed-Circuit Television (CCTV) | Single |
| 50-11 | Gas Detector Sensors/Carbon Monoxide Sensors | Single |
| 50-13 | Gas Detection Panel | Single |
| 51-01 | Showers | Single |
| 52-02 | Natural Smoke and Heat Exhaust Ventilators | Single |
| 52-03 | Powered Smoke and Heat Exhaust Ventilators | Single |
| 52-04 | Smoke Curtains | Single |
| 53-01 | Solar Hot Water Panels and Similar Collecting Devices | Single |
| 54-02 | DX Split Systems (With Gas, Electric or Hot Water Heaters) | Single |
| 54-03 | Split Systems/Heat Pumps - Air-Cooled with Direct Expansion Evaporator (DX) | Single |
| 54-04 | Data Centre Cooling Plant - Chilled Water | Single |
| 54-05 | Data Centre Cooling Plant - DX | Single |
| 56-02 | Cold Water Storage Tanks and Cisterns | Single |
| 56-05 | Storage Tanks - Oil | Single |
| 56-09 | Break Tank and Pump (Fluid Category 5 Backflow Protection) | Single |
| 56-10 | Hotwell/Boiler Feed Tank | Single |
| 56-11 | Liquid Nitrogen Plant | Single |
| 59-01 | Terminal Units Vav - Self Powered | Single |
| 59-02 | Terminal Units Vav - Fan Powered | Single |
| 59-03 | Terminal Units Vav - Pneumatic Powered | Single |
| 59-04 | Terminal Units - Constant Volume including Mixing | Single |
| 59-05 | Terminal Units - Induction Units | Single |
| 59-06 | Terminal Units - Fan Coil | Single |
| 59-07 | Terminal Units - VRV Systems | Single |
| 61-05 | Push Button Shower Timers | Single |
| 61-18 | Valves - Steam Pressure Reducing Valves | Single |
| 61-19 | Valves - Steam Safety Valves | Single |
| 61-21 | Non-Thermostatic Mixing Valves - Type 1 | Single |
| 61-22 | Thermostatic Mixing Valves (TMVs) - Type 2 | Single |
| 61-23 | Thermostatic Mixing Valves (TMVs) - Type 3 | Single |
| 62-08 | Reduced Pressure Zone (RPZ) Valves | Single |
| 63-02 | Automatic Vehicle Barrier | Single |
| 63-03 | Car Charging Point | Single |
| 63-06 | Manual Vehicle Barrier | Single |
| 64-08 | Laboratory Fume Cupboard | Single |
| 64-09 | Ammonia Leak Detection System | System |
| 64-11 | Powered Pressurisation Fan Systems | Single |
| 64-12 | Automatic Air Vents/Louvres | Single |
| 64-13 | Room Pressure Gauges, Magnahelic Gauge Panel and Manometers | Single |
| 65-02 | Ion Exchange Plant - Base Exchange Softening - Commercial | Single |
| 65-06 | Filtration and Conditioning - Point of Use | Single |
| 65-07 | Reverse Osmosis | Single |
| 65-08 | Ultraviolet Disinfection Unit | Single |
| 65-10 | Chemical Dosing | Single |
| 65-15 | Duplex Water Strainers | Single |
| 65-16 | Water Purification and Demineralisation Equipment | Single |
| 70-02 | HV Packaged Substations | Single |
| 70-03 | Oil Switchgear including Oil Circuit Breakers and Oil Switches | Single |
| 70-04 | Non - Oil Switchgear | Single |
| 70-05 | Vacuum Indoor Switchgear | Single |
| 70-06 | Fluid Filled Transformer | Single |
| 70-07 | Cast Resin Transformer | Single |
| 70-08 | Ring Main Unit | Single |
| 70-09 | HV Switchpanel | Single |
| 70-10 | HV Earthing | Single |
| 72-01 | Automated Sliding Gates (Yard Gates) | Single |
| 72-02 | Automated Swing Gates (Yard Gates) | Single |
| 72-03 | Revolving Doors | Single |
| 72-04 | Roller Shutter Doors | Single |
| 72-05 | Sliding Doors | Single |
| 72-06 | Swing Doors | Single |
| 72-07 | Turnstile - Tripod Type | Single |
| 72-08 | High Security Doors | Single |
| 81-01 | Cable and Track/Rail Based Safety Systems | Single |
| 81-02 | Connectors | Single |
| 81-03 | Fall Arrest Lanyards | Single |
| 81-04 | Eyebolts used for Personal Fall Protection | Single |
| 81-05 | Mobile Man Anchors | Single |
| 81-06 | Retractable Fall Arrester | Single |
| 81-07 | Rope Climbing/Abseiling/Steeplejack - Connectors | Single |
| 81-08 | Rope Climbing/Abseiling/Steeplejack - Eyebolts used for Personal Fall Protection | Single |
| 81-09 | Rope Climbing/Abseiling/Steeplejack - Personal Suspension and Access Systems | Single |
| 81-10 | Fixed Access Ladders and Stairs | Single |
| 82-01 | Vertical Platform Lifts | Single |
| 82-03 | Hydraulic Lifts | Single |
| 82-04 | Inclined Platform Lift and Stair Riser | Single |
| 82-05 | Traction Lifts | Single |
| 84-19 | High Speed Doors | Single |
| 84-23 | Lifting Beams | Single |
| 87-02 | Emergency and Panic Escape Doors | Single |
| 87-03 | Emergency Lighting - Central Power Supply | Single |
| 87-04 | Emergency Lighting - Maintained Fittings | Single |
| 87-05 | Fire Alarm System - Daily and Weekly Inspections | Single |
| 87-07 | Fire Door Automatic Release Mechanisms | Single |
| 87-10 | Fire Hydrant - Weekly Checks | Single |
| 87-18 | Oil Storage Tanks - Above Ground | Single |
| 87-19 | Plant Room Inspections | Single |
| 87-24 | Steam Boilers - Daily and Weekly Checks and Tests | Single |
| 87-26 | Water Risk Assessment (Legionella) | Single |
| 87-28 | Independent Water Risk Assessment (Legionella) | Single |
| 87-29 | Air Conditioning Inspection (ACI) also known as TM44 Inspection - England, Wales and NI | Single |
| 87-31 | Display Energy Certificates (DEC's) - England and Wales | Single |
| 88-01 | Ancillary Buildings and Other Structures | Single |
| 88-02 | Controlled Entry Gates and Barriers | Single |
| 88-09 | Doors General/Automatic/Steel | Single |
| 88-12 | External Walls and Cladding | Single |
| 88-13 | Fences, Railings and Boundary Walls | Single |
| 88-15 | Glazed Roof/Glazed Roof Sections/Glass Canopies | Single |
| 88-17 | Grease Traps | Single |
| 88-20 | Load Bearing Walls - Internal | Single |
| 88-22 | Non-Automated Gates | Single |
| 88-27 | Road Salting - Stock Check | Single |
| 88-28 | Roof and Canopy Fall Protection Systems | Single |
| 88-30 | Roof Features and Chimneys | Single |
| 88-31 | Roof Skylights and Openings | Single |
| 88-33 | Steps, Stairs, Ramps, Balustrades and Handrails | System |
| 88-34 | Timber Maintenance Platform | Single |
| 88-35 | Toilet and Shower Areas | Single |
| 88-37 | Vehicle Access and Boundary Control | Single |
| 88-42 | Fire Escape External Staircases | Single |
| 88-43 | Fire Stopping Checks | Single |
| 88-45 | Flagpoles (Including Lighting Towers) | Single |
| 88-50 | Movable Wall Dividers | Single |
| 95-04 | Kettle (Non Pressurised) - Electric | Single |