CIVIL WORKS CONTRACT

DIO OS DTE (B)

BATSUB

BOOKLET 3 PERFORMANCE SPECIFICATION FIRM PRICE CONTRACT FOR BEL/GE/1903 SPORTS COURT FENCING BATSUB, PRICE BARRACKS, BELIZE, BFPO 12

INTENTIONALLY BLANK

Drawings

# The drawings attached to this document, are to be read in conjunction with this Performance Specification (PS) for the proposed Service Trench construction.  It should be noted that the Authority’s drawings are ‘Concept Only’ and the Contractor is to produce a full set of design documentation and confirm quantities and distances in line with the Concept and Authority’s Drawings.

# Design Responsibilities

# The Contractor shall ensure all Works are carried out in accordance with, and includes the applicable requirements of, all relevant British Standards and DIO documentation along with all other design documents specified within this PS.  NOTE that these references are provided as guidance and minimum requirement only; the responsibility remains with the Contractor to ensure that all design and construction Works comply with the latest methods, requirements and guides, and generally accepted practice as relates to the Works, geography, climate, environment and Theatre of operations.  Where there are conflicts between the Contractor’s design drawings and the Specification (Booklet 3), the PS will take precedence in all cases.  Any queries should always be addressed to the Authority in the first instance.  The references and specified British Standards (BS) and Euro Norms (EN), within this PS are to be used (or similar Authority approved standards) as a minimum standard, throughout the Works.

# UK Building Regulations.  All Works shall comply with the latest UK Building Regulations.  Should any variation be required, approval from the Authority shall be obtained in writing prior to the commencement of any Works.

# Health and Safety (H&S).  All Works shall be carried out in accordance with the Health and Safety at Work Act 1974 (HASAWA 74).  The Contractor shall submit a Construction Phase Plan (CPP) to the Authority for approval, including all risk assessments, method statements, hazardous material procedures, etc. to comply fully with CDM 2015.

# Construction Drawings.  All Works shall be constructed in accordance with the approved construction drawings (or written proposal). No works shall commence prior to obtaining written approval of the final construction drawings and proposals from the Authority.

# Design Life.  The proposed refurbishment design life to first major overhaul, repair or replacement shall be a minimum of 10 years.  The Contractor shall install all components, elements, systems and structures to satisfy this requirement, and if requested provide documentary evidence to support this.

# Existing Services.  The Contractor is responsible for ensuring all services on or adjacent to the site that will be affected by the Works are identified, located and appropriate action taken to prevent damage before work commences.  The Contractor shall ensure that any existing services and concrete slabs are reinstated to a condition at least similar to existing, with the minimum of disruption to existing facilities and services during construction.  All Works that could possibly influence existing services may only commence with written approval.  The Authority must be informed immediately if any unknown services are discovered that will have an impact on the Works or safety.

# The Contractor shall ensure that any existing services and affecting Works are of an acceptable standard to ensure the required performance over the life of the facility.  Should it be found that one or more of the services is not considered acceptable to the requirements, the Contractor shall inform the Authority and obtain written approval / instruction prior to taking any actions to rectify or make good the pertinent unacceptable situation.

# Construction Preliminaries

# Location Plan.  The location of the proposed Works within Price Barracks is shown at Dwg No. DIOB/PB/BEL_GE_1903/G/001.

# Obstructions.  As the proposed Works are to be carried out around existing infrastructure and surrounding areas, there are obstructions in the form of fences, trees and buildings etc, the Contractor is to review the site before commencing Works.

# H&S Restrictions, Precautions and Monitoring.  The Contractor shall implement the requirements described in the HASAWA 74 to protect members of the public and persons visiting the site from risks arising from the use of equipment, materials or substances defined therein.

# Control of Noise and Vibration.  The Contractor shall comply with the recommendations for practical measures to reduce noise set out in BS 5228: Parts 1, 2 and 3.

# Resource yard.  It is expected that the Contractor will not require a forward resources area other than the site. Should one be required a location within Price Barracks shall be made available, as agreed by DIO (B).  The Contractor shall be solely responsible for storage and movement of all equipment to site.  The Contractor shall remain at all times responsible for the security of equipment including prevention of theft.

# Scope of the Overall Works

- General.  This PS outlines the requirements and scope for the removal of the existing perimeter fencing including all access / egress gates and replacement with new chainlink fencing and access / egress gates, removal of the existing team shelter and replaced with a new fabricated team shelter and finally painting the concrete area surrounding the existing court markings located within the BATSUB Estate.

- The Authority.  The only persons authorised to give instructions are the Superintending Officer (SO) and the Works Contract Officer (WCO).

- Existing Assets.  The Works are situated within BATSUB, Price Barracks.  The Works location and route will be within the proximity of many live and occupied assets within Price Barracks.  This information can be found on Dwg No. DIOB/PB/BEL_GE_1903/G/001.

- Restrictions to the Works.  The Works are to be undertaken without interfering with every day running of the Authority’s operations.  The demarcation of the Site boundary is to be obvious and clearly marked to restrict access to the Site whilst the Works are being undertaken.

- Proposed Works.  The location where the Works are required is shown on Dwg No. DIOB/PB/BEL_GE_1903/G/001.  It is the Contractor’s responsibility to attend site and confirm quantities and descriptions detailed below.  A site visit will be conducted during the ITT meeting and Contractors are also free to arrange access at a later date.  The Scope of Works (SoW) for the contract is as follows:

  - Site set up.  Fence off and secure the relevant area around the perimeter of the Sports Court.  This is to include sufficient working space for all associated tasks.

  - Strip out.  The Contractor is to remove all existing fencing and associated material as well as the existing Team Shelter.

  - Install and construct.  The Contractor is required to install a new perimeter chainlink fence complete with three (3) access and egress gates as shown on Dwg No. DIOB/PB/BEL_GE_1903/C/001 and DIOB/PB/BEL_GE_1903/C/002.  Construct, fabricate and install a new Team Shelter as shown on Dwg No. DIOB/PB/BEL_GE_1903/C/001 and DIOB/PB/BEL_GE_1903/C/002.  Paint the concrete pad around the existing court markings with an appropriate all weather paint.

# General Specification

- Construction.  The specification for construction Works are as follows:

  - Site set up.  The Contractor is to ensure that the site is fenced and that all relevant safety signage is easily viewable to all personnel likely to traffic the area.

  - Statement of known Services.  The Authority will provide a Statement of known Services to the Contractor upon Contract Award; however, the Contractor is to ensure the following:

    - The Contractor (along with an Authority Representative) will confirm the area of Works to be excavated is clear of and / or identify the areas where there are buried services along their proposed demarcation for that day.

    - The Contractor is in possession of an Authority signed and dated Permit to Dig / Permit to Work before proceeding with any excavation Works and Groundworks.

    - Upon completion of the programmed excavations the Contractor will inform the Authority before commencing with the following sections of excavation.  This will then follow the same process as per para 17.b.(1) and para 17.b.(2).

  - Strip out.  The Contractor is to strip out the existing chainlink perimeter fence along with all access and egress gates and the existing Team Shelter.

  - Fencing Works.  The Contractor is to construct and install a new 160 m perimeter chainlink fence, complete with gates in accordance with the following specifications and Dwg No. DIOB/PB/BEL_GE_1903/C/002:

    - Fencing and material specifications.  All materials used are to conform with the listed BS / ENs; or be similar Authority approved.  All fencing works is to conform to BS 1722-1:2006 and all associated BS / EN documentation listed within.

    - Fencing Mesh.  The fencing mesh (chainlink) shall be zinc or zinc alloy coated wire conforming to BS EN 10223-6:1998, 5.2d) and Table 1.  The size of the mesh shall be 40 mm (1 9/16 in) or 50 mm (2 in).  The fencing mesh, where applicable will finish at a straining post and be held in position using a stretcher bar which is connected to the post via cleats.  The fence is to be at a finished height from ground level of 2 m.  The fencing mesh is to be 100 mm (4 in) minimum below ground level and back filled with top soil.

    - Posts.  All straining posts, intermediate posts and struts are to be 3 m long x 42.4 mm (1 11/16 in) dia x 2.6 mm (1/8 in) thk steel tube.  The steel posts are to be appropriately treated against the climate to prevent early corrosion.  All vertical posts are to be a depth of 0.6 m below ground level and at 3 m centres.  Struts are to be fitted to all straining posts (every 12 m) and are to be at an angle of between 30º to 45º, the struts are to be 0.6 m below ground level.  All vertical posts are to be centrally positioned within a 0.6 x 0.6 x 0.6 m excavation that will then be massed poured with a C30 concrete mix.

    - Gates.  There are to be 3 gates incorporated within the perimeter fence, 2No. single pedestrian gates and 1No. double pedestrian gate.  All gates are to be fabricated using 50 x 50 x 4 mm thk galvanised steel hollow box sectional steel.  The gate is to be hung to the adjoining vertical posts.  The posts supporting the gates are to be 130 mm dia galvanised circular hollow sectional steel, these posts are to have hinges for the receiving gate welded to them in the corresponding alignment to the gates welded hinges.  The gates are to receive the same infill fencing mesh as listed in Para 19.d.(2) above and fixed in position accordingly, this mesh is to be held in position as shown on Dwg No. DIOB/PB/BEL_GE_1903/C/002.  The gates are to have a locking mechanism as shown on Dwg No. DIOB/PB/BEL_GE_1903/C/002.  The gates are to have three (3) hinges; positioned at the top, middle and bottom of the swing side, these are to be fabricated of steel.  The double pedestrian gate is to also have a drop down locking bolt as shown on Dwg No. DIOB/PB/BEL_GE_1903/C/002.

    - Line wires.  Line wire should be zinc / zinc alloy coated low carbon (mild) steel and have a nominal diameter of 3 mm (1/8 in).  The fencing is to have three (3) line wires running at top, middle and bottom.  The top line wire is to be positioned 25 mm (1 in) below the top of the steel posts, the middle line wire is to be central to the post and the bottom line wire is to be no closer than 25 mm (1 in) from the ground.

  - Team Shelter Works.  The design of the new team shelter can be seen on Dwg No. DIOB/PB/BEL_GE_1903/C/001.  The Team Shelter shall be fabricated and installed as per the following specification:

    - Vertical stanchions.  All vertical stanchion members are to be constructed from no less than 2.4 m (long) x 50 mm x 50 mm galvanised box sectional steel (there is required to be a 10 deg fall from front to rear of shelter on the roof). The vertical stanchions are to be welded to a baseplate and bolted down into the existing concrete.

    - Roof supports.  The roof supports are to be 2.1 m (long) x 50 mm x 50 mm galvanised box sectional steel, these are to be aligned and welded to the vertical stanchions, at a fall of 10 degs front to back.

    - Intermediate ledgers.  All intermediate ledgers are to be 50 x 80 mm galvanised box sectional steel.  These are to be run at 2 levels within the Team Shelter as shown on Dwg No. DIOB/PB/BEL_GE_1903/C/001.  These ledgers are to be welded to the vertical stanchions.

    - Roof material.  The roofing material is to be from a powder coated robust profile sheeting.  The sheeting is to be fixed at every 300 mm c/c along the length of the roof supports using tech screws.

    - Side walling.  The Team Shelter is to be closed off on the rear elevation and the side elevations using a clear 5 – 6mm Perspex sheeting.  This is to be fixed at 500 mm c/c along each ledger and stanchion using tech screws.

  - Painting.  The Contractor is to paint the concrete pad with a red all weather proof paint.  The area to be painted is that of the concrete around the pre-marked sports courts and the area that divides the sports courts.

Management of the Works

- Liaison with the Authority.  The Contractor shall designate one person from within his organisation who will be responsible for liaising with the Authority or his representative (SO) on a day to day basis and as the need arises.  The Liaison Officer must have the capability of reading, writing, speaking and receiving instructions in the English Language, including being able to understand and interpret technical drawings and specifications.  The Liaison Officer must be able to explain the work operations to persons performing the work in a language that those performing the work are capable of understanding.  The person so designated shall be responsible for communicating with the Authority regarding notification of intended work and explaining the effect that the Works will or may have on the operation or systems within the site.  The Liaison Officer will be responsible for responding to the Authority's enquiries and dealing with any issues or complaints.  It is a requirement that the Contractor's Liaison Officer makes daily contact with the Authority such that an active rather than a responsive attitude to liaison is maintained.  The Contractor's Liaison Officer is a key person in achieving the successful execution of this Contract.

- Supervision.  The Contractor shall accept responsibility for co-ordination, supervision and administration of the Works, including all sub-contracts.  They shall arrange and monitor a Programme with each Sub-Contractor, local Employer and any statutory undertaker, and obtain and supply information as necessary for co-ordination of the work.  In addition to constant management and supervision of the Works provided by the Liaison Officer, all significant types of work must be under the close control of competent trade supervisors to ensure maintenance of satisfactory progress and quality.

- Co-ordination of Engineering Services.  The site organisation staff must include one or more persons with appropriate knowledge and experience of Groundworks and Civil engineering in relation to the Works generally.

- Approvals.  Where products or work are specified to be approved or the Authority instructs or requires that they are to be approved, the same must be supplied and executed to comply with all requirements.

- Notice of Completion.  The Contractor is to provide the Authority at least 7 days notice of the anticipated dates of Practical Completion of the whole or parts of the Works.

- Quality Standards / Control.  The Contractor will ensure quality standards and controls.

  - General Quality of Products.  All products shall conform to the following subparagraphs:

    - Products to be new unless otherwise specified by the Authority.

    - For products specified to a BS or EN obtain certificates of compliance from manufacturers when requested.

    - Where a choice of manufacturer or source is allowed for any particular product, the whole quantity required must be of the same type, manufacture and / or source unless otherwise approved.  Produce written evidence of sources of supply when requested by PM.

    - Ensure that the whole quantity of each product required to complete the work is of consistent type, size, quality and overall appearance.

    - Where consistency of appearance is desirable ensure consistency of supply from the same source.  Do not use different colour batches where they can be seen together.

    - If products are prone to deterioration or have a limited shelf life, order in suitable quantities to a Programme and use in appropriate sequence.  Do not use if there are any signs of deterioration, setting or other unsatisfactory condition.

  - Proprietary Products.  All products shall conform to the following subparagraphs.

    - Handle, store, prepare and use or fix each product in accordance with its manufacturer's current printed or written recommendations / instructions.  Inform PM if these recommendations / instructions conflict with any other specified requirement. Submit copies to PM when requested.

    - The tender will be deemed to be based on the products specified and recommendations on their use given in the manufacturer’s literature current at the date of tender.

  - Checking Compliance of Products.  The Contractor shall check all delivery tickets, labels, identification marks and where appropriate the products themselves to ensure that all products comply with the Contract Documents. In particular, check that the products comply with the following sub-paragraphs.

    - The sources, types, qualities, finishes and colours are correct, and match any approved samples.

    - All accessories and fixings that should be supplied with the products have been supplied.

    - Sizes are correct.  Where tolerances are critical, measure a sufficient quantity to ensure compliance.

    - The delivered quantities are correct, to ensure that shortages do not cause delays in the Works.

    - The products are clean, undamaged and otherwise in good condition.

  - Protection of Products.  All products shall be protected to ensure that they remain in the condition they are required to be in.  In particular the Contractor is to ensure that products are to be prevented from overstressing, kept clean, protected from the elements and kept in original wrappings until required for the Works

- Setting Out.  The Contractor is responsible for all setting out and shall check out the dimensions of the site against those detailed by the Authority, and record the results.  The Contractor shall inform the Authority when overall setting out is complete and before commencing Groundworks.

- Timing of Inspections.  The Contractor is to agree dates and times of inspections with the PM four days in advance, to enable the PM and other affected parties to be present.  On the previous working day to each such inspection the Contractor is to confirm to the PM that the work in question will be ready or, if not ready, agree a new date and time.

- Proposals for Rectification of Defective Work.  As soon as possible after any part(s) of the Works are known to be not in accordance with the Contract, or appear that they may not be in accordance, the Contractor is to submit proposals to the PM for inspection, making good, or removal and re-execution.  Such proposals may be unacceptable to the PM and he may issue contrary instructions.

- Quality Control.  The Contractor is to establish and maintain procedures to ensure that the Works, including the work of all Sub-contractors, comply with specified requirements.  This is to include all testing of materials that are to be incorporated into the Works (e.g. concrete).  The Contractor is to maintain full records, keep copies on site for inspection by the PM, and submit copies of particular parts of the records on request.  The records must include the following:

  - Identification of the element, item, batch or lot including location in the Works.

  - The nature and dates of inspections by the Contractor or PM and approvals.

  - The nature and extent of any non-conforming work found.

  - Details of any corrective action.

- Work at or after completion.  The Contractor is required to undertake the following Works prior to handover.

  - Make good all damage consequent upon the Works, including levelling of ground.

  - Remove all temporary markings, coverings and protective wrappings unless otherwise instructed.

- Making Good Defects.  The Contractor is to make arrangements with the PM and give reasonable notice of the precise dates for access to the various parts of the Works for purposes of making good defects.  The PM is to be informed by the Contractor when remedial Works to the various parts of the Works are completed and ready for approval.

Documents to be provided by Contractors

- Work Based Information.  For the purposes of the proposed Contract, the Contractor shall provide as a minimum a written scheme detailing the proposed method of works for each element of the proposed Works.  Due to the simple nature of the proposed Works, design drawings will not be required, though pictorial representation of proposals included within the written scheme will be acceptable.

- Site Diary.  The Contractor shall keep an up to date, daily, site diary.  This document is to be used to record all decisions made on the site both verbal and written.  The document is also to be used to record visits to site and note anything, which has a direct effect on the Contract in terms of cost and extensions to time, or any other occurrence that affects the Works Programme.  All changes must have been agreed and authorised by the Authority.  The site diary shall list in writing all issued Variation Orders (VO) and site instructions, including amended drawings, and verbal decisions made on site.  All verbal decisions must be recorded in writing no less than 24hrs after they have been made and entered in the site diary.  The Contractor shall on request make the site diary available for the Authority to inspect.  This document will be used as the audit trail in light of any disputes, concerning the Contract.

General Conditions

- Permits to Work (PTW) and Authorisation.  The Contractor shall comply with the Client’s PTW system and the JSP 375, Volume 3, (details of which are obtainable from the Authority SO), including the provision of method statements, risk assessments, Permit to Dig, etc.

- The responsibility remains with the Contractor to obtain all necessary authorisations including but not limited to a Permit to Dig, security and access to the camp and site, fencing / screens to isolate other existing facilities from the Works, etc. required to commence and complete the Works.

- The Contractor shall at all times ensure that full coordination, cooperation and liaising with the SO is achieved and maintained.

Drawings

DIOB/PB/BEL_GE_1903/G/001	-	Site Plan of Sport Court Location

DIOB/PB/BEL_GE_1903/C/001	-	Sport Court Plan & Proposed Shelter Isometric

DIOB/PB/BEL_GE_1903/C/002	-	Chainlink Fence Details

The Health & Safety at Work Act 1974.

Construction (Design & Management) Regulations 2015 (CDM 2015).

BS 5228 Control of Noise on Construction sites, Part 1, 2 & 3.

JSP 375 Management of Health and Safety in Defence.