## Lot2
Building | Location | Post Code | Status | CCTV | Intruder Detection | Intercomm | Alarms Monitered By
Almond Hse | Edinburgh | EH12 9DN | Active | Yes | Yes |  | CR
Apex house | Nottingham | NG2 4LA | Active | Yes | Yes |  | CR
Boiler House | Manchester | BH23 6SE | Active | Yes | Yes |  | CR
Bull Street | Birmingham | B41 6AF | Active | Yes | Yes |  | CR
Capital building | Liverpool | L3 9PP | Active | Yes | Yes |  | CR
Carne Exam Shed (NEW) | Belfast | BT3 9SS | To be added 2022 | Yes
Cardiff Airport | Cardiff | CF62 3BD | Active | Yes | Yes |  | CR
Chadwick House | Solihull | B91 2AA | Active | Yes | Yes |  | CR
Dallas Court | Manchester | M50 2GF | Active | Yes | Yes |  | CR
Dominium Court | Solihull | B91 3RT | Active | Yes | Yes |  | CR
Drumkeen House | Belfast | BT8 6TB | Active | Yes | Yes |  | CR
Edinburgh Airport | Edinburgh | EH12 9DN | Active | Yes | Yes
Enterprise House | Stanstead Airport | CM24 1SA | Active | Yes | Yes |  | CR
Eyden House | Belfast | BT3 9LA | Active | Yes | Yes |  | CR
Festival Court 1, 2 & 3 | Glasgow | G51 1DH | Active | Yes | Yes | Yes | CR
Franklin Court | Bedford | MK44 3JZ | Active | Yes | Yes |  | CR
General Buildings | Cardiff | CF24 0AB | Active | Yes | Yes |  | CR
Glasgow Airport | Glasgow | PA3 2TD | Active | Yes
Heron House | Birmingham | M2 5LE | Active | Yes | Yes |  | CR
HM Passport Office | Liverpool | L39BD | Active | Yes | Yes |  | CR
Humberside AP | Humberside | DN39 6YH | Active |  | Yes |  | CR
Link House | Newcastle | NE1 2JQ | Active | Yes | Yes |  | CR
Loughborough | Loughborough | LE11 3EY | Active | Yes | Yes |  | CR
Manchester Airport (T3 Server Room) | Manchester | ? | Active | Yes | Yes
Maple House | Manchester | M22 0RR | Active | Yes | Yes | Yes
Moorfield Close | Leeds | ? | Active | Yes | Yes |  | CR
Norwich Airport | Norwich | NR6 6EP | Active | Yes | Yes |  | CR
Pembroke House | East Midlands | DE74 2HN | Active | Yes | Yes |  | CR
Portishead Unit 1B | Bristol | BS20 7LF | Active | Yes | Yes | Yes | CR
Portishead Unit D | Bristol | BS20 7LZ | Active | Yes | Yes | Yes | CR
Rosebrae court | Liverpool | CH14 6DU | Active | Yes
Royal Middlehaven House | Middlesborough | TS2 1BB | Active | Yes | Yes |  | CR
Sandford House | Solihull | B91 3QJ | Active | Yes | Yes |  | CR
Soapworks | Manchester | M5 3FS | Active | Yes | Yes |  | CR
Southfield House | Durham | DH1 5TR | Active | Yes | Yes |  | CR
Vulcan House (Iron and Steel Buildings) | Sheffield | S3 8BU | Active | Yes | Yes | Yes | CR
Waterside Court 1 | Leeds | LS4 2QB | Active | Yes | Yes | Yes | CR
Waterside Court 2 | Leeds | " | Active | Yes | Yes | Yes | CR
Waterside House | Leeds | " | Active | Yes | Yes | Yes | CR
Yarlswood IDC | Bedford | MK41 6HL | Active | Yes | Yes |  | CR
Detention Services Locations
Holyhead Port | Wales |  | Active | Yes
Manchester Airport T2 | Manchester |  | Active | Yes
Glasgow Airport | Glasgow |  | Active | Yes
Birmingham Airport | Birmingham |  | Active | Yes

## Almond hse
BUILDING | Almond House
Date of Visit | 15th and 16th July 2019
Engineer | Steve Burgess
CCTV SYSTEM
|  |  |  | SSM Installed | YES | NO
SSG
Number of Recorders | 1 | Make and Model | Samsung
Number of Cameras | 9 | Make and Model | Sanyo
Number of VDU`s | 1 | Make and Model | Samsung
INTRUDER ALARM SYSTEM
SSG
Number of Control Panels | 1 | Make and Model | Galaxy Dimension 264 version 6.79
Number of Power Supplies | 4 | Make and Model | Smart PSU
Number of Key Pads | 5 | Make and Model | Galaxy Dimension
Number of Volumetric Detection Devices | 11 | Make and Model
Number of Door/Window Contacts | 23 | Make and Model | Aritech
Number of Vibration Devices | 19 | Make and Model
Number of Breakglass Detection Devices | 0 | Make and Model
Number of PA Buttons | 0 | Make and Model
Remote Monitoring | x2 | Type of Monitoring | Ethernet Board, Serial Convertor

## Apex
BUILDING | Apex House
Date of Visit
Engineer
CCTV SYSTEM
|  |  |  | SSM Installed | YES | NO
SSG
Number of Recorders | 1 | Make and Model | Samsung SRN473
Number of Cameras | 1 | Make and Model | Samsung SNDL5013
Number of VDU`s | 1 | Make and Model | SMT-1922
INTRUDER ALARM SYSTEM
SSG
Number of Control Panels | 1 | Make and Model | Galaxy Dimension 48 version 6.92
Number of Power Supplies | 0 | Make and Model
Number of Key Pads | 1 | Make and Model | Mk 7
Number of Volumetric Detection Devices | 2 | Make and Model
Number of Door Contacts | 1 | Make and Model
Number of Vibration Devices | 1 | Make and Model
Number of Breakglass Detection Devices | 0 | Make and Model
Number of PA Buttons | 0 | Make and Model
Remote Monitoring | 2 | Type of Monitoring | 1x Ethernet Board, 1x Serial Convertor
Any Relative Information

## Boiler house
BUILDING | Boiler House
Date of Visit
Engineer
CCTV SYSTEM
|  |  |  | SSM Installed | YES | NO
USS
Number of Recorders | 1 | Make and Model | Hanwha XRN2010P1T
Number of Cameras | 20 | Make and Model | Hanwha XNO-6085R(11) XNV-6080R (9)
Number of VDU`s | 1 | Make and Model | Wisenet
INTRUDER ALARM SYSTEM
USS
Number of Control Panels | 1 | Make and Model | GD96
Number of Power Supplies | 5 | Make and Model | C072
Number of Key Pads | 1 | Make and Model | CP038-01
Number of Volumetric Detection Devices | 25 | Make and Model | AFW-0001
Number of Door/Window Contacts | 10 | Make and Model | CQR
Number of Vibration Devices | 0 | Make and Model | 0
Number of Breakglass Detection Devices | 10 | Make and Model | 0
Number of PA Buttons | 1 | Make and Model | 0
Remote Monitoring |  | Type of Monitoring | Ethernet Board, Serial Convertor

## Bull Street
BUILDING | Bull street
Date of Visit
Engineer
CCTV SYSTEM
|  |  |  | SSM Installed | YES
Number of Recorders | 2 | Make and Model | Samsung SRN4000
Number of Cameras | 49 | Make and Model | Samsung QND6010
Number of VDU`s | 3 | Make and Model | Samsung SMT2233
INTRUDER ALARM SYSTEM
Number of Control Panels | 1 | Make and Model | Honeywell 520
Number of Power Supplies and Batteries | 9 | Make and Model | Honeywell Power RIO
Number of Key Pads | 7 | Make and Model | Honeywell Mk7
Number of Volumetric Detection Devices | 46 | Make and Model | Optex FX50QZ
Number of Door Contacts | 50 | Make and Model | CQR SC570
Number of Vibration Devices | 63 | Make and Model | Honeywell Viper GL
Number of Breakglass Detection Devices | 0 | Make and Model
Number of PA Buttons | 20 | Make and Model | CQR PADP/SS/WH Double Push
Remote Monitoring | 1 | Type of Monitoring | Croydon
INTERCOM SYSTEM
Number of Exchanges | 0 | Make and Model
Number of Stations | 0 | Make and Model
Number of Phones | 0 | Make and Model
Any Relative Information
CCTV PC on Ground Floor

## Capital Building
BUILDING | Capital building
Date of Visit
Engineer
CCTV SYSTEM
|  |  |  | SSM Installed | YES | NO
USS
Number of Recorders | 4 | Make and Model | Hanwha (3 x PRN-4011) (1 x XRN-1610S)
Number of Cameras | 146 | Make and Model | Hanwha - XNV-6081R
Number of VDU`s | 11 | Make and Model | Wisenet
INTRUDER ALARM SYSTEM
USS
Number of Control Panels | 2 | Make and Model | GD520
Number of Power Supplies | 64 | Make and Model | 59 C072- 5 P026
Number of Key Pads | 2 | Make and Model
Number of Volumetric Detection Devices | 104 | Make and Model
Number of Door/Window Contacts | 131 | Make and Model
Number of Vibration Devices | 136 | Make and Model
Number of Breakglass Detection Devices | 104 | Make and Model
Number of PA Buttons | 72 | Make and Model
Remote Monitoring |  | Type of Monitoring | Ethernet Board, Serial Convertor

## Cardiff Airport
BUILDING | Cardiff Airport
Date of Visit
Engineer
CCTV SYSTEM
|  |  |  | SSM Installed | YES | NO
SSG
Number of Recorders | 1 | Make and Model | Samsung XRN410SP
Number of Cameras | 4 | Make and Model | Samsung QNV6070RP
Number of VDU`s | 3 | Make and Model | Samsung SMT2233
INTRUDER ALARM SYSTEM
SSG
Number of Control Panels | 1 | Make and Model | Honeywell Galaxy Dimension 3-48
Number of Power Supplies and Batteries | 0 | Make and Model | Honeywell Power RIO
Number of Key Pads | 1 | Make and Model | Honeywell Mk7
Number of Volumetric Detection Devices | 1 | Make and Model | Honeywell IS3016A
Number of Door Contacts | 3 | Make and Model | CQR SC517 G3
Number of Vibration Devices | 6 | Make and Model | Honeywell Viper GL
Number of Breakglass Detection Devices | 0 | Make and Model
Number of PA Buttons | 0 | Make and Model
Remote Monitoring | 0 | Type of Monitoring | Local Sounder
Any Relative Information

## Cardiff Newport road
BUILDING | General Building, Newport Road, Cardiff
Date of Visit | 2021-08-11
Engineer | W Ollerton/ R walsh
CCTV SYSTEM
|  |  |  | SSM Installed | YES
Number of Recorders | 5 | Make and Model | 3 x Samsung SRD-1670, 1 X Samsung PRN4011, 1 x SRN4000
Number of Cameras | 89 | Make and Model | 24x Analogue Cameras, 65 Hanwa IP Cameras
Number of VDU`s | 3 | Make and Model | Samsung SMT2233
INTRUDER ALARM SYSTEM
Number of Control Panels | 1 | Make and Model | Honeywell Galaxy C520
Number of Power Supplies | 8 | Make and Model | Honeywell Galaxy Power RIO
Number of Key Pads | 4 | Make and Model | Honeywell Galaxy Mk7 LCD
Number of Volumetric Detection Devices | 63 | Make and Model | Optex FX50
Number of Door Contacts | 46 | Make and Model | Aritech DC103
Number of Vibration Devices | 16 | Make and Model | Viper GL
Number of Breakglass Detection Devices | 64 | Make and Model
Number of PA Buttons | 34 | Make and Model | CQR PADP/3/WH/SS
Remote Monitoring | 1 | Type of Monitoring | Ethernet Module
INTERCOM SYSTEM
Number of Exchanges |  | Make and Model
Number of Stations |  | Make and Model
Number of Phones |  | Make and Model
Any Relative Information

## Chadwick hse
BUILDING | Chadwick House
Date of Visit | 2019-09-05
Engineer | Cameron Hill
CCTV SYSTEM
|  |  |  | SSM Installed | YES | NO
SSG
Number of Recorders | 1x DVR | Make and Model | 1x SRD1670
Number of Cameras | 6 | Make and Model | 6x Analogue Cameras
Number of VDU`s | ? | Make and Model | ?
INTRUDER ALARM SYSTEM
SSG
Number of Control Panels | 1 | Make and Model | Galaxy Dimension 296
Number of Power Supplies | 6 | Make and Model | Smart RIO's
Number of Key Pads | 4 | Make and Model | MK7
Number of Volumetric Detection Devices | 29 | Make and Model
Number of Door Contacts | 29 | Make and Model
Number of Vibration Devices | 72 | Make and Model
Number of Breakglass Detection Devices |  | Make and Model
Number of PA Buttons |  | Make and Model
Remote Monitoring | 2 | Type of Monitoring | 1x Serial Convertor, 1x Ethernet Board
Any Relative Information

## Dallas Court
BUILDING | DALLAS COURT MANCHESTER
Date of Visit | 2021-06-01
Engineer | S.GREENHALGH - SSG CENTRAL
CCTV SYSTEM
|  |  |  | SSM Installed | YES | V2.10.8
SSG
Number of Recorders | 1 | Make and Model | SAMSUNG – SRN-4000
Number of Cameras | 30 | Make and Model | SND-L6083R(20)-SNO-6084R(2)SND-5061(4) SND-6320H(4)
Number of VDU`s | 3 | Make and Model | SAMSUNG SMT-2232 (2) Vista-VLFSM17/DB (1)
INTRUDER ALARM SYSTEM
SSG
Number of Control Panels | 2 | Make and Model | GALAXY 520 (1) GALAXY 264 (1) - RIO's - 60
Number of Power Supplies and Batteries | 12(3A/2A) | Make and Model | Elmdene 3A(11) - 2A (1) Batteries - 2 x NP12-7A 12 x NP12-12A
Number of Key Pads | 5 | Make and Model | GALAXY MK7
Number of Volumetric Detection Devices | 38 | Make and Model | FX50(23) IR 725 DX(8) Optex DT(1) Optex LX40(2) Piramid LT(4)
Number of Door Contacts | 95 | Make and Model | Aritech - DC103 (89) SSG - SHDBR-100(4) CQR(2)
Number of Vibration Devices | 189 | Make and Model | Honeywell VIPER GLX (White)
Number of Breakglass Detection Devices | NIL | Make and Model | N/A
Number of PA Buttons | 48 | Make and Model | Chrono Press(12)Push Button (20) CQR DP Plastic(13) S/S (3)
Remote Monitoring | 2 | Type of Monitoring | LUNA HSE - ETHERNET - E08-04
Any Relative Information
COMNET - cnge2fe24ms-poe Managed Switch
COMNET - ps-dra-480-48A - POE Transformer
3-COM - 3cblsg-24 Managed Switch
Control - I5002675 serial convertor (2) - inside Galaxy Panels
CCTV Rack PC - Windows 10 Pro - AMD W4100 Graphics - 8Gb RAM- SMS - V2.10.8
System "A" - 36 RIO's System "B" - 24 RIO's

## Dominion court
BUILDING | Dominion Court
Date of Visit
Engineer
CCTV SYSTEM
|  |  |  | SSM Installed | YES | NO
|  | SSG |  | SSM PC | x1
Number of Recorders | 1 | Make and Model | PRN-4011
Number of Cameras | 41 | Make and Model | 29x SND5061, 6x SNO6084R, 1x SND6084, 5x QNV6070R
Number of VDU`s | 3 | Make and Model | 2x SMT-2232, 1 SMT-1922
INTRUDER ALARM SYSTEM
SSG
Number of Control Panels | 2 | Make and Model | 1x Galaxy Dimension 520, 1x Galaxy Dimension 48
Number of Power Supplies | 11 | Make and Model | 6x Smart RIO's, 5x Old PSU's
Number of Key Pads | 3 | Make and Model | MK7
Number of Volumetric Detection Devices | 27 | Make and Model
Number of Door Contacts | 77 | Make and Model
Number of Vibration Devices | 68 | Make and Model
Number of Breakglass Detection Devices |  | Make and Model
Number of PA Buttons | 15 | Make and Model
Remote Monitoring | 2 | Type of Monitoring | 1x Serial, 1x Ethenet
Any Relative Information

## Drumkeen hse
BUILDING | Drumkeen House, Belfast
Date of Visit
Engineer
CCTV SYSTEM
|  |  |  | SSM Installed | YES | NO
SSG
Number of Recorders | 3 | Make and Model | Samsung XRN-1610S
Number of Cameras | 39 | Make and Model | Samsung XND-6080R & XNO-6080R
Number of VDU`s | 0 | Make and Model | n/a
INTRUDER ALARM SYSTEM
SSG
Number of Control Panels | 1 | Make and Model | Galaxy
Number of Power Supplies | 25 | Make and Model | Boxed Rio
Number of Key Pads | 2 | Make and Model | Galaxy
Number of Volumetric Detection Devices | 93 | Make and Model | Honeywell
Number of Door Contacts | 15 | Make and Model | CJD
Number of Vibration Devices | 0 | Make and Model | n/a
Number of Breakglass Detection Devices | 0 | Make and Model | n/a
Number of PA Buttons | 10 | Make and Model | System not maintained by SSG
Remote Monitoring | 1 | Type of Monitoring | 1x Ethernet Board, 1x Serial Convertor
Any Relative Information
Intercom, AACS & PAB buttons on site are not maintained by SSG.
However, Mr Avery asked could SSG upgrade the PAB buttons on site then unfortunately
COVID-19 hit. Unlikely SSG N.Ireland will be able to deliver this as we will be concentrating
on our core works to catch up. This may be subject to change should SSG management allow
the work to be done.

## Eyden House
BUILDING | Eyden House
Date of Visit
Engineer
CCTV SYSTEM
|  |  |  | SSM Installed | YES | NO
USS
Number of Recorders | 1 | Make and Model | Hanwha XRN-2011
Number of Cameras | 22 | Make and Model | 11 x XND-6085V, 11 x XNV-6085
Number of VDU`s | 2 | Make and Model | Hanwha
INTRUDER ALARM SYSTEM
USS
Number of Control Panels | 1 | Make and Model | Galaxy GD96
Number of Power Supplies | 3 | Make and Model | P026
Number of Key Pads | 2 | Make and Model | CP038
Number of Volumetric Detection Devices | 17 | Make and Model | AM360DT
Number of Door/Window Contacts | 14 | Make and Model | Flush and Surface
Number of Vibration Devices | 4 | Make and Model | Honeywell Viper
Number of Breakglass Detection Devices | 0 | Make and Model
Number of PA Buttons | 2 | Make and Model | ELM-PA-G3
Remote Monitoring |  | Type of Monitoring | Ethernet and RS232 to Lunar Hse SCR

## Edinbutgh Airport
BUILDING | Edinburgh Airport Airside&custody suite
Date of Visit | 2021-07-23
Engineer | K Smith
CCTV SYSTEM
|  |  |  | SSM Installed | YES | NO
SSG
Number of Recorders | 2 | Make and Model | Indigovision NVR-as 4000 v16.1
Number of Cameras | 23 | Make and Model | indigovision vp804& vp 816
Number of VDU`s | 2 | Make and Model | windows 10 generic pc &samsung monitors runing indigovision software v16.1
INTRUDER ALARM SYSTEM
SSG
Number of Control Panels | 1 | Make and Model | Europlex 3GS
Number of Power Supplies and Batteries | 2 | Make and Model | Galaxy PSU
Number of Key Pads | 3 | Make and Model | Europlex 3GS
Number of Volumetric Detection Devices | 11 | Make and Model | Risco 360 D-TEC & Risco D-TEC
Number of Door Contacts | 12 | Make and Model | aitech
Number of Vibration Devices | 5 | Make and Model | VIPER
Number of Breakglass Detection Devices |  | Make and Model
Number of PA Buttons |  | Make and Model
Remote Monitoring |  | Type of Monitoring
Any Relative Information
Europles IDS is faulty and not used by site as open 24/7 also keypad has error code 386(processor fault) is system actually required ??
Access System installed is a JWS card entry system PC based door entry system on a dell windows7 pc located in comms room with line driver
to controllers are located in the custody suite with 2 PSU for Locks Software installed on PC is Navigator pro v4 This system comprises 7 Doors & 7 Controllers
CCTV system also has 2 poe switches in Custody suite and 2 No 24v ac PSU for external cameras
24way POE switches are Planet gsw2020hp & Trendnet tp162ows

## Enterprise
BUILDING | Enterprise House
Date of Visit
Engineer | S.Cosens
CCTV SYSTEM
|  |  |  | SSM Installed | YES | NO
SSG
Number of Recorders | 1 | Make and Model | SRD-1670
Number of Cameras | 7 | Make and Model | 7x Analogue Cameras
Number of VDU`s | 1 | Make and Model | SMT-1922
INTRUDER ALARM SYSTEM
SSG
Number of Control Panels | 1 | Make and Model | Galaxy Dimension 96
Number of Power Supplies | 6 | Make and Model | Smart RIO
Number of Key Pads | 7 | Make and Model | MK7
Number of Volumetric Detection Devices | 37 | Make and Model
Number of Door Contacts | 16 | Make and Model
Number of Vibration Devices | 22 | Make and Model
Number of Breakglass Detection Devices |  | Make and Model
Number of PA Buttons |  | Make and Model
Remote Monitoring | 2 | Type of Monitoring | 1x Ethernet Board, 1x Serial Convertor
Any Relative Information

## Festival Court 1
BUILDING | Festival Court 1
Date of Visit
Engineer
CCTV SYSTEM
|  |  |  | SSM Installed | YES | NO
|  | SSG |  |  | X
Number of Recorders | 2 | Make and Model | 1x Samsung XRN-2010A, 1x SRD-1650D
Number of Cameras | 36 | Make and Model | 4x Coax cameras, 32x SND-5061
Number of VDU`s | 2 | Make and Model | 2x SMT-2232
INTRUDER ALARM SYSTEM
SSG
Number of Control Panels | 2 | Make and Model | 2x Galaxy 264
Number of Power Supplies and Batteries | 6 | Make and Model | Smart RIO's
Number of Key Pads | 6 | Make and Model | MK7
Number of Volumetric Detection Devices | 21 | Make and Model
Number of Door Contacts | 97 | Make and Model
Number of Vibration Devices | 97 | Make and Model
Number of Breakglass Detection Devices |  | Make and Model
Number of PA Buttons | 15 | Make and Model
Remote Monitoring | 4 | Type of Monitoring | 2x ethernet boards, 2 serial convertors
INTERCOM SYSTEM
SSG
Number of Exchanges | 1 | Make and Model | XE1
Number of Stations | 2 | Make and Model
Number of Phones | 1 | Make and Model
Any Relative Information
6x 7Ah batteries (smart RIO's), 2x 17Ah batteries (panels)

## Festival Court 2
BUILDING | Festival Court 2
Date of Visit
Engineer
CCTV SYSTEM
|  |  |  | SSM Installed | YES | NO
|  | SSG |  |  |  | x
Number of Recorders | 2 | Make and Model | 2x Samsung SRD-1650D
Number of Cameras | 22 | Make and Model | 22x coax cameras
Number of VDU`s |  | Make and Model
INTRUDER ALARM SYSTEM
SSG
Number of Control Panels | 2 | Make and Model | Galaxy 264
Number of Power Supplies and Batteries | 8 | Make and Model | smart RIO's
Number of Key Pads | 4 | Make and Model | MK7
Number of Volumetric Detection Devices | 26 | Make and Model
Number of Door Contacts | 79 | Make and Model
Number of Vibration Devices | 76 | Make and Model
Number of Breakglass Detection Devices |  | Make and Model
Number of PA Buttons | 35 | Make and Model
Remote Monitoring | 4 | Type of Monitoring | 2x ethernet, 2x serial convertors
Any Relative Information
8x 7Ah batteries, 2x 17 Ah batteries

## Festival Court 3
BUILDING | Festival Court 3
Date of Visit
Engineer
CCTV SYSTEM
|  |  |  | SSM Installed | YES | NO
|  | SSG |  |  | x
Number of Recorders | 1 | Make and Model | SRD-1650D
Number of Cameras | 10 | Make and Model | Coax cameras
Number of VDU`s | 2 | Make and Model | 2x SMT-2232
INTRUDER ALARM SYSTEM
SSG
Number of Control Panels | 2 | Make and Model | Galaxy 264
Number of Power Supplies and Batteries | 12 | Make and Model | smart RIO's
Number of Key Pads | 3 | Make and Model | MK7
Number of Volumetric Detection Devices | 21 | Make and Model
Number of Door Contacts | 114 | Make and Model
Number of Vibration Devices | 96 | Make and Model
Number of Breakglass Detection Devices |  | Make and Model
Number of PA Buttons |  | Make and Model
Remote Monitoring | 4 | Type of Monitoring | 2 ethernet boards, 2x serial convertors
Any Relative Information
12x 7Ah batteries, 2x 17Ah batteries

## Franklin COurt
BUILDING | Franklin Court
Date of Visit | 15-16 July 2019
Engineer | Steve Cosens & Figo Antony
CCTV SYSTEM
|  |  |  | SSM Installed | YES | NO
SSG
Number of Recorders | 1 | Make and Model | SRD-1670
Number of Cameras | 15 | Make and Model | 15x Analogue Cameras
Number of VDU`s | 1 | Make and Model | Vista CRT
INTRUDER ALARM SYSTEM
SSG
Number of Control Panels | 1 | Make and Model | galaxy 264
Number of Power Supplies | 7 | Make and Model | Elemdene 12 Volt
Number of Key Pads | 5 | Make and Model | galaxy 264
Number of Volumetric Detection Devices | 24 | Make and Model | Optex CX502/FX360
Number of Door Contacts | 55 | Make and Model | Aritech DC103
Number of Vibration Devices | 52 | Make and Model | Euroviper GLX
Number of Breakglass Detection Devices | 0 | Make and Model | N/A
Number of PA Buttons | 0 | Make and Model | N/A
Remote Monitoring | 1 | Type of Monitoring | Netgear Switch Croydon
Any Relative Information
1. No Panic buttons fitted in building
2. All ids batterys dated August 2016
3. camera 13 on rear fire exit spiral stairs had water damage - reported previously
No easy access available.
4. Genie CCTV 12volt power supply
5.EATON Eliipse ECO 500 UPS fitted
6.External Cameras : Sanyo VCC-ZM300P
7.Internal cameras : Sanyo VDC-D1585 VP

## Glasgow Airport
BUILDING | Glasgow Airport Airside Custody Suite
Date of Visit | 2021-07-20
Engineer | Kenneth Smith
CCTV SYSTEM
|  |  |  | SSM Installed | YES | NO
SSG
Number of Recorders | 1 | Make and Model | Indigovision NVR-AS4000
Number of Cameras | 10 | Make and Model | Indigovision VP816,VP804,BX420-HD
Number of VDU`s | 2 | Make and Model | Samsung 24 inch
Any Relative Information
camera : VP816 ,1 off
:VP804 , 4 off
:BX420 2off
Netgear 24 way POE switch -FS726TP and cabinet
Galaxy keypad --depowered

## Heron house
BUILDING | Heron House
Date of Visit
Engineer
CCTV SYSTEM
|  |  |  | SSM Installed | YES | NO
USS
Number of Recorders | 1 | Make and Model | Hanwha XRN-2011
Number of Cameras | 7 | Make and Model | Hanwha XND-6085V
Number of VDU`s | 1 | Make and Model | Hanwha 22inch
INTRUDER ALARM SYSTEM
USS
Number of Control Panels | 1 | Make and Model | Galaxy CD96-D-E1
Number of Power Supplies | 2 | Make and Model | Galaxy P026-01-B
Number of Key Pads | 1 | Make and Model | Galaxy CP038
Number of Volumetric Detection Devices | 10 | Make and Model | 360QD
Number of Door/Window Contacts | 4 | Make and Model | Flush
Number of Vibration Devices | 9 | Make and Model | Viper GLX
Number of Breakglass Detection Devices | 0 | Make and Model
Number of PA Buttons | 0 | Make and Model
Remote Monitoring |  | Type of Monitoring | Ethernet and RS232 Serial to Lunar Hse CR

## HMPO Old Hall St
BUILDING | HMPO Old Hall St
Date of Visit
Engineer
CCTV SYSTEM
|  |  |  | SSM Installed | YES | NO
USS
Number of Recorders | 1 | Make and Model | Hanwha XRN-2010
Number of Cameras | 17 | Make and Model | 10 x XND-6080, 7 x XND-6081V
Number of VDU`s | 1 | Make and Model | Hanwha
INTRUDER ALARM SYSTEM
USS
Number of Control Panels | 1 | Make and Model | Galaxy GD48
Number of Power Supplies | 1 | Make and Model | Galaxy P026
Number of Key Pads | 1 | Make and Model | CP038
Number of Volumetric Detection Devices | 7 | Make and Model | Texecom AFX-0001
Number of Door/Window Contacts | 8 | Make and Model | Surface
Number of Vibration Devices | 9 | Make and Model | Viper GLX
Number of Breakglass Detection Devices | 0 | Make and Model
Number of PA Buttons | 0 | Make and Model
Remote Monitoring |  | Type of Monitoring | Galaxy Ethernet and Comtrol RS232 to Lunar House SCR

## Humberside airport
BUILDING | Humberside Airport
Date of Visit
Engineer
|  |  |  | SSM Installed | YES
INTRUDER ALARM SYSTEM
SSG
Number of Control Panels | 1 | Make and Model | Honeywell Galaxy Dimension 3-48
Number of Power Supplies and Batteries | 0 | Make and Model
Number of Key Pads | 1 | Make and Model | Honeywell Mk7
Number of Volumetric Detection Devices | 4 | Make and Model | Honeywell IS3016A
Number of Door Contacts | 7 | Make and Model | Aritech DC103
Number of Vibration Devices | 6 | Make and Model | Honeywell Viper GL
Number of Breakglass Detection Devices | 0 | Make and Model
Number of PA Buttons | 0 | Make and Model
Remote Monitoring | 1 | Type of Monitoring | TD1 Dialler
Any Relative Information

## Link hse
BUILDING | Link House
Date of Visit
Engineer
CCTV SYSTEM
|  |  |  | SSM Installed | YES | NO
SSG
Number of Recorders | 1 | Make and Model | SRN-1673
Number of Cameras | 16 | Make and Model | 6x QNO-6070R, 3x QND-6070R, 4x SNDL06083R, 3x SNP-6320H
Number of VDU`s | ? | Make and Model | ?
INTRUDER ALARM SYSTEM
SSG
Number of Control Panels | 1 | Make and Model | Galaxy 520
Number of Power Supplies and Batteries | 15 | Make and Model | smart RIO's
Number of Key Pads | 3 | Make and Model | MK7
Number of Volumetric Detection Devices | 42 | Make and Model
Number of Door Contacts | 156 | Make and Model
Number of Vibration Devices | 145 | Make and Model
Number of Breakglass Detection Devices |  | Make and Model
Number of PA Buttons | 8 | Make and Model
Remote Monitoring | 2 | Type of Monitoring | 1x ethernet, 1x serial convertor
Any Relative Information
16x 7Ah batteries

## Loughborough RC
BUILDING | Loughborough RC
Date of Visit
Engineer
CCTV SYSTEM
|  |  |  | SSM Installed | YES | NO
SSG
Number of Recorders | 1 | Make and Model | XRN-2011
Number of Cameras | 30 | Make and Model | 8x SNO-6084R, 5x SND-L5013, 1x QNV-7010R, 16x XND-6080R
Number of VDU`s |  | Make and Model
INTRUDER ALARM SYSTEM
SSG
Number of Control Panels | 1 | Make and Model | Galaxy 520
Number of Power Supplies and Batteries | 6 | Make and Model | smart RIO's
Number of Key Pads | 3 | Make and Model | MK7
Number of Volumetric Detection Devices | 28 | Make and Model
Number of Door Contacts | 64 | Make and Model
Number of Vibration Devices | 51 | Make and Model
Number of Breakglass Detection Devices |  | Make and Model
Number of PA Buttons | 28 | Make and Model
Remote Monitoring | 2 | Type of Monitoring | 1x ethernet board, 1x serial convertor
Any Relative Information
7x 7Ah batteries

## Manchester Airport T3
BUILDING | Manchester Airport T3
Date of Visit
Engineer
CCTV SYSTEM
|  |  |  | SSM Installed | NO
SSG
Number of Recorders | 1 | Make and Model | Samsung 1670 NVR
Number of Cameras | 4 | Make and Model | Samsung QNV6070RP
Number of VDU`s | 3 | Make and Model | Samsung SMT1934
INTRUDER ALARM SYSTEM
SSG
Number of Control Panels | 1 | Make and Model | Honeywell Galaxy Dimension 3-48
Number of Power Supplies and Batteries | 0 | Make and Model
Number of Key Pads | 2 | Make and Model | Honeywell Mk7
Number of Volumetric Detection Devices | 2 | Make and Model | Honeywell IS3016A
Number of Door Contacts | 1 | Make and Model | CQR SC517 G3
Number of Vibration Devices | 0 | Make and Model | 0
Number of Breakglass Detection Devices | 0 | Make and Model
Number of PA Buttons | 0 | Make and Model
Remote Monitoring | 0 | Type of Monitoring | Honeywell Mk7 RKD in Watchhouse
Any Relative Information

## Maple hse
BUILDING | Maple House
Date of Visit | 2019-08-08
Engineer | LUKE BIRCHALL
CCTV SYSTEM
|  |  |  | SSM Installed | YES
SSG
Number of Recorders | 2 | Make and Model | SAMSUNG WISENET PRN 4011
Number of Cameras | 57 | Make and Model | 30 X WISENET QNO 6070R, 24 X WISENET QNV 6070R & 3 X LANDLORDS PTZ DOMES
Number of VDU`s | 10 | Make and Model | SAMSUNG SMT 2232
INTRUDER ALARM SYSTEM
SSG
Number of Control Panels | 1 | Make and Model | GALAXY DIMENSION 264 V6.79
Number of Power Supplies | 4 | Make and Model | GALAXY POWER RIO
Number of Key Pads | 2 | Make and Model | GALAXY MK7
Number of Volumetric Detection Devices | 2 | Make and Model | RISCO IWISE DUAL TECH
Number of Door Contacts | 12 | Make and Model | 6 X CQR SURFACE 6 X ELEMDENE 6HDBRS
Number of Vibration Devices | 50 | Make and Model | TEXECOM IMPAQ
Number of Breakglass Detection Devices | N/A | Make and Model
Number of PA Buttons | 1 | Make and Model | CQR DOUBLE PUSH
Remote Monitoring | N/A | Type of Monitoring
INTERCOM SYSTEM
SSG
Number of Exchanges |  | Make and Model
Number of Stations | 10 | Make and Model | VIDEX VX2200
Number of Phones | 1 | Make and Model | VICEX ART.2210A-1
Any Relative Information
MULTIPLE IDS CCTS WIRED IN SERIES (VIPERS)

## Moorfield close
BUILDING | Moorfield Close
Date of Visit
Engineer
CCTV SYSTEM
|  |  |  | SSM Installed | YES | NO
SSG
Number of Recorders | 1 | Make and Model | SRD-1670
Number of Cameras | 6 | Make and Model | 6x Analogue Cameras
Number of VDU`s | 1 | Make and Model | Samsung SMT1935
INTRUDER ALARM SYSTEM
SSG
Number of Control Panels | 1 | Make and Model | Honeywell Galaxy C264
Number of Power Supplies | 2 | Make and Model | Honeywell Galaxy Power RIO
Number of Key Pads | 2 | Make and Model | Honeywell Galaxy Mk7 LCD
Number of Volumetric Detection Devices | 12 | Make and Model | Optex FX50
Number of Door Contacts | 19 | Make and Model | Aritech DC103
Number of Vibration Devices | 19 | Make and Model | Viper GL
Number of Breakglass Detection Devices | 0 | Make and Model
Number of PA Buttons | 2 | Make and Model | CQR PADP/3/WH/SS
Remote Monitoring | 1 | Type of Monitoring | Ethernet Module
Any Relative Information
6 No. Power Rios

## Norwich airport
BUILDING | Norwich Airport
Date of Visit | 2020-10-15
Engineer | Stewart Coles
CCTV SYSTEM
|  |  |  | SSM Installed | NO
SSG
Number of Recorders | 1 | Make and Model | DM SPRITE 2
Number of Cameras | 3 | Make and Model | FIXED DOME VANTAGE VSC480
Number of VDU`s | 1 | Make and Model | SAMSUNG SMT1935
INTRUDER ALARM SYSTEM
SSG
Number of Control Panels | 1 | Make and Model | GALAXY 512
Number of Power Supplies and Batteries | 1 | Make and Model | ELMDENE
Number of Key Pads | 1 | Make and Model | GALAXY
Number of Volumetric Detection Devices | 4 | Make and Model | OPTEX SQ360 X2. OPTEX FX50QZ X1.CK 1035 X1
Number of Door Contacts | 2 | Make and Model | ARITECH DC103
Number of Vibration Devices | 2 | Make and Model | VIPER GLX
Number of Breakglass Detection Devices | 0 | Make and Model | N/A
Number of PA Buttons | 0 | Make and Model | N/A
Remote Monitoring | 1 | Type of Monitoring | SD1+
Any Relative Information

## Pembroke house
BUILDING | Pembroke House
Date of Visit
Engineer
CCTV SYSTEM
|  |  |  | SSM Installed | YES | NO
SSG
Number of Recorders | 1 | Make and Model | XRN-1610SA NVR
Number of Cameras | 14 | Make and Model | 10x XNV-6080R 4x XNP-6370RH
Number of VDU`s | ? | Make and Model | ?
INTRUDER ALARM SYSTEM
SSG
Number of Control Panels | 2 | Make and Model | 1x Galaxy 264, 1x Galaxy 48
Number of Power Supplies | 4 | Make and Model
Number of Key Pads | 3 | Make and Model | MK7
Number of Volumetric Detection Devices | 17 | Make and Model | Optex FX50Q2
Number of Door Contacts | 42 | Make and Model | DC103
Number of Vibration Devices | 47 | Make and Model | GLX Vipers
Number of Breakglass Detection Devices | 2 | Make and Model
Number of PA Buttons |  | Make and Model
Remote Monitoring | 2 | Type of Monitoring | 1x Ethernet, 1x Serial Convertor
Any Relative Information

## Portishead
BUILDING | Portishead
Date of Visit | 22 to 24th July 2019
Engineer | Brian Austin
CCTV SYSTEM
|  |  |  | SSM Installed | YES | NO
SSG
Number of Recorders | 2 | Make and Model | 2x SRN-1670
Number of Cameras | 24 | Make and Model | 17x SNO-6084, 6x SND-6084, 1x SNV-6084
Number of VDU`s | ? | Make and Model | ?
INTRUDER ALARM SYSTEM
SSG
Number of Control Panels | 2 | Make and Model | 1x Galaxy 264 V6.92, 1x Galaxy 264 V6.29
Number of Power Supplies | 13 | Make and Model | Galaxy Powered RIO's PO26
Number of Key Pads | 4 | Make and Model | MK7
Number of Volumetric Detection Devices | 60 | Make and Model | 3x PIR's, 57x Risco 360 DT
Number of Door Contacts | 109 | Make and Model | CQR SC550/WH Surface Door Contacts
Number of Vibration Devices | 100 | Make and Model | Honeywell GLX Vipers
Number of Breakglass Detection Devices |  | Make and Model
Number of PA Buttons | 4 | Make and Model | CQR PASP1
Remote Monitoring | 2 | Type of Monitoring | 1x Honeywell Ethernet Board, 1x Serial Convertor
INTERCOM SYSTEM
SSG
Number of Exchanges |  | Make and Model
Number of Stations | 2 | Make and Model | Zenitel Video Stations
Number of Phones | 2 | Make and Model | SNOM Phones
Any Relative Information

## Rosebrae Court
BUILDING | Rosebrae Court Birkenhead
Date of Visit
Engineer
CCTV SYSTEM
|  |  |  | SSM Installed | YES | NO
USS
Number of Recorders | 1 | Make and Model | Hanwha XRN-2011A
Number of Cameras | 1 | Make and Model | Hanwha XNV-6080R
Number of VDU`s | 1 | Make and Model | Hanwha

## Royal middlehaven
BUILDING | Royal Middlehaven House
Date of Visit
Engineer
CCTV SYSTEM
|  |  |  | SSM Installed | YES | NO
USS
Number of Recorders | 1 | Make and Model | Hanwha XRN-2011-P1T
Number of Cameras | 8 | Make and Model | 4 x XNV-6080R, 1 x PNV-9080R, 2 x SND-5084, 1 x XNF-6080
Number of VDU`s | 1 | Make and Model | Hanwha
INTRUDER ALARM SYSTEM
USS
Number of Control Panels | 1 | Make and Model | Galaxy GD96
Number of Power Supplies | 1 | Make and Model | C072
Number of Key Pads | 1 | Make and Model | CP038
Number of Volumetric Detection Devices | 6 | Make and Model | 3 x DT8016AF5, 3 x AFW-0001
Number of Door/Window Contacts | 6 | Make and Model | 5 x Flush, 1 x H/Duty Shutter Contact
Number of Vibration Devices | 0 | Make and Model
Number of Breakglass Detection Devices | 0 | Make and Model
Number of PA Buttons | 12 | Make and Model | 9 x ELM-PA-G3, 3 x CronaSafe Strips
Remote Monitoring |  | Type of Monitoring | Ehternet and RS232 Serial to Lunar House SCR

## Sandford hse
BUILDING | Sandford House
Date of Visit | 2019-08-29
Engineer | Cameron Hill
CCTV SYSTEM
|  |  |  | SSM Installed | YES | NO
SSG
Number of Recorders | 1 | Make and Model | PRN-4011
Number of Cameras | 52 | Make and Model | 38x XNV-6080R 10x XNO-6080R 4x XNP-6370RH
Number of VDU`s | ? | Make and Model | ?
INTRUDER ALARM SYSTEM
SSG
Number of Control Panels | 2 | Make and Model | 1x Galaxy Dimension 48 1x Galaxy Dimension 520
Number of Power Supplies | 11 | Make and Model
Number of Key Pads | 4 | Make and Model | MK7
Number of Volumetric Detection Devices | 48 | Make and Model
Number of Door Contacts | 54 | Make and Model
Number of Vibration Devices | 89 | Make and Model
Number of External Beams | 6 | Make and Model
Number of PA Buttons | 18 | Make and Model
Remote Monitoring | 2 | Type of Monitoring | 1x Serial Convertor 1x Ethernet Board
Any Relative Information

## Soapworks
BUILDING | Soapworks
Date of Visit
Engineer
CCTV SYSTEM
|  |  |  | SSM Installed | YES | NO
SSG
Number of Recorders | 1 | Make and Model | SRN-4000
Number of Cameras | 46 | Make and Model | 40x SNDL-5083R, 6x SNO-6084
Number of VDU`s | ? | Make and Model | ?
INTRUDER ALARM SYSTEM
SSG
Number of Control Panels | 1 | Make and Model | Galaxy 520
Number of Power Supplies | 6 | Make and Model | smart RIO's
Number of Key Pads | 13 | Make and Model | MK7
Number of Volumetric Detection Devices | 81 | Make and Model
Number of Door Contacts | 62 | Make and Model
Number of Vibration Devices | 68 | Make and Model
Number of Breakglass Detection Devices | 24 | Make and Model
Number of PA Buttons | 1 | Make and Model
Remote Monitoring | 2 | Type of Monitoring | 1x ethernet boards, 1x serial convertors
Any Relative Information
7x 7Ah batteries

## Southfield hse
BUILDING | Southfield House
Date of Visit
Engineer
CCTV SYSTEM
|  |  |  | SSM Installed | NO
SSG
Number of Recorders | 1 | Make and Model | Hanwa XRN1610S NVR
Number of Cameras | 13 | Make and Model | Hanwa XNV6080RP (3)/ XNO6080RP (10)
Number of VDU`s | 1 | Make and Model | Samsung SMT2233
INTRUDER ALARM SYSTEM
SSG
Number of Control Panels | 1 | Make and Model | Honeywell Dimension 3-96
Number of Power Supplies and Batteries |  | Make and Model | Honeywell Power RIO
Number of Key Pads | 1 | Make and Model | Honeywell Mk7
Number of Volumetric Detection Devices | 8 | Make and Model | Pyronix KX15DTAM
Number of Door Contacts | 25 | Make and Model | CQR SC570 G3
Number of Vibration Devices | 20 | Make and Model | Honeywell Viper GL
Number of Breakglass Detection Devices | 0 | Make and Model
Number of PA Buttons | 0 | Make and Model
Remote Monitoring | 1 | Type of Monitoring | Web Way to Croydon
Any Relative Information

## Vulcan House
BUILDING | Vulcan House
Date of Visit
Engineer
CCTV SYSTEM
|  |  |  | SSM Installed | YES | NO
|  | SSG |  | SSM PC's | x2
Number of Recorders | 4 | Make and Model | 4x PRN-4011
Number of Cameras | 136 | Make and Model | 61x QNV-6070R, 35x QNO-6070, 34x SND-5061, 4x SNP-6230H, 2x SNDL-6083R
Number of VDU`s | 8 | Make and Model | Samsung SMT2233
INTRUDER ALARM SYSTEM
SSG
Number of Control Panels | 4 | Make and Model | 1x Galaxy 520 (Steel), 1x Galaxy 264 (Iron) 2x 3-48 (Steel Secure Stores)
Number of Power Supplies | 13 | Make and Model | Galaxy Power RIO
Number of Key Pads | 7 | Make and Model | MK7
Number of Volumetric Detection Devices | 118 | Make and Model | Optex CX520
Number of Door Contacts | 102 | Make and Model | Aritech DC103/ CQR SC570
Number of Vibration Devices | 233 | Make and Model | Honeywell Viper GL
Number of Breakglass Detection Devices | 0 | Make and Model
Number of PA Buttons | 23 | Make and Model | CQR PADP/SS/WH Grade 3
Remote Monitoring | 4 | Type of Monitoring | 2x ethernet boards, 2x serial convertors
INTERCOM SYSTEM
SSG
Number of Exchanges | 1 | Make and Model | Zenitel
Number of Stations | 1 | Make and Model | Zenitel
Number of Phones | 1 | Make and Model | Zenitel
Any Relative Information
3 no. SSM PCs

## Waterside court 1&2
BUILDING | Waterside Courts 1 & 2
Date of Visit
Engineer
CCTV SYSTEM
|  |  |  | SSM Installed | YES | NO
SSG
Number of Recorders | 1 | Make and Model | Samsung SRN-4000
Number of Cameras | 48 | Make and Model | 26x QNO-6070R, 4x SNPL-6233RH, 18x QNV-6070R
Number of VDU`s |  | Make and Model
INTRUDER ALARM SYSTEM
SSG
Number of Control Panels | 2 | Make and Model | 2x Galaxy 520
Number of Power Supplies | 9 | Make and Model | smart RIO's
Number of Key Pads | 4 | Make and Model | MK7
Number of Volumetric Detection Devices | 97 | Make and Model
Number of Door Contacts | 79 | Make and Model
Number of Vibration Devices | 88 | Make and Model
Number of Breakglass Detection Devices | 6 | Make and Model
Number of PA Buttons | 17 | Make and Model
Remote Monitoring | 4 | Type of Monitoring | 2x ethernet boards, 2x serial convertors
INTERCOM SYSTEM
SSG
Number of Exchanges | 1 | Make and Model | XE1
Number of Stations | 4 | Make and Model | Stations
Number of Phones | 1 | Make and Model | SNOM phone
Any Relative Information
11x 7Ah batteries

## Waterside House
BUILDING | Waterside House
Date of Visit
Engineer
CCTV SYSTEM
|  |  |  | SSM Installed | YES | NO
|  | SSG |  | SSM PC | x
Number of Recorders | 2 | Make and Model | 1x SRN-4000, 1x PRN-4011
Number of Cameras | 66 | Make and Model | 18x QNO-6070R, 47x QNV-6070R, 1x SNP-6329H
Number of VDU`s | 2 | Make and Model | SMT-2232
INTRUDER ALARM SYSTEM
SSG
Number of Control Panels | 1 | Make and Model | Galaxy 520
Number of Power Supplies | 16 | Make and Model | smart RIO's
Number of Key Pads | 3 | Make and Model | MK7
Number of Volumetric Detection Devices | 37 | Make and Model
Number of Door Contacts | 169 | Make and Model
Number of Vibration Devices | 95 | Make and Model
Number of Breakglass Detection Devices |  | Make and Model
Number of PA Buttons |  | Make and Model
Remote Monitoring | 2 | Type of Monitoring | 1x ethernet board, 1x serial convertor
Any Relative Information
17x 7Ah batteries

## Yarlswood
BUILDING | Yarlswood
Date of Visit
Engineer | B.Lineker
CCTV SYSTEM
|  |  |  | SSM Installed | YES | NO
SSG
Number of Recorders | 1 | Make and Model | SRD-470
Number of Cameras | 2 | Make and Model | 2x Analogue Cameras
Number of VDU`s | 1 | Make and Model | SMT-1922
INTRUDER ALARM SYSTEM
SSG
Number of Control Panels | 1 | Make and Model | Galaxy Dimension 48
Number of Power Supplies |  | Make and Model
Number of Key Pads | 2 | Make and Model | MK7
Number of Volumetric Detection Devices | 6 | Make and Model
Number of Door Contacts | 6 | Make and Model
Number of Vibration Devices | 4 | Make and Model
Number of Breakglass Detection Devices |  | Make and Model
Number of PA Buttons |  | Make and Model
Remote Monitoring | 2 | Type of Monitoring | 1x Ethernet Board, 1x Serial Convertor
Any Relative Information

## Holyhead (DS)
BUILDING | Holyhead
Date of Visit | 2021-08-05
Engineer | SSG
CCTV SYSTEM
|  |  |  | SSM Installed | yes/no
SSM PC
Number of Recorders | x1 NVR | Make and Model | Samsung PRN 4000
Number of Cameras | 21 | Make and Model | Unknown / Various
Number of VDU`s | 1 | Make and Model | Unknown

## Manchester Airport (DS)
BUILDING | Manchester Airport TN2 (new)
Date of Visit
Engineer
CCTV SYSTEM
|  |  |  | SSM Installed | yes/no
SSM PC
Number of Recorders | 1 | Make and Model | Unknown
Number of Cameras | 4 | Make and Model | Dedicated Micros (4 cameras)
Number of VDU`s | 1 | Make and Model | Unknown

## Glasgow Airport (DS)
BUILDING | Glasgow Airport
Date of Visit
Engineer
CCTV SYSTEM
|  |  |  | SSM Installed | yes/no
SSM PC
Number of Recorders | 1 | Make and Model | Indigo Vison
Number of Cameras | 9 | Make and Model | Indigo Vison (9 cameras)
Number of VDU`s | 1 | Make and Model | Unknown

## Birmingham Airport (DS)
BUILDING | Birmingham
Date of Visit
Engineer
CCTV SYSTEM
|  |  |  | SSM Installed | yes/no
SSM PC
Number of Recorders | 1 | Make and Model | Dedicated Micros
Number of Cameras | 9 | Make and Model | Dedicated Micros (9 cameras)
Number of VDU`s | 1 | Make and Model | Unknown