
[image: image1.jpg]i
Department
for Environment

Food & Rural Affairs




Request for Quotation
For 
RE-SURFACING OF THE MOAT CAR PARK, THURSLEY NATIONAL NATURE RESERVE, ELSTEAD, SURREY 
November 2018
Contents

1Request for Quotation


1Glossary


2Conditions applying to the RFQ


2Acceptance of Quotations


2Costs


2Mandatory Requirements


2Clarifications


2Amendments


3Conditions of Contract


3Specification


3Prices


3Quotation Submission


3Disclosure


4Disclaimers





Request for Quotation

RE-SURFACING OF THE MOAT CAR PARK, THURSLEY NATIONAL NATURE RESERVE 

You are invited by Defra group Commercial on behalf of Defra, to submit a quotation for the requirement described in the specification below.

Please submit your quotation via the Bravo system on or before the deadline given below;

	Action
	Date

	Deadline for receipt of Quotation
	14 December 2018

	Intended date of Contract Award
	20 December 2018

	Intended Contract Start Date
	21 January 2019

	Intended Delivery Date 
	01 March 2019


Glossary

Unless the context otherwise requires the following words and expressions used within this Request for Quotation shall have the following meanings (to be interpreted in the singular or plural as the context requires);

	Words/Expression
	Meaning

	“Authority”
	Means the Department for Environment, Food and Rural Affairs acting as part of the Crown.

	“Bravo”
	Means the e-tendering system used by the Authority for conducting this procurement which can be found at http://defra.bravosolution.co.uk.

	“Contract”
	Means the contract to be entered into by the Authority and the successful supplier

	“RFQ”
	Means this Request for Quotation and all related documents published by the Authority and made available to suppliers


Conditions applying to the RFQ

You should examine your quotation response to the RFQ and related documents ensuring it is complete prior to submitting your completed quotation. 

Your quotation must contain sufficient information to enable the Authority to evaluate it fairly and effectively. You should ensure that you have prepared your quotation fully and accurately and that prices quoted are arithmetically correct for the units stated.

Acceptance of Quotations

By issuing this RFQ the Authority does not bind itself to accept any quotation and reserves the right not to award a contract to any supplier who submits a quotation.

Costs
The Authority will not reimburse you for any costs and expenses which you incur preparing and submitting your quotation, even if the Authority amends or terminates the procurement process.

Mandatory Requirements
The RFQ includes mandatory requirements and, if you do not comply with them, your quotation will not be evaluated.  All mandatory requirements are set out in Bravo.

Clarifications
The Authority reserves the right to discuss, confidentially, any aspect of your quotation with you prior to any award of Contract to clarify matters.

Amendments 
The Authority may amend the RFQ at any time prior to the deadline for receipt. If it amends the RFQ the Authority will notify you in writing and may extend the deadline for receipt in order to give you a reasonable time in which to take the amendment into account.
Conditions of Contract
The terms and conditions attached in Bravo NEC3 ECSC Works contract will be included in any contract awarded as a result of this RFQ process. The Authority will not accept any material changes to these terms and conditions proposed by a supplier.

Specification
The Authority is the UK Government Department responsible for the environment, food and farming and rural affairs. The Authority’s priorities are to secure a healthy natural environment; a sustainable, low-carbon economy; a thriving farming sector and a sustainable, healthy and secure food supply. Further information on the Authority can be found at: Natural England 

SPECIFICATION FOR RE-SURFACING AND TREE MANAGEMENT WORKS AT THE MOAT CAR PARK, THURSLEY NATIONAL NATURE RESERVE, ELSTEAD, SURREY 

Background to Natural England

Natural England is the government’s advisor on the natural environment. We provide practical advice, grounded in science, on how best to safeguard England’s natural wealth for the benefit of everyone. Our remit is to ensure sustainable stewardship of the land and sea so that people and nature can thrive. It is our responsibility to see that England’s rich natural environment can adapt and survive intact for future generations to enjoy.

The Project

Thursley National Nature Reserve is managed by Natural England (NE). The land is designated as a Site of Special Scientific Interest and incorporates a range of habitats including lowland heathland, mires and open water. The nature reserve has open public access and has a single public car park. This is in need of refurbishment to improve its surface and to improve visibility at its entrance. In particular, the new surface should be resistant to the development of hollows and puddles, so should be raised above existing level in places. The car park measures approximately 1300 m².

Requirement

NE require a supplier to act as a designer and contractor under the CDM regulations (2015), to widen the existing carpark by removing and disposing of the previous debris, then re-surfacing.
This work involves the following operations:

	 Widen car park to left of entrance (area approximately 200 m²) 

• Remove saplings and vegetation 

• Excavate to a depth of 300mm. (arisings to be graded into agreed   location) 

• Lay Terram matting, or similar

• Lay 75 – 100mm Fittleworth stone to a depth of 300mm 

• Roll 



	Existing car park 

• Scrape off debris and vegetation 

• Supply 50mm Fittleworth stone. Lay to a depth of 150mm 

• Grade to ensure suitable camber and smooth surface 

• Roll using 7 tonne roller. 4 passes 




Timescale

All works should be completed by 1 March 2019
Pre- construction information

Underground Services

The contractor will need to investigate underground services as NE are unsure of exact location of sewage pipes that are currently running at the road side of the carpark and subsequent drains.  Thus identification should be determined prior to any excavation. There are no overhead cables in the car park area.

Welfare Facilities
Welfare provisions may be left in the car park and left at supplier’s own risk.
Access 

The car park does not have a gate and is open at all times. Should the contractor require an area for overnight storage of machinery access can be provided to a more secure area to the south via a gated entrance. This gate must be kept shut and padlocked at all times to prevent trespass. 

Location of works (highlighted by red circle).

[image: image2.jpg]



Existing Car Park

[image: image3.jpg]



Public safety

The whole site including the car park has open public access at all times. An appropriate method statement and Construction Phase Plan must be agreed with the Project Manager which sets out how the safety of the public will be managed throughout the project. 

Site safeguard

The whole of the works area and surrounds are specially protected. The heathland, wetland and open water habitats in the vicinity of the car park are highly sensitive to damage by trampling, vehicle movements, fire, oil or fuel spillage, contamination by litter and compaction. Vehicles will not be permitted outside of the car park. No storage of materials will be permitted where it will damage sensitive habitats. 

A felling licence is not required as all material cut is either below licensable size or has been identified as a health and safety hazard.

A method statement and Construction Phase Plan will be agreed in advance of works which sets out how the site will be protected from damage. This will include details of protection against risk of accidental fuel spillage.  

Site visit

The contractor is to visit the site prior to submitting a tender in order to ascertain the extent of the work, check the proposed design and specification details.  Claims arising out of non-compliance with this clause will not be accepted.
Project Officer
The site visit should be arranged with James Giles, Natural England. His contact details are:

01428 685675 or 07971 974399

james.giles@naturalengland.org.uk
He will also be the first point of contact during the works.

Prices

Prices must be submitted in £ sterling, exclusive of VAT.

Quotation Submission

Details of the Qualification, Technical and Commercial requirements can be located through the Bravo e-tendering portal (http://defra.bravosolution.co.uk).

Disclosure

All Central Government Departments, their Executive Agencies and Non Departmental Public Bodies are subject to control and reporting within Government. In particular, they report to the Cabinet Office and HM Treasury for all expenditure. Further the Cabinet Office has a cross-Government role delivering overall Government policy on public procurement, including ensuring value for money and related aspects of good procurement practice.

For these purposes, the Authority may disclose within Government any details contained in your quotation. The information will not be disclosed outside Government during the procurement. 

In addition, the Authority is subject to the Freedom of Information Act 2000 and the Environmental Information Regulations 2004, which provide a public right of access to information held by public bodies. In accordance with these two statutes, the Authority may be required to disclose information contained in your quotation to any person who submits a request for information pursuant to those statutes.

You should also note that the Authority will publish the RFQ and the Contract on the Contracts Finder Website.

By submitting a quotation you consent to these terms as part of the procurement.

Disclaimers

Whilst the information in this RFQ and any supporting information referred to herein or provided to you by the Authority have been prepared in good faith the Authority does not warrant that this information is comprehensive or that it has been independently verified.

The Authority does not:

· make any representation or warranty (express or implied) as to the accuracy, reasonableness or completeness of the RFQ;

· accept any liability for the information contained in the RFQ or for the fairness, accuracy or completeness of that information; or

· accept any liability for any loss or damage (other than in respect of fraudulent misrepresentation or any other liability which cannot lawfully be excluded) arising as a result of reliance on such information or any subsequent communication.

Any supplier considering entering into contractual relationships with the Authority following receipt of the RFQ should make its own investigations and independent assessment of the Authority and its requirements for the goods and/or services and should seek its own professional financial and legal advice.
Request for Quotation Document (Nov 2016)


