| # KETTERING BOROUGH COUNCIL NOTIFICATION OF KNOWN HAZARDS TO CONTRACTOR |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| CLIENT: PLANNING CO-ORDINATOR: PRINCIPAL CONTRACTOR: |  | Kettering Borough Council …………………………………………………… Contractor Responsibility ………………………………………………… Contractor (TBA) …………………………………………………… |  |  |  |  |
| ## LOCATION: 4 ROBINSON WAY TELFORD WAY INDUSTRIAL ESTATE KETTERING, NN16 8PP |  |  |  |  |  |  |
| ### Known Hazards for Contractor to Consider in connection with their works, Contractor to ensure they make their own assessment prior to producing all RAMS / H&S Documentation: |  |  |  |  |  |  |
| #### HAZARDS | ##### YES |  | NO | ##### COMMENTS | CONTROL |  |
|  |  |  |  |  | YES | NO |
| LAND Contamination |  |  | n/a |  |  |  |
| Geological Structures (unstable/flooding) |  |  | n/a |  |  |  |
| Tunnels/Shafts |  |  | n/a |  |  |  |
| Previous Use |  |  | n/a |  |  |  |
| Vegetation |  |  | n/a |  |  |  |
| Rights of Way |  |  | n/a |  |  |  |
| Asbestos |  |  |  | No asbestos identified on site but contractors’ personnel to have received asbestos awareness training by their employer prior to attending works |  |  |
| ###### ACCESS/EGRESS ###### Bus Route |  |  | n/a |  |  |  |
| Traffic |  |  | n/a |  |  |  |
| Road Classification |  |  | n/a |  |  |  |
| Schools |  |  | n/a |  |  |  |
| Emergency Services |  |  |  | must keep access clear for emergency services |  |  |
| Parking |  |  |  | Spaces are limited on car park area, contractor must limit number of vans / vehicles on site, 2 bays will be allocated for parking |  |  |
| EXISTING SERVICES Electricity-Overhead |  |  | n/a |  |  |  |
| Electricity-Underground |  |  | n/a |  |  |  |
| Gas | Y |  |  | Gas mains supply is connected to mains boiler |  |  |
| Telephone Cables |  |  |  | Overhead trailing cables |  |  |
| Sewers |  |  | n/a |  |  |  |
| Water | Y |  |  | Mains water incoming connected to supply |  |  |

| #### HAZARDS | ##### YES | NO | ##### COMMENTS | ###### CONTROL |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  | YES | NO |
| NOISE Hospitals |  | n/a |  |  |  |
| Public |  |  | Location of works within close proximity of offices , building will be occupied during works, warning must be provided to office in close proximity prior to any ‘excessive’ noisy works. |  |  |
| Schools |  | n/a |  |  |  |
| Other Buildings Affected |  |  |  |  |  |
| Vibration |  |  | Must control excessive vibration as building will be occupied during works |  |  |
| BUILDING WORKS Materials to be used |  |  | must be stored as manufacturers recommendation |  |  |
| ###### Working at Height |  |  | Will require safe working procedures / controls |  |  |
| Hazardous Substances (COSHH) |  |  | must have COSHH assessment / controls in place for any substances used as part of the works |  |  |
| Excavations |  | n/a |  |  |  |
| Falls / trips |  |  | RAMS required to control Falls and trip Hazards |  |  |
| Manual Handling |  |  | Controls required for Manual Handling of Materials etc |  |  |
| OTHER KNOWN HAZARDS |  |  |  |  |  |
| Fire Escape Routes |  |  | Contractor must keep Fire Exit routes clear at all times, no obstructions and storing of materials allowed in corridors / escape routes. |  |  |
| Welfare Facilities | Y |  | Contractor is allowed to use the facilities on site providing they are used respectfully. |  |  |
| Electrical Mains | Y |  | Contractor is to provide Qualified NIC EIC personnel to work on electrical connections for the installation works. |  |  |
| ###### Signature …B Kalsi… Date : 17/ 08/2020 Position Senior Surveyor. |  |  |  |  |  |