## Disciplines
When a new drawing is uploaded to Procore a discipline must be specified. The table below shows the disciplines currently used in the EMS Technical Library.
Key:
Electrical
Bio-Protection
Fire, Access & Life Safety
Air Systems
Infrastructure
BACS
Multiple SEOs
Discipline: | Includes: | SEOs:
Access & Security | Access Control Systems, CCTV, Card reader locations, Door Interlocking Systems, Refuge Alarms, Trapped Person Alarms, Public Address System, Intruder Alarm System, TRAKA cabinets, Voice Alarms, Access Zones, | Fire, Access & Life Safety
Air Pressure Resistant (APR) Doors | Vision panel, sealed doors, mechanical sealed doors, | Air
Animal Drinking Water |  | Infrastructure
Architectural & Building Fabric | Entrance doors, ceiling tiles, containment coatings, windows, elevations | ALL
Autoclaves |  | Bio-Protection, Infrastructure
Biological Safety Cabinets (BSCs) | Laminar flow cabinets, PCR cabinets, powder weigh cabinets | Air
Boilers |  | Infrastructure
Building Automation and Control System | BMS, SMS, Integrated Systems Test, CMR, PLC-SCADA, Building Alarms Monitoring and Escalation, remote monitoring systems | BACS
Catering | Canteen equipment, dishwashers | Infrastructure
Compressed Air |  | Infrastructure
Domestic Water | Domestic hot, cold & softened water, laboratory hot & cold-water supply, kitchen hot water system, TMVs, Water Treatment, Water Tank Room | Infrastructure
Drainage | Contained drainage, Non-contained drainage | Bio-Protection
Dunk Tanks |  | Bio-Protection
Earthing & Bonding | Earthing Contactor, | Electrical
Effluent Treatment Plants (ETPs) | Decontamination, Tank Room, | Bio-Protection
Emergency Lighting |  | Electrical
Environmental Chambers |  | Air
Fire Alarms & Suppression | Alarms, Fire Extinguishers, Fire Dampers, Fire Blankets, Fire Systems, Fire Protection, Fire door, Smoke Ventilation | Fire, Access & Life Safety
FLOORPLANS |  | ALL
Gases | CO2, LN2, Lab gas systems, Medical Gases, O2 depletion, Natural Gas, Kitchen gas supply, Propane to Incinerator, CO2 for incubators, | Infrastructure
Generators | Connection Box, | Electrical
Glass Washers |  | Bio-Protection
Heating, Ventilation & Air Conditioning (HVAC) | LTHW, Air Source Heat Pump, Warm Air Curtain, Chiller, Chilled Water, Contained ventilation, Non-contained ventilation, Heat Recovery, Ventilation Systems, Air Handling Units (AHUs), Air Locks, HEPAs, Fan Coil Units (FCUs), Fumigation, Fumigation hatch, Fume Cupboards, Fumigation Chambers, Transfer Hatches, Pass-through/Spray Hatches, Ductwork, Safe Change Housing, | Infrastructure, Air
High Voltage (HV) | Substation, Switchboard Controls, | Electrical
Humidifiers |  | Air
Incinerator | Burner, Abatement Equipment, Continuous Emissions Monitoring System (CEMS), Incinerator, | Bio-Protection
Insectocutors |  | Electrical
Isolators |  | Air
IT Systems | Audio Visual (AV) Systems, Assisted Hearing Systems, Telecommunications, | ALL
Laundry | Washing machines, Tumble dryers, | Infrastructure
Leak Detection & Trace Heating |  | Electrical
Lifting Equipment & LOLER | Passenger lifts, Goods Lifts, hoists, Access & lifting equipment, EVAC chairs, Cull Box & Rail, Ladder Locations, Fall Arrest Ladders, | Infrastructure
Lighting | Lighting control, LUX levels | Electrical
Lightning Protection |  | Electrical
Low Voltage (LV) | LV Systems, Electrical Systems, Distribution Board, Portable Appliance Testing, Wiring Schematic, | Electrical
Photovoltaic | PV Panels, Solar panels, | Electrical
Pressure Systems |  | Infrastructure
PUWER | Work equipment | Infrastructure
Refrigeration & F-Gas | Split units, Cold room, | Infrastructure
Reverse Osmosis (RO) | Water Plant Room, | Infrastructure
Sealability |  | Air
Showers | Chemical showers, Barrier showers, ETP showers, | Bio-Protection
Sitewide | Spill kits, System Components, Multiple Systems, Meters, Mechanical Systems, Gas & Oil Tanks, Fuel, Unknown System, | ALL
Small Power | Power System, | Electrical
Steam & Condensate | Condensate Receiver, | Infrastructure
Transformers |  | Electrical
Utilities & Civils | Services, Service Pits, Incoming Mains Water, Pipework, External Services, Mechanical Services, Civil Engineering, Services Provision, | Infrastructure
UPSs | DRUPS | Electrical
Vacuum Drainage |  | Bio-Protection