TRAINING REQUIREMENTS for NEW staff:

| Training required for users (Including Q-Pulse acknowledgement): | ☐ |
| --- | --- |
| Read for awareness only (Including Q-Pulse acknowledgement): | ☒ |

IMPACT OF CHANGES MADE TO THIS VERSION TO previously TRAINed staff:

| Change type: | Distribution/ notification requirements: |  |
| --- | --- | --- |
| Critical change? ☒ | Distribution to all staff | ☐ |
|  | Distribution to users | ☒ |
|  | Distribution to ISO/IEC 17025 staff | ☐ |
| Non-critical change? ☐ | Notification to all staff | ☐ |
|  | Notification to users | ☐ |
|  | Notification to ISO/IEC 17025 staff | ☐ |

# PURPOSE AND SCOPE

  - The purpose of this work instruction is to explain the purpose, scope and principles of use for the Estates Management Services (EMS) Technical Library.

  - The EMS Technical Library is currently held on cloud-based software, called Procore. It is a structured and secure Document Management System used to track, manage and store process critical record documentation. Its aim is to ensure that documentation is accessible, accurate and current. For more information on how to use Procore see the Procore User Guide (EMS-WI-403).

  - EMS Technical Library contents will include (but is not limited to):

- Description of Operations (DesOps)

- Operation & Maintenance Manuals (O&Ms)

- Piping & Instrumentation Diagrams (P&IDs) and system schematics of Mechanical, Electrical and Control Systems

- Building Information Modelling (BIM) Documentation

- Architectural Drawings (including Floor Plans)

- Structural Drawings

- General Arrangement (GA) Drawings

- Original Equipment Manufacturer (OEM) data, manuals and schedules

- Technical review documentation (Such as Structured What-If Techniques (SWIFTs), Hazard & Operability Studies (HAZOPs)).

  - EMS Technical Library contents will not include:

- Current planned and reactive maintenance

- Calibration records

- Standard Operating Procedures (SOPs)

- Work Instructions (WIs)

- Standards (STDs)

  - Any changes to contents of the EMS Technical Library to be approved and recorded using the institute’s change control process described in EMS-WI-106 (available on Q-Pulse).

NOTE: FAILURE TO FOLLOW THIS PROCEDURE MAY RESULT IN INJURY TO PERSONNEL, 
BREACH OF BIOCONTAINMENT, OR DAMAGE TO EQUIPMENT.

# RISK ASSESSMENT

INTENTIONALLY LEFT BLANK

# RESPONSIBILITIES

  - All personnel using this WI are responsible for ensuring that they have read and understood the contents of this WI and that the procedure is followed.

  - For role responsibilities, please refer to the EMS Responsibilities Matrix (EMS-FORM-341) on Q-Pulse.

# SPECIALIST MATERIALS OR EQUIPMENT

  - Procore (via internet browser www.procore.com)

- TRAINING REQUIREMENTS

  - Refer to The Pirbright Institute training guidelines on Q-Pulse (QA-SOP-29).

- PROCESS

  - Location of EMS Technical Library

    - The EMS Technical Library is one of the projects held on the cloud-based software Procore. Other projects are used by the Development Programme and Operational Projects team for new buildings, upgrades and refurbishments.

On the thumbnails view the EMS Technical Library has an aerial photo of the site.

  - Structure of EMS Technical Library

    - Files within the EMS Technical Library are divided into two main areas within Procore, called “Drawings” and “Documents”. Both can be accessed via the Project Tools dropdown.

  - Drawings

    - Drawings are uploaded to Procore in “Drawing Sets”. These are effectively folders for each building or area of site.

    - Drawings are also assigned a “Discipline” (e.g. Compressed Air) enabling all drawings for a particular system to be filed together in one place. Appendix 2 gives a list of all the Disciplines used in Procore, along with the subcategories they include and the SEOs who are responsible.

    - Procore is only capable of handling drawings in PDF format. Any drawing with a filetype that is not .pdf (for example in AutoCAD format with the file extension .dwg) are converted to PDF and stored within the appropriate "Drawing Set". The original files are then stored within the Project Tool called "Documents".

    - The Drawings tool cannot currently support PDFs with multiple pages. Where drawings have multiple pages, only the first page is displayed with a watermark note stating that additional pages exist. The whole file is then available in the Documents Tool, saved in the appropriate Building and Engineering System folder.

  - Documents

    - Documents are divided into folders to cover the main buildings and areas of site, which matches the "Drawing Sets" in the Drawings Project.

  - Documentation Naming Convention

    - The EMS team use a naming convention based on BS 1192:2007+A1:2015 Collaborative Production of Architectural, Engineering and Construction Information.

    - Files should be named in the following manner prior to publishing to Procore:

Project/Building – Originator – System – Level – Type –Number – Format

    - See Appendix 1 for more information on EMS’s document naming convention.

  - Revision Control

    - Procore implements an automated revision control protocol whereby if a document is uploaded with the same file name repeatedly, the system is able to recognise this is subsequent iteration of a document and records this automatically. The revision number of a file will increase by one every time a subsequent iteration is uploaded (e.g. the first revision is “0”, the second revision is “1”, the third revision is “2”, etc.). It is therefore essential that when a drawing or document is revised the name of it does not change.

  - Security of Documentation

    - Procore requires a user ID and password to gain access to the system.

    - Files can be protected by restricting access to selected users.

  - Review of Documentation

    - Drawings held within the EMS Technical Library will be subject to review by carrying out walkdowns of systems on site.

  - FLOWCHART

INTENTIONALLY LEFT BLANK.

  - INSTRUCTIONS 
INTENTIONALLY LEFT BLANK.

# RESULTS

  - The expected outputs of this work instruction are that the EMS Technical Library fulfils the following criteria:

- System is well organised and easy to navigate

- A standardised naming convention is used for all files

- There is only one copy of each drawing or document, which is the latest revision

- Previously archived drawing and document revisions can be recovered if needed

- Documentation is held securely and can only be accessed by approved users

# MAINTENANCE & MONITORING

  - During periodic procedure reviews, operators should be asked to provide candid feedback about compliance and whether any shortcuts or variations occur in practice (compared to the documented procedure).

  - Operators’ training should include clear instructions to report any concerns or near misses.

# TROUBLESHOOTING

  - All non-conforming work, including deviations, is managed as per QA-SOP-7.

  - All near miss reporting and concerns about (Bio)Safety Critical Tasks or personal safety issues is managed as per RISK-POL-4.

# REFERENCES & RELATED DOCUMENTS

  - EMS-FORM-045	Template version

  - QA-SOP-29 		Training at The Pirbright Institute

  - EMS-FORM-341 	EMS Responsibility Matrix

  - EMS-WI-403 	Procore User Guide

# APPENDICES

  - Appendix 1		EMS Document Naming Convention

  - Appendix 2		Procore Disciplines