Clarification for Bidders Questions

Question: In reference to additional planning application and impact on this work?

Answer: The Northern and Northeastern roof aspects are out of bounds for this project.

Question: How common is loss of power to the site?

Answer: Infrequent, at least once a year.

Questions: Where is the main meter box at Mount Edgcumbe Hospice?

Answer: Behind kitchen and laundry overfill.

Question: Is scaffolding already up?

Answer: Potentially, bidders asked to itemise cost.

Question: What panels are we looking at?

Answer: Balance between budget and performance to achieve the desired output. Longevity is important to us and preferred, within the confines of the budget.

Questions: Could we lay panels on the maintenance garage? And what is the amperage?

Answer: Yes. 100amp in the garage.

Question: Do we want optimisers?

Answer: Yes.

Questions: Can the roof spaces at Mount Edgcumbe be used for cabling?

Answer: Yes.

Question: What is the pitch of St Julia’s roof?

Answer: 24 degrees.

Question? Is there access to the St Julia’s roof?

Answer: No, it is a vaulted ceiling.

Question: Are we happy with external trunking?

Answer: Yes.

Questions: Is there lightening protection?

Answer: No at Mount Edgcumbe, yes at St Julia’s.

Question: Will you require scaffolding to be fenced off?

Answer: Yes.