## Cover
Trial Case Refurbishment Pricing Document
relating to
Horniman Museum
for
Nature & Love Project
2022-11-17

## Trial Case Refurbishment
£
Horniman Nature & Love
Trial Case Refurbishment
The Pricing Schedule was not prepared in accordance with NRM. These are principal quantities & composite items and only a general indication of the works involved (Tenderers to Undertake Own Measure against composite items). Please note that Tenderers should additionally price for all works included and apparent from the tender drawings and specifications enclosed including all requirements for phasing of works to each area irrespective of whether specifically described or not in the relevant section. Should there be any discrepancies between the Pricing Schedule and Specification & Tender Drawings, the Specification & Tender Drawings shall take precedence.
Studio MB Brief - 16th November 2022 - Bay 4 Cases reference drawings NHG 83 007, 001, 002, 005 and 006. NHG 10 002.
A | Full photgraphic and measured survey of existing support structure (base, wall hanging, head of case). | 1 | Item
B | Provision of construction drawings prior to work commencing. | 1 | Item
C | Provision of as built drawings on completion | 1 | Item
D | Completion of full report at the end of the process, detailing 'lessons learned' from the process. This will form the brief for the contractor who undertakes any future works. | 1 | Item
E | Prepare any mock-ups ahead of the works to demonstrate approach as required. | 1 | Item
F | Careful dismantling of the cases with any parts taken off site (issue explanatory detailed statement to HE/LPA.) | 1 | Item
Reassembly & installation of cases.
G | Modification 1 - New case lining to rear of case including decorations | 1 | Item
H | Modification 2 - New case lining to sides of case including decorations | 1 | Item
J | Modification 3 - New heavy weight hinges on the interior of each door | 1 | Item
K | Modification 4 - New inert compression seals for each of the doors to reduce leakage. | 1 | Item
L | Modification 5 - Refurbishment of existing historic locks | 1 | Item
Carried Forward
Brought Forward
Reassembly & installation of cases (ctd)
A | Modification 6 - Re-seal glazed panels into wooden frames | 1 | Item
B | Modification 7 - New hinged capping panel to tops of cases | 1 | Item
C | Modification 8 - New LED Case Lighting to soffit (free issue light fittings) | 1 | Item
D | Modification 9 - New case lining to soffits including all decorations | 1 | Item
E | Modification 10 - New prosorb compartment base to units as detailed | 1 | Item
F | Modification 11 - New LED lighting to Case base; free issue light fittings | 1 | Item
G | Modification 12 - Works to existing drawers (excluded at present until results of Survey known) |  |  | N/A
H | Temporary props/stays to support adjacent cases while trial cases are dismantled (these should be fitted to the existing cases prior to removal.) | 1 | Item
J | Provide full method statement for works to client | 1 | Item
K | Provide samples for all finishes | 1 | Item
L | Provide details for all fixtures and fittings (hinges, locks etc) to the designer for approval prior to procurement | 1 | Item
M | Finish any exposed timber at end of works to match existing | 1 | Item
Carried Forward
Brought Forward
A | Asbestos Survey | 1 | Item
B | Provide all necessary hoardings during the works to separate from the public. | 1 | Item
C | Provide suitable protection to the existing timber parquet flooring during the works. | 1 | Item
D | Protection to existing cases in the immediate area of cases 48-53 | 1 | Item
E | Include all electrical work to fit, install and focus the case lighting (lights, drivers and connectors to be supplied free issue but cabling to the required locations required). | 1 | Item
F | Allow for coordination with Horniman, Architectural Design Team, Exhibition Design Team, including all required meetings | 1 | Item
G | Clean/remove debris from bottom of cases | 1 | Item
Allowance for any other works apparent from the specification and drawings; please list as appropriate
| Trial Case Refurbishment |  | To General Summary £ | 0
£
0
| TOTAL Chapel Surround & Approach |  | To General Summary £ | 0
£

## General Summary
Ref | Description | £ p
Horniman Nature & Love
GENERAL SUMMARY
1 | Preliminaries
2 | Trial Case Refurbishment | 0
Add for: Contractor's Overheads and Profit
(Note: if this is included within the priced rates, please indicate the percentage addition here)
TOTAL CARRIED TO FORM OF TENDER (___ weeks)
Signed........................................................................................
Date ..........................................................................................
Contractor's Name ....................................................................
...................................................................................................
Address .....................................................................................
...................................................................................................
...................................................................................................
...................................................................................................