MIRRLEES K16 MK2

16kv MAJOR DIESEL GENERATOR MAINTENANCE

TENDER REFERENCE: STSC-JN-0022

Tender Issue Date:  29th January 2018

Tender Return Date: 28th February 2018 at 5pm

South Tees Site Company Limited

Procurement Department

Teesside Management Offices

Redcar

TS10 5QW

Contents

- Introduction

- Indicative Timetable

- Procedure for Submitting tenders

- Evaluation of Responses

- Terms & Conditions applying to this Invitsion to Tender

- Further Instructions to Tenderers

- Checklist of Docuemnts to be Returned

- Job Background

- Scope

- Drawings & Specifications

- Standards

- Site Visit

- Health & Safety

- Budget

- Price/Quality Evaluation Criteria

- Procurement

Declaration1 – Statement of non-collusion

Declaration 2 – Form of Tender

Declaration 3 – Conflict of Interest

Declaration 4 – Questions for Tenderers

Decleration 5 – Agreement to Published terms & Conditions

Decleration 6 – Use of Sub-Contractors

- Introduction

South Tees Site Company Limired (STSC) have been appointed to maintain the safety of the Redcar site (formally SSI Steel).

South Tees Site Company is a Government owned Company that is part of the BEIS (Business, Energy & Industrial Stratergy) Department.

STSC are looking to establish the required maintenance for the MIRRLEES K Model: 16kv MAJOR Diesel Generator (Redcar Power Station) to ensure availability and reliability of the engine.

# Indicative Timetable

The anticipated timetable for this tender exercise is as follows. STSC reserves the right to vary this timetable. Any variations will be published on contracts finder or circulated to all organisations who have registered an interest in notifications.

| Tender Timeline | Date |
| --- | --- |
| Advert and full invitation to tender issued | 29/01/18 |
| Mandatory Site Visit | 14/02/18 |
| Deadline for questions relating to the tender | 16/02/18 |
| Responses to questions published | 20/02/18 |
| Deadline for receipt of tender | 28/02/18 |
| All suppliers informed of outcome | 19/03/18 |
| Contract award on signature by both parties | tbc |
| Contract start date | Tbc |

The contract is to be for the period of 24 months unless terminated or extended by the Authority in accordance with the terms of the contract.

- Procedure for Submitting Tenders

The maximum page limit for tenders is 6 pages (excluding declarations).

Please send your proposal clearly marked as “TENDER” and include the Tender Reference Number e.g. STSC-SS-0022 before the deadline of 28th February 2018 at 5pm to Procurement via email

procurement@stscltd.co.uk

For questions regarding the procurement process please contact procurement@stscltd.co.uk.

Tenders will be received up to the time and date stated. Please ensure that your tender is delivered no later than the appointed time on the appointed date. STSC does not undertake to consider tenders received after that time. STSC requires tenders to remain valid for a period indicated in the specification of requirements.

STSC shall have the right to disqualify a bidder from the procurement if they fail to fully complete their response, or do not return all of the fully completed documentation and declarations requested in this ITT. STSC shall also have the right to disqualify you if it later becomes aware of any omission or misrepresentation in your response to any question within this invitation to tender. If you require further information concerning the tender process, or the nature of the proposed email procurement@stscltd.co.uk.  All questions should be submitted by 16th February; questions submitted after this date may not be answered. Should questions arise during the tendering period, which in our judgement are of material significance, we will publish these questions with our formal reply by the end of 20th February. All contractors should then take that reply into consideration when preparing their own bids, and we will evaluate bids on the assumption that they have done so.

You will not be entitled to claim from STSC any costs or expenses that you may incur in preparing your tender whether or not your tender is successful.

- Evaluation of Responses

The tender process will be conducted to ensure that bids are evaluated fairly and transparently, in accordance with agreed assessment criteria.  Further details are provided in the specification.

There will be an overall 40/60 cost/quality weighting on the evaluation.

Tenders will be evaluated using criteria shown in the Price/Quality Evaluation Criteria Section.

- Terms and Conditions applying to this Invitation to Tender

The Terms and Conditions published with this invitation to tender on Contracts Finder will apply to this contract.

- Further Instructions to Contractors

STSC reserves the right to amend the enclosed tender documents at any time prior to the deadline for receipt of tenders. Any such amendment will be numbered, dated and issued by 21 September 2017. Where amendments are significant, STSC may at its discretion extend the deadline for receipt of tenders.

STSC reserves the right to withdraw this contract opportunity without notice and will not be liable for any costs incurred by contractors during any stage of the process. Contractors should also note that, in the event a tender is considered to be fundamentally unacceptable on a key issue, regardless of its other merits, that tender may be rejected. By issuing this invitation STSC is not bound in any way and does not have to accept the lowest or any tender and reserves the right to accept a portion of any tender unless the tenderer expressly stipulates otherwise in their tender.

- Documents to be Submitted

| Requirement | Assessment |
| --- | --- |
| Declaration 1: Statement of non-collusion | Pass/Fail |
| Declaration 2: Form of Tender | Pass/Fail |
| Declaration 3: Conflict of Interest | Pass/Fail |
| Declaration 4: Questions for Tenderers | Pass/Fail |
| Declaration 5: Agreement to published T&C’s without deviation | Pass/Fail |
| Declaration 6: Use of Sub-Contractors | Pass/Fail |
| Pricing Schedule | Quantitative |
| Response to Quality Assessment Questions | Qualitative |

Note: Failure to comply with one or more pass/fail requirements will deem your tender none-compliant and it will not be evaluated.

- Job Background

The MIRRLEES K16 MK2 : 16 KV MAJOR Diesel Generator at Redcar Power station was used to generate electricity during a total power outage for SSI –UK operations.

Since the liquidation of SSI-UK the generator has supported the site during triad periods to help generate electricity for the South Tees Site to avoid charges.

The generator has low running hours and the general condition of the engine is good, however due to its age and its importance to the site, STSC need to carry out some essential repairs and create annual maintenance routines to avoid costly and lengthy breakdowns and to ensure the availability and reliability of the generator.

The diesel generator is located in its own building c/w overhead crane.

- Scope

All planned maintenance work to be carried out during the non-triad periods between Monday to Friday. Emergency fault diagnosis, repairs and spare parts may be required at any time including weekends

The supplier is to include costs for:                                                                                                                                              Labour (including estimated normal and overtime hours, any travelling time and accommodation)

- Carry out annual maintenance &  health checks which must include but should not be limited to the following :

  - Crankshaft Deflections to be taken and recorded

  - Carry out lube oil analysis.

  - Remove and inspect/test oil pressure relief valve

  - Inspect/test Lube oil thermostats.

  - Inspect all injectors and seals

  - Inspect all fuel pumps and seals (note if removed for overhaul high pressure seals must be fitted)

  - Inspect all oil filters

  - Inspect all water filters

  - Monitoring of the cylinder liner O rings (due to age). STSC accept that the O rings are in poor condition but these do not warrant a costly strip and rebuild at this time unless monitoring identifies a major problem.

  - Removal of side cover inspection plates and inspection of internal cam systems due to previous history of failures. Scope to include replacing joints to ensure good seal when boxing up.

  - Record cylinder pressure and temperature data on load

  - Check and confirm safety shut downs

  - On completion of the annual maintenance and health checks STSC to be provided with a detailed report on the condition of the generator and any recommendations within 4 weeks.

- Specific tasks.

  - Supply a spare cylinder head including a full set of cylinder head gaskets and holding down bolts to be held on stock at Redcar in the event of a failure so that downtime is minimal. When the spare cylinder head is used the supplier must replace the spare within agreed timescales. Estimate 2 cylinder head changes per year.

  - Push rod tubes are leaking oil out of the rubber hose; replace all jubilee clips and push rod cover tubes.

  - Identify, supply and fit Demineralised water filters.

  - Identify, supply and fit Oil cooler water filters.

  - Supply and install a jacket water heating system to prevent thermal shock to the engine when cold starting. System should include a 24kW 3 phase heater, 0.5 kW water pump and control panel for high load switching including thermostats for control and over-temperature.

- Ad hoc tasks

  - Emergency fault diagnosis, repairs and spare parts may be required from the supplier as part of this contract. Following fault diagnosis, any required spare parts must be agreed with STSC prior to ordering.

  - If an oil change is identified following analysis, STSC will provide the required Rimula 30 oil. Supplier to drain off & flush out the old oil, supply and replace oil filters.

STSC will provide a work request form (initiator for safety documentation) c/w hazard ID for area location

All personnel must complete a visitor request form prior to arriving at site and attend a site induction (at Redcar security Gate).

Contractor to provide all method statements and RAs taking into account the hazards for the area location prior to commencing the work. Each member of the working party must sign the documents and a copy of the method statements and RAs must be readily at hand in case for any reference required.

Minimum PPE includes safety boots, hard hat, LEP and overalls.

A Daily Permit to Work will be issued to the working party each day by the STSC Site Manager to ensure all controls are in place prior to commencing any work.

Washing and Mess facilities will be provided by STSC.

- Drawings & Specifications

N/A

- Standards

- ISO 8528

- ISO 3046

- Site Visit

A site visit is recommended for this work.  Please note you must confirm attendance by email to: procurement@stscltd.co.uk  by 4pm on Monday 5th Feb to be included.

Date:		06/02/18

Time:		10am

Site Host: 	Mark Jones or Steve Coaker

You will be required to complete a site induction, this will take around 30 minutes, please make time for the induction.

- Health & Safety

South Tees Site Company Ltd is a top tier COMAH site and as such, is heavily regulated.  All contractors and sub-contractors are required to complete the VA01 contractor approval form and return with required documentary evidence (including relevant insurances, ISO and training certificates as are appropriate), in order to be added to the approved contractor register.

Note: the below documents are for information at this stage, the successful contractor will be require to complete on award of the contract.

- Budget

The budget for this project is £30,000 to £120,000 excluding VAT.

Contractors should provide a full and detailed breakdown of costs (including options where appropriate). This should include staff (and day rate) allocated to specific tasks.

In submitting full tenders, contractors confirm in writing that the price offered will be held for a minimum of 60 calendar days from the date of submission. Any payment conditions applicable to the prime contractor must also be replicated with sub-contractors.

STSC aims to pay all correctly submitted invoices within 30 days in line with standard terms and conditions of contract.

- Price/Quality Evaluation Criteria

The weighting for each criterion is presented in brackets

Price 40 Points

This includes the ‘Tender Total’. The number of points will be awarded such that the lowest tender receives 60 points, the others will receive points based on their percentage above the lowest tender.

Example

Lowest Tender Total: £40k – 40 Points

Next Lowest Tender: £45k – (40/45 x 40) – 35.6 Points

Next Lowest tender: £51k – (40/51 x 40) – 31.4 Points

Pricing Schedule

Please provide a fixed lump sum price for this scope of work broken down into the elements below as required (but not exclusive to the tender).

| Item | Description | Quantity | Unit | Total |
| --- | --- | --- | --- | --- |
| Maintenance |  |  |  |  |
| 1 | Annual maintenance & Health checks | 2 | £ | £ |
| Spares |  |  |  |  |
| 2 | spare cylinder head including a full set of cylinder head gaskets and stretch bolts (full set to be priced) | 1 | £ | £ |
| One off requirements |  |  |  |  |
| 3 | Supply and install a jacket water heating system to prevent thermal shock to the engine when cold starting. System should include a 24kW 3 phase heater, 0.5 kW water pump and control panel for high load switching including thermostats for control and over-temperature. | 1 | £ | £ |
| 4 | Replacement of all jubilee clips and push rod cover tubes. | 1 | £ | £ |
| 5 | Purchase and installation of Demineralised water filters. | 1 | £ | £ |
| 6 | Purchase and installation of Oil cooler water filters | 1 | £ £ | £ £ |
| Call of for work outside general maintenance |  |  |  |  |
| 7 | Labour – Senior Engineer (per hour) | 320 | £ | £ |
| 8 | Labour – Engineer (per hour) | 320 | £ | £ |
| 9 | Accommodation (if required) (per night) | 40 | £ | £ |
| 10 | Expenses (if required) (estimated call off value) | 1 | £ | £ |
| 11 | Consumables for covering call outs (estimated call off value) | 1 | £ | £ |
|  | Tender Total |  |  | £ |

Quality 60 Points

Methodology – (30%)

Please provide a comprehensive methodology of how you will meet the requirement set out in the specification including a programme of works with timescales (maximum 2 sides of A4 (1 for Methodology and 1 for programme).

Bidder guidance – The bidder should detail clearly how their bid will meet the requirement including (but not limited to) details of approach taken, the stages of development and the key considerations. The plan needs to include a comprehensive list of all tasks that will be covered within the maintenance section of the proposal.

Response to Call Out (30%)

Please provide details of how you will respond to a call out including time needed to arrive on site.

Bidder Guidance – the bidder should detail the process of a call out including contact numbers. This should cover expected time to arrive on site, requirements for making a callout and if there are any premiums for callouts outside of general business hours (maximum 1 side of A4).

Knowledge – (30%)

Please detail your knowledge of working on MIRRLESS & Blackstock engines or similar (maximum 1 side of A4).

Bidder guidance – The bidder is required to provide a detailed description on their knowledge of working on the specified equipment and how they would manage such an environment.

Contingency – (10%)

Please detail how you would manage resources to ensure agreed timescales are met.

Bidder guidance – The bidder is required to detail their ability to ensure the required resources are available in order to meet the agreed timescales (maximum 1 side of A4).

Scoring Methodology

| 0 | The Question is not answered or the response is completely unacceptable. |
| --- | --- |
| 10 | Extremely poor response – they have completely missed the point of the question. |
| 20 | Very poor response and not wholly acceptable. Requires major revision to the response to make it acceptable. Only partially answers the requirement, with major deficiencies and little relevant detail proposed. |
| 40 | Poor response only partially satisfying the selection question requirements with deficiencies apparent. Some useful evidence provided but response falls well short of expectations. Low probability of being a capable supplier. |
| 60 | Response is acceptable but remains basic and could have been expanded upon. Response is sufficient but does not inspire. |
| 80 | Good response which describes their capabilities in detail which provides high levels of assurance consistent with a quality provider. The response includes a full description of techniques and measurements currently employed. |
| 100 | Response is exceptional and clearly demonstrates they are capable of meeting the requirement. No significant weaknesses noted. The response is compelling in its description of techniques and measurements currently employed, providing full assurance consistent with a quality provider. |

Where an evaluation criterion is worth 10% then the 0-100 score achieved will be multiplied by 10.

Example if a Bidder scores 60 from the available 100 points this will equate to 6% by using the following calculation: Score/Total Points available multiplied by 10 (60/100 x 10 = 6)

- Procurement

All communication relating to this tender must be made via the Procurement Team.

Email: procurement@stscltd.co.uk

Please use this email address to:

- Confirm the Tenderer intends to submit a tender.

- Raise any questions during the tender period.

- Return the completed tender.

Declaration 1: Statement of non-collusion

To: South Tees Site Company Limited

1.  We recognise that the essence of competitive tendering is that STSC will receive a bona fide competitive tender from all persons tendering.  We therefore certify that this is a bona fide tender and that we have not fixed or adjusted the amount of the tender or our rates and prices included therein by or in accordance with any agreement or arrangement with any other person.

2. We also certify that we have not done and undertake not to do at any time before the hour and date specified for the return of this tender any of the following acts:

- communicate to any person other than STSC the amount or approximate amount of our proposed tender, except where the disclosure, in confidence, of the approximate amount is necessary to obtain any insurance premium quotation required for the preparation of the tender;

- enter into any agreement or arrangement with any other person that he shall refrain for submitting a tender or as to the amount included in the tender;

- offer or pay or give or agree to pay or give any sum of money, inducement or valuable consideration directly or indirectly to any person doing or having done or causing or having caused to be done, in relation to any other actual or proposed tender for the contract any act, omission or thing of the kind described above.

3. In this certificate, the word “person” shall include any person, body or association, corporate or unincorporated; and “any agreement or arrangement” includes any such information, formal or informal, whether legally binding or not.

……………………………………………………………………………….….

Signature (duly authorised on behalf of the tenderer)

……….………………………………………………………………………….

Print name

…………………………………………………………….…………………….

On behalf of (organisation name)

…………………………………………………………………….…………….

Date

Declaration 2: Form of Tender

To: South Tees Site Company Limited

1. Having considered the invitation to tender and all accompanying documents (including without limitation, the terms and conditions of contract and the Specification) we confirm that we are fully satisfied as to our experience and ability to deliver the goods/services in all respects in accordance with the requirements of this invitation to tender.

2. We hereby tender and undertake to provide and complete all the services required to be performed in accordance with the terms and conditions of contract and the Specification for the amount set out in the Pricing Schedule.

3. We agree that any insertion by us of any conditions qualifying this tender or any unauthorised alteration to any of the terms and conditions of contract made by us may result in the rejection of this tender.

4. We agree that this tender shall remain open to be accepted by STSC for 8 weeks from the date below.

5. We understand that if we are a subsidiary (within the meaning of section 1159 of (and schedule 6 to) the Companies Act 2006) if requested by the Authority we may be required to secure a Deed of Guarantee in favour of STSC from our holding company or ultimate holding company, as determined by STSC in their discretion.

6. We understand that STSC is not bound to accept the lowest or any tender it may receive.

7. We certify that this is a bona fide tender.

…………………………………………………………………………........

Signature (duly authorised on behalf of the tenderer)

…………………………………………………………………………………

Print name

………………………………………………………………………….

On behalf of (organisation name)

………………………………………………………………………….

Email address

………………………………………………………………………….

Telephone Number

………………………………………………………………………….

Date

Declaration 3: Conflict of Interest

I have nothing to declare with respect to any current or potential interest or conflict in relation to this tender (or any potential providers who may be subcontracted to deliver this work, their advisers or other related parties). By conflict of interest, I mean, anything which could be reasonably perceived to affect the impartiality of this tender, or to indicate a professional or personal interest in the outcomes from this tender.

Signed      …………………………………….

Name	…………………………………….

Position     …………………………………….

OR

I wish to declare the following with respect to personal or professional interests related to relevant organisations*;

X

X

Where a potential conflict of interest has been declared for an individual or organisation within a consortia, please clearly outline the role which this individual or organisation will play in the proposed project and how any conflict of interest has or will be mitigated.

X

X

Signed      …………………………………….

Name	…………………………………….

Position     …………………………………….

Please complete this form and return this with your ITT documentation - Nil returns are required.

* These may include (but are not restricted to);

A professional or personal interest in the outcome of this research

For evaluation projects, a close working, governance, or commercial involvement in the project under evaluation

Current or past employment with relevant organisations

Payment (cash or other) received or likely to be received from relevant organisations for goods or services provided (Including consulting or advisory fees)

Gifts or entertainment received from relevant organisations

Shareholdings (excluding those within unit trusts, pension funds etc.) in relevant organisations

Close personal relationship or friendships with individuals employed by or otherwise closely associated with relevant organisations

All of the above apply both to the individual signing this form and their close family / friends / partners etc.

If your situation changes during the project in terms of interests or conflicts, you must notify the OGA straight away.

A DECLARATION OF INTEREST WILL NOT NECESSARILY MEAN THE INDIVIDUAL OR ORGANISATION CANNOT WORK ON THE PROJECT; BUT IT IS VITAL THAT ANY INTEREST OR CONFLICT IS DECLARED SO IT CAN BE CONSIDERED OPENLY.

Declaration 4: Questions for Tenderers

In some circumstances STSC is required by law to exclude you from participating further in procurement.  If you cannot answer ‘no’ to every question in this section it is very unlikely that your application will be accepted, and you should contact us for advice before completing this form.

Please state ‘Yes’ or ‘No’ to each question.

| Has your organisation or any directors or partner or any other person who has powers of representation, decision or control been convicted of any of the following offences? | Answer |
| --- | --- |
| - conspiracy within the meaning of section 1 or 1A of the Criminal Law Act 1977 or article 9 or 9A of the Criminal Attempts and Conspiracy (Northern Ireland) Order 1983 where that conspiracy relates to participation in a criminal organisation as defined in Article 2 of Council Framework Decision 2008/841/JHA; |  |
| - corruption within the meaning of section 1(2) of the Public Bodies Corrupt Practices Act 1889 or section 1 of the Prevention of Corruption Act 1906; where the offence relates to active corruption; |  |
| - the offence of bribery, where the offence relates to active corruption; |  |
| - bribery within the meaning of section 1 or 6 of the Bribery Act 2010; |  |
| - fraud, where the offence relates to fraud affecting the European Communities’ financial interests as defined by Article 1 of the Convention on the protection of the financial interests of the European Communities, within the meaning of: |  |
| - the offence of cheating the Revenue; |  |
| - the offence of conspiracy to defraud; |  |
| - fraud or theft within the meaning of the Theft Act 1968, the Theft Act (Northern Ireland) 1969, the Theft Act 1978 or the Theft (Northern Ireland) Order 1978; |  |
| - fraudulent trading within the meaning of section 458 of the Companies Act 1985, article 451 of the Companies (Northern Ireland) Order 1986 or section 993 of the Companies Act 2006; |  |
| - fraudulent evasion within the meaning of section 170 of the Customs and Excise Management Act 1979 or section 72 of the Value Added Tax Act 1994; |  |
| - an offence in connection with taxation in the European Union within the meaning of section 71 of the Criminal Justice Act 1993; |  |
| - destroying, defacing or concealing of documents or procuring the execution of a valuable security within the meaning of section 20 of the Theft Act 1968 or section 19 of the Theft Act (Northern Ireland) 1969; |  |
| - fraud within the meaning of section 2, 3 or 4 of the Fraud Act 2006; or |  |
| - making, adapting, supplying or offering to supply articles for use in frauds within the meaning of section 7 of the Fraud Act 2006; |  |
| - money laundering within the meaning of section 340(11) of the Proceeds of Crime Act 2002; |  |
| - an offence in connection with the proceeds of criminal conduct within the meaning of section 93A, 93B or 93C of the Criminal Justice Act 1988 or article 45, 46 or 47 of the Proceeds of Crime (Northern Ireland) Order 1996; or |  |
| - an offence in connection with the proceeds of drug trafficking within the meaning of section 49, 50 or 51 of the Drug Trafficking Act 1994; or |  |
| - any other offence within the meaning of Article 45(1) of Directive 2004/18/EC as defined by the national law of any relevant State. |  |

Declaration 5: Agreement to Published Terms &Condition

To: South Tees Site Company Limited

We confirm agreement to the published Terms and Conditions in relation to this tender without deviation.

……………………………………………………………………………….….

Signature (duly authorised on behalf of the tenderer)

……….………………………………………………………………………….

Print name

…………………………………………………………….…………………….

On behalf of (organisation name)

…………………………………………………………………….…………….

Date

Declaration 6: Use of Sub-Contractors

To: South Tees Site Company Limited

We intend to use the below sub-contracts in delivering this tender.

| Sub-contractor | Nature of Work |
| --- | --- |

…………………………………………………………………………….….

Signature (duly authorised on behalf of the tenderer)

……….………………………………………………………………………….

Print name

…………………………………………………………….…………………….

On behalf of (organisation name)

…………………………………………………………………….…………….

Date

OR

We do not intend to use sub-contractors in delivering this tender.

…………………………………………………………………………….….

Signature (duly authorised on behalf of the tenderer)

……….………………………………………………………………………….

Print name

…………………………………………………………….…………………….

On behalf of (organisation name)

…………………………………………………………………….…………….

Date