NHS National Framework for the Supply of Home Parenteral Nutrition HPN

Offer reference number:

Period of framework agreement: 1 April 2024 to 31 March 2026 with an option to extend for up to an additional 24 months.

This list is designed to guide Contractors (Homecare Companies) in setting a daily charge for patients and also Purchasing Authorities (individual Integrated IF centres and HPN centres) in selecting equipment and ancillaries used for the administration of home parenteral nutrition (HPN) and fluids. The cost of the ancillaries below should be incorporated into the band price and not charged separately.

The procedures used to administer parenteral nutrition are not entirely standardised across all HPN centres, therefore this list aims to encompass all possible acceptable variables in technique and subsequent equipment required. It is recommended however, that the British Intestinal Failure Alliance (BIFA) Guidance Standardised Parenteral Support Catheter Guidelines, https://www.bapen.org.uk/pdfs/bifa/standardised-parenteral-support-catheter-guidelines.pdf are used.  Items have been selected for inclusion based on current evidence and best practice guidelines for preventing infection associated with the administration of parenteral support through a central venous catheter.

If there is no clinical evidence to support a clinical choice behind products, for example make of glove, then these are listed as “generic” and the Homecare Company can select which product to supply.  This will permit significant cost savings to the NHS.  Gloves of different material, ie vinyl or nitrile will be included to allow for choice in cases of allergy/sensitivity.

If there is clinical evidence to support the choice behind an item, for example needlefree connector, dressing, then these are listed as “product specific”.  Items are also listed as product specific if no other alternative currently exists. Where specific product names are listed this is as a guide, not as an endorsement of a particular brand and the choice of product is the responsibility of the Purchasing Authority.

Items not on the list, for example enteral syringes for patients with venting gastrostomy tubes will not be reimbursed by NHS England and the HPN centre will be responsible for the cost.

All equipment and ancillaries must comply with recommendations and guidelines provided by the Medicines and Healthcare Products Regulation Agency (MHRA) and have CE marking/UKCA marking.  The use of latex should be avoided where possible and only used when it has been established that the patient does not have a latex sensitivity.

Patients will not require everything listed, and amounts required will vary on the number of infusions the patient receives per week.  The amounts listed are given as a guide.  Where practical it is recommended that boxes of items are not split. If boxes are split, this can only occur where the batch number and expiry date are available on each individual item.

1. Equipment

| Item | Product category (generic or product specific) | Suggested quantity |
| --- | --- | --- |
| Fridge meeting the requirements of the specification 8 bag capacity (7 days + 1 safety bag) OR 16 bag capacity (14 days + 2 safety bags) Fridge size will be determined by stability and volume of prescription | Generic | X 1 |
| Domestic fridge (if patient declines pharmacy fridge) 8 bag capacity (7 days + 1 safety bag) OR 16 bag capacity (14 days + 2 safety bags) | Generic | X 1 |
| Portable telescopic IV stand (for emergency use/travel), for example Parkside Healthcare Foldable IV Pole for Emergency Homecare Application* | Generic | X1 |
| Dressing trolley collapsible | Generic | X 1 |
| ### Non sterile plastic procedure tray | Generic | X 1 |
| Fridge thermometer with external temperature probe in sealed buffered solution (for domestic fridge only) | Generic | X 1 |
| Patient thermometer OR Disposable patient thermometer | Generic Generic | X 1 X 1 day |
| Digital weighing scales | Generic | X 1 (ONLY for patients who do not already have digital weighing scales and are not able to afford buying some |
| Paper towels/roll | Generic | 2-3 month |
| ### Non sterile atraumatic clamps | Generic | X 5 (as stock) adults X 10 (as stock) paediatrics |
| ### Fridge plug label, for example Plugtab, ref RPLG1 | Product specific | X 1 |

*It is recommended that all patients have one of these for emergency use in case of pump failure

2. Pumps/Administration Sets

| Item | Product category (generic or product specific) | Suggested quantity |
| --- | --- | --- |
| Ambulatory pump Dual channel pump if 2 bag system required | Product specific Product specific | X 1 (a second pump may be issued if there is a clear clinical need) |
| Extended life battery, charger and lead | Product specific | X 1 |
| Extended life battery with incorporated GPRS technology for remote monitoring and in line pressure measurement | Product specific | X 1 |
| Pole clamp | Product specific | X 1 |
| Remote buzzer for pump (for hearing impaired patients only) | Product specific | X 1 |
| Appropriately sized rucksack for size of infusion fluid and patient | Product specific | X 1 |
| Removable wheels for rucksack | Product specific | X 1 |
| Intravenous administration set with 1.2-micron filter Or Intravenous administration set with 1.2micron filter and two administration spikes (may be made of 2 separate components, double spike and administration tubing, depending on make of set) | Product specific | X 1 per infusion |
| Intravenous administration set with 0.2-micron filter |  |  |
| Small-bore Y-connector extension set with 2 needle-free valve ports | Product specific | X 1 per infusion day if 2 bag system used |
| Flow control giving set*, for example BBraun Exadrop | Product specific | X 4 as stock |

Note: The most appropriate ambulatory pump agreed by the Purchasing Authority which addresses the patient’s specific needs and has been evaluated by the LITRE group of PINNT should be used.    *It is recommended that all patients are issued with a small stock of these to be used in cases of emergency ie pump failure.

3. Cleansing solutions/disinfectants

| Item | Product category (generic or product specific) | Suggested quantity |
| --- | --- | --- |
| Non medicated liquid soap 500 mL with integral pump dispenser | Generic* | X 1 month |
| Hibiscrub medicated skin wash 500 mL with integral pump dispenser | Generic* | X 1 month |
| Schulke Octenisan® wash solution | Product specific | X 1 month |
| Alcohol based handrub/gel/foam 500 mL with integral pump dispenser Or 50 mL personal dispenser | Generic* | X 1 month X 4 month |
| Skin lotion 500 mL with integral pump dispenser | Generic* | X 1 month |
| Single use Chlorhexidine 2% and alcohol 70% disinfection wipes | Generic | Approx 200-300 per month |
| Chlorhexidine 2% and alcohol 70% skin sponge (for example Chloraprep 1 step applicator) 1mL 1.5 mL and 3 mL applicators | Generic | X 1 week |
| Detergent wipes | Generic | X 1 container per month (packet size minimum of 62 wipes) |
| Sodium chloride 0.9% solution for cleansing, for example Normasol | Generic | X 1 per week |
| Schulke Octenilin® wound irrigation solution | Product specific | X 1 every 8 weeks. (Product can only be used for 8 weeks post opening). |
| Dermol 500mL wash solution | Product specific | 1 per month |

Note: Bottles with integral pump dispensers are preferred to reduce the risk of contamination.  The preferred disinfectant is single use 2% chlorhexidine and 70% alcohol.  Only alcohol based handrubs that appear on the NHS Supply Chain contract should be used as these are known to meet the EU and UN efficacy standards.

*Due to sensitivities to certain products, companies may need to have more than one brand available.

4. Dressings and Tapes

| Item | Product category (generic or product specific) | Suggested quantity |
| --- | --- | --- |
| Waterproof semi permeable, transparent moisture vapour transferable dressing, for example S+N IV3000 Small 6 cm x 7 cm, ref 4007 Small (ported) 7 cm x 9 cm, ref 4006 Large 1 hand 10 cm x12 cm, ref 4008 Large (ported) 11 cm x 14 cm, ref 66800512 3M Tegaderm IV Small 6 cm x7 cm, ref 1623 W Large 8.5 cm x 10.5 cm, ref 1635 3M Tegaderm Film** Small 6 cm x 7 cm, ref 1624W Large 10 cm x 12 cm, ref 1626W Extra large 15 cm x 20 cm, ref 1628 Systagenix Bioclusive Small 5.1 cm x 7.6 cm, ref 2461 Large 10.2 cm x 12.7 cm, ref 2463 Molynlycke Mepitel Film (for patients with very friable skin) Small 6.5 cm x 7 cm, ref 296800 Large 10.5 cm x 12 cm, ref 296500 | Product specific | X 1 week if being used as a primary dressing to directly cover the exit site. X 1 per day if an exit site infection is being treated. X 1 per day if a dressing is being used as a secondary dressing (ie over the primary dressing) to permit bathing/showering. Dressings likely to be used as secondary dressings are marked with a double asterix** |
| Waterproof “island” type dressing for example Molynlycke Mepore Ultra Small 7cm x 8 cm, ref 680825 Large 10 cm x 11 cm, ref 690925 Premier Healthcare Premierpore VP Small 5 cm x 7 cm, ref 5110 Large 10 cm x 15 cm, ref 5112 S+N Opsite post op Small 6.5cm x 5 cm, ref 66000708 Large 10cm x 10 cm, ref 66000710 Molynlycke Mepilex border lite Small 7.5 cm x 7.5 cm, ref 281200 Large 10 cm x 10 cm, ref 3813300 | Product specific | X 1 week X 1 per day if an exit site infection is being treated. |
| Surgical tape (for example Transpore, Medipore, Hypofix) | Generic* | X 2 rolls per month |
| Wound closure strips (for example steristrips, Leukostrip) | Generic | X 3 week |
| Adhesive removal wipes | Generic | X 1 box as stock |
| Skin protection wipes | Generic | X 1 box as stock |
| Antimicrobial foam disc, for example Ethicon Biopatch, ref 3150 or Kendall™ AMD foam disc or Syner-Med Zonis® silver alginate foam disc | Product specific | X 1 per week X 1 per week X 1 per week |

*Due to sensitivities to certain products, companies may need to have more than one brand available.

5. Catheter securement

| Item | Product category (generic or product specific) | Suggested quantity |
| --- | --- | --- |
| Sutureless securement device, for example Bard Statlock PICC plus, ref VPPCSP, GRIP-LOK Universal PICC catheter securement, ref 3300MWA OR Carefusion Sorbaview 2000 Shield Contour, adhesive free 2 in 1 catheter securement system, ref SV30N2XT-6 | Product specific | X 1 per week X 1 per week |
| Catheter securement dressing (for example, Clinimed Clinifix, Griplock | Product specific | X 2 week |
| 2-way stretch bandage, for example Tubifast Yellow 7.5 cm x 10 m (small child) Tubifast Purple 20cm x 10 m (large child) Tubifast Green 5 cm x 5 m (PICC) | Product specific | X 1 roll as stock |

6. Flushing solutions/syringes

| Item | Product category (generic or product specific) | Suggested quantity |
| --- | --- | --- |
| Prefilled externally sterile labelled syringes with 0.9% sodium chloride for injection (for example BD Posiflush XS, Baxa ZR) OR Prefilled sterile pathway labelled syringes with 0.9% sodium chloride for injection (for example BD Posiflush SP, Baxa ZR) OR 10mL Luer lock syringe plus Filter straw and Sterile ampoule of 0.9% sodium chloride for injection (plastic) 10 mL Luer lock syringe for anti-microbial lock administration and framework drug administration, plus filter straw/drawing up needle | Product specific Product specific Generic Generic Generic Generic | AM 1-8 per infusion day* PM 1-8 per infusion day* plus 1 extra per week if a double lumen catheter) AM 1-8 per infusion day* PM 1-8 per infusion day* plus 1 extra per week if a double lumen catheter) AM 1-8 per infusion day* PM 1-8 per infusion day* plus 1 extra per week if a double lumen catheter) 2 per antimicrobial lock per day. 1 per framework drug per treatment dose. |

Note: Prefilled syringes are preferred to prevent risk of syringe tip and flushing solution contamination.  Luer lock syringes are preferred to prevent accidental disconnection from the needle free connector/catheter hub.

*The number of flushes required above is a guide.  The amount will vary depending on the volume of flush requested by the Purchasing Authority (either 10mL or 20mL, plus the number of framework drugs the patient is prescribed).

7. Needlefree connectors/port protection

| Item | Product category (generic or product specific) | Suggested quantity |
| --- | --- | --- |
| Needlefree connector, for example Vygon Bionector, Fanin Clave, Carefusion Smartsite, Fanin Neutron OR Anti-reflux valve, for example Vygon Bionector TKO valve, ref 083801E | Product specific | X 1-2 per week for single lumen catheters (depends on brand used) OR X 2-4 per week for double lumen catheters (depends on brand used) OR X 1-7 per week for patients with ports |
| Protective cap for needlefree connector, for example Vygon Curos Port Protector or Swab Cap, BD PureHub | Product specific | X 1 per infusion day (single lumen catheters) plus1 extra per week for double lumen catheters |
| Luer lock stopper for example Curos 3M Stopper | Product specific | X 1 per treatment day |

8. Sterile goods

| Item | Product category (generic or product specific) | Suggested quantity |
| --- | --- | --- |
| Sterile dressing towels Plus Sterile gloves (vinyl), small, medium, large & extra large OR Sterile gloves (nitrile), small, medium, large & extra large OR Sterile gloves (latex**), small, medium, large & extra large OR Sterile gloves with textured fingers OR Sterile wound care pack including sterile gloves (non latex) | Generic Generic* Generic* Generic* | X 4 per treatment day X 2 per treatment day X 2 per treatment day X 2 per treatment day X 2 per treatment day, plus additional item per week for dressing change |

*  Due to sensitivities to certain products, companies may need to have more than one brand available. Number of gloves used may be higher if the clinical procedure requires it.

** The use of latex should be avoided where possible and only used when it has been established that the patient and or homecare nurses do not have a latex sensitivity.

9. Additional items

| Item | Product category (generic or product specific) | Suggested quantity |
| --- | --- | --- |
| Appropriate clinical waste receptacle where appropriate | Generic | X 1 per month |
| Polythene aprons (all nursed patients) | Generic | X 1 roll per month |
| Sterile gauze swabs pack of 5 | Generic | X 30 packs per month |
| Sharps bin (if applicable) | Generic | As stock |
| Non sterile gloves vinyl (small, medium, large and extra large) OR Non sterile gloves nitrile (small, medium, large and extra large) | Generic Generic | X 2 boxes per month X 2 boxes per month |
| Port access extension set with Huber needle (port patients only) Non safety needles (independent patients only) For example Smith Medical Gripper Huber needle non-Y site 22G, 16mm, ref 21-2737-24 22G, 19mm, ref 21-2733-24 22G, 25mm, ref 21-2714-24 22G, 32mm, ref 21-2715-24 Safety needles (nursed patients) For example Smith Medical Gripper Plus Safety Huber needle non-Y site 22G, 16mm, ref 21-2770-24 22G, 19mm, ref 21-2766-24 22G, 25mm, ref 21-2760-24 22G, 32mm, ref 21-2761-24 | Product specific | X1 per infusion day – max 7 per week |
| Parafilm | Product specific | X 1 roll per 6 months |
| Ampoule cutter | Generic | X 1 ONLY for patients who have medication that include glass ampoules |
| IV extension set, for example Vygon Lectro-Cath 11cm ref 1155.01, Lectrocath 30cm ref 115.03 OR Vygon Protect-A-Spiral 300cm 0834.80 OR Vygon extension set with Bionector ref 5222.014 OR Vygon double lumen Octopus extension set with 2 non return valves and 2 Bionector, ref 0841.232 OR Vygon double lumen extension set with 2 Bionector* OR Vygon triple lumen Octopus extension set with 3 non return valves and 3 Bionector ref 842.312 OR Vygon triple lumen Octopus extension set with 3 Bionector* | Generic Product specific Product specific Product specific Product specific | X 1 per week X 1 per day X 1 per week X 1 per week X1 per week |
| Stitch cutter, for example Swann Morton standard stitch cutter, ref 0420 | Generic | X 2 as requested (nursed patients only) |
| Gravity giving set, for example, Codan 15 15µm filter, 175cm C77992-1 | Generic | X 1 per infusion day |
| BD Saf-T-Intima 22GA REF 383328 sub cutaneous cannula | Product specific | X 1 per infusion day |
| Portacator® port access device, pfmmedical, P9001CE | Product specific | X1 per infusion day |
| AV fistula needle, for example BBRaun 16G x1”, 16-inch tubing | Product specific | X1 per infusion day |
| Anti tamper IV device | Product specific | X 1 per infusion day |

*Double or triple extension set with a needle free connector, and NO non return valve, should be used if aspiration is required, for example with Taurolock.

Note:  For patients with ports. Safety needles are preferred if patient not accessing port themselves to reduce risk of needlestick injury and must be supplied for nursed patients.  Extension sets where possible should have an integral clamp to reduce risk of air embolus. Gloves must conform to current EU legislation and be CE marked as medical gloves.

The use of a triple spike giving set, or a triple lumen extension set is not recommended due to the added complexity of managing a multi chamber regimen.

10. Extra stock

All patients should have an additional 2 weeks of stock to allow for accidental damage/misuse of items, problems with supply etc.