Clarifications to Bidder’s Questions:

**Lindesfarne upgrade of the solar PV system**

|  |  |  |
| --- | --- | --- |
| 1 | The tender states NICEIC Contractor. Would our tender be accepted or is it only for NICEIC registered companies? | Please do go ahead and submit a bid for this tender. Having spoken to the Project Team, they would be content to accept the applicant holding either NICEIC or Napit accreditation |
| 2 | The specification / scope asks to retain the AC isolators from the single-phase system, but these will need upgrading when switching to a three-phase set up. | The single-phase AC isolators are required to be upgraded to three-phase AC isolators. |
| 3 | Has it been confirmed that the existing SolaX battery set ups / modules are also suitable for a switch to three phase? I believe the standard Triple Power units are suitable to use on both 1PH/3PH, but I just wanted to clarify. | The SolaX are type X3 G4 7.5KW hybrid inverters which are suitable for both single-phase and three-phase applications. |