HyDeploy 2 Materials Performance

Contract for the Delivery of Materials Analysis and Testing for HyDeploy 2

The Health and Safety Executive (HSE) has been selected by a major UK gas distributor to test whether natural gas with a hydrogen content can safely distributed in the UK gas distribution network.  Phase 1 of the project has been completed and subject to contract we are now progressing with Phase 2.  For Phase 2 HSE is seeking a partner with suitable test equipment and expertise to work with us on generating the evidence of materials performance to support our continuing work on this project.  Further details about the background to this project and the work required in Phase 2 is provided below.

Background to the HyDeploy 2 project

The HyDeploy programme aims to demonstrate that you can safely distribute natural gas with up to 20%v/v hydrogen content in the UK gas distribution network. The first demonstration of blending in the UK will be undertaken at Keele University as part of the HyDeploy 1 programme. The exemption for this trial has been secured from HSE based on evidence that the distribution of blended gas can be demonstrated to be ‘as safe as’ the distribution of natural gas. As part of the exemption evidence was provided to demonstrate that materials on the Keele network would be unlikely to be subject to any adverse effects under the conditions they were operating (<2 bar pressure and ambient temperature).

As part of HyDeploy 1 the following materials work was undertaken at HSL to underpin the exemption application and provide confidence that there would be no degradation to materials and components as a result of the addition of hydrogen for the duration of the trial:

- Polymers - Electrofusion bonding and stop-flow (“squeeze-off”) studies on medium density polyethylene (e.g. PE80) pipes following six weeks of hydrogen soaking in 100% hydrogen at 2barg exhibited no degradation in the quality of electrofusion joints nor on the efficiency of stop-flow during squeeze off.

- Metals - Uniaxial tensile testing  of  copper, yellow brass, grade B steel, and Stainless Steel alloy 304 plus two lap-shear trials on one lead-based and one non-lead-based solder after soaking in hydrogen, hydrogen blended gas indicated no increased  degradation Brass samples showed an unpredictably high hydrogen uptake during trials which may be linked to the alloy lead content.

- Asset Management - A detailed asset survey was conducted to establish the age and condition of all components on the network. This allowed a suitable regime to be established to monitor asset safety both during and after the trial once NG supplies are reconnected.

Further work is now needed for the follow-on project ‘HyDeploy 2’ which aims to gather the evidence to be able to undertake two further public trials of blended gas on open networks and provide the evidence base for long term use of blended gas across the country.

Scope of Materials Work for HyDeploy 2

The HyDeploy 2 project is planned to build upon the conclusions of HyDeploy 1 to further extend the study into larger and more diverse gas networks. A range of subject areas have been identified for assessment during HyDeploy 2, these include:

    - Network Pressure

The HyDeploy 1 studies focued on the low and medium network pressures up to 2 bar.  Confidence now needs to be established in the safe use of hydrogen blended gas at higher system pressure (nominally 8 – 39 barg) of the distribution network and for exposures periods greater than 10 years.

    - UK network components

For the purpose of HyDeploy 1 the materials studies focus solely on those materials that where known to be present at Keele. The materials scope now need to be widened to all materials that can occur on the UK GDN. The programme will identify and suitably assess materials that were not identified within the Keele GDN but may be present on other networks.

    - Cyclic Loading

To provide further confidence on performance, mechanical testing of network components (e.g. steel springs in valves) to assess their susceptibility towards increased deterioration in function with cycle number and gas environment, may be needed. The performance of these components is likely to be highly dependent on their specific dimensions, and will need bespoke test conditions and equipment. For example, in the case of valve springs, hydrogen soaked springs would need to be removed from housings, cycled to their specified cycle life within a range of gaseous test environments and then tested mechanically for failure.

The testing will establish the operating conditions of pipeline and component materials in the distribution network (e.g. cyclic loading and temperatures) and how these may affect material and network safety when in contact with hydrogen blended gas.

    - Fatigue Threshold

A major area that will be addressed under HyDeploy 2, that was not studied in detail within HyDeploy 1, will be fatigue testing. Initially, fatigue tests will determine whether the fatigue conditions present within the GDN are sufficiently severe to initiate cracking in the materials regardless of being within an natural gas or hydrogen environments. Where cracks are initiated during fatigue tests, the crack growth rates will be measured after soaking in either methane, blended gases and hydrogen environments. If there are increased crack growth rates with hydrogen blended gas, these can be used to inform lifetime models for materials in the network.

    - Longer term behaviours

As part of the HyDeploy 2 programme there is an ambition to establish the capability to extrapolate the short term experimental results from HyDeploy 1 to predict the long term operating exposures and time scales greater than the twelve months of the HyDeploy 1 trial duration.

  - Approach

In identifying the proposed body of work (see above) it is accepted that there is a potentially excessive breadth of the work, therefore the programme will be designed to be reactive to the results and focus on meeting the objectives of HyDeploy 2. For example, whilst the number of candidate materials and experimental techniques available are potentially considerable, the final proposal will stress the need to prioritise parameters in order to produce an effective and achievable scheme of work. Figure 1 illustrates the kind of prioritisation that will be applied, both to the experimental techniques available and the materials analysed.

| Higher priority |  | Exp. technique |  | Materials |
| --- | --- | --- | --- | --- |
|  |  | Fatigue testing H2 retention tests Tensile tests Product testing Cathodic Charging Complex fatigue Complex H2 Retention |  | High strength steel Welded Steel Network component Polymer 2nd steel grade Surface condition 2nd weld condition |
| Lower priority |  |  |  |  |

Figure 1	Technical assessment priorities for HyDeploy 2

The experimental output from these trials will progressively build confidence in the materials performance of any GDN network containing a hydrogen blend. The aim will be to provide short-term confidence to allow the second trial phase to begin, while also producing data applicable to long term exposures of a network over a wide range of pressures

It is anticipated that the experimental programme will last up to two years to complete. The core experimental work will be sub contracted by HSL to organisations that have demonstrable experience and existing test facilities in the given topic area. HSL will act as the technical project managers for the programme and would:

- Lead, supervise and coordinate the research,

- Analyse results and relate them to risk assessment and risk prediction, and

- Produce summary reports and presentations on the project for collaborative parties.

Some of the key areas that will be assessed as part of the programme will be:

- Tensile performance of relevant materials in 100% hydrogen and hydrogen blends.

- Characterisation of hydrogen absorption, retention and desorption from materials at GDN given operating conditions.

- Understanding of the effect hydrogen on the crack initiation and crack growth rate of pipeline materials.

- Undertaking fatigue specific SN testing on samples with a variety of surface conditions.

- Assessment of the effect of surface finish and potential corrosion on material susceptibility to hydrogen embrittlement.

- Assessment of weld susceptibility.

- Assessment of materials proposed to be most susceptible to hydrogen effects, eg high strength ferritic steels, high strength ferritic steel weld joints, cast iron and martensitic spring steel.

    - Hydrogen uptake – Cathodic Charging

It is recognised that hydrogen embrittlement is typically a degradation mechanism which manifests itself over years or decades, therefore an approach to building long-term confidence is essential. By scoping trials appropriately (eg by determination of hydrogen saturation concentration), the fundamental basis of material failure can be better described, thus allowing a predictive capability.

One process that may be used to accelerate hydrogen absorption is that of cathodic charging. This technique involves passing an electrical current through a specimen to chemically induce hydrogen absorption into the specimen. This process is much faster (and potentially cheaper) than long-term gaseous soaking but does require some preliminary trials to “calibrate” hydrogen uptake by charging against soak time. It is proposed that by correlating the parameters for gaseous soaking with those of cathodic charging, it will be possible to simulate decades worth of gaseous soaking in a few days of cathodic charging.

Sub-contractor Technical Scope of Work

Whilst at HSL were able to undertake the testing for evidence base for the trial at Keele, we are now looking for a partner with suitable test equipment and expertise to work with us on generating the evidence of materials performance for HyDeploy 2.

The scope of works for our partner will include:

- Work with the consortium and in particular HSL as technical lead for the materials work to develop a suitable programme of investigation & testing

- Deliver materials testing as per agreed technical specification

- Draw conclusions from test results and present these in the context of known materials behaviour and cited underlying science

- Produce written reports summarising results

- During and on conclusion of the programme of work provide expert opinion on the likely performance of materials in the network

- Develop a suitable accelerated test methodology to help characterise materials performance over periods longer than the trial period

Indicative Test Plan

An indicative test plan is provided with this screening tender to provide some indication as to the testing regime that may be needed to demonstrate material performance to a level of sufficient confidence to be able to undertake both public trials as well as underpin the evidence base for future roll out of blended gas. Please note this is indicative only and would be subject to discussion and agreement in the first stage of the project.

Budget

Maximum £440k including consumables, travel, access to equipment and materials (excluding test samples to be supplied by HSL)

Monthly catch up meetings to be held at HSL, Buxton

Programme

2 years from April 2019 with confidence after year 1 to be able to conduct the first public trial.

Capability Needed

The following experimental capabilities will be required to conduct the materials research for HyDeploy 2:

- Hydrogen soaking facilities

The capability to ‘soak’ tensile and coupon specimens in a blended hydrogen (20% H2 and 80% CH4 or N2) atmosphere at pressures between 2 – 40 bar, and at temperatures up to 80°C, is required. The soaking facilities would need to be available for the duration of the project (2 years). The soaking facility would need to be able to soak approximately 20 – 30 specimens (approximately 120 mm in length) simultaneously; exact capacity/dimensions are negotiable. It would be preferable if more than one soaking facility were available to allow parallel soaking of different conditions (pressure/blend ratio/temperature).

This is required in order to ingress hydrogen into the materials specimens in a simulated gas network environment.

- Hydrogen analysis

The capability to perform hydrogen concentration analyses (preferably via thermal desorption techniques) on soaked samples is required.

This is required to measure the amount of hydrogen present in soaked samples.

- Tensile testing

The capability to tensile test steels and cast iron specimens at strain rates between 10-7s-1 and 10-3s-1. Stress/strain data will be required including proof stress, UTS, reduction of area and elongation to failure. It is necessary that the tensile testing and soaking facilities be conveniently located with respect to one another, so that testing can be conducted nearly immediately after soaking ceases OR that samples can be stored in liquid nitrogen until testing commences. Tensile tests on non-soaked as-received condition materials will also be needed.

This is required to collect basic mechanical data and to ensure that significant hydrogen egress does not occur between soaking and testing.

- Fatigue testing

The capability to perform in-situ fatigue testing (parameters to be determined) in a hydrogen blended atmosphere at a minimum of 8 bar is required. It is necessary that the fatigue testing and soaking facilities be conveniently located with respect to one another, so that testing can be conducted nearly immediately after soaking ceases OR that samples can be stored in liquid nitrogen until testing commences. Fatigue tests on non-soaked as-received condition materials will also be needed.

This is required to collect data such as crack initiation and fatigue thresholds of materials tested. It is required that significant hydrogen egress does not occur between soaking and testing.

- Metallographical examination

The capability to prepare and examine metallographical specimens using optical microscopy is required. Scanning electron microscopy (SEM) capability is also required.

This is required to conduct examine the microstructure of the materials that are tested.

- Electrochemical testing

The capability to cathodically charge specimens as an alternative to gaseous soaking is optional but preferred.

This is required to explore the potential for simulating accelerated time scales for in service materials.

- Existing expertise

It is necessary that there is established expertise in the areas mentioned above. The timescales on this project are likely to be tight and technical support to those carrying out the work will be essential.

Contract

As explained previously Phase 2 of the project is subject to contract.  A copy of the contract terms for Phase 1 of the contract is attached to provide a broad indication of the contractual terms and conditions the successful contractor will be expected to sign up to.